## Confidential
This file contains confidential information
Shaded information is designated as confidential per WAC 480-07-160
REDACTED
VERSION

## VOM Summary
Puget Sound Energy
Variable O&M dispatch assumptions for gas-fired generators
2019 GRC Proposed
PLANT VARIABLE OPERATIONS AND MAINTENANCE COST UPDATE: Version CHARLIE, FINAL
Dataset: VOM Workbook Dec_2018_Post 2013_Rvn11Feb19_1112.xlsx
1. Variable Operations and Maintenance (VOM) Calculated Costs are linked to "VOM Results" output tab within the VOM_WorkOrder_Classification workbook.
2. Updated cells outlined in red.
VOM CHANGE DESCRIPTION AND IMPACT
Version No. | Description & Impact |  |  |  |  | Prepared By | Reviewed By | Distribution Date | Effective Date
ALPHA | First issue under new procedure, incorporates VOM cost and production on 3-year rolling average |  |  |  |  | Bennett | St.Clair | 2018-07-25 | TBD
BRAVO | Incorporates monthly O&M actuals from June, July, August, & September, revisions to Wind contract allocation to VOM, and changes in SCCT maintenance allocation to VOM. |  |  |  |  | Bennett | St.Clair | 2018-12-21 | TBD
CHARLIE | VOM calculation based upon actual costs Jan 2016 through Dec 2018. Major changes include: ▪ Whitehorn: Increase in VM in Q4 2018 vs. Q3 2015; exhaust weld repairs. ▪ Encogen: substantial CM in Q4 2018 - STG bearing damage and cooling tower gearbox $328K. ▪ Sumas: increase in VM in Q4 2018 vs. Q3 2015; replace lube oil in CT &ST, HRSG grid sample tubing & condenser tube cleaning. ▪ Snoqualmie: 17% increase in MWh vs. 36 mo ended Sept '18. $461K in headcover repairs in Q3 2015 rolled off. |  |  |  |  | Bennett | St.Clair | 2019-02-15 | TBD
[7 empty] | VOM Period Start Date: | 2016-01-01
[7 empty] | VOM Period End Date: | 2018-12-31
RESOURCE SUMMARY |  | PLANT VARIABLE OPERATIONS AND MAINTENANCE COSTS
Resource | Resource Type | Current VOM ($/MWh) | Updated VOM ($/MWh) | Updated VOM ($/Service Hr) | VOM Period Expenditures ($) | VOM Period Production (MWh) | VOM Period Service Hours (Hrs) | VOM Period Capacity Factor (%) | Checked by Plant Manager
Goldendale | Combined Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Mint Farm | Combined Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX | Y
Ferndale (2x1) | Combined Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Sumas | Combined Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Encogen (3x1) | Combined Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Fredonia 1&2 | Simple Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Fredonia 3&4 | Simple Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Fredrickson 1&2 | Simple Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Whitehorn 2&3 | Simple Cycle | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Snoqualmie | Hydro | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Upper Baker | Hydro | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Lower Baker | Hydro | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Hopkins Ridge | Wind | XXX | XXX | XXX | XXX | XXX | XXX | XXX | Y
Lower Snake River | Wind | XXX | XXX | XXX | XXX | XXX | XXX | XXX | Y
Wild Horse | Wind | XXX | XXX | XXX | XXX | XXX | XXX | XXX | Y
Note on D20: CAISO Link to Default Values: https://bpmcm.caiso.com/Pages/BPMDetails.aspx?BPM=Market%20Instruments
REDACTED
VERSION