Exhibit ___ TC (DN-1TC)

Docket UE-090205

Witness:  David Nightingale

REDACTED VERSION

BEFORE THE WASHINGTON STATE

UTILITIES AND TRANSPORTATION COMMISSION

| WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION, Complainant, v. PACIFICORP D/B/A PACIFIC POWER & LIGHT COMPANY, Respondent. | DOCKET UE-090205 |
| --- | --- |

TESTIMONY OF

DAVID NIGHTINGALE

STAFF OF

WASHINGTON UTILITIES AND

TRANSPORTATION COMMISSION

IN SUPPORT OF SETTLEMENT

Issues Related to Chehalis Plant and Marengo II

September 22, 2009

CONFIDENTIAL PER PROTECTIVE ORDER

REDACTED VERSION

TABLE OF CONTENTS

I.	INTRODUCTION 	1

II.	SCOPE OF TESTIMONY AND OVERVIEW 	2

III.	USED AND USEFUL FOR SERVICE 	5

IV.	THE PRUDENCE OF PACIFICORP’S ACQUISITION OF THE

CHEHALIS PLANT AND MARENGO II 	7

- Prudence Standard 	7

B.	Application of the Prudence Standard 	9

V.	DEFERRAL OF CHEHALIS PLANT COSTS 	14

A.	“Baseload Electric Generation” 	15

1.	Design of the Chehalis Plant 	18

2.	Intended Use Based on Necessary Permits 	19

3.	Intended Use Based on Other Relevant Factors 	20

VI.	CONCLUSION 	21

I.	INTRODUCTION

Q.	Please state your name and business address.

A.	My name is David Nightingale.  My business address is the Richard Hemstad Building, 1300 South Evergreen Park Drive SW, Olympia, Washington, 98504-7250.

Q.	By whom are you employed and in what capacity?

A.	I have been employed by the Washington Utilities and Transportation Commission (“Commission”) as a Senior Regulatory Engineering Specialist since February 2009.

Q.	What are your duties as a Senior Regulatory Engineering Specialist?

A.	My current duties involve analysis of issues related to Commission regulation of electric utilities, including integrated resource planning, requests for proposals, greenhouse gases emissions performance standard compliance, and power supply acquisition, and providing that analysis to the Commission.  This is my first time testifying before the Commission.

Q.	Please describe your education and relevant employment experience.

A.	I hold a Bachelor of Arts degree in Business Administration from Western Washington University, Bellingham.  I also hold a Bachelor of Science degree in Energy Engineering from the University of Washington, Seattle, where my studies focused on fluid-dynamics, thermo-dynamics, and alternative energy.  I performed research and designed projects, including testing residential conservation standards in four fully-instrumented model homes (this research led to the justification for what became the Super Good Cents program), cost-effectiveness of residential solar hot water heating, and design of a small wind turbine system on Orcas Island.  .

From 1987 to 1991, I worked for RW Beck and Associates, an engineering consulting firm in Seattle.  While with RW Beck, I worked on county and state waste system planning, landfill development, and waste-to-energy (renewable biomass) project evaluation and analysis for clients in Washington and Alaska.

From 1991 to the start of 2009, I worked for the Washington Department of Ecology (Department of Ecology) in various capacities; as a planner, engineer, technical unit supervisor, statewide technical-lead, and policy staff.  My projects included technical review and regulatory compliance of renewable biomass projects, such as landfill gas energy projects, variously-fueled pyrolysis plants and proposals, and fluidized-bed and mass-burn waste-to-energy plants (for the City of Tacoma, City of Spokane and others).  I was also responsible for technical review and regulatory assistance for coal combustion products recycling and disposal options for TransAlta’s Centralia power generation plant as well as combustion products disposal for Avista’s Kettle Falls wood-fuel plant.

II.	SCOPE OF TESTIMONY AND OVERVIEW

Q.	Please identify the scope of your testimony, and state your conclusion.

A.	My testimony addresses whether the Commission has sufficient support for the requested Commission findings contained in the Settlement Stipulation that the Company’s acquisition of the Chehalis Generating Plant (Chehalis Plant) and the Company’s expansion of the Marengo wind project (Marengo II) were prudent, that these facilities are used and useful, and that it was appropriate for PacifiCorp to defer Chehalis Plant-related costs.  (Settlement Stipulation Section III.M, Paragraphs 26 & 27, and Section III.B, Paragraph 12, respectively).

I conclude that for the most part, the Company’s direct case provides sufficient support for these findings.  However, I supply some additional information, mostly related to the finding regarding the Greenhouse Gases Emissions Standard, in Section III.B in Paragraph 12 of the Settlement Stipulation.

In my testimony, I refer to several provisions of various statutes and rules.  In doing so, I provide my understanding of these laws and rules in my capacity as a Regulatory Specialist.

Q.	Please briefly describe the Chehalis Plant.

A.	The Chehalis Plant is a six year old, 520 MW natural gas-fired electric generation facility, located near Chehalis, in western Washington, which is within the Company’s West Control area (WCA).  It consists of two combustion gas turbine generators, one steam turbine generator, and related equipment.  PacifiCorp purchased the facility on September 15, 2008, and is the sole owner of the plant.  The plant is operational.

Q.	Please briefly describe Marengo II.

A.	Marengo II is a 70.2 MW wind resource consisting of 39 wind turbine generators located near Dayton, in eastern Washington, which is also within the WCA.  This project reflects an expansion of the existing wind farm, known as Marengo I.  PacifiCorp completed construction of the Marengo II facilities in June 2008, and is the sole owner of Marengo II.  The facilities are operational.

Q.	What information did you evaluate in conducting your analysis?

A.	I reviewed the direct testimony and exhibits of PacifiCorp witnesses Richard Reiten, Romita Biswa, Mark Tallman, Stefan Bird, Gregory Duvall, and R. Bryce Dalley, and I reviewed PacifiCorp’s responses to over 50 data requests.  I also reviewed the Company’s Integrated Resource Plan (IRP), its Request for Proposals (RFP) analysis, the transaction documents, plant design documents, and many related documents.  I also reviewed various statutes and rules, and the documents related to the rulemaking processes.  Finally, I gathered information based on interviews with personnel of the Energy Facilities Siting Evaluation Council (EFSEC) and the Department of Ecology, because these agencies have implementation and enforcement roles under the Greenhouse Gases Emissions statute, RCW 80.80, which apply to the Chehalis Plant.

Q.	Before proceeding further, please briefly describe what IRPs and RFPs are, and the related processes.

A.	The IRP projects the utility’s likely future resource needs as well as the most advantageous types of resources to acquire in order to meet those needs.  In addition to acquisition of generating resources, the IRP also calls for a blend of demand side management and market purchases to serve the needs of the Company’s customers in the WCA.  The utility develops its IRP in consideration of a balanced acquisition of both supply and demand–side resources through a public process.  As part of the resource acquisition process, the Company issues an RFP to seek bids from resource suppliers.  In this instance, PacifiCorp issued an RFP for acquiring generating resources in 2012, but the Chehalis Plant was not offered in response to that RFP.  Subsequent to the issuance of that RFP, PacifiCorp approached the owners of the Chehalis Plant to find out if it might be possible to acquire the Chehalis Plant at terms more favorable than what the RFP responses had provided.  Once that opportunity arose, prompt action was necessary to consummate the acquisition that did not permit use of another RFP process.

III.	USED AND USEFUL FOR SERVICE

Q.	What used and useful findings are identified in the Settlement Stipulation?

A.	The Commission is requested to make findings that the Chehalis Plant and Marengo II are “used and useful for service to Washington customers.”  (Settlement Stipulation Section III.M, Paragraphs 26 & 27).

Q.	What is the importance of the used and useful for service issue?

A.	It is my understanding that in order for a resource to be included in rate base for ratemaking purposes, the resource must be “used and useful for service” in Washington State.  The Commission considered this requirement in PacifiCorp’s last contested general rate case, Docket UE-050684.  The Commission stated that the phrase “used and useful for service in this state” means “to benefit the ratepayers of Washington, either directly (e.g., flow of power from a resource to customers) and/or indirectly (e.g., reduction of cost to Washington customers through exchange contracts or other tangible or intangible benefits).”  The Commission also stated that “the Company must demonstrate tangible and quantifiable benefits to Washington of resources in the system before we will include the resources in rates.”

Q.	Are the Chehalis Plant and Marengo II used and useful for service in Washington?

A.	Yes.  These facilities are operating, and are currently directly providing a “flow of power from a resource to customers.”  Both facilities are located in the WCA and are available to provide power to the Company’s Washington service territory.  Therefore, the findings that the Chehalis Plant and Marengo II are used and useful for service in Washington are well supported.

IV.	THE PRUDENCE OF PACIFICORP’S ACQUISITION OF THE

CHEHALIS PLANT AND MARENGO II

Q.	What prudence findings are identified in the Settlement Stipulation?

A.	The Commission is asked to make the following prudence findings: “The Company was prudent in acquiring the Marengo II wind project and the Chehalis generating plant.”  (Settlement Stipulation Section III.M, Paragraph 26).

  - PRUDENCE STANDARD

Q.	What is the Commission’s prudence standard?

A.	The Commission applies a prudence standard when it determines whether a particular resource acquisition decision by a utility was appropriate, and therefore the ratepayers can be required to support that asset through rates.  Overall, the prudence standard is a reasonableness standard:

The Commission has consistently applied a reasonableness standard when reviewing the prudence of decisions relating to power costs, including those arising from power generation asset acquisitions.  The test the Commission applies to measure prudence is what would a reasonable board of directors and company management have decided given what they knew or reasonably should have known to be true at the time they made a decision.  This test applies both to the question of need and the appropriateness of the expenditures.  The company must establish that it adequately studied the question of whether to purchase these resources and made a reasonable decision, using the data and methods that a reasonable management would have used at the time the decisions were made.

Q.	What factors does the Commission use to evaluate the prudence of a utility’s electric resource acquisition?

A.	There is no single set of factors.  For example, in Cause U-83-26, the Commission applied thirteen factors, which the Commission characterized as “unique” and stated that “[a]dditional factors may be considered in subsequent cases as dictated by the facts.”  In subsequent cases, the Commission and its Staff have generally focused on the following four factors, which I applied in this case:

- The Need for the Resource - The utility must first determine whether new resources are necessary.  Once a need has been identified, the utility must determine how to fill that need in a cost-effective manner.  When a utility is considering the purchase of a resource, it must evaluate that resource against the standards of what other purchases are available, and against the standard of what it would cost to build the resource itself.

- Evaluation of Alternatives - The utility must analyze the resource alternatives using current information that adjusts for such factors as end effects, capital costs, dispatchability, transmission costs, and whatever other factors need specific analysis at the time of a purchase decision.  The acquisition process should be appropriate.

- Communication With and Involvement of the Company’s Board of Directors - The utility should inform its board of directors about the purchase decision and its costs. The utility should also involve the board in the decision process.

- Adequate Documentation - The utility must keep adequate contemporaneous records that will allow the Commission to evaluate the Company’s decision-making process. The Commission should be able to follow the utility’s decision process; understand the elements that the utility used; and determine the manner in which the utility valued these elements.

Implicit in the prudence standard is that the facility in question needs to comply with applicable state laws.  This has specific relevance in this case because of recent legislation regarding greenhouse gases emissions and renewable portfolio standards.  I discuss these statutes later in my testimony.

B.	APPLICATION OF THE PRUDENCE STANDARD

Q.	Does the Company’s direct testimony adequately support prudence findings for Company’s acquisition of the Chehalis Plant and Marengo II?

A.	Yes.  The direct testimony and exhibits of Mr. Bird and Mr. Duvall provide this support, which I confirmed.  I note that while the final decision to acquire each facility was made by PacifiCorp’s CEO, rather than the Board of Directors, based on my analysis, I believe a reasonable board of directors would have approved these acquisitions.

Q. 	What is the Greenhouse Gases Emissions Performance Standard?

A.	As it applies in this case, the Greenhouse Gases Emissions Performance Standard is “one thousand one hundred pounds of greenhouse gases per megawatt-hour.”  (RCW 80.80.040(1)(a)).  This standard must be met by an [1] “electrical company” that acquires [2] “baseload electric generation” via a [3] “long-term financial commitment” [4] “after June 30, 2008.”  (RCW 80.80.040(1)).  As RCW 80.80.060(1) states: “No electrical company may enter into a long-term financial commitment unless the baseload electric generation supplied under such a long-term financial commitment complies with the greenhouse gases emissions performance standard.”

Q.	In your opinion, are the Chehalis Plant and Marengo II subject to this standard?

A.	Yes.  However, renewable resources such as Marengo II are deemed to comply with the Greenhouse Gases Emissions Performance Standard, (RCW 80.80.040(3)), so I need not further address Marengo II on that compliance issue.  Turning to the Chehalis Plant, PacifiCorp qualifies as an “electrical company,” because that term means “a company owned by investors that meets the definition of RCW 80.04.010,” (RCW 80.80.010(12)), which in turn defines electric companies subject to UTC regulation.  PacifiCorp acquired the Chehalis Plant via a “long-term commitment” “after June 30, 2008” because PacifiCorp acquired the plant on September 15, 2008, and a “long-term financial commitment” includes “a new ownership interest,” (RCW 80.80.010(15)), so PacifiCorp’s new ownership of the plant satisfies this definition.  Finally, the Chehalis Plant is “baseload electric generation,” for the reasons I explain later in my testimony.  Therefore, I concluded that the Chehalis Plant was and is subject to the Greenhouse Gases Emissions Performance Standard.

Q.	Is the Chehalis Plant in compliance with the greenhouse gas emissions per megawatt hour of energy generated of less than 1,100 pounds?

A.	Yes.  In early 2009, the Energy Facility Siting Evaluation Council (EFSEC) issued a letter certifying that the Chehalis Plant emitted less than 1,100 pounds of greenhouse gas emissions per megawatt hour in 2007, and therefore complied with the standard that year.  This certification letter is my Exhibit ___ (DN-2).  Therefore, I conclude that PacifiCorp’s Chehalis Plant is both subject to the Greenhouse Gases Emissions Performance Standard, and complies with that standard.

Q.	What is the Renewable Portfolio Standard?

A.	The Renewable Portfolio Standard is contained in the Energy Independence Act, RCW 19.285.  In part, this Standard requires certain electric utilities to acquire eligible renewable resources, and/or any equivalent renewable energy credits, to the following extent:

“(i) At least three percent of its load by January 1, 2012, and each year thereafter through December 31, 2015;

(ii) At least nine percent of its load by January 1, 2016, and each year thereafter through December 31, 2019; and

(iii) At least fifteen percent of its load by January 1, 2020, and each year thereafter.” (RCW 19.285.040 (2)(a)).

Q.	Is PacifiCorp subject to the Renewable Portfolio Standard?

A.	Yes.  PacifiCorp meets the definition of a “qualifying utility,” including the 25,000 customer threshold.  (RCW 19.285.030(16)).

Q.	Is Marengo II an eligible resource for purposes of the Renewable Portfolio Standard?

A.	Yes.  The statute includes wind power in its list of eligible renewable resources.  (RCW 19.285.030(18)(b)).  Marengo II also meets the requirements that an eligible resource commence operation after March 31, 1999 (Marengo II commenced operation in June 2008) and the resource either be located in the “Pacific Northwest,” or the output delivered there (Marengo II is located in Washington, and Washington is in the area defined as “Pacific Northwest”).  (RCW 19.285.030(10) and (18)).

Q.	Is PacifiCorp making progress towards Renewable Portfolio Standard compliance?

A.	Yes.  According to PacifiCorp’s 2007 IRP Update, the Company projects for 2009 that 118 MW of its 3,343 MW load in the WCA will be met with renewable resources; about 3.5% of the load.  Much of this is supplied by the Goodnoe Hills and Marengo I wind farms.  These two projects are located in Eastern Washington and have a combined nameplate capacity of approximately 170 MW.  The Marengo II project will add to the Company’s renewable resource portfolio and further the Company’s progress to meeting the Renewable Portfolio Standard.

Q.	What do you conclude from this information?

A.	The Company’s acquisition of Marengo II is justified in part by the need to comply with the Renewable Portfolio Standard.  The Company appears to be making substantial progress toward meeting that standard at the “compliance checks” in 2012 (three percent of load) and 2016 (nine percent of load).  This is important, because wind projects have significant development timelines, and there are additional current and near term constraints on development of these resources such as infrastructure for interconnection, and transmission limitations.  Moreover, highly productive wind sites located in close proximity to existing transmission are becoming scarce.  For all of these reasons, it is prudent to plan far in advance for meeting the Renewable Portfolio Standards.

Q.	What is your conclusion regarding the prudence of PacifiCorp’s acquisition of the Chehalis Plant and Marengo II?

A.	Based on the documents I reviewed and the analysis I conducted, I conclude that there is a sufficient basis for the Commission to find that the Company was prudent to acquire these facilities, even though the Company’s Board of Directors did not make the decision to approve these acquisitions.

V.	DEFERRAL OF CHEHALIS PLANT COSTS

Q.	What finding regarding deferrals is identified in the Settlement Stipulation?

A.	Settlement Stipulation Section III.B, Paragraph 12, asks the Commission to make the following finding:  “The Company’s acquisition of the Chehalis generating plant complies with the Greenhouse Gases Emissions Standard in RCW 80.80.040(1) and therefore, the Company was allowed to defer certain costs related to that plant, per RCW 80.80.060(6).”

Q.	What is the significance of a Commission determination that a particular project is baseload generation that complies with the Greenhouse Gases Emissions Performance Standard?

A.	As I discussed above, one aspect relates to whether the acquisition is prudent.  Another aspect relates to whether the Company was able to defer certain expenses associated with the resource for possible later recovery from ratepayers.

As RCW 80.80.060(6) states: “An electrical company may account for and defer for later consideration by the commission costs incurred in connection with the long-term financial commitment, including operating and maintenance costs, depreciation, taxes, and cost of invested capital.”  That subsection also provides that the deferral may begin when the plant begins operation, and ends when the Commission issues an order in a general rate case or other proceeding for recovery of such costs.

A.	“BASELOAD ELECTRIC GENERATION”

Q.	Did you previously address the requirements for compliance with the Greenhouse Gases Emissions statute?

A.	Yes.  I addressed them in my discussion of the prudence of the Chehalis Plant acquisition, though I referred the “baseload electric generation” issue to this section of my testimony.

Q.	How is “baseload electric generation” defined in the Greenhouse Gases Emissions statute?

A.	“Baseload electric generation” is defined as “electric generation from a power plant that is designed and intended to provide electricity at an annualized plant capacity factor of at least sixty percent.”  (RCW 80.80.010(4)).

Q.	What does “plant capacity factor” mean?

A.	Plant capacity factor means “the ratio of the electricity produced during a given time period, measured in kilowatt-hours, to the electricity the unit could have produced if it had been operated at its rated capacity during that period, expressed in kilowatt-hours.”  (RCW 80.80.010(16)).  In other words, because there are 8,760 hours in a non-leap year, a plant operating at a capacity factor of at least 60 percent would operate at least 5,256 hours per year (.60 * 7860).

Q.	Does the statute provide direction for evaluating whether a resource provides “baseload electric generation?”

A.	Yes.  According to the statute: “In determining whether a long-term financial commitment is for baseload electric generation, the commission shall consider [1] the design of the power plant and [2] its intended use, based upon …[i] permits necessary for the operation of the power plant and [ii] any other matter the commission determines is relevant under the circumstances.”  (RCW 80.80.060(3)).

Q.	What do you conclude from this list of factors?

A.	I conclude that the statute places primary focus on the operational characteristics of the plant, i.e., the design and the permits, and any similar operating characteristic, such as technical or legal operating restrictions.  The owner or operator’s intent for operating the plant is relevant, but it is not the primary focus.

Q.	What else supports your conclusion?

A.	My conclusion is consistent with the rules both EFSEC and the Department of Ecology have adopted under the Greenhouse Gases Emissions statute.  These rules define what “designed and intended” means in the definition of the term “baseload electric generation” in RCW 80.80.010(4).  According to these rules, “designed means originally specified by the design engineers for the power plant or generating units … installed at a power plant; and intended means allowed for by the current permits for the power plant, recognizing the capability of the installed equipment or intent of the owner or operator of the power plant.”

My conclusion is also supported by the context of the statute itself.  It is apparent to me from the Greenhouse Gases Emissions statute that any new fossil-fueled baseload electric generation sited in this state in the near term will be a gas-fired combined-cycle combustion turbine.  This is because, although other fossil-fueled plants can meet the standard through use of methods such as carbon sequestration, such technologies are not yet available on a large scale project.  The Legislature’s mandate that future emissions standards are to be based on combined-cycle combustion turbines for fossil-fueled baseload generation is reflected in the requirement that, every five years, the Washington Department of Commerce (formerly Department of Community, Trade, and Economic Development) establish future greenhouse gases emissions requirements based on natural gas combined-cycle combustion turbine electric generation technology.  (RCW 80.80.050).

At the same time, combined cycle combustion turbines are a flexible resource.  Though they are designed with the technical capability to operate at a very high annualized capacity factor, up to about 85 percent, they often do not actually run at even a 60 percent capacity factor, because in practice, they are economically dispatched.  As an example, PacifiCorp’s 2007 IRP estimated a 56% annual capacity factor for new combined-cycle plants in the WCA using the technology present in the Chehalis Plant.

All of this suggests to me that the Legislature was primarily looking to the plant’s technical capabilities and permit limits in establishing the definition of baseload generation, and less on the actual intent of the owner or operator.

1.	Design of the Chehalis Plant

Q.	Was the Chehalis Plant designed to operate at a capacity factor of at least 60 percent?

A.	Yes.  The engineers who designed the Chehalis Plant specified the equipment to be a baseload combined-cycle power plant.  The turbines installed at the Chehalis Plant are ‘F’ series General Electric combustion turbines with a matched steam turbine.  According to the manufacturer’s specifications, this equipment has the capability to routinely meet and exceed a 60% annualized plant capacity factor.  This is also supported by PacifiCorp’s estimated XX percent plant availability factor (i.e., the percent of time the plant can operate, after accounting for outages).  (Exhibit No. ___ (GND-3C), page 1, last column, second to last comment).

The design of the Plant to operate at or above a 60 percent capacity factor is also reflected in the Plant’s original maintenance service contract, entitled “Contractual Services Agreement,” which called for the Plant to be operated at least XXXXX hours per year.

Later, the former owner physically modified the Plant to make it capable of operating in a wider range, and the service contract was changed to reflect this enhanced operating flexibility.  The Plant has not been further modified since PacifiCorp purchased the plant and the current contractual services agreement allows annual operations between XX% and XX% of nameplate capacity.  These Plant modifications do not lessen the ability of the plant to run at or above 60% annualized capacity factor in any given year.  In fact, the annualized plant capacity factor could actually be higher because the Plant will be able to produce energy under more diverse scenarios.

Q.	Has PacifiCorp, as the new owner, changed anything at the Chehalis Plant that would materially affect the Plant’s capabilities?

A.	No.  In addition to retaining the same equipment, PacifiCorp retained the same arrangements as the prior owner for plant maintenance, gas supply, and electric transmission.  I discuss these arrangements later.

- Intended Use Based on Necessary Permits

Q.	What does the relevant permit or other similar documents indicate regarding the issue of baseload electric generation?

A.	The Chehalis Plant must meet state and federal requirements for air quality.  The relevant permits are combined under EFSEC authority in a document called the Site Certification Agreement (SCA).  EFSEC last revised the SCA in September 2008, following the sale of the Chehalis Plant to PacifiCorp.  The SCA imposes conditions on how many hours it may take the Plant to start up (i.e., reach 60% of generating capacity) from a cold start or warm start, and how many hours it is allowed to take to

shut down, plus other conditions of operation.  Importantly, the SCA places no restrictions on the maximum number of hours per year the Plant can operate.

EFSEC also issues an annual certification determining whether the Chehalis Plant is in compliance with the Greenhouse Gases Emissions Performance Standard.  The most recent certification letter is my Exhibit ___ (DN-2).  In that letter, EFSEC indicates that the Chehalis Plant is subject to RCW 80.80.040 as a “baseload electrical generating” facility.

3.	Intended Use Based on Other Relevant Factors

Q.	Are there other factors you recommend the Commission consider when determining whether the Chehalis Plant qualifies as “baseload electric generation?”

A.	Yes.  PacifiCorp has sufficient firm gas supply and gas transportation arrangements to operate the Centralia Plant at or above a 60 percent capacity factor, and the Company has sufficient long-term electric transmission contracts with BPA that exceed the rated generating capacity of the Chehalis Plant.  I base these conclusions on my review of the actual contracts, and other relevant documents.

Also, the Company’s RFP that was issued shortly before the Company acquired the Chehalis Plant described the need for large combined cycle combustion turbines as “baseload/intermediate load” plants.  However, the RFP did not define “baseload” and “intermediate load,” nor did it prescribe a capacity factor.   The decision making document PacifiCorp prepared to evaluate the financial benefit of

the Chehalis Plant to the Company and its customers used projected capacity factors ranging from XX% to XX%, which approaches the 60% capacity factor level.  In its discussion, the Company observed that the “XXXXXXXXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX XXXXXXXXXXXXXXXXXXXXXXXXX.”  (Emphasis added).

Q.	What do you conclude from this evidence on the “design and intent” of the Chehalis Plant?

A.	The Chehalis Plant is designed and permitted to operate at or above a 60 percent annualized plant capacity factor, though PacifiCorp anticipates operating the Plant on average at somewhat lower levels.  In summary, I conclude that the Chehalis Plant qualifies as “baseload electric generation” for purposes of the Greenhouse Gases Emissions statute.  Therefore, PacifiCorp was justified in deferring costs associated with that Plant, as permitted by the statute.

V.	CONCLUSION

Q.	What conclusions do you reach based on your analysis?

A.	Based on the direct testimony of PacifiCorp and the additional evidence I supply in my testimony, there is sufficient support for the requested findings in the Settlement Stipulation that the Company was prudent in acquiring the Chehalis Plant and Marengo II, and these facilities are used and useful for service in Washington, as well as the finding that the Company was justified in deferring costs related to the Chehalis Plant.

Q.	Does this complete your direct testimony?

A.	Yes.

See RCW 80.04.250.

Wash. Utilities & Transp. Comm’n v. PacifiCorp, d/b/a Pacific Power & Light Co., Docket UE-050684, Order 04 at 21-22, ¶ 50 (April 17, 2006).

Id. at 27, ¶ 68.

Wash. Utilities and Transp. Comm’n v. Puget Sound Energy, Inc., Docket UE-031725, Order 12 at pages 8-9, ¶ 19 (April 7, 2004) (footnotes and related citations omitted).

Wash. Utilities & Transp. Comm’n v. The Wash. Water Power Co., Cause U-83-26, Fifth Supplemental Order at 15-16 (January 19, 1984).

E.g., Wash. Utilities & Transp. Comm’n v. Puget Sound Energy, Inc., Docket UE-070565, Testimony of Douglas Kilpatrick, Exhibit 117 at 3:18-5:9.

Wash. Utilities & Transp. Comm’n v. Puget Sound Power & Light Co., Docket UE-921262, et al., Nineteenth Supplemental Order at 11 (September 27, 1994).

Wash. Utilities & Transp. Comm’n v. Puget Sound Energy, Inc., Docket UE-031725, Order 12 at 9, ¶ 20 (April 7, 2004).

Id.

Id. at 10, ¶ 20.

The Commission has referred to the prudence standard as asking what “a reasonable board of directors and company management [would] have decided given what they knew or reasonably should have known to be true at the time they made a decision.”  Wash. Utilities & Transp. Comm’n v. Puget Sound Energy, Inc., Dockets UE-060266 & UG 060267, Order 08 at 56, ¶ 164 (January 5, 2007).

According to the statute, this is the applicable Greenhouse Gases Emissions Performance Standard until the Washington Department of Commerce (formerly the Department of Community, Trade and Economic Development) develops a different standard, a process that begins in 2012.  (RCW 80.80.040(1)(b) and 80.80.050).

According to RCW 19.285.030(14): “‘Pacific Northwest’ has the same meaning as the same term is defined in Section 3 of the Pacific Northwest Electric Power Planning and Conservation Act (94 Stat. 2698; 16 U.S.C. § 839a)” which in turn defines “Pacific Northwest” in pertinent part to mean: “the area consisting of the States of Oregon, Washington, and Idaho …”

WAC 173-407-110 (Department of Ecology) and WAC 463-85-110 (EFSEC).  These rules are worded the same, in part because these agencies were required to jointly develop these rules.