## TOTAL FIRST YEAR
| Program Year: | CASCADE NATURAL GAS CORPORATION
| 2022 | COMMERCIAL Program Participant Cost Effectiveness
Measure Mapping | MEASURE | DESCRIPTION | EFFICIENCY TYPE FOR QUALIFICATION | TOTAL MEASURE COUNT | ANNUAL THERM SAVINGS | UNIT | UNITS INSTALLED | TOTAL ANNUAL THERM SAVINGS | MEASURE INCREMENTAL COST | TOTAL INCREMENTAL COST | PARTICIPANT NEBS | TOTAL NET INCREMENTAL COST WITH NEBS | MEASURE LIFE | DISCOUNTED THERM SAVINGS | PROGRAM DELIVERY AND ADMIN | PROGRAM REBATE | CALCULATED REBATE COST | REBATES BASED ON CAPPED INCENTIVES | UTILITY COST | UC W/DELIVERY & ADMIN | LOADED UTILITY BENEFIT TO COST RATIO | TOTAL RESOURCE COST | TRC W/DELIVERY & ADMIN | LOADED SOCIETAL BENEFIT TO COST RATIO
COMBOILERS2-19-19 | Boiler | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 2 | 1.5 | /kBtu/hr in | 1700 | 2550 | 8.89 | 15113 | 0.96808 | 13467.2708 | 20 | 36571.7605 | 9039.4769 | 6 | 10200 | 0 | 0.2789 | 0.52607 | 2.8019 | 0.36824 | 0.61541 | 2.1774
COMBOILERS-4-1-22 | Boiler | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 13 | 2.1 | /kBtu/hr in | 25699 | 53967.9 | 10.74 | 276007.26 | 1.5745 | 235543.0564 | 25 | 899204.5245 | 191310.4257 | 10 | 256990 | 0 | 0.2858 | 0.49855 | 3.3297 | 0.26195 | 0.4747 | 3.1791
COMFSOVENLODGE2-19-19 | Convection Oven (Lodging) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 1 | 219 | /oven | 1 | 219 | 900 | 900 | 436.011 | 463.989 | 12 | 2128.7795 | 776.3315 | 800 | 800 | 0 | 0.3758 | 0.74049 | 1.6528 | 0.21796 | 0.58264 | 1.9095
COMFSOVENREST2-19-19 | Convection Oven (Restaurant) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 15 | 649 | /oven | 15 | 9735 | 900 | 13500 | 398.5872 | 7521.1916 | 12 | 94628.6228 | 34509.5324 | 800 | 12000 | 0 | 0.12681 | 0.4915 | 2.49 | 0.079481 | 0.44417 | 2.5049
COMDCV-7-17 | DCV | Demand Control Ventilation | Meet JUARC Guidelines for DCV RTUs in 5-20 ton | 2 | 13 | /ton | 14 | 182 | 55 | 770 | 80.118 | 0 | 10 | 1521.2801 | 645.1705 | 20 | 280 | 0 | 0.18406 | 0.60815 | 1.9217 | 0 | 0.4241 | -
COMDHWTSCT | Domestic Hot Water Tanks - Condensing | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 10 | 0.79 | /kBtu/hr in | 1849.5 | 1461.1 | 6.06 | 11207.97 | 0.41237 | 10445.2895 | 15 | 16948.3973 | 5179.443 | 2.5 | 4623.75 | 0 | 0.27281 | 0.57841 | 2.2675 | 0.6163 | 0.9219 | 1.2934
COMDHWTSCT-4-1-22 | Domestic Hot Water Tanks - Condensing | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 30 | 3.7987 | /kBtu/hr in | 6778.3 | 25748.72 | 6.06 | 41076.498 | 1.4288 | 31391.3535 | 10 | 215225.3639 | 91276.4548 | 3 | 20334.9 | 0 | 0.094482 | 0.51858 | 2.2537 | 0.14585 | 0.56995 | 1.8641
COMFSFRYERREST2-19-19 | Fryer (Restaurant) | Energy Star | >=50% Cooking Efficiency | 8 | 685 | /fryer | 16 | 10960 | 6200 | 99200 | 299.633 | 94405.8719 | 12 | 106536.1793 | 38852.0262 | 750 | 12000 | 0 | 0.11264 | 0.47732 | 2.564 | 0.88614 | 1.2508 | 0.88948
COMFSCVROVEN2-19-19 | Gas Conveyor Oven | FSTC Qualified Gas Fired Conveyor Oven | >=42% Baking Efficiency | 1 | 77 | /oven | 2 | 154 | 1800 | 3600 | 42.2226 | 3515.5549 | 16 | 1876.5588 | 545.9135 | 450 | 900 | 0 | 0.4796 | 0.77051 | 1.7414 | 1.8734 | 2.1643 | 0.5636
COMHVACCON2-19-19 | HVAC Unit Heater - Condensing | High Efficiency Condensing | Minimum 91% AFUE | 12 | 1.1 | /kBtu/hr in | 3312.5 | 3643.75 | 5.23 | 17324.375 | 113.7057 | 0 | 18 | 48460.7565 | 12916.7035 | 5 | 16562.5 | 0 | 0.34177 | 0.60831 | 2.3113 | 0 | 0.26654 | -
COMIAT12-19-19 | Insulation - Attic - Tier 1 - Min R-30 | Attic Insulation | Tier 1 / Minimum R-30 | 3 | 0.31 | /sq.ft. | 12873 | 3990.63 | 1.65 | 21240.45 | 0.25981 | 17895.8644 | 30 | 74324.1244 | 14146.356 | 2 | 25746 | -3166.2 | 0.3464 | 0.53673 | 3.487 | 0.24078 | 0.43111 | 3.9466
COMIAT22-19-19 | Insulation - Attic - Tier 2 - Min R-45 | Attic Insulation | Tier 2 / Minimum R-45 | 7 | 0.32 | /sq.ft. | 45996 | 14718.72 | 1.63 | 74973.48 | 0.2682 | 62637.5784 | 30 | 274131.1461 | 52176.2861 | 2.5 | 114990 | -10971.98 | 0.41947 | 0.6098 | 3.0691 | 0.22849 | 0.41883 | 4.0624
COMFLOORINS-4-1-22 | Insulation - Floor | Floor Insulation | Equal to or greater than R-30 Post and equal to or less than R-11 Pre | 1 | 0.056 | /sq. ft. | 1559 | 87.3 | 1.08 | 1683.72 | 0.046934 | 1610.5497 | 30 | 1625.9328 | 309.4692 | 1.25 | 1948.75 | 0 | 1.1985 | 1.3889 | 1.3475 | 0.99054 | 1.1809 | 1.4408
COMIRT12-19-19 | Insulation - Roof - Tier 1 - Min R-21 | Roof Insulation | Tier 1 / Minimum R-21 | 3 | 0.35 | /sq.ft. | 45348 | 15871.8 | 1.83 | 82986.84 | 0.29334 | 69684.5309 | 30 | 295606.8684 | 56263.8312 | 2 | 90696 | 0 | 0.30681 | 0.49715 | 3.7646 | 0.23573 | 0.42607 | 3.9934
COMIRT22-19-19 | Insulation - Roof - Tier 2 - Min R-30 | Roof Insulation | Tier 2 / Minimum R-30 | 1 | 0.36 | /sq.ft. | 5100 | 1836 | 2.15 | 10965 | 0.30172 | 9426.2306 | 30 | 34194.8746 | 6508.4234 | 2.5 | 12750 | 0 | 0.37286 | 0.5632 | 3.3231 | 0.27566 | 0.466 | 3.6512
COMIRT2-4-1-22 | Insulation - Roof - Tier 2 - Min R-30 | Roof Insulation | Tier 2 / Minimum R-30 | 1 | 0.36 | /sq.ft. | 2400 | 864 | 1.5 | 3600 | 0.30172 | 2875.8732 | 30 | 16091.7057 | 3062.7875 | 2 | 4800 | 0 | 0.29829 | 0.48862 | 3.8303 | 0.17872 | 0.36905 | 4.6103
COMIWT22-19-19 | Insulation - Wall - Tier 2 - Min R-19 | Wall Insulation | Tier 2 / Minimum R-19 | 2 | 0.19 | /sq. ft. | 3228 | 613.32 | 1.7 | 5487.6 | 0.15924 | 4973.5706 | 30 | 11422.8761 | 2174.1537 | 1.5 | 4842 | 0 | 0.42389 | 0.61422 | 3.0471 | 0.4354 | 0.62574 | 2.7191
COMIWT2-4-1-22 | Insulation - Wall - Tier 2 - Min R-19 | Wall Insulation | Tier 2 / Minimum R-19 | 2 | 0.19 | /sq. ft. | 17414 | 3308.66 | 1.7 | 29603.8 | 0.15924 | 26830.7801 | 30 | 61622.6654 | 11728.8454 | 2 | 34828 | -4096.39 | 0.56518 | 0.75551 | 2.4772 | 0.4354 | 0.62574 | 2.7191
COMFSDISDL-7-17 | Low Temp Door Dishwasher | Energy Star | <=.6kW Idle Rate, <= 1.18 gal/rack | 1 | 448 | /unit | 1 | 448 | 1800 | 1800 | 195.9644 | 1604.0356 | 12 | 4354.7635 | 1588.112 | 800 | 800 | 0 | 0.18371 | 0.54839 | 2.2317 | 0.36834 | 0.73302 | 1.5178
COMMTNFCTR | Motion Faucet Controls | Motion Controlled Faucet | <= 1.8 gpm, Watersense Certified | 1 | 136 | /faucet | 42 | 5712 | 315 | 13230 | 27.7106 | 12066.1568 | 5 | 25863.1823 | 20248.4283 | 105 | 4410 | 0 | 0.17051 | 0.95342 | 1.0851 | 0.46654 | 1.2494 | 0.75277
COMRADIANT2-19-19 | Radiant Heating | Direct-fired Radiant Heating | None | 26 | 4.33 | /kBtu/hr in | 4450 | 19268.5 | 21 | 93450 | 2.5914 | 81918.0689 | 18 | 256265.1351 | 68304.7689 | 15 | 66750 | -5305.3 | 0.26047 | 0.52701 | 2.6679 | 0.31966 | 0.5862 | 2.1805
COMTANKLESST12-19-19 | Tankless Water Heater | Energy Star | Minimum .87 Energy Factor | 3 | 22 | /gpm | 52.4 | 1152.8 | 137.9 | 7225.96 | 13.1667 | 6536.0251 | 18 | 15331.8861 | 4086.5525 | 120 | 6288 | 0 | 0.41013 | 0.67667 | 2.0779 | 0.4263 | 0.69284 | 1.8449
COMTANKLESST22-19-19 | Tankless Water Heater - Tier 2 | Energy Star | Minimum .93 Energy Factor | 16 | 38 | /gpm | 193.44 | 7350.72 | 52.8 | 10213.632 | 24.5246 | 5469.5949 | 20 | 105423.0477 | 26057.5152 | 150 | 29016 | 0 | 0.27523 | 0.5224 | 2.8216 | 0.051882 | 0.29905 | 4.4808
COMFURNACE2-19-19 | Warm-Air Furnace | High-Efficiency Condensing Furnace | Minimum 91% AFUE | 29 | 1.1 | /kBtu/hr in | 4074.8 | 4482.28 | 6.72 | 27382.656 | 0.65833 | 24700.0733 | 18 | 59612.9481 | 15889.2026 | 5 | 20374 | 0 | 0.34177 | 0.60831 | 2.3113 | 0.41434 | 0.68088 | 1.8773
COMWINDOWS2-19-19 | Windows | Single pane to .27 or less (not LoadMAP's .50 to .22) per sq ft | 0.27 or less U | 59 | 1.1 | /sq. ft. | 2410.02 | 2651.02 | 24.31 | 58587.5862 | 1.1325 | 55858.2129 | 45 | 60652.6937 | 9397.582 | 5 | 12050.1 | 0 | 0.19867 | 0.35361 | 7.5728 | 0.92095 | 1.0759 | 2.2627
COMWINDOWS-4-1-22 | Windows - Tier 1 | Single pane to .30 or less (not LoadMAP's .50 to .22) per sq ft | 0.30 or less U | 1 | 0.4877 | /sq. ft. | 313 | 152.65 | 24.31 | 7609.03 | 0.50211 | 7451.8683 | 45 | 3492.4798 | 541.1279 | 7.5 | 2347.5 | 0 | 0.67216 | 0.8271 | 3.2376 | 2.1337 | 2.2886 | 1.0637
COMINSBNDL-7-17 | Bonus - Insulation Bundle A | Insulation Bundle A | Two Insulation Measures, min. 1000 sq. ft.+ | 3 |  | /unit | 3 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 500 | 1500 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLA2-19-19 | Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 9 |  | /unit | 9 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 300 | 2700 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLB2-19-19 | Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 2 |  | /unit | 2 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 500 | 1000 | 0 | 0 | 0 | - | 0 | 0 | -
COMRECOVBNDL | Bonus - Re-COV-ery D (3 or more) | Re-COV-ery Bundle D | Any 3 measures for facilities under 50,000 sq ft | 6 |  | /unit | 6 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0.1 | 4515.44 | 0 | 0 | 0 | - | 0 | 0 | -
Custom Measures | [11 empty] | 0 |  |  |  |  | 777042.94 | -23539.87
| 008554-C |  | Refrigerated case doors | 1 | 11110 | /unit | 1 | 11110 | 103968 | 103968 | 4859.7411 | 99108.2589 | 12 | 107994.2475 | 50797.7873 | 8428 | 14221 |  | 0.13168 | 0.60206 | 2.0328 | 0.91772 | 1.3881 | 0.80152
| 008499-C |  | Steam trap rebuild | 1 | 1333 | /unit | 1 | 1333 | 1800 | 1800 | 501.3955 | 1298.6045 | 10 | 11142.1232 | 6094.82 | 8428 | 1002 |  | 0.089929 | 0.63694 | 1.8349 | 0.11655 | 0.66356 | 1.6012
| 008553-C |  | Refrigerated case doors | 1 | 11606 | /unit | 1 | 11606 | 105548 | 105548 | 5076.7017 | 100471.2983 | 12 | 112815.5928 | 53065.6273 | 8428 | 14856 |  | 0.13168 | 0.60206 | 2.0328 | 0.89058 | 1.361 | 0.8175
| 008555-C |  | Refrigerated case doors | 1 | 9955 | /unit | 1 | 9955 | 100343 | 100343 | 4354.5205 | 95988.4795 | 12 | 96767.1227 | 45516.8292 | 8428 | 12742 |  | 0.13168 | 0.60205 | 2.0328 | 0.99195 | 1.4623 | 0.76083
| 008556-C |  | Refrigerated case doors | 1 | 10736 | /unit | 1 | 10736 | 108383 | 108383 | 4696.1459 | 103686.8541 | 12 | 104358.7976 | 49087.7627 | 8428 | 13742 |  | 0.13168 | 0.60206 | 2.0328 | 0.99356 | 1.4639 | 0.75999
| 008550-C |  | Refrigerated case doors | 1 | 12639 | /unit | 1 | 12639 | 123635 | 123635 | 5528.557 | 118106.443 | 12 | 122856.8221 | 57788.7699 | 8428 | 16178 |  | 0.13168 | 0.60206 | 2.0328 | 0.96133 | 1.4317 | 0.7771
| 008551-C |  | Refrigerated case doors | 1 | 12960 | /unit | 1 | 12960 | 127175 | 127175 | 5668.969 | 121506.031 | 12 | 125977.088 | 59256.4647 | 8428 | 16589 |  | 0.13168 | 0.60206 | 2.0328 | 0.96451 | 1.4349 | 0.77538
| 008552-C |  | Refrigerated case doors | 1 | 14208 | /unit | 1 | 14208 | 142512 | 142512 | 6214.8697 | 136297.1303 | 12 | 138108.215 | 64962.6428 | 8428 | 18186 |  | 0.13168 | 0.60205 | 2.0328 | 0.98689 | 1.4573 | 0.76348
| 008521-C |  | Heat Recovery Units | 1 | 2675 | /unit | 1 | 2675 | 55000 | 55000 | 1396.3201 | 53603.6799 | 15 | 31029.336 | 12230.7904 | 8428 | 6142 |  | 0.19794 | 0.59211 | 2.2151 | 1.7275 | 2.1217 | 0.56198
| 008531-C |  | Energy Recovery Ventilators | 1 | 1146 | /unit | 1 | 1146 | 25000 | 25000 | 598.1992 | 24401.8008 | 15 | 13293.3155 | 5239.8078 | 8428 | 2631 |  | 0.19792 | 0.59209 | 2.2152 | 1.8356 | 2.2298 | 0.53473
| 008512-C |  | Steam Boiler | 1 | 6766 | /unit | 1 | 6766 | 22500 | 22500 | 3531.7764 | 18968.2236 | 15 | 78483.9206 | 30935.8982 | 8428 | 16888 |  | 0.21518 | 0.60935 | 2.1524 | 0.24168 | 0.63585 | 1.8752
| 008503-C |  | Kitchen MUA DCV | 1 | 2178 | /unit | 1 | 2178 | 2564 | 2564 | 1303.5029 | 1260.4971 | 18 | 28966.7314 | 9958.3781 | 8428 | 2564 |  | 0.088515 | 0.4323 | 3.2524 | 0.043515 | 0.3873 | 3.3002
| 008524-C |  | Custom boiler | 1 | 641.25 | /unit | 1 | 641.25 | 18795 | 18795 | 413.8525 | 18381.1475 | 20 | 9196.7221 | 2931.9605 | 8428 | 2579 |  | 0.28043 | 0.59923 | 2.4598 | 1.9987 | 2.3175 | 0.57822
| 008547-C |  | Rafter insulation | 1 | 836 | /unit | 1 | 836 | 9840 | 9840 | 700.6597 | 9139.3403 | 30 | 15570.2152 | 3822.4078 | 8428 | 5484 |  | 0.35221 | 0.59771 | 3.1313 | 0.58698 | 0.83247 | 2.0438
TOTAL PROGRAM |  |  |  | 284 |  |  |  | 289919.12 |  | 1875801.8572 |  | 1690510.3802 | 18.0821 | 3719678.8026 | 1129224.866 |  | 897307.07 |  | 0.24123 | 0.54481 | 2.6752 | 0.45448 | 0.75806 | 1.7479
| Nominal interest rate (post tax cost of cap.) | 3.4% | [6 empty] | non-energy | 185291.477
| Inflation rate | 2%
| Long term real discount rate | 3.4%
| Total 2022 Program Admin. | 1129224.866
| Custom Admin. | 451689.9464
| Prescriptive Admin. | 677534.9196
766935
Note on I3: Used formula to round down due to rounding limitations in Captures
Note on R33: Formula different here to account for 10% of incentives

## APP 2885
CASCADE NATURAL GAS CORPORATION
2018 INTEGRATED RESOURCE PLAN
PORTFOLIO COST APPENDIX 1 TABLE H
45 YEAR RESOURCE SUMMARY COSTS - MELDED COST PER THERM
| YEAR | IRP ANNUAL PORTFOLIO COST PER THERM (PV)* | NOMINAL COST PER THERM | PV OF RESOURCE PORTFOLIO COST/THERM | NON ENERGY BENEFIT | PORTFOLIO COSTS WITH CONSERVATION CREDIT | COST- EFFECTIVENESS LIMIT
2021 | 1 | 0.88445 | 0.88445 | 0.88445 | 10% | 0.9729 | 0.57011
2022 | 2 | 0.81372 | 0.84138 | 1.7258 | 10% | 1.8984 | 0.57616
2023 | 3 | 0.76116 | 0.8138 | 2.5396 | 10% | 2.7936 | 0.58293
2024 | 4 | 0.75798 | 0.83796 | 3.3776 | 10% | 3.7153 | 0.58976
2025 | 5 | 0.77076 | 0.88105 | 4.2586 | 10% | 4.6845 | 0.61456
2026 | 6 | 0.76379 | 0.90277 | 5.1614 | 10% | 5.6775 | 0.62925
2027 | 7 | 0.74933 | 0.9158 | 6.0772 | 10% | 6.6849 | 0.64175
2028 | 8 | 0.72707 | 0.9188 | 6.996 | 10% | 7.6956 | 0.65669
2029 | 9 | 0.71493 | 0.93418 | 7.9302 | 10% | 8.7232 | 0.67136
2030 | 10 | 0.70357 | 0.95058 | 8.8808 | 10% | 9.7688 | 0.70169
2031 | 11 | 0.68515 | 0.95718 | 9.8379 | 10% | 10.8217 | 0.71753
2032 | 12 | 0.67626 | 0.97687 | 10.8148 | 10% | 11.8963 | 0.7354
2033 | 13 | 0.66587 | 0.99457 | 11.8094 | 10% | 12.9903 | 0.75284
2034 | 14 | 0.64881 | 1.002 | 12.8114 | 10% | 14.0926 | 0.77212
2035 | 15 | 0.63836 | 1.0194 | 13.8309 | 10% | 15.2139 | 0.81064
2036 | 16 | 0.62567 | 1.0331 | 14.864 | 10% | 16.3504 | 0.83102
2037 | 17 | 0.61895 | 1.0568 | 15.9208 | 10% | 17.5128 | 0.8533
2038 | 18 | 0.61107 | 1.0788 | 16.9996 | 10% | 18.6995 | 0.87508
2039 | 19 | 0.60375 | 1.1021 | 18.1017 | 10% | 19.9118 | 0.89707
2040 | 20 | 0.59155 | 1.1166 | 19.2182 | 10% | 21.14 | 0.9193
2041 | 21 | 0.58354 | 1.1389 | 20.3571 | 10% | 22.3928 | 0.96256
2042 | 22 | 0.57564 | 1.1617 | 21.5188 | 10% | 23.6706 | 0.98552
2043 | 23 | 0.56784 | 1.1849 | 22.7037 | 10% | 24.974 | 1.0086
2044 | 24 | 0.56015 | 1.2086 | 23.9122 | 10% | 26.3035 | 1.032
2045 | 25 | 0.55257 | 1.2328 | 25.145 | 10% | 27.6595 | 1.0555
2046 | 26 | 0.54509 | 1.2574 | 26.4024 | 10% | 29.0427 | 1.1027
2047 | 27 | 0.53771 | 1.2826 | 27.685 | 10% | 30.4535 | 1.1272
2048 | 28 | 0.53043 | 1.3082 | 28.9932 | 10% | 31.8925 | 1.152
2049 | 29 | 0.52324 | 1.3344 | 30.3276 | 10% | 33.3603 | 1.1771
2050 | 30 | 0.51616 | 1.3611 | 31.6887 | 10% | 34.8575 | 1.2024
2051 | 31 | 0.50917 | 1.3883 | 33.0769 | 10% | 36.3846 | 1.2542
2052 | 32 | 0.50228 | 1.4161 | 34.493 | 10% | 37.9423 | 1.2807
2053 | 33 | 0.49548 | 1.4444 | 35.9374 | 10% | 39.5311 | 1.3076
2054 | 34 | 0.48877 | 1.4733 | 37.4106 | 10% | 41.1517 | 1.3348
2055 | 35 | 0.48215 | 1.5027 | 38.9134 | 10% | 42.8047 | 1.3623
2056 | 36 | 0.47562 | 1.5328 | 40.4462 | 10% | 44.4908 | 1.3902
2057 | 37 | 0.46918 | 1.5634 | 42.0096 | 10% | 46.2106 | 1.4184
2058 | 38 | 0.46283 | 1.5947 | 43.6043 | 10% | 47.9647 | 1.447
2059 | 39 | 0.45656 | 1.6266 | 45.2309 | 10% | 49.754 | 1.476
2060 | 40 | 0.45038 | 1.6591 | 46.89 | 10% | 51.5791 | 1.5054
2061 | 41 | 0.44428 | 1.6923 | 48.5824 | 10% | 53.4406 | 1.5351
2062 | 42 | 0.43827 | 1.7262 | 50.3085 | 10% | 55.3394 | 1.5653
2063 | 43 | 0.43233 | 1.7607 | 52.0692 | 10% | 57.2761 | 1.5958
2064 | 44 | 0.42648 | 1.7959 | 53.8651 | 10% | 59.2516 | 1.6268
2065 | 45 | 0.42071 | 1.8318 | 55.6969 | 10% | 61.2666 | 1.6581
Cascade's Long Term Real Discount Rate: |  |  |  | 3.4%
|  | IRP Discount Rate = |  | 3.4%
|  | Revised Discount Rate= |  | 4.17%
|  | Years 21-45 Escalation = |  | 2% | (EIA Inflation Rate)