## REDACTED
REDACTED VERSION

## Ops & dispatch inputs (R)
REDACTED VERSION
Puget Sound Energy
2026 Power Cost update workpapers
Thermal Resource Operations and Dispatch Inputs
Calculations for input to the AURORA model
| AURORA annual inflation rate: | 2.5%
| AURORA economic base year: | 2020
| Rate year: | 2026
| Inputs for economic dispatch | [7 empty] | Efficiency / fuel inputs |  |  |  |  | Operating constraints inputs
AURORA input column name | [5 empty] | Variable O&M | Var Cost Mod1 | Start Up Costs | Heat Rate | UBB Heat Rate | Heat Rate at Minimum |  | Start Fuel Amount | Capacity |  |  | UBB Segment Size |  | Minimum Capacity | Min Up Time | Min Down Time |  | Ramp Rate
| VO (nominal $/MWh) | VM (nominal $/run-hour) | Incremental VM (nominal $/MWh) | MMA (nominal $/start) | Incremental MMA (nominal $/MW/start) | VO (2020 $/MWh) | Incremental VM (2020 $/MWh) | Incremental MMA (2020 $/MW/start) | Heat rate (Btu/kWh) | Duct firing heat rate (Btu/kWh) | Heat rate at minimum output (Btu/kWh) | Fuel consumed on start up (total MMBtu) | MMBtu / MW / Start | Capacity (MW) | Duct firing capability included in capacity (MW) | Normal full output (MW) | % of total capacity attributable to duct firing (x100) | Minimum capacity (MW) | Minimum capacity as % of total (x100) | Minimum on time (hrs) | Minimum off time (hrs) | Ramp rate (MW/min) | Ramp rate (% of capacity per hr X 100)
Encogen |  |  |  | n/a | n/a |  |  | n/a |  | n/a |  |  |  | 166 | 0 | 166 | 0
Ferndale |  |  |  | n/a | n/a |  |  | n/a | [5 empty] | 270 | 27 | 243 | 10
Freddy 1 |  | n/a | n/a |  |  |  | n/a | [6 empty] | 132.1025 | 7 | 125.1025 | 5.2989
Freddy 1 Tolling |  | n/a | n/a |  |  |  | n/a | [6 empty] | 132.8975 | 8 | 124.8975 | 6.0197
Frederickson 1 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 75 | 0 | 75 | 0
Frederickson 2 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 75 | 0 | 75 | 0
Fredonia 1 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 106 | 0 | 106 | 0
Fredonia 2 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 106 | 0 | 106 | 0
Fredonia 3 |  |  |  | n/a | n/a |  |  | n/a |  | n/a |  |  |  | 60 | 0 | 60 | 0
Fredonia 4 |  |  |  | n/a | n/a |  |  | n/a |  | n/a |  |  |  | 60 | 0 | 60 | 0
Goldendale |  |  |  | n/a | n/a |  |  | n/a | [5 empty] | 315 | 20 | 295 | 6.3492
Gray's Harbor Tolling |  | n/a | n/a |  |  |  | n/a |  |  | 9500 |  |  |  | 665 | 100 | 565 | 15.0376
Mint Farm |  |  |  | n/a | n/a |  |  | n/a | [5 empty] | 320 | 34 | 286 | 10.625
Sumas |  |  |  | n/a | n/a |  |  | n/a |  | n/a |  |  |  | 133 | 0 | 133 | 0
Whitehorn 2 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 75 | 0 | 75 | 0
Whitehorn 3 |  | n/a | n/a |  |  |  | n/a |  |  | n/a |  |  |  | 75 | 0 | 75 | 0
Note on A19: Trost, Daniela: Start Date 10/1/2025

## CCA inputs (R)
REDACTED VERSION | [9 empty] | Year | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026 | 2026
Puget Sound Energy | [9 empty] | Adder Type | 2026-01-01 | 2026-02-01 | 2026-03-01 | 2026-04-01 | 2026-05-01 | 2026-06-01 | 2026-07-01 | 2026-08-01 | 2026-09-01 | 2026-10-01 | 2026-11-01 | 2026-12-01
2026 Power Cost update workpapers | [9 empty] | Goldendale | bar: 2026-01-01 to 2026-12-01
CCA Emission Rates and Price | [9 empty] | Mint Farm | bar: 2026-01-01 to 2026-12-01
Calculations for input to the AURORA model | [9 empty] | Grays Harbor Tolling | No | No | No | No | No | Yes | No | No | No | No | No | No
[10 empty] | Ferndale | No | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No
| CEMS Equipped Gas: | Encogen, Ferndale, Fredonia 3&4, Goldendale, Mint Farm, Sumas, Freddy 1 | [7 empty] | Sumas | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Not CEMS Equipped Gas: | Frederickson, Fredonia 1&2, Whitehorn | [7 empty] | Encogen | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Not CEMS Equipped Diesel: | Crystal Mountain | [7 empty] | Fredonia (2) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Colstrip: | Colstrip 3&4 | [7 empty] | Fredonia (1) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
[10 empty] | Frederickson (1) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
|  |  |  | Aurora Input | [5 empty] | Frederickson (2) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
|  | metric tons CO2e/MMBtu | kg CO2/MMBtu | lb/MMBtu | CCA allowance price dates as of 9/5/25 (7-day rolling average) |  |  |  |  | Whitehorn (2) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
|  | Emission Factor | Emission Factor | Emission Factor |  | 2025 | 2026 |  |  | Whitehorn (3) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| CEMS Equipped Gas: |  |  |  | $/metric ton | 62.89 | 65.61 |  |  | Fredonia (3) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Not CEMS Equipped Gas: |  |  |  | $/ton | 57.0529 | 59.5204 |  |  | Fredonia (4) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
| Not CEMS Equipped Diesel: |  |  |  | 2020 $/ton | 50.4264 | 51.3243 |  |  | Freddy 1** | bar: 2026-01-01 to 2026-12-01
| Colstrip: |  |  |  | floor $/metric ton | 25.85 | 26.4962
[5 empty] | floor $/ton | 23.4507 | 24.037
[5 empty] | 2020 floor $/ton | 20.727 | 20.727
ID | Name | Price | [5 empty] | Year | Emission Price ID | Aurora TSM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Month Ref Name | Year Ref Name
Freddy1_CCA | CO2 | yr_Freddy1_CCA | [5 empty] | 2026 | Goldendale_CCA | 2026_Goldendale_CCA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | mn_2026_Goldendale_CCA | yr_Goldendale_CCA
Freddy1_CCA | NOx | 0 | [5 empty] | 2026 | MintFarm_CCA | 2026_MintFarm_CCA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | mn_2026_MintFarm_CCA | yr_MintFarm_CCA
Freddy1_CCA | SO2 | 0 | [5 empty] | 2026 | GraysHarbor_CCA | 2026_GraysHarbor_CCA | 0 | 0 | 0 | 0 | 0 | 51.3243 | 0 | 0 | 0 | 0 | 0 | 0 | mn_2026_GraysHarbor_CCA | yr_GraysHarbor_CCA
Freddy1_CCA | HG | 0 | [5 empty] | 2026 | Ferndale_CCA | 2026_Ferndale_CCA | 0 | 0 | 51.3243 | 51.3243 | 0 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 0 | mn_2026_Ferndale_CCA | yr_Ferndale_CCA
Goldendale_CCA | CO2 | yr_Goldendale_CCA | [5 empty] | 2026 | Sumas_CCA | 2026_Sumas_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 0 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Sumas_CCA | yr_Sumas_CCA
Goldendale_CCA | NOx | 0 | [5 empty] | 2026 | Encogen_CCA | 2026_Encogen_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 0 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Encogen_CCA | yr_Encogen_CCA
Goldendale_CCA | SO2 | 0 | [5 empty] | 2026 | Fredonia1_CCA | 2026_Fredonia1_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Fredonia1_CCA | yr_Fredonia1_CCA
Goldendale_CCA | HG | 0 | [5 empty] | 2026 | Fredonia2_CCA | 2026_Fredonia2_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Fredonia2_CCA | yr_Fredonia2_CCA
MintFarm_CCA | CO2 | yr_MintFarm_CCA | [5 empty] | 2026 | Frederickson1_CCA | 2026_Frederickson1_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Frederickson1_CCA | yr_Frederickson1_CCA
MintFarm_CCA | NOx | 0 | [5 empty] | 2026 | Frederickson2_CCA | 2026_Frederickson2_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Frederickson2_CCA | yr_Frederickson2_CCA
MintFarm_CCA | SO2 | 0 | [5 empty] | 2026 | Whitehorn2_CCA | 2026_Whitehorn2_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Whitehorn2_CCA | yr_Whitehorn2_CCA
MintFarm_CCA | HG | 0 | [5 empty] | 2026 | Whitehorn3_CCA | 2026_Whitehorn3_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Whitehorn3_CCA | yr_Whitehorn3_CCA
GraysHarbor_CCA | CO2 | yr_GraysHarbor_CCA | [5 empty] | 2026 | Fredonia3_CCA | 2026_Fredonia3_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Fredonia3_CCA | yr_Fredonia3_CCA
GraysHarbor_CCA | NOx | 0 | [5 empty] | 2026 | Fredonia4_CCA | 2026_Fredonia4_CCA | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | 51.3243 | mn_2026_Fredonia4_CCA | yr_Fredonia4_CCA
GraysHarbor_CCA | SO2 | 0 | [5 empty] | 2026 | Freddy1_CCA | 2026_Freddy1_CCA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | mn_2026_Freddy1_CCA | yr_Freddy1_CCA
GraysHarbor_CCA | HG | 0
Ferndale_CCA | CO2 | yr_Ferndale_CCA
Ferndale_CCA | NOx | 0
Ferndale_CCA | SO2 | 0
Ferndale_CCA | HG | 0
Sumas_CCA | CO2 | yr_Sumas_CCA
Sumas_CCA | NOx | 0
Sumas_CCA | SO2 | 0
Sumas_CCA | HG | 0
Encogen_CCA | CO2 | yr_Encogen_CCA
Encogen_CCA | NOx | 0
Encogen_CCA | SO2 | 0
Encogen_CCA | HG | 0
Fredonia1_CCA | CO2 | yr_Fredonia1_CCA
Fredonia1_CCA | NOx | 0
Fredonia1_CCA | SO2 | 0
Fredonia1_CCA | HG | 0
Fredonia2_CCA | CO2 | yr_Fredonia2_CCA
Fredonia2_CCA | NOx | 0
Fredonia2_CCA | SO2 | 0
Fredonia2_CCA | HG | 0
Frederickson1_CCA | CO2 | yr_Frederickson1_CCA
Frederickson1_CCA | NOx | 0
Frederickson1_CCA | SO2 | 0
Frederickson1_CCA | HG | 0
Frederickson2_CCA | CO2 | yr_Frederickson2_CCA
Frederickson2_CCA | NOx | 0
Frederickson2_CCA | SO2 | 0
Frederickson2_CCA | HG | 0
Whitehorn2_CCA | CO2 | yr_Whitehorn2_CCA
Whitehorn2_CCA | NOx | 0
Whitehorn2_CCA | SO2 | 0
Whitehorn2_CCA | HG | 0
Whitehorn3_CCA | CO2 | yr_Whitehorn3_CCA
Whitehorn3_CCA | NOx | 0
Whitehorn3_CCA | SO2 | 0
Whitehorn3_CCA | HG | 0
Fredonia3_CCA | CO2 | yr_Fredonia3_CCA
Fredonia3_CCA | NOx | 0
Fredonia3_CCA | SO2 | 0
Fredonia3_CCA | HG | 0
Fredonia4_CCA | CO2 | yr_Fredonia4_CCA
Fredonia4_CCA | NOx | 0
Fredonia4_CCA | SO2 | 0
Fredonia4_CCA | HG | 0

## Gas-fired generation FOR (R)
REDACTED VERSION
Puget Sound Energy
2026 Power Cost update workpapers
Gas-fired Generation Forced Outage Data
For the four year period ended 9/30/2023
Unit | Period Hours | Forced Outage Hours | Unplanned Maintenance Hours | Unit Forced Outage Rate (%) | Gross Capacity (MW) | Plant | Weighted plant FOR (%)
ENCO1 | 35040 |  |  |  | 41.5 | Encogen
ENCO2 | 35040 |  |  |  | 41.5 | Ferndale
ENCO3 | 35040 |  |  |  | 41.5 | Freddy 1
ENCO4 | 35040 |  |  |  | 44 | Frederickson1
FDKS1 | 35040 |  |  |  | 74.7 | Frederickson2
FDKS2 | 35040 |  |  |  | 74.7 | Fredonia1
FERN ST | 35040 |  |  |  | 86 | Fredonia2
FERNA | 35040 |  |  |  | 87 | Fredonia3
FERNB | 35040 |  |  |  | 87 | Fredonia4
FRED1 | 35040 |  |  |  | 103.8 | Goldendale
FRED2 | 35040 |  |  |  | 103.8 | Grays Harbor
FRED3 | 35040 |  |  |  | 53.9 | Mint Farm
FRED4 | 35040 |  |  |  | 53.9 | Sumas
GOLD1 | 35040 |  |  |  | 191.6875 | Whitehorn2
GOLD2 | 35040 |  |  |  | 114 | Whitehorn3
GH | 35040 |  |  |  | 665
MINT1 | 35040 |  |  |  | 202.0542
MINT2 | 35040 |  |  |  | 133.1438
SUMA1 | 35040 |  |  |  | 87.8
SUMA2 | 35040 |  |  |  | 41.6
WHITE2 | 35040 |  |  |  | 74.7
WHITE3 | 35040 |  |  |  | 74.7

## Maintenance Sched. (R)
REDACTED VERSION
Puget Sound Energy
2026 Power Cost update workpapers
Thermal Resources Scheduled Maintenance
As of 9/5/2025, for input to AURORA Maintenance Schedule Tables (MST_WECC 2025, MST WECC 20200821)
ID | Name | Zone Name | Maint Begin Date | Maint End Date | Maint Begin Hour | Maint End Hour | Outage Factor | Mapping
[8 empty] | Colstrip (1) | 6673
[8 empty] | Colstrip (2) | 6674
[8 empty] | Colstrip (3) | 6675
[8 empty] | Colstrip (4) | 6676
[8 empty] | Crystal Mountain | 18975
[8 empty] | Encogen | 18992
[8 empty] | Encogen (CTG1) | 18989
[8 empty] | Encogen (CTG2) | 18990
[8 empty] | Encogen (CTG3) | 18991
[8 empty] | Ferndale | 18997
[8 empty] | Ferndale Generating Station (CT1A) | 18995
[8 empty] | Ferndale Generating Station (CT1B) | 18996
[8 empty] | Freddy 1 | 22892
[8 empty] | Freddy 1 Tolling | 22892_Toll
[8 empty] | Frederickson (1) | 8131
[8 empty] | Frederickson (2) | 8132
[8 empty] | Fredonia (1) | 8134
[8 empty] | Fredonia (2) | 8135
[8 empty] | Fredonia (3) | 8995_3
[8 empty] | Fredonia (4) | 8995_4
[8 empty] | Glacier Battery Storage | 25965
[8 empty] | Goldendale | 18999
[8 empty] | Goldendale Generating Station (G1) | 18998
[8 empty] | Grays Harbor Tolling | 21181_Grays
[8 empty] | Hopkins Ridge wind | 10872
[8 empty] | Hopkins Ridge Wind (2) | 11580
[8 empty] | Lower Baker | Lower_Baker
[8 empty] | Lower Snake River wind | 12522
[8 empty] | Mid C Priest Rapids | 18685
[8 empty] | Mid C Rock Island | 15721
[8 empty] | Mid C Rocky Reach | 15710
[8 empty] | Mid C Wanapum | 18695
[8 empty] | Mid C Wells | 16223
[8 empty] | Mint Farm | 19000
[8 empty] | Mint Farm Generating Station (CTG1) | 19001
[8 empty] | Snoqualmie (1) | 18980
[8 empty] | Snoqualmie (2) | 18981
[8 empty] | Snoqualmie (3) | 18982
[8 empty] | Snoqualmie (4) | 18983
[8 empty] | Snoqualmie 2 (6A) | 18987
[8 empty] | Snoqualmie 2 (6A) | 18987
[8 empty] | Snoqualmie PH1 | Snoqualmie_1
[8 empty] | Snoqualmie PH2 | Snoqualmie_2
[8 empty] | Sumas | 18994
[8 empty] | Sumas Power Plant (GEN1) | 18993
[8 empty] | Upper Baker | Upper_Baker
[8 empty] | Upper Baker | Upper_Baker
[8 empty] | WECC_Market | MKT_PSE
[8 empty] | Whitehorn (2) | 8172
[8 empty] | Whitehorn (3) | 8173
[8 empty] | Wild Horse (WHS1) | 11703
[8 empty] | Wild Horse Exp. wind | 12674
[8 empty] | Wild Horse wind | 11000