- EXHIBIT NO. ______ (WAG-3)

- DOCKET NO._____________
2001 PSE RATE CASE
WITNESS: WILLIAM A. GAINES

BEFORE THE

WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION

WASHINGTON UTILITIES AND

TRANSPORTATION COMMISSION,

Complainant,

v.

PUGET SOUND ENERGY, INC.

Respondent.

EXHIBIT TO DIRECT TESTIMONY OF WILLIAM A. GAINES
ON BEHALF OF PUGET SOUND ENERGY, INC.

# PSE'S POWER SUPPLY PORTFOLIO

At December 31, 2000, PSE's peak electric power resources were approximately 4,916,807 KW.  PSE's historical peak load of approximately 4,847,000 KW occurred on December 21, 1998.

During 2000, PSE's total electric energy production was supplied 24.7% by its own resources, 17.2% through long-term contracts with several of the Washington Public Utility Districts ("PUDs") that own hydro-electric projects on the Columbia River, 21.0% from other firm purchases and 37.1% from non-firm purchases.

The following table shows PSE's electric energy supply resources at December 31, 2000, and energy production during the year:

|  | Peak Power Resources at December 31, 2000 |  | 2000 Energy Production |  |
| --- | --- | --- | --- | --- |
|  | Kilowatts | % | Kilowatt-Hours (Thousands) | % |
| Purchased resources: |  |  |  |  |
| Columbia River |  |  |  |  |
| PUD Contracts (Hydro) | 1,393,000 | 28.3% | 6,624,109 | 17.2% |
| Other Hydro | 542,882 | 11.1% | 3,875,640 | 10.0% |
| Other Producers1 | 1,244,675 | 25.3% | 18,526,154 | 48.1% |
| Total purchased | 3,180,557 | 64.7% | 29,025,903 | 75.3% |
| Company-owned resources: |  |  |  |  |
| Hydro | 310,700 | 6.3% | 1,298,405 | 3.4% |
| Coal | 680,000 | 13.8% | 4,932,699 | 12.8% |
| Natural gas/oil | 745,550 | 15.2% | 3,271,282 | 8.5% |
| Total Company-owned | 1,736,250 | 35.3% | 9,502,386 | 24.7% |
| Total | 4,916,807 | 100.0% | 38,528,289 | 100.0% |

## COMPANY-OWNED ELECTRIC GENERATION RESOURCES

PSE and other utilities are joint owners of four mine-mouth, coal-fired, steam-electric generating units at Colstrip, Montana, approximately 100 miles east of Billings, Montana.  PSE owns a 50% interest (330,000 KW) in Units 1 and 2 and a 25% interest (350,000 KW) in Units 3 and 4.  The owners of the Colstrip Units purchase coal for the Units from Western Energy Company ("Western Energy"), under the terms of long-term coal supply agreements.

PSE owns a (160,000 KW) natural-gas fired cogeneration facility located near Bellingham, Washington, which was purchased from Encogen Northwest L.P. ("Encogen") on November 1, 1999.  PSE also has the following plants with an aggregate net generating capability of 896,250 KW: Upper Baker River hydro project (103,000 KW) constructed in 1959; Lower Baker River hydro project (71,400 KW) reconstructed in 1960; White River hydro plant (63,400 KW) constructed in 1911; Snoqualmie Falls hydro plant (45,500 KW), half the capability of which was installed during the period 1898 to 1910 and half in 1957; and one smaller hydro plant, Electron (27,400 KW), constructed during the period 1904 to 1929; a standby internal combustion unit (2,750 KW) installed in 1969; four dual-fuel combustion turbine units (89,100 KW each) installed during 1981; and two dual-fuel combustion turbine units (113,200 KW each) installed during 1984.  During 2001, PSE installed two additional dual-fuel combustion turbines (53,000 KW each).  All of these generating facilities, except the Colstrip, Montana plants, are located in PSE's service territory.

## COLUMBIA RIVER ELECTRIC ENERGY SUPPLY CONTRACTS

During 2000, approximately 17.2% of PSE's energy output was obtained at an average cost of approximately 11.4 mills per KWH through long-term contracts with several of the Washington PUDs owning hydro-electric projects on the Columbia River.

PSE's purchases of power from the Columbia River projects is generally on a "cost of service" basis under which PSE pays a proportionate share of the annual debt service and operating and maintenance costs of each project in proportion to the amount of power annually purchased by PSE from such project.  Such payments are not contingent upon the projects being operable.  These projects are financed through substantially level debt service payments, and their annual costs may vary over the term of the contracts as additional financing is required to meet the costs of major maintenance, repairs or replacements or license requirements.

PSE has contracted to purchase from Chelan County PUD ("Chelan") a share of the output of the original units of the Rock Island Project which equaled 50% as of July 1, 1999 and remains unchanged thereafter for the duration of the contract which expires in 2012.  PSE has also contracted to purchase the entire output of the additional Rock Island units for the duration of the contract, except that PSE's share of output of the additional units may be reduced up to 10% per year beginning July 1, 2000, subject to a maximum aggregate reduction of 50%, upon the exercise of rights of withdrawal by Chelan for use in its local service area.  Chelan began withdrawing 5% of the additional units on July 1, 2000.  As of December 31, 2000, PSE's aggregate annual capacity from all units of the Rock Island Project was 457,000 KW.  PSE has contracted to purchase from Chelan 38.9% (505,000 KW as of December 31, 2000) of the annual output of the Rocky Reach Project, which percentage remains unchanged for the remainder of the contract which expires in 2011.  PSE has contracted to purchase from Douglas County PUD 31.3% (261,000 KW as of December 31, 2000) of the annual output of the Wells Project, the percentage of which remains unchanged for the remainder of the contract which expires in 2018.  PSE has contracted to purchase from Grant County PUD 8.0% (72,000 KW as of December 31, 2000) of the annual output of the Priest Rapids Project and 10.8% (98,000 KW as of December 31, 2000) of the annual output of the Wanapum Project, which percentages remain unchanged for the remainder of the contracts which expire in 2005 and 2009, respectively.

## ELECTRIC ENERGY SUPPLY CONTRACTS AND AGREEMENTS WITH OTHER UTILITIES

Under a 1985 settlement agreement relating to Washington Public Power Supply System ("WPPSS") Nuclear Project No. 3, in which PSE had a 5% interest, PSE is entitled to receive from BPA beginning January 1, 1987, electric power during the months of November through April.  Under the contract, PSE is guaranteed to receive not less than 191,667 MWH in each contract year until PSE has received total deliveries of 5,833,333 MWH.  PSE expects the contract to be in effect until at least June 2008.  Also pursuant to the 1985 settlement agreement, BPA has an option to request that PSE deliver up to 67 MW of exchange energy to BPA in all months except May, July and August through the remaining term of the agreement which is no earlier than June 2008.

On April 4, 1988, PSE executed a 15-year contract, with provisions for early termination by PSE, for the purchase of firm energy supply from Avista Corporation (formerly Washington Water Power Company).  This agreement calls for the delivery of 100 MW of capacity and 657,000 MWH of energy from the Avista system annually (75 annual average MW).  Minimum and maximum delivery rates are prescribed.  Under this agreement, the energy is to be priced at Avista's average generation and transmission cost, subject to certain price ceilings.  This contract expires on December 31, 2002.

On October 27, 1988, PSE executed a 15-year contract for the purchase of firm power and energy from PacifiCorp.  Under the terms of the agreement, PSE receives 120 average MW of energy and 200 MW of peak capacity.  This contract expires on October 31, 2003.

On October 1, 1989, PSE signed a contract with The Montana Power Company under which Montana Power provides PSE, from its share of Colstrip Unit 4, 71 average MW of energy (94 MW of peak capacity) over a 21-year period.  This contract expires December 2010.

In February 1977, PSE and the Montana Power Company (Montana) settled a dispute over delivery provisions in the 94 MW long-term purchase of power from Montana.  The settlement resulted in PSE receiving 97 MW of capacity (3 additional MW), at a significant reduction in fixed contract costs, elimination of an annual capacity factor restriction and reductions in Colstrip coal costs.

PSE executed an exchange agreement with Pacific Gas & Electric Company ("PG&E") which became effective on January 1, 1992.  Under the agreement, 300 MW of capacity together with 413,000 MWH of energy are exchanged seasonally every year on a unit for unit basis.  No payments are made under this agreement.  PG&E is a summer peaking utility and will provide power during the months of November through February.  PSE is a winter peaking utility and will provide power during the months of June through September.  Each party may terminate the contract for various reasons.  In January 2001, PG&E did not meet all of its exchange delivery obligations to PSE due to resource shortfalls on the PG&E electrical system.

In October 1997, a 10-year power exchange agreement between PSE and Powerex (a subsidiary of a British Columbia utility) became effective.  Under this agreement Powerex pays PSE for the right to deliver power to PSE at the Canadian border in exchange for PSE delivering power to Powerex at various locations in the United States.

## ELECTRIC ENERGY SUPPLY CONTRACTS AND AGREEMENTS WITH NON-UTILITIES

As required by the federal Public Utility Regulatory Policies Act ("PURPA"), PSE entered into long-term firm purchased power contracts with non-utility generators.  The most significant of these are the contracts described below which PSE entered into in 1989, 1990 and 1991 with operators of natural gas-fired cogeneration projects.  PSE purchases the net electrical output of these three projects at fixed and annually escalating prices which were intended to approximate PSE's avoided cost of new generation projected at the time these agreements were made.  On June 29, 1989, PSE executed a 20-year contract to purchase 70 average MW of energy and 80 MW of capacity, beginning October 11, 1991, from the March Point Cogeneration Company ("March Point"), which owns and operates a natural gas-fired cogeneration facility known as March Point Phase I, located at the Equilon refinery in Anacortes, Washington.  On December 27, 1990, PSE executed a second contract (having a term coextensive with the first contract) to purchase an additional 53 average MW of energy and 60 MW of capacity, beginning in January 1993, from another natural gas-fired cogeneration facility owned and operated by March Point, which facility is known as March Point Phase II and is located at the Equilon refinery in Anacortes, Washington.  On February 24, 1989, PSE executed a 20-year contract to purchase 108 average MW of energy and 123 MW of capacity, beginning in April 1993, from Sumas Cogeneration Company, L.P., which owns and operates a natural gas-fired cogeneration project located in Sumas, Washington.

On March 20, 1991, PSE executed a 20-year contract to purchase 216 average MW of energy and 245 MW of capacity, beginning in April 1994, from Tenaska Washington Partners, L.P., which owns and operates a natural gas-fired cogeneration project located near Ferndale, Washington.  In December 1997 and January 1998, PSE and Tenaska Washington Partners entered into revised agreements in which PSE became the principal natural gas supplier to the project and power purchase prices under the Tenaska contract were revised to reflect market-based prices for the natural gas supply.  PSE obtained an order from the Washington Commission creating a regulatory asset related to the $215 million restructuring payment.  Under terms of the order, PSE is allowed to accrue as an additional regulatory asset one-half the carrying costs of the deferred balance over the first five years.

# PSE'S GAS SUPPLY PORTFOLIO

PSE purchases a blended portfolio of long-term firm, short-term firm, and non-firm gas supplies from a diverse group of major and independent producers and gas marketers in the United States and Canada.  All of PSE's gas supply is ultimately transported through Northwest Pipeline Corporation ("NPC"), the sole interstate pipeline delivering directly into the Western Washington area.

|  | Peak Firm Gas Supply at December 31, 2000 |  |
| --- | --- | --- |
|  | Dth per Day | % |
| Purchased gas supply: |  |  |
| British Columbia | 129,800 | 16.7 |
| Alberta | 76,200 | 9.8 |
| United States | 74,300 | 9.6 |
| Total purchased gas supply | 280,300 | 36.1 |
| Purchased storage capacity: |  |  |
| Clay Basin | 80,900 | 10.4 |
| Jackson Prairie | 47,800 | 6.2 |
| LNG | 71,100 | 9.1 |
| Total purchased storage capacity | 199,800 | 25.7 |
| Owned storage capacity: |  |  |
| Jackson Prairie | 266,400 | 34.3 |
| Propane-Air Injection | 30,000 | 3.9 |
| Total owned storage capacity | 296,400 | 38.2 |
| Total peak firm gas supply | 776,500 | 100.0 |

For baseload and peak-shaving purposes, PSE supplements its firm gas supply portfolio by purchasing natural gas at generally lower prices in summer, injecting it into underground storage facilities and withdrawing it during the winter heating season.  Storage facilities at Jackson Prairie in Western Washington and at Clay Basin in Utah are used for this purpose.  Peaking needs are also met by using PSE owned gas held in NPC's liquefied natural gas ("LNG") facility at Plymouth, Washington, and by producing propane-air gas at a plant owned by PSE and located on its distribution system.

In 1998, PSE took assignment from Cascade Natural Gas of a Peaking Gas Supply Service contract whereby PSE can divert up to 48,000 Dekatherms per day (one Dekatherm, or "Dth", is equal to one million British thermal units or "MMBtu" per day) of gas supply away from the Tenaska Cogeneration Facility and toward the core gas load by causing Tenaska to operate its facility on distillate fuel and paying any additional costs of such operation.

PSE expects to meet its firm peak-day requirements for residential, commercial and industrial markets through its firm gas purchase contracts, firm transportation capacity, firm storage capacity and other firm peaking resources.  PSE believes it will be able to acquire incremental firm gas supply resources that are reliable and reasonably priced, to meet anticipated growth in the requirements of its firm customers for the foreseeable future.

## Gas Supply Portfolio

For the 2000-2001 winter heating season, PSE has contracted for approximately 16.7% of its expected peak-day gas supply requirements from sources originating in British Columbia under a combination of long-term and winter-peaking purchase agreements.  Long-term gas supplies from Alberta represent approximately 9.8% of the peak-day requirements.  Long-term and winter peaking arrangements with U.S. suppliers and gas stored at Clay Basin make up approximately 20.0% of the peak-day portfolio.  The balance of the peak-day requirements is expected to be met with gas stored at Jackson Prairie, LNG held at NPC's Plymouth facility and propane-air resources, which represent approximately 40.5%, 9.1% and 3.9%, respectively, of expected peak-day requirements.

During 2000, approximately 50% of gas supplies purchased by PSE originated from British Columbia while 19% originated in Alberta and 31% originated in the United States.

The current firm, long-term gas supply portfolio consists of arrangements with 16 producers and gas marketers, with no single supplier representing more than 16% of expected peak-day requirements.  Contracts have remaining terms ranging from less than one-year to 11 years, with an average term of two-years.  All gas supply contracts contain market-sensitive pricing provisions based on several published indices.

PSE's firm gas supply portfolio is structured to capitalize on regional price differentials when they arise.  Gas and services are marketed outside PSE's service territory ("off-system sales") whenever on-system customer demand requirements permit.  The geographic mix of suppliers and daily, monthly and annual take requirements permit a high degree of flexibility in selecting gas supplies during off-peak periods to minimize costs.

## Gas Transportation Capacity

PSE currently holds firm transportation capacity on pipelines owned by NPC and PG&E Gas Transmission-Northwest ("PGT").  Accordingly, PSE pays fixed monthly demand charges for the right, but not the obligation, to transport specified quantities of gas from receipt points to delivery points on such pipelines each day for the term or terms of the applicable agreements.

PSE holds firm capacity on NPC's pipeline totaling 454,533 Dth per day, acquired under several agreements at various times.  PSE has exchanged certain segments of its firm capacity with third parties to effectively lower transportation costs.  PSE's firm transportation capacity contracts with NPC have remaining terms ranging from 4 to 15.5 years.  However, PSE has either the unilateral right to extend the contracts under their current terms or the right of first refusal to extend such contracts under current FERC orders.  PSE's firm transportation capacity on PGT's pipeline, totaling 90,392 Dth per day, has a remaining term of 23 years.

## GAS STORAGE CAPACITY

PSE holds storage capacity in the Jackson Prairie and Clay Basin underground gas storage facilities adjacent to NPC's pipeline.  The Jackson Prairie facility, operated and one-third owned by PSE, is used primarily for intermediate peaking purposes, able to deliver a large volume of gas over a relatively short time period.  Combined with capacity contracted from NPC's one-third stake in Jackson Prairie, PSE has peak, firm delivery capacity of over 340,000 Dth per day and total firm storage capacity exceeding 7,500,000 Dth at the facility.  The location of the Jackson Prairie facility in PSE's market area provides significant cost savings by reducing the amount of annual pipeline capacity required to meet peak-day gas requirements.

The Clay Basin storage facility is supply area storage and is withdrawn over the entire winter, capturing savings due to injecting lower cost gas supplies during the summer.  PSE has maximum firm withdrawal capacity of over 100,000 Dth per day from the facility with total storage capacity exceeding 13,000,000 Dth.  The capacity is held under two contracts with remaining terms of 13 and 19 years.

## LNG AND PROPANE-AIR RESOURCES

LNG and propane-air resources provide gas supply on short notice for short periods of time.  Due to their typically high cost, these resources are normally utilized as the supply of last resort in extreme peak-demand periods typically lasting a few hours or days.  PSE has long-term contracts for storage of approximately 250,000 Dth of PSE owned gas as LNG at NPC's Plymouth facility, which equates to approximately three and one-half days' supply at maximum daily deliverability of 72,000 Dth.  PSE owns storage capacity for approximately 1.4 million gallons of propane.  The propane-air injection facilities are capable of delivering the equivalent of 30,000 Dth of gas per day for up to four days directly into PSE's distribution system.

[BA013120047]

Power received from other utilities is classified between hydro and other producers based on the character of the utility system used to supply the power or, if the power is supplied from a particular resource, the character of that resource.