## Confidential
Shaded information is designated as confidential confidential per WAC 480-07-160
REDACTED VERSION

## p.1 Thermal inputs (R)
Puget Sound Energy
Rate Year Resources Inputs Summary
2024 GRC - Exhibit BDM-6 (C) p.1 | [5 empty] | Shaded information is designated as confidential per WAC 480-07-160 | [5 empty] | REDACTED VERSION
Thermal Resources
Calendar year | 2025 | shown for nominal values
2024 GRC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | VO nominal $/MWh2 | VM nominal $/MWh2 | Total variable O&M 2020 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2 | Start-up cost ($/MW/start) $20203 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2020 $/MMBtu3 | Colstrip line loss %
Colstrip 3 | XXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Colstrip 4 | XXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Encogen | XXXXX | 166 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Ferndale | XXXXX | 270 | 27 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 | XXXXX | 132.1025 | 7 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 Tolling | XXXXX | 132.8975 | 8 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 1 | XXXXX | 75 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 2 | XXXXX | 75 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 1 | XXXXX | 106 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 2 | XXXXX | 106 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 3 | XXXXX | 60 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 4 | XXXXX | 60 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Goldendale | XXXXX | 315 | 20 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Mint Farm | XXXXX | 320 | 34 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Sumas | XXXXX | 133 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 2 | XXXXX | 75 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 3 | XXXXX | 75 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1.
2. Nominal values are expressed in 2025 dollars.
3. The AURORA economic base year is 2020. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
2022 GRC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2,3 | Total variable O&M 2020 $/MWh4 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2,3 | Start-up cost ($/MW/start) $20203,4 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2020 $/MMBtu4 | Colstrip line loss %
Colstrip 3 | XXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Colstrip 4 | XXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Encogen | XXXXX | 166 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Ferndale | XXXXX | 271 | 9.9631 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 | XXXXX | 134 | 7.0896 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 Tolling | XXXXX |  |  | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Frederickson 1 | XXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 2 | XXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 1 | XXXXX | 104 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 2 | XXXXX | 104 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 3 | XXXXX | 55 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 4 | XXXXX | 55 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Goldendale | XXXXX | 300 | 6.6667 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Mint Farm | XXXXX | 314 | 10.828 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Sumas | XXXXX | 123 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 2 | XXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 3 | XXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2021/2022 dollars. All other nominal values are in 2020 dollars.
3. Major Maintenance inputs for Fredonia 3&4 were expressed on a $/start basis in 2019 GRC. Change to $/MWh more closely aligns with how costs are actually incurred for these units.
4. The AURORA economic base year is 2020. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
Changes (positive values indicate an increase relative to the 2022 GRC, negative values a decrease)
Resource | Heat rate (Btu/kWh) | Capacity (MW) | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh | Variable major maintenance nominal $/MWh | Total variable O&M 2020 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $ | Start-up cost ($/MW/start) $2020 | Average fuel price nominal $/MMBtu | Average variable transport nominal $/MMBtu | Average total fuel cost 2020 $/MMBtu | Colstrip line loss %
Colstrip 3 | XXXXX | 0 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Colstrip 4 | XXXXX | 0 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Encogen | XXXXX | 0 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Ferndale | XXXXX | -1 | 17.0369 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Freddy1 | XXXXX | -1.8975 | -0.089552 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Freddy1 Tolling | XXXXX |  |  | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Frederickson 1 | XXXXX | 1 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Frederickson 2 | XXXXX | 1 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Fredonia 1 | XXXXX | 2 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Fredonia 2 | XXXXX | 2 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Fredonia 3 | XXXXX | 5 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Fredonia 4 | XXXXX | 5 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Goldendale | XXXXX | 15 | 13.3333 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Mint Farm | XXXXX | 6 | 23.172 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Sumas | XXXXX | 10 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Whitehorn 2 | XXXXX | 1 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Whitehorn 3 | XXXXX | 1 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | -
Note on A14: Trost, Daniela: Start date 10/1/25

## p.2 Hydro & Wind inputs (R)
Puget Sound Energy
2024 GRC - Exhibit BDM-6 (C) p.2
Rate Year Resource Inputs Summary |  |  |  |  | Shaded information is designated as confidential per WAC 480-07-160 |  | REDACTED VERSION
Hydro and Wind
2024 GRC
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly/Sub-hourly shape assumptions | Available capacity, average (MW)1
Upper Baker | Hydro | 105 | XXXXX | 30-yr inflows, PSE model | Optimized per AURORA logic | 89.92
Lower Baker | Hydro | 111.2 | XXXXX | 30-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | Hydro | 46.9 | XXXXX | 30-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | Hydro | 141.72 | 63.53% | 30-yr inflows, PSE model | Optimized per AURORA logic | 99.91
Mid C Rocky Reach | Hydro | 447.8 | 53.3% | 30-yr inflows, PSE model | Optimized per AURORA logic | 436.81
Mid C Rock Island | Hydro | 218.31 | 47.33% | 30-yr inflows, PSE model | Optimized per AURORA logic | 203.06
Mid C Priest Rapids Project | Hydro | 96.09 | 56.53% | 30-yr inflows, PSE model | Optimized per AURORA logic | 74.73
Lower Snake River | Wind | 342.7 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Hopkins Ridge | Wind | 156.6 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse | Wind | 228.6 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse Expansion | Wind | 44 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Beaver Creek | Wind | 248.16 | XXXXX | Developer-provided forecast | AURORA default hourly/interpolated sub-hourly | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
2022 GRC
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly/Sub-hourly shape assumptions | Available capacity, average (MW)1
Upper Baker | Hydro | 105 | XXXXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 90.3
Lower Baker | Hydro | 111.2 | XXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | Hydro | 46.9 | XXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | Hydro | 267.1 | 63.87% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 222.2
Mid C Rocky Reach | Hydro | 383.9 | 57.36% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 344.1
Mid C Rock Island | Hydro | 187.1 | 49.58% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 139.1
Mid C Priest Rapids Project | Hydro | 98.3 | 56.66% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 83.8
Lower Snake River | Wind | 342.7 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Hopkins Ridge | Wind | 156.6 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse | Wind | 228.6 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse Expansion | Wind | 44 | XXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Beaver Creek | Wind |  | XXXXX | N/A | N/A | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
Changes (positive values indicate an increase relative to the 2022 GRC, negative values a decrease)
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)
Upper Baker | Hydro | 0 | XXXXX | No change | No change | -0.38
Lower Baker | Hydro | 0 | XXXXX | No change | No change | n/a
Snoqualmie Falls | Hydro | 0 | XXXXX | No change | No change | n/a
Mid C Wells | Hydro | -125.38 | -0.3423% | No change | No change | -122.29
Mid C Rocky Reach | Hydro | 63.9 | -4.054% | No change | No change | 92.71
Mid C Rock Island | Hydro | 31.21 | -2.244% | No change | No change | 63.96
Mid C Priest Rapids Project | Hydro | -2.21 | -0.1258% | No change | No change | -9.07
Lower Snake River | Wind | 0 | XXXXX | No change | No change | n/a
Hopkins Ridge | Wind | 0 | XXXXX | No change | No change | n/a
Wild Horse | Wind | 0 | XXXXX | No change | No change | n/a
Wild Horse Expansion | Wind | 0 | XXXXX | No change | No change | n/a
Beaver Creek | Wind | 248.16 | XXXXX | N/A | N/A | n/a
Note on A15: Trost, Daniela: Includes Wanapum

## p.3 Contract inputs (R)
Puget Sound Energy
2024 GRC - Exhibit BDM-6 (C) p.3
Rate Year Resource Inputs Summary |  |  |  |  | Shaded information is designated as confidential per WAC 480-07-160
Power Purchase Agreements |  |  |  |  | REDACTED VERSION
2024 GRC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXX | 300 | XXXXX | XXXXX | XXXXX
Klondike III wind PPA | wind | XXXXX | 50 | XXXXX | Owner-provided forecast | 12 month X 24 hour average
Vantage wind PPA | wind | 46.65 | 90 | 6 | Wild Horse shaping, contract starts 10/4/25 | Wild Horse shaping, contract starts 10/4/25
Baker Replacement | system | 0 | 7 | 0.7991 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 92.5 | 8 | 2.3575 | Historical average | Flat
QF Koma Kulshan | hydro | 86.21 | 11.9 | 4.6991 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 3 | 1.51 | Historical average | Flat
QF HF Sinclair | steam | 66.54 | 140 | 71 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -45.6 | -26.14 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 75.26 | 34.4 | 23.3 | Owner/developer-provided estimates | Flat
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass1 | biomass | 46.91 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 27.7626 | 100 MW Oct-Mar | All on-peak
Golden Hills Wind PPA | wind | 42.3 | 200 | 78.31 | Owner-provided forecast | Hourly owner-provided forecast
Clearwater wind PPA | wind | 27.9 | 350 | 157.94 | Owner-provided forecast | 12 month X 24 hour average
Powerex summer peak PPA | hydro | 0 | 0 | 0 | Contract ends 12/31/24 | 7x16
XXXXX | hydro | XXXXX | 25 | XXXXX | XXXXX
XXXXX | hydro | XXXXX | 25 | XXXXX | XXXXX
XXXXX | hydro | XXXXX | 25 | XXXXX | XXXXX
XXXXX | hydro | XXXXX | 25 | XXXXX | XXXXX
XXXXX | hydro | XXXXX | 25 | XXXXX | XXXXX
XXXXX | system | XXXXX | 25 | XXXXX | XXXXX
XXXXX | system | XXXXX | 50 | XXXXX | XXXXX
BPA Capacity Contract2 | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
1. Capacity reduced to 12 MW in May and June for outages.
2. No energy assumed in model for BPA capacity contract - priced at market price + premium. Only monthly capacity charge included in costs.
2022 GRC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXX | 380 | XXXXX | XXXXX | XXXXX
Klondike III wind PPA | wind | XXXXX | 50 | XXXXX | Owner-provided forecast | 12 month X 24 hour average
Vantage wind PPA | wind
Baker Replacement | system | 0 | 7 | 0.7991 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 53.4 | 3.4166 | 2.3575 | Historical average | Flat
QF Koma Kulshan | hydro | 85.3386 | 11.9 | 4.6991 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro
QF HF Sinclair | steam
Canadian Entitlement | hydro/system | 0 | -39.1765 | -27.0522 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 74.2771 | 13.88 | 13.8916 | Owner/developer-provided estimates | Flat
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass1 | biomass | 44.65 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 27.7626 | 100 MW Oct-Mar | All on-peak
Golden Hills Wind PPA | wind | 42 | 150 | 78.0172 | Owner-provided forecast | Hourly owner-provided forecast
Clearwater wind PPA | wind | 27.9 | 360 | 157.8581 | Owner-provided forecast | 12 month X 24 hour average
Powerex summer peak PPA | hydro | 104.65 | 250 | 55.7078 | 250 MW Jun-Sep | 7x16
XXXXX | hydro
XXXXX | hydro
XXXXX | hydro
XXXXX | hydro
XXXXX | hydro
XXXXX | system
XXXXX | system
BPA Capacity Contract2 | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
1. Capacity reduced to 12 MW in May and June for outages.
2. No energy assumed in model for BPA capacity contract - priced at market price + premium. Only monthly capacity charge included in costs.
Changes (positive values indicate an increase relative to the 2022 GRC, negative values a decrease)
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXX | -80 | XXXXX | XXXXX | XXXXX
Klondike III wind PPA | wind | XXXXX | 0 | XXXXX | Updated to more recent estimate | No change
Vantage wind PPA | wind | 46.65 | 90 | 6 | New PPA start date 10/4/2025 | New PPA start date 10/4/2025
Baker Replacement | system | 0 | 0 | 0 | No change | No change
PG&E Exchange | system | 0 | 0 | 0 | No change | No change
Point Roberts (BC Hydro) | system | 39.1 | 4.5834 | 0 | Contract price update | No change
QF Koma Kulshan | hydro | 0.87139 | 0 | 0 | Contract price update | No change
QF Twin Falls | hydro | 0 | 0 | 0 | No change | No change
QF Weeks Falls | hydro | 75 | 3 | 1.51 | PPA active again | PPA active again
QF HF Sinclair | steam | 66.54 | 140 | 71 | New PPA start date 7/1/2023 | New PPA start date 7/1/2023
Canadian Entitlement | hydro/system | 0 | -6.4235 | 0.91224 | No change | Update to use more recent 30-year hydro volumes
Schedule 91 contracts | various | 0.98289 | 20.52 | 9.4084 | Updated contract prices and volumes | Updated contract prices and volumes
Energy Keepers | hydro | 0 | 0 | 0 | No change | No change
SPI Biomass1 | biomass | 2.26 | 0 | 0 | No change | No change
Morgan Stanley PPA | system | 0 | 0 | 0 | No change | No change
Golden Hills Wind PPA | wind | 0.3 | 50 | 0.29275 | Updated contract prices and volumes | Updated contract prices and volumes
Clearwater wind PPA | wind | 0 | -10 | 0.081912 | No change | Updated contract volume
Powerex summer peak PPA | hydro | -104.65 | -250 | -55.7078 | PPA expires 12/31/24 | PPA expires 12/31/24
XXXXX | hydro | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | hydro | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | hydro | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | hydro | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | hydro | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | system | XXXXX | 25 | XXXXX | New RFP | New RFP
XXXXX | system | XXXXX | 50 | XXXXX | New RFP | New RFP
BPA Capacity Contract2 | system | n/a | 0 | 0 | No change | No change