Second Revised Sheet No. 70

Canceling First Revised

WN U-60	Sheet No. 70

# PUGET SOUND ENERGY

Electric Tariff G

## SCHEDULE 70

CONVERSION TO UNDERGROUND SERVICE

IN RESIDENTIAL AREAS

1.	DEFINITIONS - The following terms when used in this schedule shall have the meanings below:

a.	Underground Distribution System: An underground electric distribution system, excluding "Underground Service Lines," as such term is defined herein.  The Underground Distribution System typically includes, but is not limited to, Primary voltage cables, Secondary voltage cables located in any Public Thoroughfare, connections, terminations, pad-mounted transformers, pad-mounted switches, conduits, vaults and other associated components.  The Underground Distribution System shall be electrically equivalent to, and shall be capable of modification, upgrade and expansion, to the same extent as the overhead distribution system being replaced.

b.	Underground Service Lines:  The underground electric cables and associated components extending from the service connections of the relevant structure to the designated Secondary service connection point of an Underground Distribution System. For single-family residential customers, Underground Service Lines are provided, installed, owned, operated and maintained by the Company in accordance with Schedule 85 of this tariff (as revised from time to time upon approval of the Washington Utilities and Transportation Commission).  For non-residential and multi-family residential customers, Underground Service Lines are provided, installed, owned, operated and maintained by Customer.

c.	Conversion Area: That geographical area in which the Company replaces its overhead electric distribution system with an Underground Distribution System.

d.	Trenching and Restoration: Includes, but is not limited to, any or all of the following, whether in Public Thoroughfares of on private property:  breakup of sidewalks, driveways, street surfaces and pavements; disturbance or removal of landscaping; excavating for vaults; trenching for ducts of cable; shoring, flagging, barricading and backfilling; installation of select backfill or concrete around ducts (if necessary); compaction; and restoration of Public Thoroughfares and private property after accomplishing any of the foregoing; all in accordance with the Company’s specifications applicable thereto.

(D)(N)

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

|    |

(D) (N)

Issued:  November 26, 2001								Effective:  December 27, 2001

Advice No. 2001-48

Issued By Puget Sound Energy

By:	    						     Director, Rates & Regulation

Steve Secrist