Second Revision of Sheet No. 80-a

Canceling First Revision of

WN U-60	Sheet No. 80-a

# PUGET SOUND ENERGY

## Electric Tariff G

## SCHEDULE  80

GENERAL RULES AND PROVISIONS

(Continued)

j.	Secondary:  Refers to service or facilities constructed to operate at less than 600 volts.

k.	Primary:  Refers to service or facilities constructed to operate at 600 volts or greater.

3.	TAX ADJUSTMENT - The rates named in this tariff or charge in the area to which it applies shall be increased by the amount of any tax, or any increase in the amount thereof, heretofore or hereafter levied by any federal, state, municipal or other governmental authority upon or in respect to the generation, transmission, distribution, or sale of electric energy or the right of the Company to operate or do business within the jurisdiction of the taxing body.

4.	SCHEDULES AND CONDITIONS - The schedules and conditions specified in this tariff for electric service are subject to change by order of the Washington Utilities and Transportation Commission or upon the effectiveness of a superseding schedule and in accordance with the laws of the State of Washington regulating public service companies and any amendments thereto.  All schedules for electric service apply to Customers located on the established circuits of the Company.

5.	SUPPLY AND USE OF SERVICE - The Company's rates are based upon the furnishing of electric service to a Customer at a single Point of Delivery and at a single voltage.  When optional rate schedules are available, the Customer may not change from one rate schedule to another more frequently than once in any twelve-month period unless specifically authorized in the applicable rate schedule.  Each Point of Delivery shall be metered and billed separately under the appropriate rate schedule.  If several buildings are occupied and used by one Customer in a single business or other activity, the Company may furnish service for the entire group of buildings through one service connection at one Point of Delivery.  The Point of Delivery is further described and defined below and in Schedule 85 of this tariff.

For all overhead service at Secondary voltages and all underground service at Secondary voltages to Single-Family Residences (as defined in Schedule 85) and to residential end-uses contiguous to a Single-Family Residence, the Point of Delivery will normally be at a point on the outside of the structure to be served which is, in the Company's reasonable judgment, most conveniently located with respect to the

(N)

(N)

(N)

(C)

(C)

## Issued:  December 19,  2005		Effective:  January 19, 2006

Advice No.:   2005-49

Issued By Puget Sound Energy

| By: |  | Tom DeBoer Title: Director, Rates & Regulatory Affairs |
| --- | --- | --- |