# WN U-1

FIRST REVISION OF SHEET NO. 24

CANCELING ORIGINAL SHEET NO. 24

SCENIC SHORES WATER COMPANY

SCHEDULE NO. 2 (Continued)

CROSS CONNECTION CONTROL (Continued)

5.	If the customer has an Approved Backflow Prevention Assembly installed the assembly must be tested annually by a certified Backflow Assembly Tester (BAT) specialist.  The company will maintain a list of certified BAT specialists that are acceptable to the company and the customer may choose from any such BAT specialist on the company’s list.  The customer will provide a copy of the acceptable annual report from the BAT specialist.  If the annual report is not provided within thirty days of the anniversary date of the installation of the Approved Backflow Prevention Assembly, then the company will provide a notice of disconnection pursuant to WAC 480-110-355.  If a copy of the annual report is not received by the date for disconnection as specified in the notice, the company will disconnect customer’s service.

6.	No less often than every three years, the company shall re-survey its customers concerning the existence of cross connections.  If the customer does not respond to the initial survey, a second survey will be sent.  If the customer does not respond to the second survey, then non-response options listed in paragraph 2 will apply.

7.	For each customer meeting any criteria of WAC 246-290-490-4(b) Table 9, no less than every three years, the company shall conduct a site visit, premises inspection and shall assess the customer the charges set forth in section B, above.

8.	When necessary, the company will provide notices of disconnection as required in WAC 480-110-335.

9.	For all new construction, an Approved Backflow Prevention Assembly	(N)

shall be required.	(N)