Report to the Washington Utilities and Transportation Commission

## Electric Service Reliability - Major Event Report

# Date:				October 28, 2013

Date Submitted:				December 4, 2013

Primary Operating Area(s) Affected:		Sunnyside

Exclude from Reporting Status: 				Yes

Report Prepared by:				Diane DeNuccio

Report Approved by:				Heide Caswell

Event Description:

A SAIFI-based major event in Pacific Power’s Washington service territory on October 28, 2013 was due to wire down on circuit 5Y134 caused by high winds, which resulted in sustained interruptions affecting 13% of Sunnyside operating area customers.

Customers Out Sustained:  4,147

Total Customer Minutes Lost:  875,874

Sustained Interruptions:  39

PacifiCorp is requesting this event and the consequences thereof to be classified a SAIFI-based Major Event, pursuant the Company’s Modified Electric Reliability Reporting Plan, Docket UE 110634, with the 2013 threshold being 2,477 customer interruptions simultaneously in Sunnyside operating area.

Restoration:

Additional crews were borrowed from Yakima and Walla Walla operating area to assist Sunnyside personnel in the patrol of and ultimate step restoration of 5Y314.  About 51% of customer interruptions were restored within three hours.

Estimated Major Event Cost:

This event did not generate significant incremental costs to the company.

SAIDI, SAIFI, CAIDI Report:  Attached