## Legend
Date
Data as/of | 2016-06-29
Fiscal Year | FY2017
Event Begin Date/Time | 2016-02-15 | Event Begin Time
Event End Date/Time | 2016-02-15 23:59 | Event End Time
Month Begin | 2016-02-01
Month End | 2016-02-29
Year Begin | 2016-01-01
Year End | 2016-02-29
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-02-15 | through | 2016-02-15 23:59
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3800 | 0.2034% | 460282 | 3 | 1868631 | 0 | 3800 | 0 | 0 | 0 | 0 | 0 | 100% | 0.24632 | 0.0020336 | 121.1268
PP | Pacific Power | 3800 | 0.4927% | 460282 | 3 | 771210 | 0 | 3800 | 0 | 0 | 0 | 0 | 0 | 100% | 0.59683 | 0.0049273 | 121.1268
WA | Washington | 3800 | 2.852% | 460282 | 3 | 133235 | 0 | 3800 | 0 | 0 | 0 | 0 | 0 | 100% | 3.4547 | 0.028521 | 121.1268
WA | SUNNYSIDE | 3800 | 15.63% | 460282 | 3 | 24317 | 0 | 3800 | 0 | 0 | 0 | 0 | 0 | 100% | 18.9284 | 0.15627 | 121.1268
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-02-15 | through | 2016-02-15 23:59 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-02-15 | 3800 | 2.852% | 460282 | 3 | 133235 | 0 | 3800 | 0 | 0 | 0 | 0 | 0 | 100% | 3.4547 | 0.028521 | 121.1268
Data as of
2016-06-29

## SSC by State
| Washington | Event |  | 2016-02-15 | through | 2016-02-15 23:59 |  | Month |  | 2016-02-01 | through | 2016-02-29 |  | YTD | FY2017 | 2016-01-01 | through | 2016-02-29
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.5202 | 0.0047061 | 110.5377 | 0.27388 | 0.0026725 | 102.4803 | 11.7609 | 0.099398 | 118.321 | 6.9175 | 0.074537 | 92.8063 | 23.722 | 0.16841 | 140.8568 | 14.3611 | 0.13448 | 106.7869
PP | Pacific Power | 0.61315 | 0.005044 | 121.5593 | 0.016317 | 0.0001167 | 139.8172 | 6.7829 | 0.076608 | 88.5404 | 5.903 | 0.070576 | 83.6398 | 26.7001 | 0.18132 | 147.2549 | 14.8743 | 0.15332 | 97.0168
WA | Washington | 3.5206 | 0.028964 | 121.5524 | 0.065963 | 0.00044283 | 148.9593 | 7.2892 | 0.061868 | 117.8191 | 3.8346 | 0.033347 | 114.99 | 12.5111 | 0.10618 | 117.8285 | 9.0565 | 0.07766 | 116.6172
Op A | SUNNYSIDE | 3.4547 | 0.028521 | 121.1268 | 0 | 0 | 0 | 4.373 | 0.041183 | 106.1852 | 0.91835 | 0.012662 | 72.5289 | 5.5244 | 0.054355 | 101.6353 | 2.0697 | 0.025834 | 80.1165
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-06-29