## Legend
Date
Data as/of | 2016-12-14
Fiscal Year | FY2017
Event Begin Date/Time | 2016-11-18 | Event Begin Time
Event End Date/Time | 2016-11-19 | Event End Time
Month Begin | 2016-11-01
Month End | 2016-11-30
Year Begin | 2016-01-01
Year End | 2016-11-30
State | Yakima, Washington
Comments: | Tag | filed

## Customer Analysis
| Yakima, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2016-11-18 | through | 2016-11-19
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 15764 | 0.8436% | 133831.151 | 20 | 1868631 | 0 | 15763 | 1 | 0 | 0 | 0 | 0 | 99.99% | 0.07162 | 0.0084361 | 8.4897
PP | Pacific Power | 15764 | 2.044% | 133831.151 | 20 | 771210 | 0 | 15763 | 1 | 0 | 0 | 0 | 0 | 99.99% | 0.17353 | 0.020441 | 8.4897
WA | Washington | 15764 | 11.83% | 133831.151 | 20 | 133235 | 0 | 15763 | 1 | 0 | 0 | 0 | 0 | 99.99% | 1.0045 | 0.11832 | 8.4897
WA | YAKIMA | 15764 | 19.56% | 133831.151 | 20 | 80605 | 0 | 15763 | 1 | 0 | 0 | 0 | 0 | 99.99% | 1.6603 | 0.19557 | 8.4897
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2016-11-18 | through | 2016-11-19 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2016-11-18 | 15764 | 11.83% | 133831.151 | 20 | 133235 | 0 | 15763 | 1 | 0 | 0 | 0 | 0 | 99.99% | 1.0045 | 0.11832 | 8.4897
Data as of
2016-12-14

## SSC by State
| Yakima, Washington | Event |  | 2016-11-18 | through | 2016-11-19 |  | Month |  | 2016-11-01 | through | 2016-11-30 |  | YTD | FY2017 | 2016-01-01 | through | 2016-11-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.21283 | 0.010351 | 20.5619 | 0.14121 | 0.0019148 | 73.7499 | 5.7481 | 0.065378 | 87.9208 | 5.6765 | 0.056942 | 99.6888 | 189.4959 | 1.3808 | 137.2338 | 109.9761 | 1.0025 | 109.7061
PP | Pacific Power | 0.48383 | 0.024516 | 19.7353 | 0.3103 | 0.0040754 | 76.1388 | 7.157 | 0.095153 | 75.2153 | 6.9834 | 0.074712 | 93.4707 | 167.8062 | 1.3566 | 123.6989 | 101.9709 | 0.96827 | 105.312
WA | Washington | 1.046 | 0.11852 | 8.8257 | 0.041542 | 0.00020265 | 204.9944 | 5.2486 | 0.15348 | 34.1974 | 4.2442 | 0.035163 | 120.6984 | 109.2089 | 1.1486 | 95.083 | 78.4185 | 0.58784 | 133.4009
WA | SUNNYSIDE | 0.041542 | 0.00020265 | 204.9944 | 0.041542 | 0.00020265 | 204.9944 | 2.9143 | 0.027268 | 106.8777 | 2.9143 | 0.027268 | 106.8777 | 38.6944 | 0.41392 | 93.4821 | 15.4495 | 0.11743 | 131.5619
WA | WALLA WALLA | 0 | 0 | 0 | 0 | 0 | 0 | 0.24283 | 0.001321 | 183.8251 | 0.24283 | 0.001321 | 183.8251 | 18.8422 | 0.16334 | 115.3587 | 13.5783 | 0.1007 | 134.8368
WA | YAKIMA | 1.0045 | 0.11832 | 8.4897 | 0 | 0 | 0 | 2.0892 | 0.12488 | 16.729 | 1.0847 | 0.0065673 | 165.1695 | 51.6642 | 0.57129 | 90.434 | 49.3825 | 0.36969 | 133.5771
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2016-12-14