## Legend
Date
Data as/of | 2018-02-05
Fiscal Year | FY2019
Event Begin Date/Time | 2018-01-05 | Event Begin Time
Event End Date/Time | 2018-01-06 | Event End Time
Month Begin | 2018-01-01
Month End | 2018-01-31
Year Begin | 2018-01-01
Year End | 2018-01-31
State | Walla Walla, Washington
Comments: | Tag | filed

## Customer Analysis
| Walla Walla, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2018-01-05 | through | 2018-01-06
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 4215 | 0.218% | 94642.911 | 5 | 1933597 | 0 | 4215 | 0 | 0 | 0 | 0 | 0 | 100% | 0.048947 | 0.0021799 | 22.4538
PP | Pacific Power | 4215 | 0.5335% | 94642.911 | 5 | 790086 | 0 | 4215 | 0 | 0 | 0 | 0 | 0 | 100% | 0.11979 | 0.0053349 | 22.4538
WA | Washington | 4215 | 3.109% | 94642.911 | 5 | 135581 | 0 | 4215 | 0 | 0 | 0 | 0 | 0 | 100% | 0.69805 | 0.031088 | 22.4538
WA | WALLA WALLA | 4215 | 14.74% | 94642.911 | 5 | 28594 | 0 | 4215 | 0 | 0 | 0 | 0 | 0 | 100% | 3.3099 | 0.14741 | 22.4538
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2018-01-05 | through | 2018-01-06 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2018-01-05 | 4215 | 3.109% | 94642.911 | 5 | 135581 | 0 | 4215 | 0 | 0 | 0 | 0 | 0 | 100% | 0.69805 | 0.031088 | 22.4538
Data as of
2018-02-05

## SSC by State
| Walla Walla, Washington | Event |  | 2018-01-05 | through | 2018-01-06 |  | Month |  | 2018-01-01 | through | 2018-01-31 |  | YTD | FY2019 | 2018-01-01 | through | 2018-01-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.19396 | 0.0049716 | 39.0138 | 0.14501 | 0.0027917 | 51.9445 | 6.3944 | 0.063279 | 101.0505 | 6.3454 | 0.061099 | 103.8546 | 6.3944 | 0.063279 | 101.0505 | 6.3454 | 0.061099 | 103.8546
PP | Pacific Power | 0.36607 | 0.007184 | 50.9554 | 0.24628 | 0.0018492 | 133.1829 | 8.1352 | 0.086093 | 94.4934 | 8.0154 | 0.080758 | 99.2523 | 8.1352 | 0.086093 | 94.4934 | 8.0154 | 0.080758 | 99.2523
WA | Washington | 1.5309 | 0.037269 | 41.0755 | 0.8328 | 0.0061808 | 134.7391 | 13.2215 | 0.11241 | 117.6157 | 12.5234 | 0.081324 | 153.994 | 13.2215 | 0.11241 | 117.6157 | 12.5234 | 0.081324 | 153.994
WA | SUNNYSIDE | 0 | 0 | 0 | 0 | 0 | 0 | 0.28597 | 0.0028175 | 101.497 | 0.28597 | 0.0028175 | 101.497 | 0.28597 | 0.0028175 | 101.497 | 0.28597 | 0.0028175 | 101.497
WA | WALLA WALLA | 0.69805 | 0.031088 | 22.4538 | 0 | 0 | 0 | 5.4265 | 0.067362 | 80.5575 | 4.7285 | 0.036274 | 130.3556 | 5.4265 | 0.067362 | 80.5575 | 4.7285 | 0.036274 | 130.3556
WA | YAKIMA | 0.8328 | 0.0061808 | 134.7391 | 0.8328 | 0.0061808 | 134.7391 | 7.509 | 0.042233 | 177.799 | 7.509 | 0.042233 | 177.799 | 7.509 | 0.042233 | 177.799 | 7.509 | 0.042233 | 177.799
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-02-05