## Legend
Date
Data as/of | 2018-06-05
Fiscal Year | FY2019
Event Begin Date/Time | 2018-05-06 | Event Begin Time
Event End Date/Time | 2018-05-07 | Event End Time
Month Begin | 2018-05-01
Month End | 2018-05-31
Year Begin | 2018-01-01
Year End | 2018-05-31
State | Sunnyside, Washington
Comments: | Tag | filed

## Customer Analysis
| Sunnyside, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2018-05-06 | through | 2018-05-07
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 9979 | 0.5161% | 66547.65 | 14 | 1933597 | 0 | 9977 | 2 | 0 | 0 | 0 | 0 | 99.98% | 0.034417 | 0.0051608 | 6.6688
PP | Pacific Power | 9979 | 1.263% | 66547.65 | 14 | 790086 | 0 | 9977 | 2 | 0 | 0 | 0 | 0 | 99.98% | 0.084228 | 0.01263 | 6.6688
WA | Washington | 9979 | 7.36% | 66547.65 | 14 | 135581 | 0 | 9977 | 2 | 0 | 0 | 0 | 0 | 99.98% | 0.49083 | 0.073602 | 6.6688
WA | SUNNYSIDE | 9979 | 40.32% | 66547.65 | 14 | 24752 | 0 | 9977 | 2 | 0 | 0 | 0 | 0 | 99.98% | 2.6886 | 0.40316 | 6.6688
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2018-05-06 | through | 2018-05-07 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2018-05-06 | 9979 | 7.36% | 66547.65 | 14 | 135581 | 0 | 9977 | 2 | 0 | 0 | 0 | 0 | 99.98% | 0.49083 | 0.073602 | 6.6688
Data as of
2018-06-05

## SSC by State
| Sunnyside, Washington | Event |  | 2018-05-06 | through | 2018-05-07 |  | Month |  | 2018-05-01 | through | 2018-05-31 |  | YTD | FY2019 | 2018-01-01 | through | 2018-05-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 0.35142 | 0.0080663 | 43.5662 | 0.317 | 0.0029055 | 109.1055 | 8.4061 | 0.082087 | 102.4044 | 8.3716 | 0.076926 | 108.8271 | 47.1348 | 0.4401 | 107.1001 | 46.362 | 0.42415 | 109.3054
PP | Pacific Power | 0.70849 | 0.018855 | 37.576 | 0.62426 | 0.0062246 | 100.2892 | 7.9972 | 0.084335 | 94.8263 | 7.913 | 0.071705 | 110.3546 | 44.7005 | 0.41057 | 108.8734 | 42.8094 | 0.37154 | 115.2209
WA | Washington | 2.4215 | 0.08055 | 30.0616 | 1.9306 | 0.0069479 | 277.8721 | 12.332 | 0.13573 | 90.8588 | 11.8412 | 0.062125 | 190.6014 | 52.7884 | 0.49972 | 105.6353 | 47.7021 | 0.28524 | 167.2354
WA | Sunnyside | 0.49083 | 0.073602 | 6.6688 | 0 | 0 | 0 | 0.69942 | 0.074642 | 9.3704 | 0.20859 | 0.00104 | 200.5739 | 10.2124 | 0.21878 | 46.6795 | 5.8241 | 0.035381 | 164.6103
WA | Walla Walla | 0.12404 | 0.00044254 | 280.285 | 0.12404 | 0.00044254 | 280.285 | 2.5952 | 0.013188 | 196.793 | 2.5952 | 0.013188 | 196.793 | 13.2381 | 0.10619 | 124.659 | 12.5401 | 0.075106 | 166.9643
WA | Yakima | 1.8066 | 0.0065053 | 277.708 | 1.8066 | 0.0065053 | 277.708 | 9.0373 | 0.047898 | 188.6801 | 9.0373 | 0.047898 | 188.6801 | 29.3379 | 0.17475 | 167.8835 | 29.3379 | 0.17475 | 167.8835
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-06-05