## Legend
Date
Data as/of | 2018-08-06
Event Begin Date/Time | 2018-07-09 08:03 | Event Begin Time
Event End Date/Time | 2018-07-10 08:03 | Event End Time
Month Begin | 2018-07-01
Month End | 2018-07-31
Year Begin | 2018-01-01
Year End | 2018-07-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2018-07-09 08:03 | through | 2018-07-10 08:03
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 9944 | 0.5143% | 3147290.238 | 15 | 1933597 | 1192 | 655 | 9289 | 0 | 0 | 0 | 0 | 6.587% | 1.6277 | 0.0051427 | 316.5014
PP | Pacific Power | 9944 | 1.259% | 3147290.238 | 15 | 790086 | 1192 | 655 | 9289 | 0 | 0 | 0 | 0 | 6.587% | 3.9835 | 0.012586 | 316.5014
WA | Washington | 9944 | 7.334% | 3147290.238 | 15 | 135581 | 1192 | 655 | 9289 | 0 | 0 | 0 | 0 | 6.587% | 23.2134 | 0.073344 | 316.5014
WA | SUNNYSIDE | 22 | 0.08888% | 4926.3 | 1 | 24752 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0% | 0.19903 | 0.00088882 | 223.9227
WA | WALLA WALLA | 9861 | 34.49% | 3125004.504 | 8 | 28594 | 0 | 639 | 9222 | 0 | 0 | 0 | 0 | 6.48% | 109.2888 | 0.34486 | 316.9054
WA | YAKIMA | 61 | 0.07418% | 17359.434 | 6 | 82235 | 1192 | 16 | 45 | 0 | 0 | 0 | 0 | 26.23% | 0.2111 | 0.00074178 | 284.5809
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2018-07-09 08:03 | through | 2018-07-10 08:03 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2018-07-09 | 9901 | 7.303% | 3132529.771 | 14 | 135581 | 1192 | 655 | 9246 | 0 | 0 | 0 | 0 | 6.615% | 23.1045 | 0.073026 | 316.3852
| 2018-07-10 | 43 | 0.03172% | 14760.467 | 1 | 135581 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0% | 0.10887 | 0.00031715 | 343.2667
Data as of
2018-08-06

## SSC by State
| Washington | Event |  | 2018-07-09 08:03 | through | 2018-07-10 08:03 |  | Month |  | 2018-07-01 | through | 2018-07-31 |  | YTD | #REF! | 2018-01-01 | through | 2018-07-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2.4756 | 0.013896 | 178.149 | 0.84794 | 0.0087536 | 96.8672 | 16.69 | 0.13611 | 122.6217 | 13.6927 | 0.11459 | 119.4924 | 74.2129 | 0.70046 | 105.9484 | 69.8227 | 0.65371 | 106.8105
PP | Pacific Power | 4.3132 | 0.014101 | 305.8807 | 0.32974 | 0.001515 | 217.6494 | 16.4308 | 0.15162 | 108.3716 | 9.0955 | 0.098951 | 91.9186 | 70.8991 | 0.72 | 98.4704 | 60.1549 | 0.60558 | 99.3347
WA | Washington | 23.335 | 0.073919 | 315.6835 | 0.12162 | 0.0005753 | 211.4107 | 28.8155 | 0.115 | 250.5665 | 5.6021 | 0.041658 | 134.4798 | 99.4802 | 0.69297 | 143.5557 | 71.1805 | 0.40515 | 175.6914
WA | SUNNYSIDE | 0.037054 | 0.00016964 | 218.4247 | 0.00071888 | 7.3757e-06 | 97.467 | 2.0594 | 0.015046 | 136.8727 | 2.0231 | 0.014884 | 135.9237 | 14.7669 | 0.24759 | 59.6418 | 10.3423 | 0.064036 | 161.5086
WA | WALLA WALLA | 23.1669 | 0.073277 | 316.1543 | 0.11793 | 0.0005458 | 216.0604 | 23.3087 | 0.074892 | 311.2287 | 0.25971 | 0.0021611 | 120.177 | 37.9615 | 0.19063 | 199.1354 | 14.2144 | 0.086812 | 163.7388
WA | YAKIMA | 0.13102 | 0.00047204 | 277.5552 | 0.0029805 | 2.2127e-05 | 134.7 | 3.4474 | 0.025063 | 137.5502 | 3.3193 | 0.024613 | 134.8624 | 46.7519 | 0.25475 | 183.5219 | 46.6238 | 0.2543 | 183.3431
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-08-06