## Legend
Date
Data as/of | 2018-09-11
Year | 2018
Event Begin Date/Time | 2018-08-11 | Event Begin Time
Event End Date/Time | 2018-08-12 | Event End Time
Month Begin | 2018-08-01
Month End | 2018-08-31
Year Begin | 2018-01-01
Year End | 2018-08-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2018-08-11 | through | 2018-08-12
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3889 | 0.2011% | 1998066.934 | 7 | 1933597 | 0 | 26 | 3863 | 0 | 0 | 0 | 0 | 0.6686% | 1.0333 | 0.0020113 | 513.774
PP | Pacific Power | 3889 | 0.4922% | 1998066.934 | 7 | 790086 | 0 | 26 | 3863 | 0 | 0 | 0 | 0 | 0.6686% | 2.5289 | 0.0049222 | 513.774
WA | Washington | 3889 | 2.868% | 1998066.934 | 7 | 135581 | 0 | 26 | 3863 | 0 | 0 | 0 | 0 | 0.6686% | 14.7371 | 0.028684 | 513.774
WA | SUNNYSIDE | 4 | 0.01616% | 1862.401 | 3 | 24752 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 25% | 0.075242 | 0.0001616 | 465.6003
WA | YAKIMA | 3885 | 4.724% | 1996204.533 | 4 | 82235 | 0 | 25 | 3860 | 0 | 0 | 0 | 0 | 0.6435% | 24.2744 | 0.047243 | 513.8236
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2018-08-11 | through | 2018-08-12 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2018-08-11 | 3889 | 2.868% | 1998066.934 | 7 | 135581 | 0 | 26 | 3863 | 0 | 0 | 0 | 0 | 0.6686% | 14.7371 | 0.028684 | 513.774
Data as of
2018-09-11

## SSC by State
| Washington | Event |  | 2018-08-11 | through | 2018-08-12 |  | Month |  | 2018-08-01 | through | 2018-08-31 |  | YTD | 1905-07-10 | 2018-01-01 | through | 2018-08-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.5276 | 0.0056304 | 271.317 | 0.49429 | 0.0036192 | 136.5764 | 16.4349 | 0.1306 | 125.8437 | 12.4546 | 0.1162 | 107.1856 | 90.5869 | 0.83097 | 109.0136 | 82.2165 | 0.76981 | 106.8007
PP | Pacific Power | 2.5821 | 0.0051172 | 504.5881 | 0.053137 | 0.00019492 | 272.6147 | 18.6741 | 0.16069 | 116.2129 | 8.933 | 0.12544 | 71.2108 | 89.5732 | 0.88069 | 101.7076 | 69.0879 | 0.73102 | 94.5086
WA | Washington | 14.7371 | 0.028684 | 513.774 | 0 | 0 | 0 | 52.4851 | 0.2076 | 252.8239 | 10.2387 | 0.076006 | 134.7081 | 151.9653 | 0.90057 | 168.7437 | 81.4192 | 0.48115 | 169.2173
WA | SUNNYSIDE | 0.013736 | 2.9503e-05 | 465.6003 | 0 | 0 | 0 | 2.4066 | 0.082386 | 29.211 | 0.94251 | 0.0083861 | 112.3897 | 17.1735 | 0.32998 | 52.0441 | 11.2848 | 0.072422 | 155.8208
WA | WALLA WALLA | 0 | 0 | 0 | 0 | 0 | 0 | 1.8773 | 0.0070069 | 267.9178 | 1.8395 | 0.0065127 | 282.4531 | 39.8387 | 0.19764 | 201.5739 | 16.054 | 0.093324 | 172.0233
WA | YAKIMA | 14.7233 | 0.028654 | 513.8236 | 0 | 0 | 0 | 48.2012 | 0.1182 | 407.7855 | 7.4566 | 0.061107 | 122.0246 | 94.9531 | 0.37295 | 254.5997 | 54.0804 | 0.31541 | 171.4631
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-09-11