## Legend
Date
Data as/of | 2019-06-17
Fiscal Year | FY2019
Event Begin Date/Time | 5/15/2019 11:17 p.m. | Event Begin Time
Event End Date/Time | 5/16/2019 11:17 p.m. | Event End Time
Month Begin | 2019-05-01
Month End | 2019-05-31
Year Begin | 2019-01-01
Year End | 2019-05-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 5/15/2019 11:17 p.m. | through | 5/16/2019 11:17 p.m.
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 8441 | 0.427% | 1612597.898 | 13 | 1976599 | 0 | 4435 | 4006 | 0 | 0 | 0 | 0 | 52.54% | 0.81584 | 0.0042705 | 191.0435
PP | Pacific Power | 8441 | 1.053% | 1612597.898 | 13 | 801840 | 0 | 4435 | 4006 | 0 | 0 | 0 | 0 | 52.54% | 2.0111 | 0.010527 | 191.0435
WA | Washington | 8441 | 6.171% | 1612597.898 | 13 | 136786 | 0 | 4435 | 4006 | 0 | 0 | 0 | 0 | 52.54% | 11.7892 | 0.06171 | 191.0435
WA | SUNNYSIDE | 1 | 0.003987% | 122.717 | 1 | 25081 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0048928 | 3.9871e-05 | 122.717
WA | WALLA WALLA | 15 | 0.0521% | 5062.75 | 1 | 28792 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0% | 0.17584 | 0.00052098 | 337.5167
WA | YAKIMA | 8425 | 10.16% | 1607412.431 | 11 | 82913 | 0 | 4434 | 3991 | 0 | 0 | 0 | 0 | 52.63% | 19.3867 | 0.10161 | 190.7908
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 5/15/2019 11:17 p.m. | through | 5/16/2019 11:17 p.m. |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2019-05-15 | 716 | 0.5234% | 294204.4 | 1 | 136786 | 0 | 0 | 716 | 0 | 0 | 0 | 0 | 0% | 2.1508 | 0.0052345 | 410.9
| 2019-05-16 | 7725 | 5.648% | 1318393.498 | 12 | 136786 | 0 | 4435 | 3290 | 0 | 0 | 0 | 0 | 57.41% | 9.6384 | 0.056475 | 170.6658
Data as of
2019-06-17

## SSC by State
| Washington | Major Event period | [5 empty] | Month |  | 2019-05-01 | through | 2019-05-31 |  | YTD | FY2019 | 2019-01-01 | through | 2019-05-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.8337 | 0.013581 | 135.0191 | 1.0178 | 0.0093104 | 109.3221 | 13.8432 | 0.11837 | 116.9522 | 12.0208 | 0.11021 | 109.0694 | 157.124 | 0.58254 | 269.7215 | 48.1791 | 0.43045 | 111.927
PP | Pacific Power | 2.2921 | 0.016431 | 139.4989 | 0.28098 | 0.0059039 | 47.592 | 15.7704 | 0.1258 | 125.3625 | 11.2782 | 0.1057 | 106.7005 | 283.31 | 0.69911 | 405.2411 | 47.8977 | 0.41386 | 115.7348
WA | Washington | 11.823 | 0.061907 | 190.9807 | 0.033826 | 0.00019739 | 171.3651 | 21.3792 | 0.17122 | 124.861 | 9.59 | 0.10951 | 87.5682 | 60.3015 | 0.45035 | 133.9004 | 48.5123 | 0.38864 | 124.8269
WA | SUNNYSIDE | 0.029462 | 0.00016815 | 175.2192 | 0.028565 | 0.00016084 | 177.6056 | 1.5327 | 0.0115 | 133.2801 | 1.5318 | 0.011492 | 133.2868 | 9.7171 | 0.055927 | 173.7474 | 9.7162 | 0.055919 | 173.754
WA | WALLA WALLA | 0.038685 | 0.0001389 | 278.507 | 0.0016733 | 2.9243e-05 | 57.2208 | 1.4613 | 0.028168 | 51.8765 | 1.4243 | 0.028058 | 50.7602 | 5.5953 | 0.071031 | 78.7732 | 5.5583 | 0.070921 | 78.3732
WA | YAKIMA | 11.7549 | 0.0616 | 190.8264 | 0.003587 | 7.3107e-06 | 490.65 | 18.3852 | 0.13156 | 139.7521 | 6.6339 | 0.069963 | 94.82 | 44.989 | 0.32339 | 139.1176 | 33.2377 | 0.2618 | 126.9605
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2019-06-17