## Legend
Date
Data as/of | 2019-09-12
Event Begin Date/Time | 2019-08-09 23:03 | Event Begin Time
Event End Date/Time | 2019-08-10 23:03 | Event End Time
Month Begin | 2019-08-01
Month End | 2019-08-31
Year Begin | 2019-01-01
Year End | 2019-08-31
State | Sunnyside WA
Comments: | Tag | filed

## Customer Analysis
| Sunnyside WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2019-08-09 23:03 | through | 2019-08-10 23:03
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 10435 | 0.5279% | 1004929.6 | 22 | 1976599 | 0 | 10367 | 45 | 23 | 0 | 0 | 0 | 99.35% | 0.50841 | 0.0052793 | 96.3037
PP | Pacific Power | 10435 | 1.301% | 1004929.6 | 22 | 801840 | 0 | 10367 | 45 | 23 | 0 | 0 | 0 | 99.35% | 1.2533 | 0.013014 | 96.3037
WA | Washington | 10435 | 7.629% | 1004929.6 | 22 | 136786 | 0 | 10367 | 45 | 23 | 0 | 0 | 0 | 99.35% | 7.3467 | 0.076287 | 96.3037
WA | SUNNYSIDE | 10435 | 41.61% | 1004929.6 | 22 | 25081 | 0 | 10367 | 45 | 23 | 0 | 0 | 0 | 99.35% | 40.0674 | 0.41605 | 96.3037
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2019-08-09 23:03 | through | 2019-08-10 23:03 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2019-08-09 | 10262 | 7.502% | 933753.967 | 9 | 136786 | 0 | 10262 | 0 | 0 | 0 | 0 | 0 | 100% | 6.8264 | 0.075022 | 90.9914
| 2019-08-10 | 173 | 0.1265% | 71175.633 | 13 | 136786 | 0 | 105 | 45 | 23 | 0 | 0 | 0 | 60.69% | 0.52034 | 0.0012647 | 411.4198
Data as of
2019-09-12

## SSC by State
| Sunnyside WA | Event |  | 2019-08-09 23:03 | through | 2019-08-10 23:03 |  | Month |  | 2019-08-01 | through | 2019-08-31 |  | YTD | 0 | 2019-01-01 | through | 2019-08-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2.2235 | 0.03108 | 71.5423 | 0.85217 | 0.0044981 | 189.4498 | 12.4683 | 0.12491 | 99.8201 | 10.816 | 0.091385 | 118.3568 | 198.648 | 0.94148 | 210.9947 | 79.8874 | 0.70986 | 112.539
PP | Pacific Power | 4.7909 | 0.071371 | 67.1269 | 1.4104 | 0.0058453 | 241.2956 | 12.4818 | 0.1374 | 90.8399 | 8.4088 | 0.054768 | 153.535 | 321.8594 | 1.1009 | 292.3505 | 74.7261 | 0.64561 | 115.7449
WA | Washington | 10.3653 | 0.083985 | 123.4188 | 3.0186 | 0.0076982 | 392.1227 | 15.0521 | 0.12215 | 123.2294 | 7.7054 | 0.04586 | 168.0195 | 92.3131 | 0.76125 | 121.2644 | 70.1021 | 0.54748 | 128.0443
WA | SUNNYSIDE | 7.6455 | 0.076835 | 99.5052 | 0.29878 | 0.0005483 | 544.9271 | 8.2899 | 0.086946 | 95.3456 | 0.94319 | 0.010659 | 88.4878 | 23.8659 | 0.25924 | 92.0621 | 13.4432 | 0.10717 | 125.4409
WA | WALLA WALLA | 0.03698 | 0.0011112 | 33.2787 | 0.03698 | 0.0011112 | 33.2787 | 1.0905 | 0.0059801 | 182.3493 | 1.0905 | 0.0059801 | 182.3493 | 10.822 | 0.098073 | 110.3469 | 10.785 | 0.097963 | 110.0926
WA | YAKIMA | 2.6829 | 0.0060386 | 444.2824 | 2.6829 | 0.0060386 | 444.2824 | 5.6717 | 0.029221 | 194.098 | 5.6717 | 0.029221 | 194.098 | 57.6251 | 0.40394 | 142.656 | 45.8739 | 0.34235 | 133.9961
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2019-09-12