## Output - Summary
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less - Net Output Delivered to PSE's Transmission System
Summary - Levelized
Levelized
Baseload - 5 year | 29.2537
Baseload - 10 year | 29.8432
Baseload - 15 year | 30.8093
Levelized
Wind - 10 year | 25.7773
Wind - 15 year | 26.6909
Levelized
Solar - 10 year | 21.8009
Solar - 15 year | 22.663
Summary - Escalating @ 2.5%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Baseload - 5 year | 1 2019: 27.9279; 2 2020: 28.6261; 3 2021: 29.3417; 4 2022: 30.0753; 5 2023: 30.8271; 6 2024: 31.5978; 7 2025: 32.3878
Baseload - 10 year | 27.0359 | 27.7118 | 28.4046 | 29.1148 | 29.8426 | 30.5887 | 31.3534 | 32.1372 | 32.9407 | 33.7642 | 34.6083 | 35.4735
Baseload - 15 year | 26.6461 | 27.3122 | 27.995 | 28.6949 | 29.4123 | 30.1476 | 30.9013 | 31.6738 | 32.4657 | 33.2773 | 34.1092 | 34.962 | 35.836 | 36.7319 | 37.6502 | 38.5915 | 39.5562
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Wind - 10 year | 23.3526 | 23.9364 | 24.5348 | 25.1481 | 25.7769 | 26.4213 | 27.0818 | 27.7589 | 28.4528 | 29.1641 | 29.8932 | 30.6406
Wind - 15 year | 23.0842 | 23.6613 | 24.2528 | 24.8592 | 25.4806 | 26.1176 | 26.7706 | 27.4399 | 28.1258 | 28.829 | 29.5497 | 30.2885 | 31.0457 | 31.8218 | 32.6174 | 33.4328 | 34.2686
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Solar - 10 year | 19.7501 | 20.2439 | 20.75 | 21.2687 | 21.8004 | 22.3455 | 22.9041 | 23.4767 | 24.0636 | 24.6652 | 25.2818 | 25.9139
Solar - 15 year | 19.6006 | 20.0906 | 20.5929 | 21.1077 | 21.6354 | 22.1763 | 22.7307 | 23.2989 | 23.8814 | 24.4785 | 25.0904 | 25.7177 | 26.3606 | 27.0196 | 27.6951 | 28.3875 | 29.0972

## Output - 5yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 5 | 100% | Flat | 0.02149 | 0.0086689 | 0.030158 | 0.030158 | 30.1585
[5 empty] | 21.4896 | 8.6689 | 30.1585 | 30.1585 | 29.2537 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 29.2537 | 29.2537 | 29.2537 | 29.2537 | 29.2537 |  |  |  |  | 118.0435 | 29.2537
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 |  |  | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 27.9279 | 28.6261 | 29.3417 | 30.0753 | 30.8271 | 31.5978 | 32.3878 |  |  | 118.0435 | 29.2537
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 |  |  |  |  | 422.6729 | 104.7475
| 2.5 Percent Index |  | 0.95468 | 0.97854 | 1.003 | 1.0281 | 1.0538 |  |  |  |  | 4.0352 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 100% | Flat | 0.021784 | 0.008982 | 0.030766 | 0.030766 | 30.7662
[5 empty] | 21.7842 | 8.982 | 30.7662 | 30.7662 | 29.8432 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 | 29.8432 |  |  | 203.914 | 29.8432
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 27.0359 | 27.7118 | 28.4046 | 29.1148 | 29.8426 | 30.5887 | 31.3534 | 32.1372 | 32.9407 | 33.7642 | 34.6083 | 35.4735 | 203.914 | 29.8432
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 754.2331 | 110.3834
| 2.5 Percent Index |  | 0.90593 | 0.92858 | 0.9518 | 0.97559 | 0.99998 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 |  |  | 6.8328 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 100% | Flat | 0.022664 | 0.0090981 | 0.031762 | 0.031762 | 31.7622
[5 empty] | 22.6641 | 9.0981 | 31.7622 | 31.7622 | 30.8093 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 | 30.8093 |  |  | 270.2768 | 30.8093
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 26.6461 | 27.3122 | 27.995 | 28.6949 | 29.4123 | 30.1476 | 30.9013 | 31.6738 | 32.4657 | 33.2773 | 34.1092 | 34.962 | 35.836 | 36.7319 | 37.6502 | 38.5915 | 39.5562 | 270.2768 | 30.8093
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1014.3211 | 115.6242
| 2.5 Percent Index |  | 0.86487 | 0.88649 | 0.90865 | 0.93137 | 0.95466 | 0.97852 | 1.003 | 1.0281 | 1.0538 | 1.0801 | 1.1071 | 1.1348 | 1.1632 | 1.1922 | 1.222 |  |  | 8.7726 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 16% | Flat | 0.021784 | 0.0047904 | 0.026575 | 0.026575 | 26.5746
[5 empty] | 21.7842 | 4.7904 | 26.5746 | 26.5746 | 25.7773 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 | 25.7773 |  |  | 176.1327 | 25.7773
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.3526 | 23.9364 | 24.5348 | 25.1481 | 25.7769 | 26.4213 | 27.0818 | 27.7589 | 28.4528 | 29.1641 | 29.8932 | 30.6406 | 176.1327 | 25.7773
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 754.2331 | 110.3834
| 2.5 Percent Index |  | 0.90593 | 0.92858 | 0.9518 | 0.97559 | 0.99998 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 |  |  | 6.8328 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 201921 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 16% | Flat | 0.022664 | 0.0048523 | 0.027516 | 0.027516 | 27.5164
[5 empty] | 22.6641 | 4.8523 | 27.5164 | 27.5164 | 26.6909 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 | 26.6909 |  |  | 234.1478 | 26.6909
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.0842 | 23.6613 | 24.2528 | 24.8592 | 25.4806 | 26.1176 | 26.7706 | 27.4399 | 28.1258 | 28.829 | 29.5497 | 30.2885 | 31.0457 | 31.8218 | 32.6174 | 33.4328 | 34.2686 | 234.1478 | 26.6909
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1014.3211 | 115.6242
| 2.5 Percent Index |  | 0.86487 | 0.88649 | 0.90865 | 0.93137 | 0.95466 | 0.97852 | 1.003 | 1.0281 | 1.0538 | 1.0801 | 1.1071 | 1.1348 | 1.1632 | 1.1922 | 1.222 |  |  | 8.7726 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 2% | Flat | 0.021784 | 0.00069092 | 0.022475 | 0.022475 | 22.4751
[5 empty] | 21.7842 | 0.69092 | 22.4751 | 22.4751 | 21.8009 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 | 21.8009 |  |  | 148.962 | 21.8009
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 19.7501 | 20.2439 | 20.75 | 21.2687 | 21.8004 | 22.3455 | 22.9041 | 23.4767 | 24.0636 | 24.6652 | 25.2818 | 25.9139 | 148.962 | 21.8009
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 754.2331 | 110.3834
| 2.5 Percent Index |  | 0.90593 | 0.92858 | 0.9518 | 0.97559 | 0.99998 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 |  |  | 6.8328 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 2% | Flat | 0.022664 | 0.00069985 | 0.023364 | 0.023364 | 23.364
[5 empty] | 22.6641 | 0.69985 | 23.364 | 23.364 | 22.663 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 | 22.663 |  |  | 198.813 | 22.663
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 19.6006 | 20.0906 | 20.5929 | 21.1077 | 21.6354 | 22.1763 | 22.7307 | 23.2989 | 23.8814 | 24.4785 | 25.0904 | 25.7177 | 26.3606 | 27.0196 | 27.6951 | 28.3875 | 29.0972 | 198.813 | 22.663
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1014.3211 | 115.6242
| 2.5 Percent Index |  | 0.86487 | 0.88649 | 0.90865 | 0.93137 | 0.95466 | 0.97852 | 1.003 | 1.0281 | 1.0538 | 1.0801 | 1.1071 | 1.1348 | 1.1632 | 1.1922 | 1.222 |  |  | 8.7726 | 1
Notes
1 | This Schedule 91 energy rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2019 IRP Progress Report as filed with UTC on 11/9/2019 using the Mid-C prices for the “Base” scenario, and includes the 2019 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2017 IRP and PSE’s Schedule of Estimated Avoided Cost most recently filed in Docket UE-171141.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Electric EES CE Std Energy
Levelized Cost Effectiveness Standard-Energy
Including
T&D Line Loss Reduction [4] |  | 2.7%
Nominal Discount Rate |  | 7.6%
Measure Life | Flat ($/MWh) | Flat ($/kWh)
1 | 24.629 | 0.024629
2 | 23.4414 | 0.023441
3 | 22.6383 | 0.022638
4 | 21.959 | 0.021959
5 | 21.4896 | 0.02149
6 | 21.2982 | 0.021298
7 | 21.2848 | 0.021285
8 | 21.4143 | 0.021414
9 | 21.6082 | 0.021608
10 | 21.7842 | 0.021784
11 | 21.942 | 0.021942
12 | 22.0957 | 0.022096
13 | 22.2447 | 0.022245
14 | 22.4379 | 0.022438
15 | 22.6641 | 0.022664
16 | 22.9241 | 0.022924
17 | 23.2161 | 0.023216
18 | 23.4952 | 0.023495
19 | 23.7613 | 0.023761
20 | 24.0614 | 0.024061
21 | 24.3492 | 0.024349

## FlatLoadShapeEnergy_perMWh
|  |  | Year | Measure Life | Annual Weighted Average of Hourly Price | T&D Line Loss Reduction | Planning Adjustment | Avoided Renewable Benefits | Conservation Credit | Present Value-Energy | Cumulative Present Value -Energy | Levelized Cost Effectiveness Standard-Energy
|  |  |  | (years) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
| T&D Line Loss Reduction [4] | 2.7% | [1] | [2] | [3] | [4] | [5] | [6] | [7] | [8] | [9] | [10]
| Nominal Discount Rate | 7.6% | 2019 | 1 | 23.9815 | 0.6475 | 0 | 0 | 0 | 22.8894 | 22.8894 | 24.629
| GDP Inflation | 2.5% | 2020 | 2 | 21.5808 | 0.58268 | 0 | 0 | 0 | 19.1431 | 42.0326 | 23.4414
|  |  | 2021 | 3 | 20.2964 | 0.548 | 0 | 0 | 0 | 16.7322 | 58.7648 | 22.6383
|  |  | 2022 | 4 | 19.08 | 0.51516 | 0 | 0 | 0 | 14.6184 | 73.3832 | 21.959
|  |  | 2023 | 5 | 18.7217 | 0.50549 | 0 | 0 | 0 | 13.3308 | 86.7139 | 21.4896
|  |  | 2024 | 6 | 19.5713 | 0.52843 | 0 | 0 | 0 | 12.9514 | 99.6654 | 21.2982
|  |  | 2025 | 7 | 20.6232 | 0.55683 | 0 | 0 | 0 | 12.6835 | 112.3489 | 21.2848
|  |  | 2026 | 8 | 22.047 | 0.59527 | 0 | 0 | 0 | 12.6015 | 124.9504 | 21.4143
|  |  | 2027 | 9 | 23.1702 | 0.62559 | 0 | 0 | 0 | 12.308 | 137.2584 | 21.6082
|  |  | 2028 | 10 | 23.4759 | 0.63385 | 0 | 0 | 0 | 11.5897 | 148.8481 | 21.7842
|  |  | 2029 | 11 | 23.7154 | 0.64032 | 0 | 0 | 0 | 10.8809 | 159.729 | 21.942
|  |  | 2030 | 12 | 24.1384 | 0.65174 | 0 | 0 | 0 | 10.2928 | 170.0218 | 22.0957
|  |  | 2031 | 13 | 24.5532 | 0.66294 | 0 | 0 | 0 | 9.7301 | 179.7519 | 22.2447
|  |  | 2032 | 14 | 26.0875 | 0.70436 | 0 | 0 | 0 | 9.608 | 189.3598 | 22.4379
|  |  | 2033 | 15 | 27.6451 | 0.74642 | 0 | 0 | 0 | 9.4625 | 198.8223 | 22.6641
|  |  | 2034 | 16 | 29.4907 | 0.79625 | 0 | 0 | 0 | 9.3812 | 208.2035 | 22.9241
|  |  | 2035 | 17 | 31.5774 | 0.85259 | 0 | 0 | 0 | 9.3355 | 217.539 | 23.2161
|  |  | 2036 | 18 | 32.3941 | 0.87464 | 0 | 0 | 0 | 8.9005 | 226.4396 | 23.4952
|  |  | 2037 | 19 | 33.1813 | 0.89589 | 0 | 0 | 0 | 8.4729 | 234.9124 | 23.7613
|  |  | 2038 | 20 | 35.933 | 0.97019 | 0 | 0 | 0 | 8.5274 | 243.4399 | 24.0614
|  |  | 2039 | 21 | 36.9095 | 0.99656 | 0 | 0 | 0 | 8.1405 | 251.5803 | 24.3492
[4] | Transmission losses updated as per section 15.7 Real Power Losses, PSE Current Effective OATT 8.7.18.
http://www.oatioasis.com/webSmartOASIS/HomePage?ProviderName=PSEI&Homepage=1
[5] | The planning adjustment is the cost difference between the 2019 IRP Progress Report portfolio with no demand side resources (DSR) and the 2021 IRP Progress Report portfolio with optimal DSR, which is relevant to EES but not for a PPA.
[6] | EES leads to lower overall load and hence lower RPS requirement to meet. A PPA does not lower overall load.
[7] | The 10% conservation credit adder per Northwest Power Act of 1980 is now reflected in the REC market which is additional to the PPA.

## Baseload Avoided Capacity Calcs
Note 1
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2019 | 1 | 72.4 | 67.2862 | 67.2862 | 72.4 | 8.2648 | 0.0082648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2648 | 0.0082648
| Nominal Discount Rate (*): | 7.6% | 2020 | 2 | 72.4 | 62.5337 | 129.8199 | 72.4 | 8.2423 | 0.0082423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2423 | 0.0082423
| GDP Inflation (**): | 2.5% | 2021 | 3 | 72.4 | 58.1168 | 187.9367 | 72.4 | 8.2648 | 0.0082648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2648 | 0.0082648
|  |  | 2022 | 4 | 72.4 | 54.0119 | 241.9486 | 72.4 | 8.2648 | 0.0082648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2648 | 0.0082648
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 2 | 2023 | 5 | 93 | 64.4795 | 306.4281 | 75.9395 | 8.6689 | 0.0086689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6689 | 0.0086689
| 2012 | 0 | 2024 | 6 | 93 | 59.9252 | 366.3533 | 78.2887 | 8.9126 | 0.0089126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9126 | 0.0089126
| 2019 | 0 | 2025 | 7 | 80 | 47.9076 | 414.2609 | 78.4829 | 8.9592 | 0.0089592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9592 | 0.0089592
|  |  | 2026 | 8 | 80 | 44.5238 | 458.7846 | 78.6276 | 8.9757 | 0.0089757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9757 | 0.0089757
|  |  | 2027 | 9 | 80.4779 | 41.6262 | 500.4108 | 78.7782 | 8.9929 | 0.0089929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9929 | 0.0089929
|  |  | 2028 | 10 | 80.4779 | 38.686 | 539.0968 | 78.8978 | 8.982 | 0.008982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.982 | 0.008982
|  |  | 2029 | 11 | 80.4779 | 35.9536 | 575.0504 | 78.9948 | 9.0177 | 0.0090177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0177 | 0.0090177
|  |  | 2030 | 12 | 80.4779 | 33.4141 | 608.4645 | 79.0748 | 9.0268 | 0.0090268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0268 | 0.0090268
|  |  | 2031 | 13 | 84.1571 | 32.4737 | 640.9381 | 79.3175 | 9.0545 | 0.0090545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0545 | 0.0090545
|  |  | 2032 | 14 | 84.1571 | 30.18 | 671.1181 | 79.5232 | 9.0532 | 0.0090532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0532 | 0.0090532
|  |  | 2033 | 15 | 84.1571 | 28.0483 | 699.1664 | 79.6992 | 9.0981 | 0.0090981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0981 | 0.0090981
|  |  | 2034 | 16 | 88.3068 | 27.3526 | 726.519 | 79.9928 | 9.1316 | 0.0091316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1316 | 0.0091316
|  |  | 2035 | 17 | 88.3068 | 25.4206 | 751.9396 | 80.2482 | 9.1608 | 0.0091608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1608 | 0.0091608
|  |  | 2036 | 18 | 91.0895 | 24.3695 | 776.3091 | 80.5491 | 9.17 | 0.00917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.17 | 0.00917
|  |  | 2037 | 19 | 91.0895 | 22.6483 | 798.9574 | 80.8142 | 9.2254 | 0.0092254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2254 | 0.0092254
|  |  | 2038 | 20 | 91.0895 | 21.0486 | 820.0059 | 81.0489 | 9.2522 | 0.0092522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2522 | 0.0092522
|  |  | 2039 | 21 | 91.0895 | 19.5619 | 839.5678 | 81.2576 | 9.276 | 0.009276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.276 | 0.009276
Note 1: Avoided capacity costs are consistent with the 2017 IRP for the Firm Resource.
Note 2: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.

## Wind Avoided Capacity Calcs
Note 1
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2019 | 1 | 11.584 | 10.7658 | 10.7658 | 11.584 | 4.4079 | 0.0044079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4079 | 0.0044079
| Nominal Discount Rate (*): | 7.6% | 2020 | 2 | 11.584 | 10.0054 | 20.7712 | 11.584 | 4.3959 | 0.0043959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3959 | 0.0043959
| GDP Inflation (**): | 2.5% | 2021 | 3 | 11.584 | 9.2987 | 30.0699 | 11.584 | 4.4079 | 0.0044079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4079 | 0.0044079
|  |  | 2022 | 4 | 11.584 | 8.6419 | 38.7118 | 11.584 | 4.4079 | 0.0044079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4079 | 0.0044079
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 2 | 2023 | 5 | 14.88 | 10.3167 | 49.0285 | 12.1503 | 4.6234 | 0.0046234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6234 | 0.0046234
| 2012 | 0 | 2024 | 6 | 14.88 | 9.588 | 58.6165 | 12.5262 | 4.7534 | 0.0047534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7534 | 0.0047534
| 2019 | 0 | 2025 | 7 | 12.8 | 7.6652 | 66.2817 | 12.5573 | 4.7783 | 0.0047783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7783 | 0.0047783
|  |  | 2026 | 8 | 12.8 | 7.1238 | 73.4055 | 12.5804 | 4.7871 | 0.0047871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7871 | 0.0047871
|  |  | 2027 | 9 | 12.8765 | 6.6602 | 80.0657 | 12.6045 | 4.7962 | 0.0047962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7962 | 0.0047962
|  |  | 2028 | 10 | 12.8765 | 6.1898 | 86.2555 | 12.6237 | 4.7904 | 0.0047904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7904 | 0.0047904
|  |  | 2029 | 11 | 12.8765 | 5.7526 | 92.0081 | 12.6392 | 4.8094 | 0.0048094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8094 | 0.0048094
|  |  | 2030 | 12 | 12.8765 | 5.3463 | 97.3543 | 12.652 | 4.8143 | 0.0048143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8143 | 0.0048143
|  |  | 2031 | 13 | 13.4651 | 5.1958 | 102.5501 | 12.6908 | 4.8291 | 0.0048291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8291 | 0.0048291
|  |  | 2032 | 14 | 13.4651 | 4.8288 | 107.3789 | 12.7237 | 4.8284 | 0.0048284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8284 | 0.0048284
|  |  | 2033 | 15 | 13.4651 | 4.4877 | 111.8666 | 12.7519 | 4.8523 | 0.0048523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8523 | 0.0048523
|  |  | 2034 | 16 | 14.1291 | 4.3764 | 116.243 | 12.7988 | 4.8702 | 0.0048702 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8702 | 0.0048702
|  |  | 2035 | 17 | 14.1291 | 4.0673 | 120.3103 | 12.8397 | 4.8857 | 0.0048857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8857 | 0.0048857
|  |  | 2036 | 18 | 14.5743 | 3.8991 | 124.2095 | 12.8879 | 4.8907 | 0.0048907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8907 | 0.0048907
|  |  | 2037 | 19 | 14.5743 | 3.6237 | 127.8332 | 12.9303 | 4.9202 | 0.0049202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9202 | 0.0049202
|  |  | 2038 | 20 | 14.5743 | 3.3678 | 131.2009 | 12.9678 | 4.9345 | 0.0049345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9345 | 0.0049345
|  |  | 2039 | 21 | 14.5743 | 3.1299 | 134.3308 | 13.0012 | 4.9472 | 0.0049472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9472 | 0.0049472
Note 1: Avoided capacity costs are consistent with the 2017 IRP for the Firm Resource.
Note 2: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.

## Solar Avoided Capacity Calcs
Note 1
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2019 | 1 | 1.448 | 1.3457 | 1.3457 | 1.448 | 0.63576 | 0.00063576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63576 | 0.00063576
| Nominal Discount Rate (*): | 7.6% | 2020 | 2 | 1.448 | 1.2507 | 2.5964 | 1.448 | 0.63402 | 0.00063402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63402 | 0.00063402
| GDP Inflation (**): | 2.5% | 2021 | 3 | 1.448 | 1.1623 | 3.7587 | 1.448 | 0.63576 | 0.00063576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63576 | 0.00063576
|  |  | 2022 | 4 | 1.448 | 1.0802 | 4.839 | 1.448 | 0.63576 | 0.00063576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63576 | 0.00063576
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 2 | 2023 | 5 | 1.86 | 1.2896 | 6.1286 | 1.5188 | 0.66684 | 0.00066684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66684 | 0.00066684
| 2012 | 0 | 2024 | 6 | 1.86 | 1.1985 | 7.3271 | 1.5658 | 0.68559 | 0.00068559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68559 | 0.00068559
| 2019 | 0 | 2025 | 7 | 1.6 | 0.95815 | 8.2852 | 1.5697 | 0.68917 | 0.00068917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68917 | 0.00068917
|  |  | 2026 | 8 | 1.6 | 0.89048 | 9.1757 | 1.5726 | 0.69044 | 0.00069044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69044 | 0.00069044
|  |  | 2027 | 9 | 1.6096 | 0.83252 | 10.0082 | 1.5756 | 0.69177 | 0.00069177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69177 | 0.00069177
|  |  | 2028 | 10 | 1.6096 | 0.77372 | 10.7819 | 1.578 | 0.69092 | 0.00069092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69092 | 0.00069092
|  |  | 2029 | 11 | 1.6096 | 0.71907 | 11.501 | 1.5799 | 0.69367 | 0.00069367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69367 | 0.00069367
|  |  | 2030 | 12 | 1.6096 | 0.66828 | 12.1693 | 1.5815 | 0.69437 | 0.00069437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69437 | 0.00069437
|  |  | 2031 | 13 | 1.6831 | 0.64947 | 12.8188 | 1.5864 | 0.6965 | 0.0006965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6965 | 0.0006965
|  |  | 2032 | 14 | 1.6831 | 0.6036 | 13.4224 | 1.5905 | 0.6964 | 0.0006964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6964 | 0.0006964
|  |  | 2033 | 15 | 1.6831 | 0.56097 | 13.9833 | 1.594 | 0.69985 | 0.00069985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69985 | 0.00069985
|  |  | 2034 | 16 | 1.7661 | 0.54705 | 14.5304 | 1.5999 | 0.70243 | 0.00070243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70243 | 0.00070243
|  |  | 2035 | 17 | 1.7661 | 0.50841 | 15.0388 | 1.605 | 0.70467 | 0.00070467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70467 | 0.00070467
|  |  | 2036 | 18 | 1.8218 | 0.48739 | 15.5262 | 1.611 | 0.70538 | 0.00070538 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70538 | 0.00070538
|  |  | 2037 | 19 | 1.8218 | 0.45297 | 15.9791 | 1.6163 | 0.70964 | 0.00070964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70964 | 0.00070964
|  |  | 2038 | 20 | 1.8218 | 0.42097 | 16.4001 | 1.621 | 0.7117 | 0.0007117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7117 | 0.0007117
|  |  | 2039 | 21 | 1.8218 | 0.39124 | 16.7914 | 1.6252 | 0.71354 | 0.00071354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71354 | 0.00071354
Note 1: Avoided capacity costs are consistent with the 2017 IRP for the Firm Resource.
Note 2: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.
|  |  | [7]: 10.7819 |  |  |  | 0

## Energy Prices
Forecast Mid-C Power Prices for Base Scenario (Nominal $/MWh) - The 2019-2039 Avoided Energy Costs are based on PSE’s current forecast of market prices for the Mid-C Market in PSE’s 2019 Integrated Resource Plan ("IRP") Progress Report as of November 15, 2019, pursuant to WAC 480-106-040(a)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Ave
MONTHS
1 | 2019 | 32.3232 | 32.3062 | 23.6412 | 19.781 | 13.3099 | 16.5193 | 22.6619 | 24.542 | 25.8655 | 24.5586 | 24.7878 | 27.4818 | 23.9815
2 | 2020 | 25.9441 | 26.2618 | 21.0399 | 17.8567 | 13.0737 | 14.5582 | 20.4696 | 23.3031 | 24.0612 | 23.8216 | 23.6084 | 24.971 | 21.5808 | -10.01%
3 | 2021 | 23.4082 | 24.0495 | 19.1669 | 15.6183 | 10.9204 | 12.3723 | 19.3998 | 22.3314 | 23.7118 | 24.4068 | 23.5171 | 24.6547 | 20.2964 | -5.951%
4 | 2022 | 22.3665 | 23.2235 | 17.5231 | 14.6103 | 9.3978 | 9.9396 | 17.8485 | 21.527 | 23.0393 | 23.1489 | 22.1448 | 24.1908 | 19.08 | -5.993%
5 | 2023 | 21.2203 | 22.2977 | 15.5045 | 13.9937 | 10.2056 | 9.6543 | 17.9143 | 21.4129 | 23.3756 | 23.0956 | 21.9693 | 24.0169 | 18.7217 | -1.878%
6 | 2024 | 21.3774 | 23.7257 | 15.6514 | 14.9858 | 8.366 | 10.0248 | 18.2194 | 22.4315 | 25.3902 | 25.2214 | 23.8149 | 25.6474 | 19.5713 | 4.538%
7 | 2025 | 22.1784 | 24.7425 | 15.6446 | 16.004 | 9.0103 | 11.4342 | 18.2968 | 24.12 | 27.5429 | 26.5674 | 24.8118 | 27.1253 | 20.6232 | 5.374%
8 | 2026 | 23.4755 | 26.518 | 17.4266 | 17.3907 | 10.2214 | 11.4527 | 19.4171 | 26.0208 | 28.9469 | 28.8707 | 26.1736 | 28.6496 | 22.047 | 6.904%
9 | 2027 | 25.0705 | 27.7912 | 17.6187 | 17.3048 | 10.0908 | 11.0811 | 21.5142 | 27.2325 | 30.9249 | 30.7011 | 28.1211 | 30.591 | 23.1702 | 5.095%
10 | 2028 | 25.2084 | 27.8079 | 16.8638 | 17.3632 | 10.2598 | 11.5928 | 22.9589 | 27.9608 | 31.4918 | 30.8708 | 27.7054 | 31.6278 | 23.4759 | 1.32%
11 | 2029 | 24.3586 | 29.527 | 17.0643 | 19.6588 | 10.2959 | 10.9549 | 22.0767 | 29.1547 | 33.1702 | 29.945 | 25.9851 | 32.3934 | 23.7154 | 1.02%
12 | 2030 | 25.0896 | 29.3784 | 16.5842 | 18.1784 | 9.8469 | 11.2375 | 22.2943 | 28.7919 | 33.8942 | 32.3362 | 28.9773 | 33.0524 | 24.1384 | 1.784%
13 | 2031 | 25.4895 | 29.9291 | 17.2783 | 18.104 | 10.5113 | 11.7754 | 23.1231 | 30.0244 | 35.1094 | 31.4595 | 28.0335 | 33.8005 | 24.5532 | 1.718%
14 | 2032 | 25.6651 | 30.7498 | 17.6486 | 20.1161 | 12.5649 | 11.9769 | 25.4113 | 31.2518 | 34.8707 | 34.9747 | 31.5508 | 36.2692 | 26.0875 | 6.249%
15 | 2033 | 26.831 | 32.4963 | 18.6814 | 19.5858 | 12.3364 | 12.7163 | 28.2233 | 32.2021 | 37.2084 | 37.6483 | 35.3636 | 38.4486 | 27.6451 | 5.971%
16 | 2034 | 28.5948 | 34.4661 | 19.4256 | 20.5566 | 13.7189 | 13.7937 | 31.579 | 34.5033 | 40.2689 | 39.4184 | 35.5301 | 42.0325 | 29.4907 | 6.676%
17 | 2035 | 30.7557 | 38.545 | 20.2213 | 24.4687 | 15.4281 | 15.3458 | 33.4292 | 38.868 | 44.4025 | 39.8831 | 34.6096 | 42.9719 | 31.5774 | 7.076%
18 | 2036 | 31.0062 | 39.1096 | 20.7772 | 22.745 | 13.7978 | 14.8498 | 32.5594 | 40.707 | 45.6425 | 43.1052 | 38.4591 | 45.9703 | 32.3941 | 2.586%
19 | 2037 | 32.8767 | 41.0459 | 21.121 | 22.4239 | 14.1733 | 15.1524 | 33.7107 | 41.554 | 47.7896 | 43.5982 | 36.4467 | 48.2833 | 33.1813 | 2.43%
20 | 2038 | 35.5208 | 43.488 | 23.2789 | 25.7645 | 16.8646 | 15.7759 | 37.4148 | 43.4094 | 51.6937 | 47.1687 | 40.2741 | 50.5422 | 35.933 | 8.293%
21 | 2039 | 36.8753 | 45.2943 | 22.8413 | 24.7403 | 15.3728 | 15.7669 | 38.1541 | 42.4729 | 53.5104 | 51.7204 | 43.463 | 52.7017 | 36.9095
[13 empty] | 20-year levelized | 23.4289
[13 empty] | 15-year levelized | 22.0683
Assumptions
FOR ELECTRIC AND GAS SALES ANALYSIS
|  | Scenario Name | Demand | Gas Price | CO2 Price
| 1 | Base | Mid | Mid | Social cost of carbon included in Washington state, plus upstream natural gas GHG emissions
Gas Prices: For gas price assumptions, PSE uses a combination of forward market prices and fundamental forecasts acquired in Fall 2018 from Wood Mackenzie. Wood Mackenzie is a well-known macroeconomic and energy forecasting consultancy whose gas market analysis includes regional, North American and international factors, as well as Canadian markets and liquefied natural gas (LNG) exports. Three gas price forecasts are used in the scenario analysis.
Mid Gas Prices. From 2020-2023, the forecast in the 2019 IRP Progress Report assumes the three-month average of forward marks for the period ending December 31, 2018. Forward marks reflect the price of gas being purchased at a given point in time for future delivery. Beyond 2023, this IRP Progress Report uses the Wood Mackenzie long-run, fundamentals-based gas price forecasts published in November 2018.
Scenario 1: Base
· This scenario applies the NPCC Seventh Power Plan regional demand forecast to the WECC region and the 2019 IRP Base (Mid) Demand Forecast for PSE.
· Mid gas prices are applied, a combination of forward market prices and Wood Mackenzie’s fundamental long-term base forecast.
· 80 percent of electric sales (delivered load) are met with non-emitting/renewable resources by 2030 (per CETA)
· The social cost of carbon, expressed as a cost adder, is modeled in addition to current CO2 regulations and policies.
· For natural gas, upstream CO2 emissions are added to the emission rate of natural gas plants.

## Capacity Delivered
|  | Indicative Avoided Capacity Costs for Resources Delivered to PSE's System |  |  | Delivered to PSE Capacity Value ($/kW-yr) |  |  |  |  | Delivered to PSE Capacity Value ($/MWh)
|  | Capacity Resource Addition | (a) Levelized Net $/kW-yr Delivered To PSE | (b) Avoided Energy Supply Capacity Cost $/kW-Yr Delivered to Mid-C | (c)=(a)*1.00 Baseload Resource ELCC=100% | (d)=(a)*0.16 Wind Resource ELCC=16% | (e)=(a)*0.02 Solar Resource ELCC=2% | (f) Year | (g) Total Hours in Year | (h)=(m)*1.00 Baseload Resource NCF=100% | (i)=(c)*(h) Baseload Resource | (j)=(m)*0.30 Wind Resource NCF=30% | (k)=(d)*(j) Wind Resource | (l)=(m)*0.26 Solar Resource NCF=26% | (m)=(e)*(l) Wind Resource
[5 empty] | 100% | 16% | 2% |  |  | 100% |  | 30% |  | 26%
|  |  | $/kW-yr | $/kW-yr | $/kW-yr | $/kW-yr | $/kW-yr |  |  | Hours Available | $/MWh | Hours Available | $/MWh | Hours Available | $/MWh | baseload checksum | wind checksum | solar checksum
0 | 2018 | Frame Peaker | 72.4 | 0.10237 | 72.4 | 11.584 | 1.448 | 2018 | 8760 | 8760 | 8.2648 | 2628 | 4.4079 | 2277.6 | 0.63576 | 0 | 0 | 0
1 | 2019 |  | 72.4 | 0.10237 | 72.4 | 11.584 | 1.448 | 2019 | 8760 | 8760 | 8.2648 | 2628 | 4.4079 | 2277.6 | 0.63576 | 0 | 0 | 0
2 | 2020 |  | 72.4 | 0.10237 | 72.4 | 11.584 | 1.448 | 2020 | 8784 | 8784 | 8.2423 | 2635.2 | 4.3959 | 2283.84 | 0.63402 | 0 | 0 | 0
3 | 2021 |  | 72.4 | 0.10237 | 72.4 | 11.584 | 1.448 | 2021 | 8760 | 8760 | 8.2648 | 2628 | 4.4079 | 2277.6 | 0.63576 | 0 | 0 | 0
4 | 2022 | Frame Peaker | 72.4 | 0.10237 | 72.4 | 11.584 | 1.448 | 2022 | 8760 | 8760 | 8.2648 | 2628 | 4.4079 | 2277.6 | 0.63576 | 0 | 0 | 0
5 | 2023 | Flow Battery-4 hr | 93 | 0.10237 | 93 | 14.88 | 1.86 | 2023 | 8760 | 8760 | 10.6164 | 2628 | 5.6621 | 2277.6 | 0.81665 | 0 | 0 | 0
6 | 2024 | Flow Battery-4 hr | 93 | 0.10237 | 93 | 14.88 | 1.86 | 2024 | 8784 | 8784 | 10.5874 | 2635.2 | 5.6466 | 2283.84 | 0.81442 | 0 | 0 | 0
7 | 2025 | Frame Peaker | 80 | 0.10237 | 80 | 12.8 | 1.6 | 2025 | 8760 | 8760 | 9.1324 | 2628 | 4.8706 | 2277.6 | 0.70249 | 0 | 0 | 0
8 | 2026 | Frame Peaker | 80 | 0.10237 | 80 | 12.8 | 1.6 | 2026 | 8760 | 8760 | 9.1324 | 2628 | 4.8706 | 2277.6 | 0.70249 | 0 | 0 | 0
9 | 2027 | Frame Peaker | 80.4779 | 0.10237 | 80.4779 | 12.8765 | 1.6096 | 2027 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669 | 0 | 0 | 0
10 | 2028 |  | 80.4779 | 0.10237 | 80.4779 | 12.8765 | 1.6096 | 2028 | 8784 | 8784 | 9.1619 | 2635.2 | 4.8863 | 2283.84 | 0.70476 | 0 | 0 | 0
11 | 2029 |  | 80.4779 | 0.10237 | 80.4779 | 12.8765 | 1.6096 | 2029 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669 | 0 | 0 | 0
12 | 2030 |  | 80.4779 | 0.10237 | 80.4779 | 12.8765 | 1.6096 | 2030 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669 | 0 | 0 | 0
13 | 2031 | Frame Peaker | 84.1571 | 0.10237 | 84.1571 | 13.4651 | 1.6831 | 2031 | 8760 | 8760 | 9.607 | 2628 | 5.1237 | 2277.6 | 0.739 | 0 | 0 | 0
14 | 2032 |  | 84.1571 | 0.10237 | 84.1571 | 13.4651 | 1.6831 | 2032 | 8784 | 8784 | 9.5807 | 2635.2 | 5.1097 | 2283.84 | 0.73698 | 0 | 0 | 0
15 | 2033 |  | 84.1571 | 0.10237 | 84.1571 | 13.4651 | 1.6831 | 2033 | 8760 | 8760 | 9.607 | 2628 | 5.1237 | 2277.6 | 0.739 | 0 | 0 | 0
16 | 2034 | Frame Peaker | 88.3068 | 0.10237 | 88.3068 | 14.1291 | 1.7661 | 2034 | 8760 | 8760 | 10.0807 | 2628 | 5.3764 | 2277.6 | 0.77544 | 0 | 0 | 0
17 | 2035 |  | 88.3068 | 0.10237 | 88.3068 | 14.1291 | 1.7661 | 2035 | 8760 | 8760 | 10.0807 | 2628 | 5.3764 | 2277.6 | 0.77544 | 0 | 0 | 0
18 | 2036 | Frame Peaker | 91.0895 | 0.10237 | 91.0895 | 14.5743 | 1.8218 | 2036 | 8784 | 8784 | 10.3699 | 2635.2 | 5.5306 | 2283.84 | 0.79769 | 0 | 0 | 0
19 | 2037 |  | 91.0895 | 0.10237 | 91.0895 | 14.5743 | 1.8218 | 2037 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987 | 0 | 0 | 0
20 | 2038 |  | 91.0895 | 0.10237 | 91.0895 | 14.5743 | 1.8218 | 2038 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987 | 0 | 0 | 0
21 | 2039 |  | 91.0895 | 0.10237 | 91.0895 | 14.5743 | 1.8218 | 2039 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987 | 0 | 0 | 0
- Basis for table is PSE's last acknowledged IRP
- Source: 2017 PSE Integrated Resource Plan; Appendix N: Electical Analysis; Page N-67; Figure N-37: Indicative Avoided Capacity Resource Costs for Resources Delivered to PSE (Base + CAR Only Scenario)
- Highlighted cells (in yellow) represent those deviations from the source table to comply with WAC 480-106 including:
- 2018-2022 relied on "planned market purchases" to provide the next incremental capacity addition, therefore avoided capacity cost in those years have been replaced with the "projected fixed costs of a simple-cycle combustion turbine" pursuant to WAC 480-106-040(b)(ii)
- The source table provided cost from 2018 to 2037 (a 20-year period preceeding the 2017 IRP) so additional years and capacity costs were added for 2038-2039 in order to align with the current energy price forecast table. It is assumed that either a Frame Peaker or planned market purchases are the incremental capacity resource in these years, therefore the "projected fixed costs of a simple-cycle combustion turbine" is used for cost.
- The Source Table provided a Solar ELCC of 1%, however 2% is used in this analysis in order to stay consistent with past methodology used in determining Schedule 91 rates.
- "Hours Available" are calculated as the total hours in a year for which the resource type is projected to operate, as determined by the Net Capacity Factor (NCF) for the generic resource for which the ELCC is based multiplied by the Total Hours in the Year.
- Source: 2017 PSE Integrated Resource Plan; Appendix N: Electical Analysis; Page N-67; Figure N-18: New Resource Cost Assumptions
- Wind Resource NCF is based on the generic resource "Wind Plant - Washington"
- Solar Resouce NCF is based on the generic resource "Central Station Solar Tracking PV"

## Cost of Capital
Docket No. UE-180282
Adjustment 18.02
PUGET SOUND ENERGY-ELECTRIC
PRO FORMA COST OF CAPITAL
FOR THE TWELVE MONTHS ENDED SEPTEMBER 30, 2016
2017 GENERAL RATE INCREASE - UE-180282
Tax Reform Filing
LINE |  | PRO FORMA |  | COST OF
NO. | DESCRIPTION | CAPITAL % | COST % | CAPITAL
1 | SHORT & LONG TERM DEBT | 51.5% | 5.81% | 2.99%
2 | EQUITY | 48.5% | 9.5% | 4.61%
3 | TOTAL COST OF CAPITAL | 100% |  | 7.6%
4
5 | AFTER TAX DEBT | 51.5% | 5.81% | 2.36%
6 | EQUITY | 48.5% | 9.5% | 4.61%
7 | TOTAL AFTER TAX COST OF CAPITAL | 100% |  | 6.97%