## Legend
Date
Data as/of | 2019-12-18
Fiscal Year | FY2020
Event Begin Date/Time | 2019-11-27 | Event Begin Time
Event End Date/Time | 2019-11-28 22:31 | Event End Time
Month Begin | 2019-11-01
Month End | 2019-11-30
Year Begin | 2019-01-01
Year End | 2019-11-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2019-11-27 | through | 2019-11-28 22:31
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 5382 | 0.2723% | 1689555.011 | 104 | 1976599 | 4060 | 2346 | 3036 | 0 | 0 | 0 | 0 | 43.59% | 0.85478 | 0.0027229 | 313.927
PP | Pacific Power | 5382 | 0.6712% | 1689555.011 | 104 | 801840 | 4060 | 2346 | 3036 | 0 | 0 | 0 | 0 | 43.59% | 2.1071 | 0.0067121 | 313.927
WA | Washington | 5382 | 3.935% | 1689555.011 | 104 | 136786 | 4060 | 2346 | 3036 | 0 | 0 | 0 | 0 | 43.59% | 12.3518 | 0.039346 | 313.927
WA | SUNNYSIDE | 3645 | 14.53% | 1132482.762 | 33 | 25081 | 1053 | 1734 | 1911 | 0 | 0 | 0 | 0 | 47.57% | 45.153 | 0.14533 | 310.6949
WA | YAKIMA | 1737 | 2.095% | 557072.249 | 71 | 82913 | 3007 | 612 | 1125 | 0 | 0 | 0 | 0 | 35.23% | 6.7188 | 0.02095 | 320.7094
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2019-11-27 | through | 2019-11-28 22:31 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2019-11-27 | 4758 | 3.478% | 1591350.727 | 79 | 136786 | 4060 | 2017 | 2741 | 0 | 0 | 0 | 0 | 42.39% | 11.6339 | 0.034784 | 334.4579
| 2019-11-28 | 624 | 0.4562% | 98204.284 | 25 | 136786 | 0 | 329 | 295 | 0 | 0 | 0 | 0 | 52.72% | 0.71794 | 0.0045619 | 157.3787
Data as of
2019-12-18

## SSC by State
| Washington | Event |  | 2019-11-27 | through | 2019-11-28 22:31 |  | Month |  | 2019-11-01 | through | 2019-11-30 |  | YTD | FY2020 | 2019-01-01 | through | 2019-11-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3.6915 | 0.01559 | 236.7848 | 2.5469 | 0.012236 | 208.1509 | 14.473 | 0.076819 | 188.4046 | 8.8652 | 0.065557 | 135.2297 | 232.9507 | 1.1908 | 195.626 | 107.2763 | 0.93582 | 114.6332
PP | Pacific Power | 3.5764 | 0.010419 | 343.2734 | 0.7549 | 0.0021501 | 351.108 | 10.1158 | 0.072396 | 139.7284 | 10.1158 | 0.072396 | 139.7284 | 363.1517 | 1.3566 | 267.6901 | 98.9756 | 0.84372 | 117.3091
WA | Washington | 12.3518 | 0.039346 | 313.927 | 0 | 0 | 0 | 14.2183 | 0.054772 | 259.5924 | 1.8665 | 0.015426 | 121.0006 | 127.8703 | 1.0097 | 126.6463 | 85.7782 | 0.65452 | 131.0553
WA | SUNNYSIDE | 8.2792 | 0.026647 | 310.6949 | 0 | 0 | 0 | 8.4204 | 0.027539 | 305.7575 | 0.14114 | 0.0008919 | 158.2423 | 34.3159 | 0.29546 | 116.1433 | 15.6139 | 0.11674 | 133.7443
WA | WALLA WALLA | 0 | 0 | 0 | 0 | 0 | 0 | 0.2992 | 0.0027342 | 109.4295 | 0.2992 | 0.0027342 | 109.4295 | 19.9153 | 0.15853 | 125.6231 | 14.4626 | 0.12782 | 113.1481
WA | YAKIMA | 4.0726 | 0.012699 | 320.7094 | 0 | 0 | 0 | 5.4987 | 0.024498 | 224.4558 | 1.4262 | 0.011799 | 120.8669 | 73.6391 | 0.55567 | 132.523 | 55.7017 | 0.40995 | 135.8729
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2019-12-18