## Legend
Date
Data as/of | 2020-04-13
Fiscal Year | FY2021
Event Begin Date/Time | 2020-03-14 | Event Begin Time
Event End Date/Time | 2020-03-15 | Event End Time
Month Begin | 2020-03-01
Month End | 2020-03-31
Year Begin | 2020-01-01
Year End | 2020-03-31
State | Sunnyside, Washington
Comments: | Tag | filed

## Customer Analysis
| Sunnyside, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2020-03-14 | through | 2020-03-15
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 10342 | 0.5217% | 136348.228 | 13 | 1982346 | 0 | 10181 | 161 | 0 | 0 | 0 | 0 | 98.44% | 0.068781 | 0.0052171 | 13.1839
PP | Pacific Power | 10342 | 1.294% | 136348.228 | 13 | 799297 | 0 | 10181 | 161 | 0 | 0 | 0 | 0 | 98.44% | 0.17059 | 0.012939 | 13.1839
WA | Washington | 10342 | 7.621% | 136348.228 | 13 | 135697 | 0 | 10181 | 161 | 0 | 0 | 0 | 0 | 98.44% | 1.0048 | 0.076214 | 13.1839
WA | SUNNYSIDE | 10342 | 41.73% | 136348.228 | 13 | 24783 | 0 | 10181 | 161 | 0 | 0 | 0 | 0 | 98.44% | 5.5017 | 0.4173 | 13.1839
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2020-03-14 | through | 2020-03-15 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2020-03-14 | 10342 | 7.621% | 136348.228 | 13 | 135697 | 0 | 10181 | 161 | 0 | 0 | 0 | 0 | 98.44% | 1.0048 | 0.076214 | 13.1839
Data as of
2020-04-13

## SSC by State
| Sunnyside, Washington | Event |  | 2020-03-14 | through | 2020-03-15 |  | Month |  | 2020-03-01 | through | 2020-03-31 |  | YTD | FY2021 | 2020-01-01 | through | 2020-03-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.52307 | 0.012031 | 43.4764 | 0.45429 | 0.0068141 | 66.6689 | 13.4487 | 0.096112 | 139.9268 | 6.3736 | 0.062434 | 102.0857 | 53.7599 | 0.27622 | 194.6247 | 18.4497 | 0.18885 | 97.6962
PP | Pacific Power | 0.56924 | 0.015975 | 35.6328 | 0.39866 | 0.0030364 | 131.2924 | 7.0343 | 0.07668 | 91.7364 | 6.8638 | 0.063741 | 107.6818 | 87.2908 | 0.304 | 287.1434 | 21.0928 | 0.19586 | 107.6919
WA | Washington | 1.6183 | 0.083016 | 19.4943 | 0.61354 | 0.0068019 | 90.2009 | 8.2469 | 0.12892 | 63.9694 | 7.2421 | 0.052706 | 137.4066 | 26.2828 | 0.26689 | 98.4785 | 25.278 | 0.19067 | 132.5712
WA | SUNNYSIDE | 1.0059 | 0.076221 | 13.1973 | 0.001113 | 7.3694e-06 | 151.033 | 3.1504 | 0.097976 | 32.1551 | 2.1456 | 0.021762 | 98.5958 | 4.7906 | 0.11294 | 42.4191 | 3.7858 | 0.036722 | 103.0955
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2020-04-13