## Legend
Date
Data as/of | 2020-08-17
Fiscal Year | FY2021
Event Begin Date/Time | 2020-07-24 22:53 | Event Begin Time
Event End Date/Time | 2020-07-25 22:53 | Event End Time
Month Begin | 2020-07-01
Month End | 2020-07-31
Year Begin | 2020-01-01
Year End | 2020-07-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2020-07-24 22:53 | through | 2020-07-25 22:53
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2336 | 0.1178% | 1711524.277 | 11 | 1982346 | 0 | 4 | 2332 | 0 | 0 | 0 | 0 | 0.1712% | 0.86338 | 0.0011784 | 732.6731
PP | Pacific Power | 2336 | 0.2923% | 1711524.277 | 11 | 799297 | 0 | 4 | 2332 | 0 | 0 | 0 | 0 | 0.1712% | 2.1413 | 0.0029226 | 732.6731
WA | Washington | 2336 | 1.721% | 1711524.277 | 11 | 135697 | 0 | 4 | 2332 | 0 | 0 | 0 | 0 | 0.1712% | 12.6128 | 0.017215 | 732.6731
WA | SUNNYSIDE | 1 | 0.004035% | 281.467 | 1 | 24783 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0% | 0.011357 | 4.035e-05 | 281.467
WA | WALLA WALLA | 44 | 0.1566% | 10612.517 | 3 | 28092 | 0 | 3 | 41 | 0 | 0 | 0 | 0 | 6.818% | 0.37778 | 0.0015663 | 241.1936
WA | YAKIMA | 2291 | 2.766% | 1700630.293 | 7 | 82822 | 0 | 1 | 2290 | 0 | 0 | 0 | 0 | 0.04365% | 20.5336 | 0.027662 | 742.3092
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2020-07-24 22:53 | through | 2020-07-25 22:53 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2020-07-24 | 2210 | 1.629% | 1676082.383 | 2 | 135697 | 0 | 0 | 2210 | 0 | 0 | 0 | 0 | 0% | 12.3517 | 0.016286 | 758.4083
| 2020-07-25 | 126 | 0.09285% | 35441.894 | 9 | 135697 | 0 | 4 | 122 | 0 | 0 | 0 | 0 | 3.175% | 0.26118 | 0.00092854 | 281.2849
Data as of
2020-08-17

## SSC by State
| Washington | Event Days |  | 2020-07-24 22:53 | through | 2020-07-25 22:53 |  | Month |  | 2020-07-01 | through | 2020-07-31 |  | YTD | FY2021 | 2020-01-01 | through | 2020-07-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.7177 | 0.010319 | 166.4696 | 0.85435 | 0.0091402 | 93.4716 | 13.9653 | 0.12373 | 112.8721 | 11.6307 | 0.1175 | 98.9846 | 126.4741 | 0.75913 | 166.6039 | 60.3946 | 0.58598 | 103.0658
PP | Pacific Power | 2.5916 | 0.0045202 | 573.334 | 0.45031 | 0.0015977 | 281.8572 | 14.8495 | 0.12671 | 117.1951 | 12.7082 | 0.12379 | 102.6637 | 174.4187 | 0.74512 | 234.0827 | 61.498 | 0.54347 | 113.1583
WA | Washington | 12.7527 | 0.017812 | 715.9709 | 0 | 0 | 0 | 22.8705 | 0.10585 | 216.0585 | 10.2577 | 0.088639 | 115.725 | 212.4298 | 0.82723 | 256.7956 | 70.6203 | 0.55878 | 126.3827
WA | SUNNYSIDE | 0.13869 | 0.00059692 | 232.3453 | 0 | 0 | 0 | 1.9474 | 0.016301 | 119.4642 | 1.9453 | 0.016294 | 119.3909 | 34.3705 | 0.18127 | 189.6077 | 11.1744 | 0.087659 | 127.477
WA | WALLA WALLA | 0.081442 | 0.00033162 | 245.5889 | 0 | 0 | 0 | 1.4897 | 0.010678 | 139.5081 | 1.4115 | 0.010354 | 136.3236 | 12.46 | 0.075182 | 165.7304 | 10.1278 | 0.059928 | 169.0005
WA | YAKIMA | 12.5326 | 0.016883 | 742.3092 | 0 | 0 |  | 19.4335 | 0.078874 | 246.3853 | 6.9009 | 0.061991 | 111.321 | 165.5993 | 0.57078 | 290.1286 | 49.3181 | 0.4112 | 119.9383
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2020-08-17