## Legend
Date
Data as/of | 2021-11-22
Fiscal Year | FY2022
Event Begin Date/Time | 2021-10-13 | Event Begin Time
Event End Date/Time | 2021-10-14 | Event End Time
Month Begin | 2021-10-01
Month End | 2021-10-31
Year Begin | 2021-01-01
Year End | 2021-10-31
State | Sunnyside, WA
Comments: | Tag | filed

## Customer Analysis
| Sunnyside, WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2021-10-13 | to | 2021-10-14
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 10426 | 0.5162% | 209148.832 | 11 | 2019764 | 0 | 10326 | 100 | 0 | 0 | 0 | 0 | 99.04% | 0.10355 | 0.005162 | 20.0603
PP | Pacific Power | 10426 | 1.292% | 209148.832 | 11 | 807241 | 0 | 10326 | 100 | 0 | 0 | 0 | 0 | 99.04% | 0.25909 | 0.012916 | 20.0603
WA | Washington | 10426 | 7.619% | 209148.832 | 11 | 136841 | 0 | 10326 | 100 | 0 | 0 | 0 | 0 | 99.04% | 1.5284 | 0.076191 | 20.0603
WA | SUNNYSIDE | 10426 | 41.72% | 209148.832 | 11 | 24993 | 0 | 10326 | 100 | 0 | 0 | 0 | 0 | 99.04% | 8.3683 | 0.41716 | 20.0603
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2021-10-13 | through | 2021-10-14 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2021-10-13 | 10426 | 7.619% | 209148.832 | 11 | 136841 | 0 | 10326 | 100 | 0 | 0 | 0 | 0 | 99.04% | 1.5284 | 0.076191 | 20.0603
Data as of
2021-11-22

## SSC by State
| Sunnyside, WA | Event |  | 2021-10-13 | to | 2021-10-14 |  | Month |  | 2021-10-01 | through | 2021-10-31 |  | YTD | FY2022 | 2021-01-01 | through | 2021-10-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.24662 | 0.0062354 | 39.5512 | 0.14307 | 0.0010734 | 133.2837 | 16.4116 | 0.11858 | 138.4021 | 10.5764 | 0.088166 | 119.9603 | 211.7089 | 1.1376 | 186.0978 | 97.398 | 0.84591 | 115.1401
PP | Pacific Power | 0.42998 | 0.014939 | 28.7831 | 0.17089 | 0.0020229 | 84.474 | 13.9503 | 0.12591 | 110.7995 | 11.0635 | 0.083233 | 132.9219 | 355.6774 | 1.4326 | 248.2821 | 89.1096 | 0.77574 | 114.8702
WA | Washington | 1.5597 | 0.076505 | 20.3875 | 0.031333 | 0.00031423 | 99.7139 | 14.6778 | 0.12423 | 118.1485 | 13.1494 | 0.048041 | 273.711 | 116.3295 | 0.77746 | 149.6268 | 80.3429 | 0.55066 | 145.9027
WA | SUNNYSIDE | 1.5284 | 0.076191 | 20.0603 | 0 | 0 | 0 | 2.8608 | 0.082161 | 34.8189 | 1.3323 | 0.0059704 | 223.1578 | 38.7159 | 0.2278 | 169.9579 | 8.3243 | 0.054742 | 152.0629
WA | WALLA WALLA | 0.025756 | 0.00029231 | 88.1125 | 0.025756 | 0.00029231 | 88.1125 | 4.6146 | 0.017729 | 260.2919 | 4.6146 | 0.017729 | 260.2919 | 22.3069 | 0.22641 | 98.5248 | 16.7308 | 0.17292 | 96.7526
WA | YAKIMA | 0.0055773 | 2.1923e-05 | 254.4 | 0.0055773 | 2.1923e-05 | 254.4 | 7.2024 | 0.024342 | 295.8835 | 7.2024 | 0.024342 | 295.8835 | 55.3067 | 0.32326 | 171.0913 | 55.2879 | 0.323 | 171.1724
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2021-11-22