## Legend
Date
Data as/of | 2023-05-01
Fiscal Year | FY2022
Event Begin Date/Time | 2022-02-18 | Event Begin Time
Event End Date/Time | 2022-02-19 | Event End Time
Month Begin | 2022-02-01
Month End | 2022-02-28
Year Begin | 2022-01-01
Year End | 2022-02-28
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2022-02-18 | through | 2022-02-19
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3140 | 0.1533% | 64379.439 | 7 | 2048818 | 0 | 3006 | 134 | 0 | 0 | 0 | 0 | 95.73% | 0.031423 | 0.0015326 | 20.503
PP | Pacific Power | 3140 | 0.3858% | 64379.439 | 7 | 813940 | 0 | 3006 | 134 | 0 | 0 | 0 | 0 | 95.73% | 0.079096 | 0.0038578 | 20.503
WA | Washington | 3140 | 2.278% | 64379.439 | 7 | 137857 | 0 | 3006 | 134 | 0 | 0 | 0 | 0 | 95.73% | 0.467 | 0.022777 | 20.503
WA | WALLA WALLA | 3140 | 11.1% | 64379.439 | 7 | 28298 | 0 | 3006 | 134 | 0 | 0 | 0 | 0 | 95.73% | 2.2751 | 0.11096 | 20.503
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2022-02-18 | through | 2022-02-19 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2022-02-18 | 3140 | 2.278% | 64379.439 | 7 | 137857 | 0 | 3006 | 134 | 0 | 0 | 0 | 0 | 95.73% | 0.467 | 0.022777 | 20.503
Data as of
2023-05-01

## SSC by State
| Washington | Event |  | 2022-02-18 | through | 2022-02-19 |  | Month |  | 2022-02-01 | through | 2022-02-28 |  | YTD | FY2022 | 2022-01-01 | through | 2022-02-28
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.19301 | 0.0029134 | 66.2498 | 0.16159 | 0.0013808 | 117.0256 | 3.9747 | 0.038039 | 104.4913 | 3.9433 | 0.036506 | 108.0173 | 20.6652 | 0.14852 | 139.1407 | 10.2023 | 0.10043 | 101.591
PP | Pacific Power | 0.38498 | 0.0065398 | 58.8668 | 0.30588 | 0.002682 | 114.0489 | 3.6267 | 0.032559 | 111.3903 | 3.5477 | 0.028701 | 123.6067 | 37.7587 | 0.23522 | 160.5274 | 11.422 | 0.11415 | 100.0569
WA | Washington | 0.57263 | 0.023249 | 24.6307 | 0.10563 | 0.0004715 | 224.0282 | 2.6728 | 0.03339 | 80.0489 | 2.2058 | 0.010612 | 207.8508 | 10.1674 | 0.1635 | 62.1874 | 7.4028 | 0.037104 | 199.5168
WA | SUNNYSIDE | 0.1002 | 0.00042798 | 234.1206 | 0.1002 | 0.00042798 | 234.1206 | 0.21902 | 0.0014798 | 148.0056 | 0.21902 | 0.0014798 | 148.0056 | 1.2654 | 0.077029 | 16.4279 | 0.79523 | 0.0039171 | 203.0153
WA | WALLA WALLA | 0.46777 | 0.022784 | 20.5302 | 0.00076734 | 7.2539e-06 | 105.783 | 0.93534 | 0.024482 | 38.2056 | 0.46834 | 0.0017047 | 274.7421 | 5.868 | 0.072488 | 80.9507 | 3.5736 | 0.019208 | 186.0449
WA | YAKIMA | 0.0046638 | 3.6269e-05 | 128.5868 | 0.0046638 | 3.6269e-05 | 128.5868 | 1.5184 | 0.007428 | 204.422 | 1.5184 | 0.007428 | 204.422 | 3.034 | 0.013978 | 217.049 | 3.034 | 0.013978 | 217.049
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2023-05-01