## Legend
Date
Data as/of | 2024-02-06
Fiscal Year | FY2025
Event Begin Date/Time | 2024-01-21 | Event Begin Time
Event End Date/Time | 2024-01-22 | Event End Time
Month Begin | 2024-01-01
Month End | 2024-01-31
Year Begin | 2024-01-01
Year End | 2024-01-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2024-01-21 | through | 2024-01-22
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 10775 | 0.5156% | 122953.554 | 10 | 2089798 | 0 | 10775 | 0 | 0 | 0 | 0 | 0 | 100% | 0.058835 | 0.005156 | 11.411
PP | Pacific Power | 10775 | 1.309% | 122953.554 | 10 | 823337 | 0 | 10775 | 0 | 0 | 0 | 0 | 0 | 100% | 0.14934 | 0.013087 | 11.411
WA | Washington | 10775 | 7.794% | 122953.554 | 10 | 138254 | 0 | 10775 | 0 | 0 | 0 | 0 | 0 | 100% | 0.88933 | 0.077936 | 11.411
WA | SUNNYSIDE | 10775 | 42.31% | 122953.554 | 10 | 25465 | 0 | 10775 | 0 | 0 | 0 | 0 | 0 | 100% | 4.8283 | 0.42313 | 11.411
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2024-01-21 | through | 2024-01-22 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2024-01-21 | 10775 | 7.794% | 122953.554 | 10 | 138254 | 0 | 10775 | 0 | 0 | 0 | 0 | 0 | 100% | 0.88933 | 0.077936 | 11.411
Data as of
2024-02-06

## SSC by State
| Washington | Event |  | 2024-01-21 | through | 2024-01-22 |  | Month |  | 2024-01-01 | through | 2024-01-31 |  | YTD | FY2025 | 2024-01-01 | through | 2024-01-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.19322 | 0.0059843 | 32.288 | 0.13439 | 0.00082831 | 162.2418 | 65.5876 | 0.16144 | 406.2589 | 8.9714 | 0.066341 | 135.2304 | 65.5876 | 0.16144 | 406.2589 | 8.9714 | 0.066341 | 135.2304
PP | Pacific Power | 0.34117 | 0.014825 | 23.0129 | 0.19183 | 0.001738 | 110.3713 | 158.0884 | 0.3268 | 483.7405 | 14.3848 | 0.085417 | 168.4073 | 158.0884 | 0.3268 | 483.7405 | 14.3848 | 0.085417 | 168.4073
WA | Washington | 1.0246 | 0.078768 | 13.0073 | 0.13523 | 0.0008318 | 162.5767 | 16.153 | 0.27856 | 57.9874 | 12.3587 | 0.12981 | 95.2048 | 16.153 | 0.27856 | 57.9874 | 12.3587 | 0.12981 | 95.2048
WA | SUNNYSIDE | 0.9083 | 0.07811 | 11.6285 | 0.018967 | 0.00017359 | 109.2583 | 8.0179 | 0.23615 | 33.9522 | 4.2236 | 0.087404 | 48.3231 | 8.0179 | 0.23615 | 33.9522 | 4.2236 | 0.087404 | 48.3231
WA | WALLA WALLA | 0.10356 | 0.00055695 | 185.9429 | 0.10356 | 0.00055695 | 185.9429 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693
WA | YAKIMA | 0.012705 | 0.00010126 | 125.4654 | 0.012705 | 0.00010126 | 125.4654 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2024-02-06