# Appendix C: Business Energy Solutions Firm Sales New Construction/Existing Buildings

Projected 2007-2008   157,095	Therms Savings		Projected 2007-2008	$474,871 Costs

Projected 2008-2009   227,380   Therms Savings		Projected 2008-2009	$712,500 Costs

Projected 2009-2010   329,996	Therms Savings		Projected 2009-2010	$994,495 Costs

| Measure | Description | Efficiency Type For Qualification | Unit Incentive |
| --- | --- | --- | --- |
| HVAC Unit Heater | High-Efficiency Non-Condensing with Electronic Ignition | Minimum 86% AFUE | $1.50/kBtu/hr |
| HVAC Unit Heater | High Efficiency Condensing | Minimum 92% AFUE | $3.00/kBtu/hr |
| Warm Air Furnace< 225,000 kBtu | High Efficiency Condensing Furnace | Minimum 91% AFUE | $3.00/kBtu/hr |
| Radiant Heating | Direct Fired Radiant Heating | None | $6.50/kBtu/hr |
| Insulation | Attic Insulation | Minimum R-19 | $0.20/sq. ft. |
| Insulation | Roof Insulation | Minimum R-11 | $0.20/ sq. ft. |
| Insulation | Wall Insulation | Minimum R-11 | $0.20/ sq. ft. |
| Domestic Hot Water Tanks | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | $2.50/kBtu/hr |
| Domestic Tankless/ Instantaneous Water Heaters | With Standing Pilot | Minimum 70.8% Energy Factor | $30.00/gpm |
| Domestic Tankless/ Instantaneous Water Heaters | With Electronic Ignition | Minimum 73.8% AFUE | $40.00/gpm |
| Boiler | High Efficiency Condensing Boiler with Electronic Ignition | Minimum 90% AFUE and 500 kBtu input | $2.00/kBtu/hr |
| Boiler Vent Damper | Boiler Vent Damper | Minimum 1,000 kBtu input | $1,000/ vent damper |
| Gas Fryer | Energy Star | None | $600.00 |
| Gas Convection Oven | Full Sized Oven (Cooking capacity 6 cubic feet or more) | None | $600.00 |
| Gas Griddle | High Efficiency Infrared Gas Griddle | None | $500.00 |
| Clothes Washer | Commercial Gas Washer | 1.8 MEF | $180.00 |

Cascade will work with a third party to help building owners identify and understand and adopt the energy efficiency practices that can lower operating costs, create a more comfortable space and make the most of the new building or major renovation projects. The third party project specialist will work with the building designers, architects, engineers and contractors to increase the efficiency of the new building or major renovation projects well above local building codes and standard practice.

Eligibility for program:

- New construction both New/Existing Commercial and Industrial customers on Rate Schedule 504, 505 or 511

- Mixed used buildings of any size, residential buildings with four or mores stories.

- Major renovation projects in which at least two energy systems are being replaced such as HVAC, fenestration or other natural gas systems.

- Facilities must be in Cascade Natural Gas Service Territory