BEFORE THE WASHINGTON UTILITIES

AND TRANSPORTATION COMMISSION

| AT&T COMMUNICATIONS OF THE PACIFIC NORTHWEST, INC., Complainant, v. QWEST CORPORATION, Respondent. | ) ) ) ) ) ) ) ) ) ) | Docket No. UT-003120 |
| --- | --- | --- |

TESTIMONY OF

DANIEL C. KEATING, III

ON BEHALF OF

AT&T COMMUNICATIONS

OF THE PACIFIC NORTHWEST, INC.

MARCH 19, 2001

Q.	PLEASE STATE YOUR NAME AND ADDRESS

A.	Daniel C. Keating, III, P.O. Box 752, Bedminster, NJ 07921.

Q.	What is your position AT AT&T?

A..	I am a District Manager-Network Implementation and Project Management with AT&T Corp. focusing on the area of Multiple Dwelling Unit infrastructure.

Q.	PLEASE DESCRIBE YOUR EDUCATION AND EXPERIENCE.

A.	I received a Bachelor of Science degree from Rensselaer Polytechnic Institute in 1983.  Following summer employment as a lineman for Southern New England Telephone (SNET), I was hired by SNET’s outside plant Construction Methods Organization in 1983.  In that capacity, I was responsible for outside plant product approvals, vendor selection, and the development of standard practices and procedures for the construction of SNET’s outside plant network.  In 1984, I became SNET’s Outside Plant Planning Engineer for the Manchester, CT area.  In 1985, I joined AT&T as an Account Executive – Outside Plant Products.  From there I became Sales Staff Manager – Transmission and Outside Plant Products for the NYNEX, Bell Atlantic, BellSouth, SNET, and Ameritech accounts, until 1991 when I assumed the position of Account Executive – Transmission and Outside Plant Products.  In 1994, I assumed the position of Offer Manager – Consumer Broadband Networks at AT&T.  In 1995, I became District Manager with responsibilities that included engineering, construction, right-of-way, route planning and franchising for the Southwest Region.  I then was a project manager for Local Number Portability from 1996 to 1998.  I then managed the Information Technology systems development work for AT&T’s long distance network from 1998-2000.  Since October 2000, I have been a project manager for AT&T’s deployment of MDU infrastructure, providing network connectivity from AT&T’s local switches to various MDUs across the U.S.  Throughout my tenure, I have had extensive technical experience with devices used in providing network connectivity to MDUs and other network terminating locations.

Q.	PLEASE DESCRIBE THE NATURE OF YOUR TESTIMONY.

A.	It is my understanding that Qwest has been blocking AT&T’s access to certain Minimum Point of Entry Terminals/Network Interface Devices (“MPOE Terminals/NIDs”) in Bellingham, Washington.  I have been told that Qwest has been padlocking those MPOE Terminals/NIDs, as well as pulling out AT&T wiring and conduit that is contained in those MPOE Terminals/NIDs.  My testimony will focus on why AT&T needs access to the MPOE Terminals/NIDs in order to fulfill its goals of bringing competitive local service to Washington consumers.  After explaining how AT&T accesses the MPOE Terminals/NIDs and connects to the internal customer premises wiring, my testimony will focus on the technical feasibility of AT&T’s connections through the MPOE Terminals/NIDs.

Q.	IS THERE ANY TECHNICAL DIFFERENCE BETWEEN AN MPOE TERMINAL/NID IN WHICH QWEST OWNS THE INTERNAL CUSTOMER PREMISES WIRE AND AN MPOE TERMINAL/NID IN WHICH THE BUILDING OWNER OWNS THE INTERNAL CUSTOMER PREMISES WIRE?

A.	No.  The technology is identical; the owner merely differs.

Q.	BECAUSE QWEST APPARENTLY DEFINES THE MPOE TERMINAL/NID DIFFERENTLY THAN BOTH THE FEDERAL COMMUNICATIONS COMMISSION aND AT&T, PlEASE DESCRIBE WHAT AT&T IS ATTEMPTING TO ACCESS.

A.	AT&T is attempting to access the facility utilized to connect Qwest’s loop plant to the internal customer premises wiring.  Consistent with FCC mandate, AT&T calls that facility the MPOE Terminal/NID.  As the FCC acknowledges, MPOE Terminals/NIDs usually come in many shapes and forms.  However, they are usually either “open” -- e.g., in a utility closet, see Exhibit DCK-2 or “closed” -- e.g., in some kind of metal or plastic enclosure.  See Exhibit DCK-3.   Qwest has primarily been disconnecting AT&T wiring and conduit from, as well as locking, the closed boxes found at smaller residential campus style MTEs.  My discussion will focus on the mechanics and technical feasibility of connecting to those type of boxes.  In a closed MPOE Terminal/NID, the internal customer premises wiring is usually connected to the Qwest loop plant wiring in a “punch down” block (a wire terminating device which provides spaces to connect wires).  There is also a separate “network” side of the MPOE Terminal/NID which AT&T does not touch, because the internal customer premises wiring is not contained on that side of the MPOE Terminal/NID.

Q.	Why DOES AT&T need to access the InTERNAL CUSTOMER PREMISES WIRinG AT THE MPOE TERMINAL/NID?

A.	The MPOE Terminal/NID is the farthest possible point practical that AT&T can run its own network.  At the end of AT&T’s network, there is usually an AT&T Network Interface Unit (“NIU”) which runs to a  “cross connect.”  That cross-connect represents the ending point of the AT&T network wire and is the place where AT&T connects with the internal customer premises wiring.  See Exhibit DCK-4.  AT&T needs to access the internal customer premises wiring to attach that wiring to AT&T’s cross-connect in order to establish AT&T service for a customer located in an MTE.  Because the internal customer premises wiring is contained in the Qwest MPOE Terminal/NID where Qwest is the incumbent telephony provider, AT&T must access the MPOE Terminal/NID.  AT&T also seeks access at the MPOE Terminal/NID because it offers a technically feasible way for the incumbent LEC (Qwest in this instance) to regain the customer’s internal wiring if Qwest recaptures that customer or for other CLECs to obtain the internal wiring if they win over the customer.

Q.	WHAT IS AT&T’S PROCESS FOR ACCESSING THE MPOE TERMINAL/NID?

A.	In closed MPOE Terminals/NIDs, AT&T utilizes a two-step process to access the internal customer premises wiring in the MPOE Terminal/NID.  Before AT&T markets a building to potential customers, it prepares the building by running a one inch weather proof conduit from its cross connect box to the Qwest MPOE Terminal/NID.  It usually utilizes a pre-serrated knock out on the MPOE Terminal/NID or other contemplated access point on which to connect the conduit between Qwest’s MPOE Terminal/NID and the AT&T cross-connect.  Then when AT&T captures a customer, it seeks access to the internal customer premises wiring located in the MPOE Terminal/NID and makes its connection to that wiring.

q.	What DOES THE INTERNAL CUSTOMER PREMISES WIRING LOOK LIKE AND WHERE IS IT RUN?

A.	Internal customer premises wiring usually consists of individual wires or groups of twisted pair copper wire which run from the MPOE Terminal/NID to the individual building units.  The internal customer premises wiring is usually run through the infrastructure of the multi-tenant environment (e.g. behind walls, under stairs) at the time the building is constructed.

Q.	IN ACCESSING QWEST’s MPOE TERMINAL/NID, IS AT&T AT ALL UTILIZING THAT MPOE TERMINAL/NID?

A.	Not really.  There is a punch down block (a block in which various wires are tied down) in the MPOE/NID where the internal customer premises wiring is connected to the wiring from the Qwest outside network.  AT&T does not use this block except to take the existing internal customer premises wiring off of it.  Once AT&T removes the wire, the AT&T technician then connects the internal customer premises wiring to AT&T’s own wiring using a Scotchlok process described below.  This has the effect of extending the internal customer premises wiring so that AT&T can run it from the Qwest MPOE Terminal/NID to AT&T’s cross connect to make a connection with AT&T’s network wiring.  AT&T runs the wiring through the weatherproof conduit that AT&T had previously placed between its cross-connect and the Qwest MPOE Terminal/NID.   Accordingly, AT&T only uses the existing MPOE Terminal/NID as a connection location to extend the internal customer premises wiring so that it can reach the AT&T cross-connect where its network wiring is housed.

Q.	WHAT DOES AT&T USE TO CONNECT THE INTERNAL CUSTOMER PREMISES WIRING TO ITS OWN NETWORK WIRING?

A.	Where AT&T needs to access a unit’s internal customer premises wiring, AT&T has been utilizing a Scotchlok brand insulated gel filled “buttsplice” seamless connector with a polyolefin insulator.  This material is impervious to water, corrosion, or serious modifications in temperature.  See Exhibit DCK-5.   The effect is that there is both a mechanical and electrical seal causing a permanent connection between the two wires placed in the Scotchlok.  The Scotchlok basically creates a seal that seams the two wires together.   This concept of splicing wires has existed for some time and is readily performed in the industry.  There are a number of similar products such as Lucent’s 709 QUICK SNAP Connectors.  See Exhibit DCK-6.

Q.	ARE THERE OTHER METHODS OF CONNECTING TO THE INTERNAL CUSTOMER PREMISES WIRING?

A.	Sure.  AT&T could place its own “punch down” block in the Qwest NID so that we could cross-connect the internal customer premises wiring with our network wire that we would run from the cross-connect.  However, to set the block, we would actually be placing our equipment in the Qwest box.

Q.	COULD AT&T PLACE ITS OWN PUNCH DOWN BLOCK IN A BOX OUTSIDE THE QWEST MPOE TERMINAL/NID?

A.	That is what AT&T is doing already.  To reiterate what AT&T is doing in the MPOE Terminal/NID, it is merely running an extension of the internal customer premises wiring from the MPOE Terminal/NID through weatherproof conduit to its own cross-connect box to connect its network wire to the internal customer premises wire.

Q.	IF AT&T IS USING ITS OWN CROSS-CONNECT BOX, WHY DOES IT NEED TO UTILIZE THE SCOTCHLOK PROCESS?

A.	Because the internal customer premises wiring is usually only long enough to extend to Qwest’s MPOE Terminal/NID, and not beyond.  Especially in construction before 1996, neither building owners nor the ILEC anticipated local telephony competition.  Accordingly, installers and/or contractors only ran enough wire into the ILEC’s MPOE Terminal/NID to attach to the ILEC’s block.  Because AT&T needs to expand the internal customer premises wiring to its own cross-connect box, it must increase the size of the internal customer premises wiring by Scotchloking additional wiring to the original wiring.

Q.	WHAT ABOUT QWEST’S SUGGESTION THAT IT PLACE A FIELD CONNECTION POINT NEAR THE CURRENT MPOE TERMINAL/NID WHERE AT&T CAN ACCESS THE INTERNAL CUSTOMER PREMISES WIRING?

A.	It seems rather silly to have another cross-connect point where one already exists at the AT&T cross-connect.  However, in certain circumstances, e.g., once AT&T acquires numerous customers in a certain MTE, as long as the cost is reasonable and provisioning would not delay AT&T’s attempts to provide competitive local service (e.g., a day or two), there is no harm if both parties agree to put in a new cross-connect.   On the flip side, the Qwest MPOE Terminal/NID already provides the internal customer premises wiring that AT&T needs to access.  At a Field Connection Point, AT&T would do the same thing that it is doing at the MPOE Terminal/NID: disconnect the internal customer premises wiring from the Qwest network wire.  Accordingly, I do not see any reason that Qwest should mandate a Field Connection Point except to add cost, complicate the interconnection, and make it more difficult for the CLEC to access the internal customer premises wiring.

In addition, Qwest would apparently require a “dual truck roll” if a Field Connection Point were used.  This would mean that every time AT&T wishes to access the internal customer premises wiring, Qwest would also dispatch a technician to move the extended internal customer premises wire from the MPOE Terminal to the Field Connection Point, or common box.  Again, there is absolutely no technical reason to have Qwest move the internal wiring from its NID to a common box or “Field Connection Point”; all it would accomplish would be to frustrate AT&T’s efforts to provide competitive services.

Q.	WHAT WOULD HAPPEN IF AT&T WERE NOT ALLOWED TO UTILIZE THE MPOE TERMINAL/NID?

A.	If AT&T were not allowed to enter Qwest’s enclosure, AT&T would be required to access the internal customer premises wiring through another means.  In most cases, this would entail AT&T placing its own internal customer premises wiring inside the MTE.  This effort would be expensive, time consuming and unnecessary because it is redundant wiring.  AT&T would have to run this redundant wiring behind walls and under stairs.  This would certainly not motivate any building owner to allow AT&T to provide competitive local service.  Also, because AT&T would have to expend substantial funds for construction of such wiring, it would not be able to economically compete with Qwest.

Q.	Where could AT&T access the internal customer premises wiring IF IT DID NOT ACCESS IT AT THE MPOE TERMINAL/NID?

A.	In most small to medium sized residential MTEs, once the building construction has been completed there is no access point to customer premises wiring except for the MPOE/NID on the outside of the building and the RJ-11 jack (the phone jack found at the individual MDU unit).  Usually there is “home run wiring” meaning there is no connection point from the MPOE/NID to the RJ-11 jack.  Accordingly, to gain access would involve breaking holes in the interior walls to “fish out” the internal customer premises wiring.  Then AT&T would have to run its own wiring and make a splice to the existing wiring.

Q.	HOW DOES AT&T KNOW IT IS ACCESSING THE CORRECT INTERNAL CUSTOMER PREMISES WIRE IN THE MPOE TERMINAL/NID?

A.	When the technician performs the installation at the customer premises, the technician first verifies the location of the telephone connection in the customer’s unit.  Then, the technician places a tone at the customer’s jack.  The technician then moves to the MPOE Terminal/NID and, utilizing the tone, verifies that they have the correct internal customer premises wiring.  Many times the internal customer premises wiring is also labeled.  After the technician performs the connection to the AT&T network, the AT&T installer then goes back to the customer suite and performs functional and service assurance tests including drawing dial tone, automatic number identification, dialing a number and establishing voice communication, testing for incoming calls and testing customer ordered features to assure the correctness of the connection.

Q.	Is there any other way to ACCESS THE INTERNAL CUStomer Premises wiring besides the methodS you have Discussed above?

A.	No, besides the methods discussed above (drilling into walls and fishing for the internal customer premises wire or accessing the MPOE Terminal/NID), there is no other way for AT&T to access the internal customer premises wiring that I know of.

Q.	QWEST HAS ASSERTED THAT AT&T’S METHOD OF ACCESS WOULD DAMAGE QWEST’S NETWORK, PUT CUSTOMERS OUT OF SERVICE AND OPERATE TO DENY ACCESS TO OTHER CARRIERS.   COULD YOU ADDRESS THESE ALLEGATIONS?

A.	Sure.  As AT&T is merely attempting to access the internal customer premises wiring, it is not touching the electrical side of the MPOE Terminal/NID where Qwest’s network is located.  Accordingly, I do not see how the AT&T protocol could “damage Qwest’s networks.”

As to putting customers out of service, if AT&T technicians followed the proper protocol of insuring that they are connecting the correct customer to AT&T’s network, there is no way for AT&T to place customers out of service, except briefly and consensually for the customer who the AT&T technician is switching from Qwest to AT&T.  Furthermore, if AT&T technicians follow proper protocol, there is no reason that AT&T would “deny access to other carriers.”  All another carrier would have to do is disconnect the AT&T connection and connect to its own network wire or cross-connect.   In the case of Qwest recapturing a customer, all Qwest would have to do is remove the internal customer premises wiring and re-punch it down on the MPOE Terminal/NID block with its network wire.  In sum, in accessing the internal customer premises wiring, AT&T is not damaging Qwest’s network, putting customers out of service, nor operating to deny access to other carriers, unless the technician is not utilizing proper protocol.

Q.	Is it technically possible for AT&T to cause customer outage under the TONE TESTING technical protocol you described ABOVE?

A.	No.

Q.	IS THE METHOD AT&T UTILIZES TO ACCESS INTERNAL CUSTOMER PREMISES WIRING WATER TIGHT?

A.	Yes, AT&T has been using conduit that insulates any wiring from outside elements including water and weatherproofs the connection, as well as the appropriate connectors. Both are rated for exterior use and, when installed correctly, should be weather tight.

Q.	IS AT&T using thE METHOD OF DIRECTLY CONNECTING AT THE MPOE TERMINAL/NID in other parts of the COUntry?

A.	Yes, AT&T is successfully utilizing the direct connect method of accessing enclosure housing in the MPOE Terminal/NID in other ILEC regions such as Verizon and SBC regions.

Q. 	in mtes where AT&T owns the MPOE TERMINAL/NID, doES AT&T allow access to the MPOE TERMINAL/NID for other carriers?

A.	Yes.  In Washington, AT&T allows Qwest and other competitive carriers to access MPOE Terminals/NIDs by any technically feasible method including using a pre-serrated knockout to install wiring.  AT&T also supplies a connecting block assignment for a competitor’s wiring at that competitor’s request.

Q.	To your knowledge, has AT&T ever installed locks on aN MPOE TERMINAL/NID?

A.	Not to my knowledge.

Q.	PLEASE SUMMARIZE YOUR TESTIMONY.

A.	There is no reason why it is technically infeasible for AT&T to directly access internal customer premises wiring at MTEs.  The concerns of Qwest, such as network integrity, are greatly overstated by Qwest, and certainly will not occur if both AT&T and Qwest technicians utilize and adhere to proper technical protocol.

Q.	DOES THIS CONCLUDE YOUR DIRECT TESTIMONY AT THIS TIME?

A.	Yes.