## Table 1
Table 1
Loads and Resources
2010 through 2019
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
aMW
Net Load | 2248.9605 | 2275.5561 | 2324.5743 | 2349.6765 | 2360.4405 | 0 | 0 | 0 | 0 | 0
Long Term Sales | 169.3509 | 169.1993 | 168.7619 | 94.3861 | 94.0279 | 0 | 0 | 0 | 0 | 0
Short Term Firm Sales | 131.9178 | 16.21 | 5.4189 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 2550.2291 | 2460.9654 | 2498.7551 | 2444.0626 | 2454.4684 | 0 | 0 | 0 | 0 | 0
Long Term Purchases | 466.5609 | 441.3094 | 357.2816 | 364.1889 | 364.0878 | 0 | 0 | 0 | 0 | 0
Short Term Firm Purchase | 114.7325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 1903.9885 | 1903.9846 | 1904.4408 | 1904.0783 | 1904.0419 | 0 | 0 | 0 | 0 | 0
Other Generation | 561.6786 | 549.6007 | 544.2986 | 527.4485 | 531.2671 | 0 | 0 | 0 | 0 | 0
Reserves | -8.5006 | -11.7458 | -28.8761 | -20.8498 | -18.4418 | 0 | 0 | 0 | 0 | 0
Total Resources after Reserves | 3038.4599 | 2883.1489 | 2777.1449 | 2774.8659 | 2780.955 | 0 | 0 | 0 | 0 | 0
Surplus / (Deficit) | 488.2307 | 422.1835 | 278.3898 | 330.8033 | 326.4866 | 0 | 0 | 0 | 0 | 0
Percent Surplus / (Deficit) | 19.14% | 17.16% | 11.14% | 13.53% | 13.3% | 0% | 0% | 0% | 0% | 0%
Peak (July)
Net Load | 3309.3264 | 3360.1682 | 3461.5116 | 3483.6963 | 3510.7946 | 0 | 0 | 0 | 0 | 0
Long Term Sales | 462.8 | 462.8 | 462.8 | 462.8 | 462.8 | 0 | 0 | 0 | 0 | 0
Short Term Firm Sales | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 3947.1264 | 3822.9682 | 3924.3116 | 3946.4963 | 3973.5946 | 0 | 0 | 0 | 0 | 0
Long Term Purchases | 1401.8239 | 1284.897 | 628.506 | 627.5701 | 507.9058 | 0 | 0 | 0 | 0 | 0
Short Term Firm Purchase | 478.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 1956.8244 | 1956.8244 | 1956.8244 | 1956.8244 | 1956.8244 | 472.7 | 0 | 0 | 0 | 0
Other Generation | 1059.8048 | 1056.6546 | 974.5889 | 996.2754 | 1014.2884 | 0 | 0 | 0 | 0 | 0
Reserves | -469.8103 | -466.5735 | -469.7427 | -469.388 | -471.3401 | 0 | 0 | 0 | 0 | 0
Total Resources after Reserves | 4426.8229 | 3831.8024 | 3090.1766 | 3111.282 | 3007.6785 | 472.7 | 0 | 0 | 0 | 0
Surplus / (Deficit) | 479.6965 | 8.8342 | -834.135 | -835.2143 | -965.9161 | 472.7 | 0 | 0 | 0 | 0
Percent Surplus / (Deficit) | 12.15% | 0.2311% | -21.26% | -21.16% | -24.31% | 0% | 0% | 0% | 0% | 0%
Peak (January)
Net Load | 3652.709 | 3662.605 | 3711.98 | 3773.809 | 3806.448 | 0 | 0 | 0 | 0 | 0
Long Term Sales | 200 | 200 | 200 | 100 | 100 | 0 | 0 | 0 | 0 | 0
Short Term Firm Sales | 275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 4127.709 | 3862.605 | 3911.98 | 3873.809 | 3906.448 | 0 | 0 | 0 | 0 | 0
Long Term Purchases | 1285.4376 | 1255.8317 | 468.6121 | 503.1875 | 519.0752 | 0 | 0 | 0 | 0 | 0
Short Term Firm Purchase | 78.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 2027.3422 | 2027.3422 | 2027.3422 | 2027.3422 | 2027.3422 | 500.1166 | 0 | 0 | 0 | 0
Other Generation | 1139.9873 | 1133.5608 | 1149.4763 | 1177.0909 | 1202.0494 | 0 | 0 | 0 | 0 | 0
Reserves | -476.516 | -445.2592 | -462.0226 | -437.8858 | -487.9443 | 0 | 0 | 0 | 0 | 0
Total Resources after Reserves | 4054.431 | 3971.4755 | 3183.4079 | 3269.7349 | 3260.5225 | 500.1166 | 0 | 0 | 0 | 0
Surplus / (Deficit) | -73.278 | 108.8705 | -728.5721 | -604.0741 | -645.9255 | 500.1166 | 0 | 0 | 0 | 0
Percent Surplus / (Deficit) | -1.775% | 2.819% | -18.62% | -15.59% | -16.53% | 0% | 0% | 0% | 0% | 0%
month offset | 0 | 13 | 26 | 39 | 52 | 65 | 78 | 91 | 104 | 117

## Table 2
Table 2
Avoided Costs ($/MWh)
Non-Firm Energy
Year | Winter Season |  |  |  |  | Summer Season |  |  |  | Winter Season
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
GRID Production Cost Study
2010 | 50.476 | 47.5257 | 40.9827 | 38.2324 | 31.2736 | 29.9246 | 44.7564 | 50.7327 | 50.5524 | 48.7266 | 55.3806 | 59.8419
2011 | 57.936 | 57.0548 | 52.4392 | 45.3678 | 31.808 | 30.545 | 46.1357 | 57.9428 | 52.8878 | 52.0406 | 55.8887 | 60.1639
2012 | 58.7932 | 58.1742 | 53.7644 | 45.3857 | 32.333 | 30.3376 | 46.2194 | 58.5977 | 53.3761 | 53.3662 | 56.5414 | 60.602
2013 | 58.2878 | 58.5667 | 54.0515 | 46.035 | 32.7484 | 30.4308 | 47.2532 | 59.0289 | 54.0806 | 53.7605 | 56.9414 | 61.0007
2014 | 59.7611 | 59.5032 | 53.9402 | 46.9769 | 33.675 | 31.7916 | 48.6197 | 59.4727 | 54.8677 | 53.118 | 57.5985 | 62.1561
Annual Seasonal Average
| Winter Season |  |  |  | Summer Season |  |  |  | Annual Average
2010 | Winter Season Feb: 46.5549; Summer Season Jun: 43.9915; Winter Season Oct: 45.7005
2011 | Winter Season Feb: 51.5874; Summer Season Jun: 46.8778; Winter Season Oct: 50.0175
2012 | Winter Season Feb: 52.37; Summer Season Jun: 47.1327; Winter Season Oct: 50.6242
2013 | Winter Season Feb: 52.674; Summer Season Jun: 47.6984; Winter Season Oct: 51.0155
2014 | Winter Season Feb: 53.3411; Summer Season Jun: 48.6879; Winter Season Oct: 51.7901
Source | Winter Season Feb: GRID Production Cost Study

## Tables 3 to 4
Table 3 | [5 empty] | Table 4
Total Avoided Cost | [5 empty] | On- & Off- Peak Energy Prices
| Avoided Firm | Total | Total Avoided Costs |  |  |  | Avoided Firm | Capacity Cost | Total | On-Peak | Off-Peak
Year | Capacity | Avoided | At Stated Capacity Factor |  |  | Year | Capacity | Allocated to | Avoided | 4,993 Hours | 3,767 Hours
| Costs | Energy Cost | 75% | 85% | 90% |  | Costs | On-Peak Hours | Energy Cost
| ($/kW-yr) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) |  | ($/kW-yr) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
| (a) | (b) | (c) | (d) | (e) |  | (a) | (b) | (c) | (d) | (e)
|  |  | (b)+((a)/8.76 x 0.75) | (b)+((a)/8.76 x 0.85) | (b)+((a)/8.76 x 0.9) |  |  | (a) /(8.76 x 21.0% x 57%) |  | (b) + (c) | (c)
Avoided Resource | [5 empty] | Avoided Resource
2010 | 21.76 | 45.7005 | 49.0125 | 48.6228 | 48.4605 | 2010 | 21.76 | 20.752 | 45.7005 | 66.4525 | 45.7005
2011 | (1) | 50.0175 | 50.0175 | 50.0175 | 50.0175 | 2011 | (1) |  | 50.0175 | 50.0175 | 50.0175
2012 | 22.575 | 50.6242 | 54.0603 | 53.6561 | 53.4876 | 2012 | 22.575 | 21.5293 | 50.6242 | 72.1535 | 50.6242
2013 | 22.98 | 51.0155 | 54.5132 | 54.1017 | 53.9302 | 2013 | 22.98 | 21.9155 | 51.0155 | 72.931 | 51.0155
2014 | 23.3925 | 51.7901 | 55.3506 | 54.9317 | 54.7572 | 2014 | 23.3925 | 22.3089 | 51.7901 | 74.099 | 51.7901
Columns | [5 empty] | Columns
(a) | Table 6 Column (f) for three months (multiplied by 3/12) |  |  |  |  | (a) | Table 3 Column (a)
(b) | Table 2 Annual Average |  |  |  |  | (b) | Table 6 21.0% is the on-peak capacity factor of the SCCT Proxy Resource
Note: (1) | No capacity payment is made in 2011 because the Company is |  |  |  |  | (c) | Table 3 Column (b)
| capacity surplus during the winter peak 2011. |  |  |  |  | Note: (1) | No capacity payment is made in 2011 because the Company is
capacity surplus during the winter peak 2011.

## Tables 5
Table 5
Comparison between Proposed and Current Avoided Costs
Total Avoided Costs at 85% CF
Year | Proposed | Washington Approved | Difference
| Avoided Costs | Avoided Costs
| ($/MWh) | ($/MWh) | ($/MWh)
| (a) | (b) | (c)
(a) - (b)
2009 |  | 58.6004
2010 | 48.6228 | 63.6871 | -15.0643
2011 | 50.0175 | 63.7256 | -13.7081
2012 | 53.6561 | 64.5988 | -10.9427
2013 | 54.1017 | 65.8387 | -11.737
2014 | 54.9317
Levelized Prices $/MWH (Nominal) @ 7.1% Discount Rate (1) |  |  |  | Discount Rate
5 Year (2009 - 2013) |  | 63.0762 |  | 7.1%
5 Year (2010 - 2014) | 52.0353
Columns
(a) | Table 3 Column (d)
(b) | Avoided Costs Approved by the Commission February 13, 2009
Note (1): | Discount Rate - Company Official Discount Rate - Dated September 2009

## Table 6
Table 6
Total Cost of Displaceable Resources
SCCT Frame (2 Frame "F") - West Side Options (1500')
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr
| (a) | (b) | (c) | (d) | (e) | (f)
2008 | 679 | 58.53 | 3.9 | 12.63 | 27.13 | 85.66
2009 |  | 58.76 | 3.92 | 12.68 | 27.25 | 86.01
2010 |  | 59.47 | 3.97 | 12.83 | 27.57 | 87.04
2011 |  | 60.6 | 4.05 | 13.07 | 28.09 | 88.69
2012 |  | 61.69 | 4.12 | 13.31 | 28.61 | 90.3
2013 |  | 62.8 | 4.19 | 13.55 | 29.12 | 91.92
2014 |  | 63.93 | 4.27 | 13.79 | 29.64 | 93.57
Source: (a)(c)(d) |  | Plant Costs 2008 IRP (Table 6.3 and 6.5)
| (b) | = (a) x Payment Factor
| (e) | = (d) x (8.76 x 21% ) + (c)
| (f) | = (b) + (e)
SCCT Frame (2 Frame "F") - West Side Options (1500')
| 338 | Plant capacity |  |  |  | MW
| 679 | Plant capacity cost |  |  |  | $/kW
| 3.9 | Fixed O&M plus on-going capital cost |  |  |  | $/kW-yr
| 12.63 | Variable O&M and Other Costs |  |  |  | $/MWH
| 8.56 | Fixed Pipeline Costs Included Above |  |  |  | $/MWH
| 8.62% | Payment Factor
| 21% | Capacity Factor
Company Official Inflation Forecast - Dated September 2009
| 2009 | 0.4%
| 2010 | 1.2%
| 2011 | 1.9%
| 2012 | 1.8%
| 2013 | 1.8%
| 2014 | 1.8%

## For Tariff Page do not send
Avoided Cost Prices
To be cut and pasted directly into the tariff
Deliveries | Capacity | Energy
During | Payment | Payment
Calendar Year | $/kW - Month | $/MWH
2010 | 1.8133 | 45.7005
2011 | 0 | 50.0175
2012 | 1.8812 | 50.6242
2013 | 1.915 | 51.0155
2014 | 1.9494 | 51.7901
5 Year (2010 - 2014) Levelized Prices (Nominal) @ 7.1% Discount Rate (1) |  |  | Discount Rate
$/kW - Month | 1.4828 |  | 7.1%
$/kW - Year | 17.7932
$/MWh |  | 49.6457
Footnote:
1 Discount Rate - Company Official Discount Rate - Dated Sep 2009