## Customer Analysis
Washington |  |  | 2012-07-08 | through | 2012-07-10
07/08/2012 to 07/09/2012 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 11227 | 1% | 4413595 | 142 | 1836200 | 48547 | 1596 | 9511 | 120 | 0 | 0 | 0 | 14% | 2.4 | 0.01 | 393
Pacific Power | 11227 | 1% | 4413595 | 142 | 779258 | 48547 | 1596 | 9511 | 120 | 0 | 0 | 0 | 14% | 5.66 | 0.01 | 393
Washington | 11227 | 8% | 4413595 | 142 | 134711 | 48547 | 1596 | 9511 | 120 | 0 | 0 | 0 | 14% | 32.76 | 0.08 | 393
SUNNYSIDE | 2086 | 8.469% | 586305.782 | 15 | 24630 | 2520 | 19 | 2065 | 2 | 0 | 0 | 0 | 0.9108% | 23.8045 | 0.084693 | 281.067
WALLA WALLA | 194 | 0.6838% | 37293.917 | 15 | 28370 | 0 | 100 | 94 | 0 | 0 | 0 | 0 | 51.55% | 1.3146 | 0.0068382 | 192.2367
YAKIMA | 8947 | 10.95% | 3789995.587 | 112 | 81709 | 46027 | 1477 | 7352 | 118 | 0 | 0 | 0 | 16.51% | 46.3841 | 0.1095 | 423.6052
Customer Interrupted by Date
| 2012-07-08 | through | 2012-07-10 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2012-07-08 | 10640 | 8% | 4113139 | 79 | 134711 | 46530 | 1507 | 9033 | 100 | 0 | 0 | 0 | 14%
2012-07-09 | 587 | 0% | 300456 | 63 | 134711 | 2017 | 89 | 478 | 20 | 0 | 0 | 0 | 15%

## SSC by Op Area
Washington | Event |  | 2012-07-08 | through | 2012-07-10 |  | Month |  | 2012-07-01 | through | 2012-07-31 |  | YTD | FY2013 | 2012-01-01 | through | 2012-07-31
07/08/2012 to 07/09/2012 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 3.75 | 0.01 | 253 | 1.35 | 0.01 | 154.6 | 22.04 | 0.15 | 150.74 | 17.29 | 0.13 | 130.55 | 144.18 | 0.92 | 156.65 | 93.11 | 0.76 | 122.76
Pacific Power | 5.9 | 0.02 | 388 | 0.23 | 0 | 292.26 | 14.59 | 0.08 | 177.93 | 8.45 | 0.06 | 131.76 | 171.49 | 0.88 | 195.54 | 72.08 | 0.62 | 115.72
Washington | 32.7634 | 0.083341 | 393.1233 |  |  |  | 37.8574 | 0.11549 | 327.7936 | 5.094 | 0.03215 | 158.4432 | 91.5752 | 0.4866 | 188.1921 | 58.8117 | 0.40326 | 145.8395
SUNNYSIDE | 23.8045 | 0.084693 | 281.067 |  |  |  | 30.7249 | 0.11673 | 263.2186 | 6.9203 | 0.032034 | 216.0301 | 62.0349 | 0.47877 | 129.5725 | 38.2303 | 0.39407 | 97.0135
WALLA WALLA | 1.3146 | 0.0068382 | 192.2367 |  |  |  | 11.2711 | 0.058971 | 191.1307 | 9.9566 | 0.052133 | 190.9856 | 119.6264 | 0.7074 | 169.1066 | 118.3118 | 0.70056 | 168.8808
YAKIMA | 46.3841 | 0.1095 | 423.6052 |  |  |  | 48.9093 | 0.13323 | 367.1075 | 2.5253 | 0.023731 | 106.414 | 90.4123 | 0.4108 | 220.0887 | 44.0282 | 0.3013 | 146.1271

## SSC by State
Washington | Event |  | 2012-07-08 | through | 2012-07-10 |  | Month |  | 2012-07-01 | through | 2012-07-31 |  | YTD | FY2013 | 2012-01-01 | through | 2012-07-31
07/08/2012 to 07/09/2012 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 3.75 | 0.01 | 253 | 1.35 | 0.01 | 154.6 | 22.04 | 0.15 | 150.74 | 17.29 | 0.13 | 130.55 | 144.18 | 0.92 | 156.65 | 93.11 | 0.76 | 122.76
Pacific Power | 5.9 | 0.02 | 388 | 0.23 | 0 | 292.26 | 14.59 | 0.08 | 177.93 | 8.45 | 0.06 | 131.76 | 171.49 | 0.88 | 195.54 | 72.08 | 0.62 | 115.72
Washington | 32.7634 | 0.083341 | 393.1233 |  |  |  | 37.8574 | 0.11549 | 327.7936 | 5.094 | 0.03215 | 158.4432 | 91.5752 | 0.4866 | 188.1921 | 58.8117 | 0.40326 | 145.8395
SUNNYSIDE | 4.3523 | 0.015485 | 281.067 |  |  |  | 5.6148 | 0.021312 | 263.4551 | 1.2625 | 0.0058273 | 216.6546 | 11.3394 | 0.087506 | 129.5847 | 6.9871 | 0.072021 | 97.015
WALLA WALLA | 0.27684 | 0.0014401 | 192.2367 |  |  |  | 2.3737 | 0.012419 | 191.1307 | 2.0968 | 0.010979 | 190.9856 | 25.1932 | 0.14898 | 169.1066 | 24.9163 | 0.14754 | 168.8808
YAKIMA | 28.1343 | 0.066416 | 423.6052 |  |  |  | 29.6647 | 0.080788 | 367.1929 | 1.5304 | 0.014372 | 106.4898 | 54.8383 | 0.24915 | 220.1033 | 26.7041 | 0.18273 | 146.1379