## Summary
PacifiCorp
State of Washington
Classification of Generation and Transmission Costs
BPA Firm Capacity Sales Agreement
1 | Fixed Cost /kW-year |  | 86.43
| Fuel Cost per MWh |  | 0
| Hours of Operation |  | 0
2 | Total Fuel Costs |  | 0 | Line 2 X Line 3
3 | Total Cost, 1 MW |  | 86430 | Line 1 X 1000 + Line 4
Combined Cycle Combustion Turbine
4 | 51.5% |  | 134.58
5 | Fuel Cost per MWh |  | 28.46
6 | Hours of Operation |  | 4511.4 | 51.5%
7 | Total Fuel Costs |  | 128394.444 | Line 8 X Line 9
8 | 51.5% |  | 262974.444 | Line 7 X 1000 + Line 10
9 | Demand Component |  | 32.87% | Line 5 / Line 11
10 | Energy Component |  | 67.13% | 100% - Line 12
Notes:
| Line 1 | BPA Firm Capacity Sales Agreement
Fixed Cost /kW-year = $6.82/kW-month (January-September) plus
$8.35/kW-month (October-December)
| Lines 7 & 8 | CCCT Total Resource Fixed Costs
2009 Washington Commission Approved - AC Study

## Table 6
Table 6
Total Cost of Displaceable Resources
Page 1 of 2
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr
| (a) | (b) | (c) | (d) | (e) | (f)
SCCT Frame (2 Frame "F") * (West Side 1,500 feet)
2008 | 679 | 58.53 | 3.9 | 12.63 | 27.13 | 85.66
2009 |  | 58.76 | 3.92 | 12.68 | 27.25 | 86.01
2010 |  | 59.47 | 3.97 | 12.83 | 27.57 | 87.04
2011 |  | 60.6 | 4.05 | 13.07 | 28.09 | 88.69
2012 |  | 61.69 | 4.12 | 13.31 | 28.61 | 90.3
2013 |  | 62.8 | 4.19 | 13.55 | 29.12 | 91.92
2014 |  | 63.93 | 4.27 | 13.79 | 29.64 | 93.57
Source: (a)(c)(d) |  | Plant Costs 2008 IRP (Table 6.3 and 6.5)
| (b) | = (a) x Payment Factor
| (e) | = (d) x (8.76 x 21% ) + (c)
| (f) | = (b) + (e)
SCCT Frame (2 Frame "F") * (West Side 1,500 feet)
| 338 | Plant capacity |  |  |  | MW
| 679 | Plant capacity cost |  |  |  | $/kW
| 3.9 | Fixed O&M plus on-going capital cost |  |  |  | $/kW-yr
| 12.63 | Variable O&M and Other Costs |  |  |  | $/MWH
| 8.56 | Fixed Pipeline Costs Included Above |  |  |  | $/MWH
| 8.62% | Payment Factor
| 21% | Capacity Factor
Table 6
Total Cost of Displaceable Resources
Page 2 of 2
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | IRP Resource Energy Cost | Total Avoided Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWh | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT (Wet "F" 2x1) *
2008 | 1068 | 91.7412 | 6.94 | 7.84 | 42.31 | 134.05
2009 |  | 92.1082 | 6.97 | 7.87 | 42.47 | 134.58 | 3.98 | 28.46 | 58.29
2010 |  | 93.2135 | 7.05 | 7.96 | 42.96 | 136.17 | 6.3 | 45.05 | 75.23
2011 |  | 94.9845 | 7.18 | 8.11 | 43.77 | 138.75 | 6.91 | 49.41 | 80.17
2012 |  | 96.6942 | 7.31 | 8.26 | 44.57 | 141.26 | 6.98 | 49.91 | 81.22
2013 |  | 98.4347 | 7.44 | 8.41 | 45.38 | 143.81 | 7.05 | 50.41 | 82.29
2014 |  | 100.2066 | 7.57 | 8.56 | 46.19 | 146.4 | 7.17 | 51.27 | 83.72
Source: (a)(c)(d) |  | Plant Costs - 2007 IRP (Table 5.1)
| (b) | = (a) x 0.0859
| (e) | = (e) x (8.76 x 51.5%) + (d)
| (f) | = (b) + (e)
| (g) | Gas Price Forecast
| (h) | = 7150 x (g) / 1000
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
CCCT (Wet "F" 2x1) - West Side Options (1500')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT (Wet "F" 2x1) * |  |  | 557 | 88.84% | 1131 | 7.57
| CCCT Duct Firing (Wet "F" 2x1) |  |  | 70 | 11.16% | 570 | 1.95
| Capacity Weighted |  |  | 627 | 100% | 1068 | 6.94
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT (Wet "F" 2x1) * |  |  | 557 | 56% | 311.92 | 96.53% | 7.88 | 7098
| CCCT Duct Firing (Wet "F" 2x1) |  |  | 70 | 16% | 11.2 | 3.466% | 6.64 | 8557
| Energy Weighted |  |  | 627 | 51.5% | 323.12 | 100% | 7.84 | 7150
Rounded
| CCCT | Duct Firing | Source: 2008 IRP (Table 5.1)
| 557 | 70 | MW Plant capacity
| 1131 | 570 | Plant capacity cost - Average of high and low capital costs in $/kW
| 7.57 | 1.95 | Fixed O&M plus on-going capital cost
| 7.88 | 6.64 | Variable O&M and Other Costs
| 5.21 | 6.28 | Fixed Pipeline Costs Included Above
| 7098 | 8557 | Heat Rate in btu/kWh
| 8.59% | 8.59% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 51.5% | Energy Weighted Capacity Factor
|  | 90.4% | Capacity Factor - On-peak 51.5% / 57% (percent of hours on-peak)
Company Official Inflation Forecast - Dated September 2009
| 2009 |  | 0.4%
| 2010 |  | 1.2%
| 2011 |  | 1.9%
| 2012 |  | 1.8%
| 2013 |  | 1.8%
| 2014 |  | 1.8%
After | 2014 |  | 1.764%

## Table 9
Table 9
Gas Price Forecast
$/MMBtu
Burnertip
Year | West Side Gas
Fuel Cost
(a)
2009 | 3.98
2010 | 6.3
2011 | 6.91
2012 | 6.98
2013 | 7.05
2014 | 7.17
2015 | 7.26
2016 | 7.12
2017 | 7.04
2018 | 7.11
2019 | 7.45
2020 | 7.86
2021 | 8.35
2022 | 8.32
2023 | 8.38
2024 | 7.2
2025 | 7.54
2026 | 8.09
2027 | 8.18

## OFPC Source
Natural Gas ($/MMBtu)
FORWARD PRICE CURVE SUMMARY
Quotes Dated: | 2009-09-30
Burnertip Annual
Sample of source data |  |  |  | Year | Average Price
Month | West Side Gas | Year | Chk Ttl |  | $/MMBtu
2009-01-01 | 5.3 | 2009 | 9.9794 | 2009 | 3.98
2009-02-01 | 4.3785 | 2009 | 10.8906 | 2010 | 6.3
2009-03-01 | 3.7267 | 2009 | 11.0414 | 2011 | 6.91
2009-04-01 | 3.0828 | 2009 | 9.754 | 2012 | 6.98
2009-05-01 | 3.4033 | 2009 | 9.3415 | 2013 | 7.05
2009-06-01 | 2.9421 | 2009 | 9.9764 | 2014 | 7.17
2009-07-01 | 3.0408 | 2009 | 10.0239 | 2015 | 7.26
2009-08-01 | 3.0066 | 2009 | 10.2012 | 2016 | 7.12
2009-09-01 | 3.2857 | 2009 | 9.9834 | 2017 | 7.04
2009-10-01 | 3.9019 | 2009 | 9.4717 | 2018 | 7.11
2009-11-01 | 5.4293 | 2009 | 9.0222 | 2019 | 7.45
2009-12-01 | 6.2959 | 2009 | 8.8406 | 2020 | 7.86
2010-01-01 | 6.4025 | 2010 | 9.1962 | 2021 | 8.35
2010-02-01 | 6.3433 | 2010 | 9.2452 | 2022 | 8.32
2010-03-01 | 6.0779 | 2010 | 9.0197 | 2023 | 8.38
2010-04-01 | 5.8306 | 2010 | 7.3024 | 2024 | 7.2
2010-05-01 | 5.8671 | 2010 | 7.1842 | 2025 | 7.54
2010-06-01 | 5.9381 | 2010 | 7.2665 | 2026 | 8.09
2010-07-01 | 6.0288 | 2010 | 7.3118 | 2027 | 8.18
2010-08-01 | 6.1123 | 2010 | 7.3713
2010-09-01 | 6.1749 | 2010 | 7.37
2010-10-01 | 6.3387 | 2010 | 7.3108
2010-11-01 | 7.0386 | 2010 | 7.2275
2010-12-01 | 7.3964 | 2010 | 7.2933
2011-01-01 | 7.6332 | 2011 | 7.4555
2011-02-01 | 7.6124 | 2011 | 7.5169
2011-03-01 | 7.4037 | 2011 | 6.8555
2011-04-01 | 6.3882 | 2011 | 6.7465
2011-05-01 | 6.3309 | 2011 | 6.7475
2011-06-01 | 6.3987 | 2011 | 6.7432
2011-07-01 | 6.4821 | 2011 | 6.7092
2011-08-01 | 6.5551 | 2011 | 6.7405
2011-09-01 | 6.5864 | 2011 | 6.7939
2011-10-01 | 6.6855 | 2011 | 6.9066
2011-11-01 | 7.2901 | 2011 | 6.7896
2011-12-01 | 7.5718 | 2011 | 6.6752
2012-01-01 | 7.774 | 2012 | 6.8085
2012-02-01 | 7.7687 | 2012 | 6.8954
2012-03-01 | 7.5392 | 2012 | 5.8766
2012-04-01 | 6.4142 | 2012 | 6.7232
2012-05-01 | 6.3672 | 2012 | 6.7407
2012-06-01 | 6.4403 | 2012 | 6.6414
2012-07-01 | 6.5237 | 2012 | 6.5167
2012-08-01 | 6.5863 | 2012 | 6.5272
2012-09-01 | 6.6176 | 2012 | 6.5915
2012-10-01 | 6.7011 | 2012 | 6.8264
2012-11-01 | 7.3567 | 2012 | 7.0214
2012-12-01 | 7.6384 | 2012 | 6.8984
2013-01-01 | 7.8523 | 2013 | 7.0319
2013-02-01 | 7.8523 | 2013 | 7.1222
2013-03-01 | 7.6123 | 2013 | 5.9232
2013-04-01 | 6.4796 | 2013 | 6.711
2013-05-01 | 6.4326 | 2013 | 6.6824
2013-06-01 | 6.5056 | 2013 | 6.6002
2013-07-01 | 6.5891 | 2013 | 6.494
2013-08-01 | 6.6569 | 2013 | 6.5046
2013-09-01 | 6.6882 | 2013 | 6.5893
2013-10-01 | 6.7717 | 2013 | 6.8361
2013-11-01 | 7.4168 | 2013 | 7.0758
2013-12-01 | 7.7141 | 2013 | 6.9405
2014-01-01 | 7.9327 | 2014 | 7.0403
2014-02-01 | 7.9275 | 2014 | 7.1444
2014-03-01 | 7.6823 | 2014 | 6.633
2014-04-01 | 6.5964 | 2014 | 7.3265
2014-05-01 | 6.5494 | 2014 | 7.3439
2014-06-01 | 6.6381 | 2014 | 7.229
2014-07-01 | 6.7372 | 2014 | 7.1123
2014-08-01 | 6.8102 | 2014 | 7.1092
2014-09-01 | 6.8415 | 2014 | 7.2023
2014-10-01 | 6.9302 | 2014 | 7.4644
2014-11-01 | 7.565 | 2014 | 7.706
2014-12-01 | 7.8571 | 2014 | 7.5963
2015-01-01 | 8.0787 | 2015 | 7.6982
2015-02-01 | 8.0735 | 2015 | 7.7971
2015-03-01 | 7.8336 | 2015 | 7.2995
2015-04-01 | 6.7476 | 2015 | 7.9996
2015-05-01 | 6.7059 | 2015 | 7.9762
2015-06-01 | 6.7842 | 2015 | 7.8769
2015-07-01 | 6.878 | 2015 | 7.7621
2015-08-01 | 6.9511 | 2015 | 7.7418
2015-09-01 | 6.9824 | 2015 | 7.8522
2015-10-01 | 7.071 | 2015 | 8.0767
2015-11-01 | 7.416 | 2015 | 8.6185
2015-12-01 | 7.6073 | 2015 | 8.6181
2016-01-01 | 7.8045 | 2016 | 8.7513
2016-02-01 | 7.8252 | 2016 | 8.8294
2016-03-01 | 7.3843 | 2016 | 8.7308
2016-04-01 | 6.7589 | 2016 | 8.8511
2016-05-01 | 6.7248 | 2016 | 8.8542
2016-06-01 | 6.769 | 2016 | 8.789
2016-07-01 | 6.8012 | 2016 | 8.7445
2016-08-01 | 6.8544 | 2016 | 8.7441
2016-09-01 | 6.8991 | 2016 | 8.8324
2016-10-01 | 7.0247 | 2016 | 9.0167
2016-11-01 | 7.2664 | 2016 | 9.7278
2016-12-01 | 7.3603 | 2016 | 9.8215
2017-01-01 | 7.5324 | 2017 | 9.9901
2017-02-01 | 7.5742 | 2017 | 10.0387
2017-03-01 | 6.9325 | 2017 | 8.8323
2017-04-01 | 6.7707 | 2017 | 8.5199
2017-05-01 | 6.7446 | 2017 | 8.5065
2017-06-01 | 6.755 | 2017 | 8.4784
2017-07-01 | 6.7237 | 2017 | 8.4922
2017-08-01 | 6.7602 | 2017 | 8.546
2017-09-01 | 6.8124 | 2017 | 8.6421
2017-10-01 | 6.9741 | 2017 | 8.7731
2017-11-01 | 7.4281 | 2017 | 9.3332
2017-12-01 | 7.5168 | 2017 | 9.4388
2018-01-01 | 7.6941 | 2018 | 9.6074
2018-02-01 | 7.7411 | 2018 | 9.6626
2018-03-01 | 7.0056 | 2018 | 9.3556
2018-04-01 | 6.8073 | 2018 | 9.0388
2018-05-01 | 6.755 | 2018 | 8.9903
2018-06-01 | 6.7759 | 2018 | 8.9399
2018-07-01 | 6.7498 | 2018 | 8.9517
2018-08-01 | 6.7915 | 2018 | 8.8449
2018-09-01 | 6.8541 | 2018 | 8.7053
2018-10-01 | 7.0211 | 2018 | 8.6454
2018-11-01 | 7.4959 | 2018 | 8.8183
2018-12-01 | 7.5846 | 2018 | 8.9002
2019-01-01 | 7.7463 | 2019 | 8.4873
2019-02-01 | 7.7985 | 2019 | 8.3596
2019-03-01 | 7.402 | 2019 | 6.012
2019-04-01 | 7.1828 | 2019 | 5.8371
2019-05-01 | 7.1567 | 2019 | 5.8133
2019-06-01 | 7.1671 | 2019 | 5.8075
2019-07-01 | 7.1462 | 2019 | 5.8807
2019-08-01 | 7.1827 | 2019 | 5.9311
2019-09-01 | 7.2505 | 2019 | 5.9944
2019-10-01 | 7.4279 | 2019 | 6.1488
2019-11-01 | 7.8976 | 2019 | 6.7533
2019-12-01 | 7.9967 | 2019 | 6.8367
2020-01-01 | 8.1636 | 2020 | 7.0086
2020-02-01 | 8.2106 | 2020 | 7.0638
2020-03-01 | 7.8297 | 2020 | 6.6144
2020-04-01 | 7.6105 | 2020 | 6.4039
2020-05-01 | 7.5687 | 2020 | 6.4195
2020-06-01 | 7.5844 | 2020 | 6.3676
2020-07-01 | 7.5635 | 2020 | 6.4322
2020-08-01 | 7.5896 | 2020 | 6.4812
2020-09-01 | 7.6679 | 2020 | 6.5579
2020-10-01 | 7.8244 | 2020 | 6.7093
2020-11-01 | 8.3044 | 2020 | 7.4247
2020-12-01 | 8.4088 | 2020 | 7.518
2021-01-01 | 8.5757 | 2021 | 7.7326
2021-02-01 | 8.6279 | 2021 | 7.7774
2021-03-01 | 8.3618 | 2021 | 7.1638
2021-04-01 | 8.08 | 2021 | 7.0211
2021-05-01 | 8.0591 | 2021 | 6.9987
2021-06-01 | 8.0747 | 2021 | 6.954
2021-07-01 | 8.0591 | 2021 | 6.935
2021-08-01 | 8.0851 | 2021 | 7.0044
2021-09-01 | 8.1582 | 2021 | 7.0677
2021-10-01 | 8.3147 | 2021 | 7.2363
2021-11-01 | 8.8208 | 2021 | 7.8623
2021-12-01 | 8.9252 | 2021 | 7.9608
2022-01-01 | 9.1026 | 2022 | 8.1683
2022-02-01 | 9.1495 | 2022 | 8.2235
2022-03-01 | 8.1949 | 2022 | 7.2865
2022-04-01 | 7.9339 | 2022 | 7.149
2022-05-01 | 7.9078 | 2022 | 7.1542
2022-06-01 | 7.9234 | 2022 | 7.0713
2022-07-01 | 7.9025 | 2022 | 7.0542
2022-08-01 | 7.9495 | 2022 | 7.0857
2022-09-01 | 8.0278 | 2022 | 7.2327
2022-10-01 | 8.1739 | 2022 | 7.4321
2022-11-01 | 8.7113 | 2022 | 8.0459
2022-12-01 | 8.8156 | 2022 | 8.1378
2023-01-01 | 8.9982 | 2023 | 8.3367
2023-02-01 | 9.0504 | 2023 | 8.3748
2023-03-01 | 8.5078 | 2023 | 7.6914
2023-04-01 | 8.2261 | 2023 | 7.6428
2023-05-01 | 8.1687 | 2023 | 7.6569
2023-06-01 | 8.1791 | 2023 | 7.5878
2023-07-01 | 8.1582 | 2023 | 7.5707
2023-08-01 | 8.1164 | 2023 | 7.7046
2023-09-01 | 8.0695 | 2023 | 7.9855
2023-10-01 | 8.1164 | 2023 | 8.294
2023-11-01 | 8.4609 | 2023 | 9.1857
2023-12-01 | 8.5549 | 2023 | 9.2999
2024-01-01 | 8.4037 | 2024 | 9.8721
2024-02-01 | 8.3515 | 2024 | 10.0383
2024-03-01 | 6.9273 | 2024 | 9.891
2024-04-01 | 6.7133 | 2024 | 9.6174
2024-05-01 | 6.6766 | 2024 | 9.5822
2024-06-01 | 6.7079 | 2024 | 9.4665
2024-07-01 | 6.7235 | 2024 | 9.4177
2024-08-01 | 6.7705 | 2024 | 9.4815
2024-09-01 | 6.8383 | 2024 | 9.6509
2024-10-01 | 7 | 2024 | 9.8618
2024-11-01 | 7.5743 | 2024 | 10.5532
2024-12-01 | 7.6733 | 2024 | 10.6688
2025-01-01 | 7.8455 | 2025 | 10.9191
2025-02-01 | 7.8977 | 2025 | 10.9468
2025-03-01 | 7.4541 | 2025 | 10.1823
2025-04-01 | 7.2245 | 2025 | 9.9192
2025-05-01 | 7.1983 | 2025 | 9.8835
2025-06-01 | 7.2087 | 2025 | 9.8814
2025-07-01 | 7.2191 | 2025 | 9.8588
2025-08-01 | 7.2608 | 2025 | 9.9159
2025-09-01 | 7.339 | 2025 | 10.0167
2025-10-01 | 7.4904 | 2025 | 10.293
2025-11-01 | 8.1324 | 2025 | 11.1946
2025-12-01 | 8.2367 | 2025 | 11.3017
2026-01-01 | 8.4349 | 2026 | 10.6823
2026-02-01 | 8.4819 | 2026 | 10.7237
2026-03-01 | 8.0123 | 2026 | 9.9563
2026-04-01 | 7.7878 | 2026 | 9.6965
2026-05-01 | 7.7512 | 2026 | 9.6542
2026-06-01 | 7.772 | 2026 | 9.6384
2026-07-01 | 7.7407 | 2026 | 9.6607
2026-08-01 | 7.7928 | 2026 | 9.7159
2026-09-01 | 7.8659 | 2026 | 9.8187
2026-10-01 | 8.0276 | 2026 | 10.0965
2026-11-01 | 8.6331 | 2026 | 11.055
2026-12-01 | 8.7427 | 2026 | 11.174
2027-01-01 | 8.9409 | 2027 | 10.5203
2027-02-01 | 8.9931 | 2027 | 10.5532
2027-03-01 | 7.9913 | 2027 | 10.3061
2027-04-01 | 7.793 | 2027 | 9.9945
2027-05-01 | 7.772 | 2027 | 9.945
2027-06-01 | 7.7614 | 2027 | 9.9692
2027-07-01 | 7.7301 | 2027 | 9.9916
2027-08-01 | 7.7718 | 2027 | 10.0572
2027-09-01 | 7.8972 | 2027 | 10.1076
2027-10-01 | 8.0694 | 2027 | 10.375
2027-11-01 | 8.6905 | 2027 | 11.3554
2027-12-01 | 8.8 | 2027 | 11.4777
West Side
38
Check Totals | -524.3073