## Summary
CASCADE NATURAL GAS CORPORATION |  |  |  | Schedule 1 of 3
BENCH REQUEST #5
ATTACHMENT
| 2008 | 2009 | 2010
Residential Programs | 210578 | 245850 | 273948
Commercial/Industrial Programs | 157095 | 227380 | 329996
Combined Utility Programs | 367673 | 473230 | 603944
Bestcase | 370000 | 475000 | 605000
Conservative | 277500 | 355000 | 455000
Conservative scenario is 75% of best case

## Residential
CASCADE NATURAL GAS CORPORATION | [5 empty] | Schedule 2 of 3
BENCH REQUEST #5
ATTACHMENT
RESIDENTIAL TARGET DEVELOPMENT
Table 14 | Stellar Summary |  | Technical Potential by 2025 | Achievable Potential by 2025
Measure Code | Measure Description | Program | Gas Savings | Gas Savings
|  |  | Therms | Therms
N-H101 | E* Insulation, Ducts, Zone 1 | NewPkg | 1765328 | 1059197 |  | Note Assume New Construction at 60% achievable
N-H102 | E* Insulation, Ducts, Zone 2 | NewPkg | 3830256 | 2298154
N-H103 | E* Insulation, Ducts, Zone 3 | NewPkg | 3488895 | 2093337
N-H104 | Heating upgrade (AFUE 90), Zone 1 | NewPkg | 600917 | 360550
N-H105 | Heating upgrade (AFUE 90), Zone 2 | NewPkg | 1598275 | 958965
N-H106 | Heating upgrade (AFUE 90), Zone 3 | NewPkg | 951793 | 571076
R-H101 | Duct Sealing, Zone 1 | HVACExist | 87228 | 65421 |  | Assume that 75% of Existing could be achievable
R-H102 | Duct Sealing, Zone 2 | HVACExist | 154826 | 116120
R-H103 | Duct Sealing, Zone 3 | HVACExist | 167703 | 125777
R-H104 | AFUE 90+ Furnace, Zone 1 | HVACExist | 763055 | 572291
R-H105 | AFUE 90+ Furnace, Zone 2 | HVACExist | 1424214 | 1068161
R-H106 | AFUE 90+ Furnace, Zone 3 | HVACExist | 1375074 | 1031306
R-H113 | Duct Sealing and AFUE 90+, Zone 1 | HVACExist | 124877 | 93658
R-H114 | Duct Sealing and AFUE 90+, Zone 2 | HVACExist | 233830 | 175373
R-H115 | Duct Sealing and AFUE 90+, Zone 3 | HVACExist | 225677 | 169258
R-WG101 | Wx insulation 2 measures Zone 1 | WxExist | 454544 | 340908
R-WG102 | Wx insulation 2 measures Zone 2 | WxExist | 888592 | 666444
R-WG103 | Wx insulation 2 measures Zone 3 | WxExist | 766849 | 575137
R-WG104 | Wx insulation 1 added measure Zone 1 | WxExist | 276226 | 207170
R-WG105 | Wx insulation 1 added measure Zone 2 | WxExist | 539741 | 404806
R-WG106 | Wx insulation 1 added measure Zone 3 | WxExist | 467920 | 350940
| Total Residential Potential |  | 20185820 | 13304049
| Therm Savings targets: |  |  |  | Energy Trust
Year 1 | Residential Existing |  |  | 99379.5 | 108703 |  | Assume that therms savings would be acquired over 15 year period. 1st year would have 25% participation of annual amount
Year 1 | New Construction |  |  | 91765.9875 | 101875 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 1st year, assumed 20% of eligible population will participate.
| Total Residential Best Case |  |  | 191145.4875 | 210578
Year 2 | Residential Existing |  |  | 127773.6429 | 126992 |  | Assume that therms savings would be acquired over 14 year period. 2nd year would have 30% participation of annual amount
Year 2 | New Construction |  |  | 110119.185 | 118858 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 2nd year, assumed 30% of eligible population will participate.
| Total Residential Best Case |  |  | 237892.8279 | 245850
Year 3 | Residential Existing |  |  | 137602.3846 | 141526 |  | Assume that therms savings would be acquired over 13 year period. 3rd yr would have 30% participation of annual amount
Year 3 | New Construction |  |  | 128472.3825 | 132422 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 3rd year, assumed 35% of eligible population will participate.
| Total Residential Best Case |  |  | 266074.7671 | 273948

## comml-industrial
CASCADE NATURAL GAS CORPORATION |  |  |  |  | Schedule 3 of 3
BENCH REQUEST #5
ATTACHMENT
COMMERCIAL/INDUSTRIAL TARGET DEVELOPMENT
|  | Technical Potential | Achievable
|  | @ 2025 | by 2025 at
|  | (Table 1) | 70%
(in 000's of therms
1 | Shell Measures | 12084 | 8459
2 | Refer Heat Reclaim | 11926 | 8348
3 | Cooking | 3399 | 2379
4 | O&M and Controls | 1458 | 1021
5 | Replace Heaters | 1660 | 1162
6 | DHW Measures | 1076 | 753
7 | Solar Pool Heat | 215 | 151
8 | Replace Boiler | 491 | 344
9 | New Refer Heat Reclaim | 5471 | 3830
10 | New Windows | 3264 | 2285
11 | New Cooking | 945 | 662
12 | New Heaters | 737 | 516
13 | New DHW Measures | 377 | 264
14 | New Boilers | 514 | 360
15 | New Solar Pool Heat | 32 | 22
16 | Total Commercial | 43650 | 30556
17 | Shell Measures | 400 | 280
18 | Boilers | 291 | 204
19 | Unit Heater | 251 | 176
20 | Process Hot Water | 68 | 48
21 | Specialty Hot Water | 52 | 36
22 | Total Industrial | 1061 | 744
23 | Excluded Heat Reclaim & Solar for 2008 & 2009 targets | -17644 | -12351 |  |  | Excluded from target development since no one in NW is currently offering such a program. Will work to develop program for inclusion in 2010 targets
24 | Total Commercial/Industrial | 27067 | 18949
ETO Estimate
YR 1 | New |  | 40870 | 45179 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 1st year, assumed 20% of eligible population will participate.
YR 1 | Replacement |  | 99080 | 111916 |  | Assume that therms savings would be acquired over 15 year period. 1st year would have 10% participation
| Total Business Therm Savings |  | 139950 | 157095
YR 2 | New |  | 51088 | 59516 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 1st year, assumed 25% of eligible population will participate.
YR 2 | Replacement |  | 159236 | 167864 |  | Assume that therms savings would be acquired over 14 year remaining. 2nd year would have 15% participation
YR 2 | Total Business Therm Savings |  | 210324 | 227380
YR 3 | New |  | 91958 | 94946 |  | Only 1/20th of 2025 figures could occur because this is new construction over planning horizon. During the 1st year, assumed 45% of eligible population will participate.
YR 3 | Replacement |  | 228646 | 235050 |  | Assume that therms savings would be acquired over 13 year remaining. 3rd year would have 20% participation
| Total Business Therm Savings |  | 320604 | 329996