## REDACTED
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530

## Index
Puget Sound Energy
Index
Electric Special Contract Distribution Rate Design Workpapers
Docket No. UE-190529
Page | Title
2 | Special Contract Proforma & Proposed Revenue
3 | Special Contract Rate Summary
4 | Special Contract Rate Design - Distribution Charges by Campus
5 | Special Contract Distribution Charge - Transformers
6-11 | Special Contract Distribution Charge - Feeders
12-16 | Special Contract Distribution Charge - Substations
17 | Substation Net Plant Balances - 2003 to 2018
18 | Special Contract Campus Coincident Demand Factors
19 | Special Contract Campus Circuit and Substation Load Percentages
20 | Special Contract Fixed Charge Rate (FCR) Summary
21-22 | 2018 Handy Whitman Index
23 | Feeder Overhead Charge Summary from 2019 GRC COS
24 | Substation O&M Charge Summary from 2019 GRC COS
25 | Substation A&G Charge Summary from 2019 GRC COS

## Bill Determinants
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2018
Special Contract
|  |  |  | Proforma |  | Proposed
Line | [5 empty] | Eff October 1, 2020 |  | Differences
No. |  | Bill Determinants |  | Charge | Revenue | Charge | Revenue | $ | %
1
2 | Basic Charge:
3 |  | 1180 |  | 2120 | 2501600 | 236 | 278480 | -2223120 | -88.87%
4 | Production / Transmission Charge:
5 | kWh
6 | Billed | 351393396 |  |  | 0 |  | 0
7 | Unbilled | -685392 |  |  | 0 |  | 0
8 | Temperature | -14720240 |  | 0.01332 | -196074 | 0.01332 | -196074
9 |  | 335987764 |  |  | -196074 |  | -196074 | 0 | 0%
10
11 | Distribution Charge:
12 | Customer Specific | Registered kW | Coincident kW
13 | Distribution Charge: | 799158 | 685123 |  | 3188380 |  | 4225093.46 | 1036713.46 | 32.52%
14
15
16 | Total Special Contract |  |  |  | 5493906 |  | 4307499.46 | -1186406.54 | -21.59%
4307499.46
0

## Tariff Summary (R)
Puget Sound Energy
Calculation of Special Contract Tariff Charges
Test Year Twelve Months ended December 2018
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Line No. | Basic Charge | Rate | Notes
1 | All Basic Charges | 236 | Set to Cost of Service
2
3
4
5 | [7 empty] | Coincident Demand Charge
6 | Customer Specific Distribution Charge |  |  | Total Distribution | Transformer Charge | Feeder Charge | Substation Charge | % Coincident | Distribution Rate
7
8
9
10
11 |  | Billed Secondary Rate | Billed Primary Rate
12 | Docket No. UE-180602 | [6 empty] | % Coincident | Distribution Rate
13
14
15
16

## Distribution Revenue (R)
Special Contract
Summary of Distribution Revenue
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
|  | Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530 | [5 empty] | Proforma
Line No. | Customer Specific Distribution Charge | Billed Distribution Charge | Coincidence Factor | Tariffed (Coincident) Distribution Charge | Coincident Bill Determinant | Bill Determinant (Registered kW) | Distribution Revenue | Billed Distribution Charge | Bill Determinant | Distribution Revenue
|  | a = b * c | b | c | d = e * b | e | f = a * e | i | j | k = I * j
1
2
3
4
5
6
7
8
9 | Total |  |  |  | 685123 | 799158 | 4225093.46 |  | 799158 | 3188380
10 | Check |  |  |  | 685123 | 799158 | 4225526.54 |  | 799158 | 3188380
11 | Check |  |  |  | 0 | 0 | 433.08 |  |  | 0
Note on H18: prasan: difference due to coincident demand rounding

## Dist Line Transformers 2018 (R)
Special Contract
Distribution Line Transformer Charge Basis
Docket No. UE-190529
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Line No. | Size | Monthly Rate | Annual Rate |  |  |  |  | Total Transformer Count | New Transformer Cost | Line Transformer Direct Assignment | Net Plant Assumption (50% Depreciated) | OH | UG | Monthly Lease Rate
1 | 225 KVA PM | 128.7682 | 1545.2183 |  |  |  |  | 3 | 9720.3637 | 29161.0911 | 14580.5456 |  | 14580.5456 | 128.7682
2 | 500 KVA PM | 174.3444 | 2092.1322 |  |  |  |  | 7 | 10370.7896 | 72595.5273 | 36297.7636 |  | 36297.7636 | 174.3444
3 | 750 KVA PM | 253.3786 | 3040.5428 |  |  |  |  | 2 | 14295.7336 | 28591.4672 | 14295.7336 |  | 14295.7336 | 253.3786
4 | 1000 KVA PM | 328.3616 | 3940.3388 |  |  |  |  | 14 | 22518.5589 | 315259.8242 | 157629.9121 |  | 157629.9121 | 328.3616
5 | 1500 KVA PM | 405.9743 | 4871.6916 |  |  |  |  | 7 | 24461.7703 | 171232.3922 | 85616.1961 |  | 85616.1961 | 405.9743
6 | 2000 KVA PM | 455.7083 | 5468.4994 |  |  |  |  | 8 | 18459.5911 | 147676.7292 | 73838.3646 |  | 73838.3646 | 455.7083
7 | 2500 KVA PM | 580.0521 | 6960.6255 |  |  |  |  | 30 | 19404.1311 | 582123.9344 | 291061.9672 |  | 291061.9672 | 580.0521
8 | 3750 KVA PM | 1160.1042 | 13921.251 |  |  |  |  | 3 | 19404.1311 | 58212.3934 | 29106.1967 |  | 29106.1967 | 1160.1042
9
10 | Annual $ |  | 408958 |  |  |  |  | 74 |  | 1404853.359 | 702426.6795 | 0 | 702426.6795
11
12 | Sec Voltage Billed Demand |  | 416208
13 | Primary Voltage Billed Demand |  | 382950
14
15 | Total kW Demand |  | 799158
16
17 | Coincidence Factor
18
19 | Sum of 12 months monthly coincident demands |  | 685123
20
21 | Coincident Distribution Line Transformer Charge / kW
22
23 |  |  | 685123 | 0 | 1 | 0 | 0
24 |  |  | 0
25 | Coincident Secondary Voltage |  | 352650 | 193305 | 124335 | 0 | 35010
26 | Coincident Primary Voltage |  | 332473 | 189259 | 74357 | 53371 | 15486
27 | Total |  | 685123 | 382564 | 198692 | 53371 | 50496
28 |  |  | 685123 | 382564 | 198692 | 53371 | 50496
29 |  |  | 0 | 0 | 0 | 0 | 0
30
31 | Non Coincident Rate to apply to Registered Demand |  |  | 0.43 | 0.69 | 0 | 0.91

## Distribution Feeders 2018 (R)
Puget Sound Energy
Special Contract Directly Assigned Distribution Plant
Docket No. UE-190529
2018 Feeder Cost Calculation
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Line | Description | Total
1 | Feeder
2 | Allocations
3 | % of Feeder Load
4 | Current GRC Year
5 | Vintage Year
6 | Plant Age
7 | Plant Expected Life
8 | Plant Remaining Life
9 | Plant Remaining Life %
10 | Handy Whitman Current
11 | Handy Whitman Original
12 | Handy Whitman %
13 | Construction Cost OH
14 | FCR Net Plant
15 | O&M % (Overhead Lines)
16 | O&M % (Underground Lines)
17 | A&G %
18
19 | Costs
20 | OH Feeder Cost to Location
21 | UG Feeder Cost to Location
22 | Total Feeder Cost to Location | 26256913
23 | Construction Cost | 32296002.99
24 | Estimated Net Book | 12359364.3038
25 | Allocated Net Book | 7230109.0867
26
27 | Annual Plant Cost
28 | O&M Costs
29 | A&G Costs
30 | Annual Costs | 1018760.5156
31
32 | Subtotal Annual Costs | 1018760.5156
33
34 | Sec Voltage Billed Demand
35 | Primary Voltage Billed Demand
36
37 | Total kW Demand | 799158
38
39 | Coincidence Factor
40
41 | Sum of 12 months monthly coincident demands | 685123
42
43 | Distribution Feeder Charge / kW
44
45
46 |  | 26256913 | 12330694 | [22 empty] | 10606565 | [15 empty] | 814000 | 2505654
47 |  | 26256913 | 12330694 | [22 empty] | 10606565 | [15 empty] | 814000 | 2505654
48 |  | 0 | 0 | [22 empty] | 0 | [15 empty] | 0 | 0
49
50
51 | Allocated Net Book | 7107845.5969 | 11595.2275 | 67636.1151 | 46235.9317 | 1557.1354 | 71450.6933 | 15718.7012 | 66616.8881 | 42716.4182 | 22833.7523 | 23578.5693 | 56476.1823 | 198362.6587 | 44795.287 | 55437.0812 | 700049.6556 | 403368.3706 | 0 | 177766.072 | 141771.3743 | 55272.4727 | 164926.5424 | 110350.311 | 203232.8418 | 882845.5893 | 1615000.7365 | 0 | 0 | 231830.8648 | 120925.5973 | 52016.5404 | 0 | 363546.1574 | 9795.9126 | 36928.8475 | 144323.2746 | 6534.0128 | 124403.9395 | 0 | 0 | 168140.2322 | 6796.7284 | 241898.3315 | 47942.3465 | 3935.7596 | 71123.5236 | 24209.2341 | 29276.4739 | 0 | 18662.5905 | 163388.7072 | 62571.9148
52 | Overhead | 14849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | Underground | 7092998 | 11595 | 67636 | 46236 | 1557 | 71451 | 15719 | 66617 | 42716 | 22834 | 23579 | 56476 | 198363 | 44795 | 55437 | 700050 | 403368 | 0 | 177766 | 141771 | 55272 | 164927 | 110350 | 188384 | 882846 | 1615001 | 0 | 0 | 231831 | 120926 | 52017 | 0 | 363546 | 9796 | 36929 | 144323 | 6534 | 124404 | 0 | 0 | 168140 | 6797 | 241898 | 47942 | 3936 | 71124 | 24209 | 29276 | 0 | 18663 | 163389 | 62572
54
55 | O&M Costs: | 302040.3977 | 489.309 | 2854.2392 | 1951.1592 | 65.7054 | 3015.2322 | 663.3418 | 2811.2374 | 1802.6152 | 963.5948 | 995.0338 | 2383.2872 | 8370.9186 | 1890.349 | 2339.4414 | 29542.11 | 17022.1296 | 0 | 7501.7252 | 5982.7362 | 2332.4784 | 6959.9194 | 4656.77 | 10665.6869 | 37256.1012 | 68153.0422 | 0 | 0 | 9783.2682 | 5103.0772 | 2195.1174 | 0 | 15341.6412 | 413.3912 | 1558.4038 | 6090.4306 | 275.7348 | 5249.8488 | 0 | 0 | 7095.508 | 286.8334 | 10208.0956 | 2023.1524 | 166.0992 | 3001.4328 | 1021.6198 | 1235.4472 | 0 | 787.5786 | 6895.0158 | 2640.5384
56 | Overhead | 2715.8821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2715.8821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | Underground | 299324.5156 | 489.309 | 2854.2392 | 1951.1592 | 65.7054 | 3015.2322 | 663.3418 | 2811.2374 | 1802.6152 | 963.5948 | 995.0338 | 2383.2872 | 8370.9186 | 1890.349 | 2339.4414 | 29542.11 | 17022.1296 | 0 | 7501.7252 | 5982.7362 | 2332.4784 | 6959.9194 | 4656.77 | 7949.8048 | 37256.1012 | 68153.0422 | 0 | 0 | 9783.2682 | 5103.0772 | 2195.1174 | 0 | 15341.6412 | 413.3912 | 1558.4038 | 6090.4306 | 275.7348 | 5249.8488 | 0 | 0 | 7095.508 | 286.8334 | 10208.0956 | 2023.1524 | 166.0992 | 3001.4328 | 1021.6198 | 1235.4472 | 0 | 787.5786 | 6895.0158 | 2640.5384
58
59 | Non Coincident Rate to apply to Registered Demand |  | 0.9 | [22 empty] | 2.1 | [15 empty] | 0.48 | 1.56
Note on B16: PSE: Only new addition receive updated Handy-Whitman
Note on B20: PSE: Update to new FCR Rates

## Distribution Subs 2018 (R)
Puget Sound Energy
Special Contract Directly Assigned Distribution Plant
Docket No. UE-190529
2018 Substation Cost Calculation
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Line | Description | Total
1 | Substation
2 | Allocations
3 | % Alloc to Customer
4 | % Alloc to Area
5 | Year Added to Rate
6 | Plant Age
7 | Base Substation Costs Acnt 360 | 18267178.95
8 | Base Substation Costs Acnt 361 | 1241553.69
9 | Base Substation Costs Acnt 362 | 49672665.16
10
11 | Land FCR
12 | Plant FCR
13 | O&M %
14 | A&G % to O&M
15 | A&G % (resulting)
16
17 | Annual Plant Cost
18 | O&M
19 | A&G
20 | Total Annual Net Cost
21 | Campus Allocated Annual Sub Costs | 2803891.7046
22
23 | Subtotal Annual Costs | 2803891.7046
24
25 | Sec Voltage Billed Demand
26 | Primary Voltage Billed Demand
27
28 | Total kW Demand | 799158
29
30 | Coincidence Factor
31
32 | Sum of 12 months monthly coincident demands | 685124
33
34 | Distribution Substation Charge / kW
35
36
37 | Check Current Net Plant | 69167706.74
38 | Check | 69181397.8
39 | Check | -13691.06
40
41
42 | Net Plant Direct Assignment
43 | Total Substation | 69181397.8 | 1475894 | 446509.53 | 6869.39 | 363289.34 | 342140 | 1180170.49 | 63080.1 | 133496.34 | 77245.76 | 635596 | 205388.54 | 10462.09 | 742364.67 | 113758 | 25135.8 | 3885604 | 2241047.31 | 64238.19 | 6845.53 | 17334633.57 | 894593.11 | 0 | 1475894 | 446509.53 | 6869.39 | 363289.34 | 3885604 | 2241047.31 | 64238.19 | 6845.53 | 17334633.57 | 894593.11 | 0 | 635596 | 205388.54 | 10462.09 | 742364.67 | 113758 | 25135.8 | 2453366.64 | 1537888.58 | 0 | 5556571.93 | 832336.95 | 100642.87
44 | FERC 360 | 18267178.95 | 60571 | 0 | 0 | 0 | 18145 | 0 | 0 | 0 | 0 | 29774 | 0 | 0 | 0 | 0 | 0 | 892651 | 0 | 0 | 0 | 7628558.67 | 0 | 0 | 60571 | 0 | 0 | 0 | 892651 | 0 | 0 | 0 | 7628558.67 | 0 | 0 | 29774 | 0 | 0 | 0 | 0 | 0 | 159055.58 | 0 | 0 | 866869.03 | 0 | 0
45 | FERC 361 | 1241553.69 | 11487 | 11267.16 | 0 | 0 | 22218 | 17520.97 | 0 | 0 | 0 | 21385 | 11685.84 | 0 | 0 | 0 | 0 | 10576 | -10576 | 0 | 0 | 413494.06 | 33367.67 | 0 | 11487 | 11267.16 | 0 | 0 | 10576 | -10576 | 0 | 0 | 413494.06 | 33367.67 | 0 | 21385 | 11685.84 | 0 | 0 | 0 | 0 | 52191.05 | 45190.13 | 0 | 68611.37 | 30448.71 | 0
46 | FERC 362 | 49672665.16 | 1403836 | 435242.37 | 6869.39 | 363289.34 | 301777 | 1162649.52 | 63080.1 | 133496.34 | 77245.76 | 584437 | 193702.7 | 10462.09 | 742364.67 | 113758 | 25135.8 | 2982377 | 2251623.31 | 64238.19 | 6845.53 | 9292580.84 | 861225.44 | 0 | 1403836 | 435242.37 | 6869.39 | 363289.34 | 2982377 | 2251623.31 | 64238.19 | 6845.53 | 9292580.84 | 861225.44 | 0 | 584437 | 193702.7 | 10462.09 | 742364.67 | 113758 | 25135.8 | 2242120.01 | 1492698.45 | 0 | 4621091.53 | 801888.24 | 100642.87
47
48 | Total Allocated Substation | 14373750 | 767717 | 232262 | 3573 | 188973 | 140585 | 484930 | 25920 | 54853 | 31740 | 129271 | 41773 | 2128 | 150987 | 23137 | 5112 | 0 | 0 | 0 | 0 | 3453321 | 178216 | 0 | 279480 | 84553 | 1301 | 68794 | 1825373 | 1052797 | 30178 | 3216 | 3410967 | 176031 | 0 | 158823 | 51322 | 2614 | 185502 | 28426 | 6281 | 98042 | 61458 | 0 | 799803 | 119805 | 14486
49 | FERC 360 | 3635218 | 31507 | 0 | 0 | 0 | 7456 | 0 | 0 | 0 | 0 | 6056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519724 | 0 | 0 | 11470 | 0 | 0 | 0 | 419348 | 0 | 0 | 0 | 1501085 | 0 | 0 | 7440 | 0 | 0 | 0 | 0 | 0 | 6356 | 0 | 0 | 124776 | 0 | 0
50 | FERC 361 | 242565 | 5975 | 5861 | 0 | 0 | 9129 | 7199 | 0 | 0 | 0 | 4349 | 2377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82374 | 6647 | 0 | 2175 | 2134 | 0 | 0 | 4968 | -4968 | 0 | 0 | 81364 | 6566 | 0 | 5344 | 2920 | 0 | 0 | 0 | 0 | 2086 | 1806 | 0 | 9876 | 4383 | 0
51 | FERC 362 | 10495967 | 730235 | 226401 | 3573 | 188973 | 124000 | 477731 | 25920 | 54853 | 31740 | 118866 | 39396 | 2128 | 150987 | 23137 | 5112 | 0 | 0 | 0 | 0 | 1851223 | 171569 | 0 | 265835 | 82419 | 1301 | 68794 | 1401057 | 1057765 | 30178 | 3216 | 1828518 | 169465 | 0 | 146039 | 48402 | 2614 | 185502 | 28426 | 6281 | 89600 | 59652 | 0 | 665151 | 115422 | 14486
Note on B11: PSE: Change only new additions
Note on B17: PSE: Update to new FCR Rates
Note on B18: PSE: Update to new FCR Rate

## 2018 Sub & Load % (R)
Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Customer | Substation | Circuit | % Sub Load | % Circuit Load

## Sub Net Book 12-18 (R)
| 2018-12-31 | Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Sum of net_book_value
FERC
E360
E361
E362
Grand Total
2016-09-01
Sum of net_book_value
FERC
E360
E361
E362
Grand Total
2010-12-01
Sum of net_book_value
FERC
E360
E361
E362
Grand Total
month | 2008-12-01
Sum of net_book_value
FERC
E360
E361
E362
Grand Total
2007-09-30
Sum of Net book Value
FERC
E360
E361
E362
2005-09-30
Sum of Net book Value
FERC
E360
E361
E362
2003-09-30
Sum of Net book Value
FERC
E360
E361
E362

## 2018 Coincident Demand Fac (R)
Campus | CF_annual | CP_annual | NCP_annual |  | Shaded information is designated as CONFIDENTIAL per Protective Order in WUTC Dockets UE-190529 and UG-190530
Campus 4
Campus 1
Campus 3
Campus 2
Campus | CP201801 | CP201802 | CP201803 | CP201804 | CP201805 | CP201806 | CP201807 | CP201808 | CP201809 | CP201810 | CP201811 | CP201812
Campus 4
Campus 1
Campus 3
Campus 2
Campus | NCP201801 | NCP201802 | NCP201803 | NCP201804 | NCP201805 | NCP201806 | NCP201807 | NCP201808 | NCP201809 | NCP201810 | NCP201811 | NCP201812
Campus 4
Campus 1
Campus 3
Campus 2
Campus | CF201801 | CF201802 | CF201803 | CF201804 | CF201805 | CF201806 | CF201807 | CF201808 | CF201809 | CF201810 | CF201811 | CF201812
Campus 4
Campus 1
Campus 3
Campus 2

## 2018 FCR Rates
Docket No. UE-190529 + Weighted Cost of Capital = 7.39% + 49 Year Substation Plant Life + 35 Year Feeder Plant Life
Book Life | Real Property O&M, A&G and Capital Charge | FCR on Net Plant Value of Feeders | FCR on Net Plant Value of Substations
0 | 8.918% | 8.742% | 9.84%
1 |  | 8.747% | 9.785%
2 |  | 8.768% | 9.75%
3 |  | 8.796% | 9.718%
4 |  | 8.831% | 9.686%
5 |  | 8.873% | 9.653%
6 |  | 8.922% | 9.62%
7 |  | 8.979% | 9.584%
8 |  | 9.045% | 9.545%
9 |  | 9.121% | 9.503%
10 |  | 9.211% | 9.46%
11 |  | 9.315% | 9.427%
12 |  | 9.436% | 9.407%
13 |  | 9.579% | 9.396%
14 |  | 9.745% | 9.395%
15 |  | 9.941% | 9.407%
16 |  | 10.17% | 9.433%
17 |  | 10.45% | 9.477%
18 |  | 10.77% | 9.54%
19 |  | 11.17% | 9.626%
20 |  | 11.64% | 9.739%
21 |  | 12.18% | 9.847%
22 |  | 12.8% | 9.95%
23 |  | 13.54% | 10.06%
24 |  | 14.43% | 10.18%
25 |  | 15.52% | 10.31%
26 |  | 16.88% | 10.45%
27 |  | 18.63% | 10.6%
28 |  | 20.95% | 10.77%
29 |  | 24.16% | 10.95%
30 |  | 28.86% | 11.16%
31 |  | 36.35% | 11.38%
32 |  | 49.99% | 11.64%
33 |  | 81.55% | 11.92%
34 |  | 210.1% | 12.24%
35 |  |  | 12.61%
36 |  |  | 12.31%
37 |  |  | 11.94%
38 |  |  | 11.48%
39 |  |  | 12.08%
40 |  |  | 12.82%
41 |  |  | 13.73%
42 |  |  | 14.92%
43 |  |  | 14.95%
44 |  |  | 14.99%
45 |  |  | 15.02%
46 |  |  | 15.06%
47 |  |  | 15.1%
48 |  |  | 15.15%
49
50

## 2018 Handy Whitman
PACIFIC REGION (1973=100)
Year | Rounded Index | Index | Jan 1 index | Jul 1 index
1912 | 13 | 13
1913 | 13 | 13
1914 | 12 | 12
1915 | 13 | 13
1916 | 15 | 15
1917 | 17 | 17
1918 | 21 | 21
1919 | 22 | 22
1920 | 24 | 24
1921 | 23 | 23
1922 | 21 | 21
1923 | 21 | 21
1924 | 21 | 21
1925 | 21 | 21
1926 | 20 | 20
1927 | 20 | 20
1928 | 20 | 20
1929 | 21 | 21
1930 | 20 | 20
1931 | 20 | 20
1932 | 18 | 18
1933 | 19 | 19
1934 | 20 | 20
1935 | 21 | 21
1936 | 21 | 21
1937 | 23 | 23
1938 | 23 | 23
1939 | 23 | 23
1940 | 23 | 23
1941 | 25 | 25
1942 | 26 | 26
1943 | 26 | 26
1944 | 27 | 27
1945 | 28 | 28
1946 | 30 | 30
1947 | 37 | 37
1948 | 39 | 39
1949 | 41 | 41
1950 | 42 | 42
1951 | 47 | 47
1952 | 48 | 48
1953 | 50 | 50
1954 | 51 | 51
1955 | 52 | 52
1956 | 55 | 55
1957 | 57 | 57
1958 | 59 | 59
1959 | 60 | 60
1960 | 61 | 61
1961 | 61 | 61
1962 | 61 | 61
1963 | 61 | 61
1964 | 63 | 63
1965 | 65 | 65
1966 | 68 | 68
1967 | 71 | 71
1968 | 74 | 74
1969 | 78 | 78
1970 | 83 | 83
1971 | 88 | 88
1972 | 93 | 93
1973 | 100 | 100
1974 | 120 | 120
1975 | 139 | 139
1976 | 150 | 150
1977 | 162 | 162
1978 | 172 | 172
1979 | 190 | 190
1980 | 208 | 208
1981 | 229 | 229
1982 | 246 | 246
1983 | 253 | 253
1984 | 254 | 254
1985 | 250 | 250
1986 | 251 | 251
1987 | 253 | 253
1988 | 267 | 266.75
1989 | 280 | 279.5
1990 | 287 | 286.75
1991 | 292 | 292
1992 | 295 | 295.25
1993 | 303 | 303
1994 | 311 | 310.75
1995 | 322 | 322
1996 | 325 | 325.25
1997 | 329 | 328.75
1998 | 336 | 336.25
1999 | 337 | 337.25
2000 | 345 | 345
2001 | 351 |  | 350 | 351
2002 | 369 |  | 366 | 369
2003 | 378 |  | 376 | 378
2004 | 401 |  | 383 | 401
2005 | 425 |  | 417 | 425
2006 | 472 |  | 452 | 472
2007 | 511 |  | 503 | 510.585
2008 | 566 |  | 570 | 566
2009 | 577 |  | 588 | 577
2010 | 609 |  | 600 | 608.5
2011 | 637 |  | 623 | 637
2012 | 657 |  | 647 | 657
2013 | 681 |  | 671 | 681
2014 | 701 |  | 694 | 700.5
2015 | 717 |  | 717 | 717
2016 | 728 |  | 728 | 728
2017 | 755 |  | 742 | 755
2018 | 792 |  | 780 | 792

## Special Contract Circ OH 2018
Docket No. UE-190529 (Exhibit BDJ-6)
Line |  |  | FERC 364 & 365 |  | FERC 366 & 367
No. | Account Description | Total | % to Total | OH Lines | % to Total | UG Lines
1 | Net Distribution Ratebase | (b) | (c) | (d) | (e) | (f)
2 | Direct Ratebase | 4038215528.6974 | 21.43% | 865343740.5469 | 44.01% | 1777346623.1462
3 | Direct Accumulated Depreciation | -1504427162.1121 | 19.6% | -294838839.6505 | 45.14% | -679105238.0425
4 | Indirect Ratebase | -268988520.2373 | 22.52% | -60565148.6541 | 43.34% | -116589976.0762
5
6 | Total Distribution Ratebase | 2264799846.348 |  | 509939752.2423 |  | 981651409.0275
7
8 | Rate of Return | 7.39% |  | 7.39% |  | 7.39%
9 | Return on Distribution Ratebase | 167368708.6451 |  | 37684547.6907 |  | 72544039.1271
10
11 | Distribution Expense
12 | Total Distribution Expense | 441513214.5505
13 | Less:
14 | Depreciation | -138426769.1297
15 | Property Tax | 0.16146
16 | FIT | -10135856.401
17 | Subtotal Distribution Expense | 292950589.1813
18
19 | Direct Expense | 85568806.8996 | 44.97% | 38483125.4275 | 19.96% | 17075307.3434
20 | Indirect Expense | 121812975.3821 | 44.97% | 54783327.946 | 19.96% | 24307853.1585
21 | Total Distribution Expense | 207381782.2817 |  | 93266453.3736 |  | 41383160.5018
22
23 | Total Distribution Cost of Service | 374750490.9268 |  | 130951001.0643 |  | 113927199.629
24
25 | % Expense to Distribution Plant | 9.157% |  | 18.29% |  | 4.22%

## Special Contract Sub O&M 2018
Line | Account Description | Docket No. UE-190529 (Exhibit BD6) Substation O&M %
| a | b
1 | A&G - Operating Expense | 111083964.0534
2 | A&G - Maintenance Expense | 16720545.1921
3 | Total A&G | 127804509.2455
6
7 | Plant In Service | 10801889659.5454
8 | Intangible Plant | 514404708.1542
9 | Accumulated Reserve | -4284926786.0367
10 | Total Plant In Service | 7031367581.6629
11
12 | % A&G to Total Plant | 1.818%
13
14 | Distribution Operating Expense | 32659118.5929
15 | Distribution Maintenance Expense | 52909688.3067
16 | Total Distribution O&M Expense | 85568806.8996
17
18 | Distribution Plant in Service | 4038215528.6974
19 | Distribution Accumulated Reserve for Depreciation | -1504427162.1121
18 | Net Distribution Plant in Service | 2533788366.5853
19
20 | % Dist O&M Expense to Plant | 3.377%
23
24 | Total O&M and A&G | 5.195%
25
26 | Revenue Sensitive Factor | 75.14%
27
28 | After Tax Rate | 6.91%

## Special Contract Sub A&G 2018
Line | Account Description | Docket No. UE-190529 (Exhibit BDJ-6) Substation A&G %
1 | O&M Expense
2 | Production O&M | 865759211.5298
3 | Transmission O&M | 137294648.2857
4 | Distribution O&M | 85568806.8996
5 | Customer Accounting | 52117927.376
6 | Customer Service / Sales | 4083540.087
7 | Less:
8 | Fuel | -164015324.9897
9 | Purchased Power | -481051595.2117
10 | Other Purchase Power | -108205898.557
11 | Wheeling | -112486392.7713
12 | Conservation Amortization | 0
13 | Total O&M for A&G Calculation | 279064922.6482
14
15 | Total A&G | 127804509.2455
16
17 | A&G % to Total | 46%