0017

1     BEFORE THE WASHINGTON UTILITIES AND TRANSPORTATION

2                         COMMISSION

3   WASHINGTON UTILITIES AND      )

TRANSPORTATION COMMISSION,    )

4                                 )

Complainant,   )

5                                 )

vs.                 )    DOCKET NO. PG-080097

6                                 )    Volume II

CITY OF ENUMCLAW              )    Pages 17 - 54

7                                 )

Respondent.    )

8   ---------------------------------

9

10             An evidentiary hearing in the above matter

11   was held on July 20, 2009, at 10:05 a.m., at 1300 South

12   Evergreen Park Drive Southwest, Olympia, Washington,

13   before Administrative Law Judge PATRICIA CLARK.

14

15             The parties were present as follows:

16             WASHINGTON UTILITIES AND TRANSPORTATION

COMMISSION, by MICHAEL A. FASSIO, Assistant Attorney

17   General, 1400 South Evergreen Park Drive Southwest,

Post Office Box 40128, Olympia, Washington  98504;

18   telephone, (360) 664-1192.

19             CITY OF ENUMCLAW, by MICHAEL J. REYNOLDS,

City Attorney, 329 East Main Street, Auburn, Washington

20   98002; telephone, (253) 939-4556.

21

22

23

24   Kathryn T. Wilson, CCR

25   Court Reporter

0018

1                    P R O C E E D I N G S

2             JUDGE CLARK:  Good morning.  It's

3   approximately 10:05 a.m., July 20th, 2009, in the

4   Commission's hearing room in Olympia, Washington.  This

5   is the time and the place set for hearing in the matter

6   of Washington Utilities and Transportation Commission,

7   Complainant, versus the City of Enumclaw, Respondent,

8   given Docket PG-080097, Patricia Clark, administrative

9   law judge for the Commission presiding.

10             This matter came before the Commission on

11   February 10th, 2009, when the Commission issued a

12   complaint against the City of Enumclaw for alleged

13   violations of the Commission's statutes and rules

14   governing pipeline construction, maintenance, and

15   safety.  The Complaint alleged a minimum of 651

16   violations, which, if proven, could result in eleven

17   million dollars in penalties.

18             On June 25th, 2009, the parties filed a

19   settlement agreement resolving all disputed issues.  On

20   July 10th, 2009, the Commission issued a notice

21   scheduling an evidentiary hearing in this matter for

22   this date and time and place.  The purpose of this

23   morning's hearing is to obtain additional information

24   on the City's operation of its pipeline and the terms

25   and conditions of the Settlement Agreement.

0019

1             At this time, I will take appearances on

2   behalf of the parties.  Appearing on behalf of the

3   Commission staff?

4             MR. FASSIO:  Michael Fassio, assistant

5   attorney general on behalf of Commission staff.

6             JUDGE CLARK:  Mr. Fassio having already

7   entered a complete appearance, it's not necessary to do

8   anything other than your name, and appearing on behalf

9   of  the City of Enumclaw?

10             MR. REYNOLDS:  Michael J. Reynolds on behalf

11   of the City of Enumclaw.

12             JUDGE CLARK:  The first question I have is to

13   see if there are any preliminary matters before we

14   impanel the witnesses and swear them in.  Do either of

15   the parties have a preliminary matter for me to

16   address?

17             MR. FASSIO:  No.

18             MR. REYNOLDS:  No.

19             JUDGE CLARK:  At this time, I'm going to

20   swear in those individuals who will be serving as

21   witnesses this morning, and we had an off-record

22   discussion this morning that indicated that perhaps a

23   total of six individuals would be available to answer

24   any inquiry, so I'm going to swear in all six

25   individuals as a group, and if there are individuals

0020

1   who are sworn in who are not seated at a microphone who

2   need to answer a question, any of the witnesses who are

3   impaneled can defer to one of those individuals and we

4   will call them forward to respond to the question.

5             If you have a potential of being a witness

6   this morning, this is an appropriate time for you to

7   rise and raise your right hand, please.

8

9   Whereupon,

10                       THE WITNESSES,

11   having been first duly sworn, were called as witnesses

12   herein and were examined and testified as follows:

13

14             JUDGE CLARK:  I'm going to turn first to the

15   witnesses who are seated at microphones to state for

16   the record their name and spell their last name.  I'll

17   commence with you, Ms. Soiza.

18             MS. SOIZA:  My name is Anne Soiza, A-n-n-e,

19   S-o-i-z-a.  I'm the director of pipeline safety.

20             JUDGE CLARK:  Mr. Lykken?

21             MR. LYKKEN:  My name is David Lykken,

22   L-y-k-k-e-n.  I'm the chief pipeline safety engineer.

23             JUDGE CLARK:  Appearing on behalf of the City

24   of Enumclaw?

25             MR. HAWTHORNE:  William Hawthorne,

0021

1   H-a-w-t-h-o-r-n-e.

2             JUDGE CLARK:  Your position?

3             MR. HAWTHORNE:  I'm the gas utility manager.

4             JUDGE CLARK:  Is there any other identifying

5   information that either counsel would like to provide

6   for these witnesses?

7             MR. FASSIO:  No.

8             MR. REYNOLDS:  No.

9             JUDGE CLARK:  Is there any other additional

10   inquiry you would like to conduct regarding the scope

11   and the testimony any of these individuals would give?

12             MR. FASSIO:  No, Your Honor.

13             MR. REYNOLDS:  No, Your Honor.

14             JUDGE CLARK:  Would someone like to do a

15   brief overview of the Settlement?  I have read it.  It

16   is not necessary, but I will permit either Mr. Fassio

17   or Mr. Reynolds to do that if you wish.

18             MR. FASSIO:  Staff has no opening remarks on

19   the Settlement, but we are here to answer any questions

20   that you have.

21             JUDGE CLARK:  Mr. Reynolds?

22             MR. REYNOLDS:  We will waive that.

23             JUDGE CLARK:  Then we are going to turn

24   directly to the inquiry.  The first inquiry I have is

25   when did the City of Enumclaw begin operating its

0022

1   natural gas pipeline?

2             MR. HAWTHORNE:  I would like to defer that

3   question to the City administrator of public works.  It

4   was 1957, I believe.  I'm not sure the exact date.

5             JUDGE CLARK:  Approximately 1957?  That's

6   close enough for my purposes.  In the Complaint issued

7   by the Commission in February, the Commission notes

8   that Commission staff has conducted the safety

9   inspections of the City's gas plant and related

10   practices commencing in 1993 and that the Commission

11   has issued at least ten notices of probable violations

12   of the Commission's laws and rules.  The most recent

13   case was in 2006 in which the parties also reached a

14   settlement, and that settlement notes repeat violations

15   from the docket that was initiated in 2000.

16             The Complaint in this case notes repeat

17   violations from previous dockets, so I would like

18   someone to explain to me why the City will now comply

19   with the Commission's statutes and rules when this

20   appears to have been a problem historically.

21   Mr. Hawthorne?

22             MR. HAWTHORNE:  I can't speak for prior to my

23   arrival of the City.  Since I have arrived, the City

24   has implemented a new manual and new procedures to

25   change the way in which we operate.  As far as

0023

1   recordkeeping goes, we have a new maintenance program

2   that not only handles time frames on when tasks are

3   due, but it also stores all the documentation and

4   requires opening and closing of work orders in which

5   all that documentation is stored and closed at the time

6   those work orders are completed.

7             The attitude and the environment that we are

8   now creating at the City is more focused on insuring

9   that all records are completed and maintained and

10   audited.  It's just a different environment than it was

11   when I first arrived at the City.

12             I couldn't speak to why in 2000 there was

13   repeat violations in 2006 because I just came on board

14   here last year in 2008, but I'm working with the City

15   administrator and public works director and have gotten

16   all the support from the counsel members and Mark and

17   Chris to insure that I get everything I need to make

18   sure that we are doing things properly moving forward.

19             JUDGE CLARK:  All right, Mr. Hawthorne, that

20   does lead to a couple of extra questions.  You came on

21   board with the City of Enumclaw in 2008?

22             MR. HAWTHORNE:  Yes, April of 2008.

23             JUDGE CLARK:  So that was prior to the

24   Complaint being issued in this proceeding; correct?

25             MR. HAWTHORNE:  No.  What was the exact date

0024

1   of the Complaint?

2             JUDGE CLARK:  I believe the Complaint was

3   issued February 10th, 2009.

4             MR. HAWTHORNE:  Yes, I was on board prior.

5             JUDGE CLARK:  When you came on board with the

6   City, you've noted a difference in the City's

7   practices, recordkeeping, O and M manual, and so are

8   these changes that you implemented in your position?

9             MR. HAWTHORNE:  The City hired a

10   subcontractor to write a new O and M manual based on

11   the first -- well, one of the complaints back in 2006.

12   When I came on board in April, the brand-new O and M

13   manual had just been released that month.  It hadn't

14   been put into practice yet.  It had just been given to

15   the City.

16             When the Staff came in and did the audit, we

17   were still practicing under the old O and M manual.  We

18   had just begun the process of bringing in the new O and

19   M, bringing in the new maintenance system, me coming on

20   board learning the gas system, so at the same time that

21   I came on board and started to try to implement the new

22   manual and get everything going, the Staff came in and

23   did an audit, and they didn't audit on past practices

24   and past records so they weren't able to see anything

25   that had been moving forward, and we hadn't had the

0025

1   procedures in place yet, so there was nothing for them

2   to see on the new manual.

3             After the audit in 2008, we began

4   implementing the new system, and it would have been

5   implemented whether the audit had happened or not.  It

6   just happened that everything came the same time there

7   at that period.

8             JUDGE CLARK:  What is your background,

9   Mr. Hawthorne?

10             MR. HAWTHORNE:  I went to Marine Corps

11   engineer school, and then I went to work for Rolls

12   Royce Energy Services commission and gas plants on

13   transmission systems from 2000 to 2003, and then I was

14   an O and M team leader for Enron Transportation System,

15   and then I was a senior technical specialist for

16   Transwestern Pipeline, and then after that, I was a

17   director of area management for GE for 12 power plants

18   in Illinois, and then I came on board with the City.

19             JUDGE CLARK:  So you feel like you have the

20   experience necessary to follow through on the O and M

21   manual that the City obtained from the subcontractor

22   and to follow the Commission's statutes and rules?

23             MR. HAWTHORNE:  Absolutely.

24             JUDGE CLARK:  I have some specific questions

25   on the Settlement itself.  Does everyone have a copy of

0026

1   the Settlement before you, because what I'm going to

2   try to do to the extent possible is refer you to

3   specific paragraphs in the Settlement itself.

4             My first inquiry involves Paragraph 12, and

5   in Paragraph 12, the City is to submit a plan within 30

6   days from the date the Settlement is approved by the

7   Commission, and that's a plan that will explain to

8   Staff how the City intends to implement the terms and

9   conditions of the City.  I think that probably this

10   question is best posed to Staff, and that is what will

11   happen if that plan is not acceptable to the Staff?

12   Mr. Lykken?

13             MR. LYKKEN:  Staff has in fact received a

14   plan from Mr. Hawthorne back in June that I've been

15   reviewing, and to his credit and the City's credit,

16   they have been moving ahead without waiting for the

17   Settlement Agreement to be approved.  They have taken a

18   number of actions to correct the issues that we

19   identified in our last year's inspection.

20             I've reviewed the plan.  In fact, they are

21   going to meet those dates or exceed those dates that

22   are in the actual Settlement Agreement, and based on

23   our field validation of those corrections they have

24   made, it appears that the plan is very much agreeable

25   to us.

0027

1             JUDGE CLARK:  So we don't need to worry about

2   what repercussions there would be if it did not meet

3   your approval?

4             MR. LYKKEN:  Not at this time; that's exactly

5   right.

6             JUDGE CLARK:  So I was very comfortable, and

7   then you said, "Not at this time," so if you complete

8   your review and there is a portion of the plan that

9   does not meet your expectations or whatever, what I'm

10   interested in is what happens next, Mr. Lykken?

11             MR. LYKKEN:  The plan in essence is complete

12   and we are agreeable to it.  There is a number of items

13   that are identified here that they've moved forward on,

14   and have, in fact, stated they've completed it, but it

15   will be based on a visit by pipeline safety staff to

16   validate that those items have in fact been completed.

17             The time lines that they noted here obviously

18   we can't confirm until we see the completed items as

19   far as a field visit validating those particular items,

20   but we will be meeting quarterly with them to make sure

21   they remain on track and that these issues are

22   completed in the time lines that they described.

23             JUDGE CLARK:  Thank you.  That's the perfect

24   segue into my next question, which is on Paragraph 14,

25   which is regarding the quarterly meetings that the

0028

1   Commission staff will have with the City, and it's my

2   understanding, according to the Settlement, that the

3   City will meet with Staff to insure that progress is

4   adequate to meet the required time frames for each

5   condition and mediation and that written reports will

6   be filed with the Staff, and my inquiry is whether or

7   not those reports will be filed with the Commission?

8             MR. LYKKEN:  We would expect, if that's the

9   Bench's wishes.  Otherwise, they would more than likely

10   be referred to the director of pipeline safety.

11             JUDGE CLARK:  That's my inquiry is just to

12   understand what the terms and conditions of the

13   Settlement are, and so those reports would be filed

14   with the director?

15             MR. LYKKEN:  That's correct.

16             JUDGE CLARK:  Again, what are the

17   repercussions if the City is not making appropriate

18   progress according to one of those quarterly reports?

19             MR. LYKKEN:  I'll defer that to the director.

20             JUDGE CLARK:  Ms. Soiza?

21             MS. SOIZA:  We would negotiate with them to

22   determine whether there is reasons for that delay.

23   Let's say on a particular item that it appears that

24   they might not meet their time line on a particular

25   item.  Then we would inform them formally in a letter

0029

1   that we have concerns.  I believe that the

2   ramifications of them missing a deadline are

3   significant on most of the violations in terms of the

4   suspended penalty.  If we did confirm that they

5   actually did miss the deadline and did not properly

6   file for an extension with the Commission order

7   extension date, then we would move to issue the penalty

8   order, I guess.

9             JUDGE CLARK:  There is a provision in the

10   Settlement, and I forget which one.  I think it's in

11   the 60's, paragraph 60-something.  It's not coming to

12   me right away, but there is an --

13             MS. SOIZA:  There is a provision for

14   extension.

15             JUDGE CLARK:  Yes.  If the City is unable to

16   meet any of the deadline, then it's my understanding

17   that the City is to request an extension of that

18   deadline and that they are to do so at least 30 days

19   prior to that deadline.

20             MS. SOIZA:  Right.

21             JUDGE CLARK:  What I'm not understanding --

22             MS. SOIZA:  Not from me though, from the

23   Commission.

24             JUDGE CLARK:  Right.  What I'm not

25   understanding is there are various deadlines in here

0030

1   that allow the City from a year to up to three years, I

2   believe, to complete certain actions, so my

3   understanding of the extension request would be 30 days

4   before the expiration of, say, a three-year deadline,

5   the City would come in and say, We haven't been able to

6   meet this 30 days before the expiration of that -- the

7   35th month, it would come in and request an extension

8   of that deadline from the Commission.

9             Built into this, I see a second set of

10   deadlines, and that is quarterly meetings between the

11   City and the Staff, and during those meetings, Staff is

12   to work with the City and see how they are progressing

13   toward meeting each of these deadlines.

14             What I'm asking is if you meet with them

15   during that quarterly meeting and you determine that

16   they are not making reasonable progress toward

17   achieving the goal in the 36-month deadline, what

18   happens?

19             MS. SOIZA:  It could escalate to the point of

20   us issuing a letter, but I don't believe that we would

21   take permanent action on that group of violations until

22   the deadline has passed.  My expectation is that we

23   would guide, advise Enumclaw to take steps to help meet

24   the deadline, maybe through visits, maybe through more

25   data requests during those quarterly meetings for the

0031

1   next quarterly meeting, for example, to determine what

2   the actual issues of why we either believe they might

3   not meet the time line or what are the causes of --

4             Let's say that we do conclude that they

5   really aren't going to meet the deadline.  We need to

6   figure out why it happened.  Was it in their control or

7   out of their control, and we would come forward before

8   the Commission to support or not support an extension

9   of that date formally, and it just depends on the

10   circumstances involved and the progress of the time

11   line and the progress around those particular

12   violations on those deadlines.

13             JUDGE CLARK:  From my initial background

14   explaining this, since 1993, the Commission has issued

15   repeated notices of violations.  In 16 years, this

16   appears to have been sort of an ongoing problem, and I

17   guess what I'm really seeking is why is this case

18   different?  What's happening now, and I got a little

19   bit of that from Mr. Hawthorne, and I appreciate that,

20   about why these progress reports are actually going to

21   make a difference, and one of the things that is

22   disturbing is hearing that maybe these deadlines won't

23   be met, and I'm interested, I guess --

24             It looks like there is a lot of discretion in

25   here about whether the Commission staff would be

0032

1   seeking implementation of any of the suspended

2   penalties, and I'm trying to figure out when you would

3   be requesting that, how egregious the violation would

4   have to be before you did that.

5             We are going from a situation where the

6   Commission started off with a case requesting 11

7   million dollars in penalties to a case where really the

8   Staff is requesting none and is requesting

9   approximately 1.6 be suspended, so I'm trying to get

10   from here to there, and I really need some help trying

11   to understand what these quarterly meetings are going

12   to do, what violations of the progress in these

13   quarterly meetings are going to do.  That's where I'm

14   coming from, but I'm probably inartfully stating my

15   question.

16             MS. SOIZA:  I'm probably not understanding,

17   and part of it is because of my recent coming on board

18   with the Commission and not understanding the history

19   and how the process works.

20             My vision of enforcement is that we monitor

21   the entity involved in a settlement agreement tightly

22   so that there is little chance we get surprised by any

23   lack of progress holding them accountable through

24   forcing them to monitor their progress on each and

25   every step of the Settlement Agreement, is, I find, an

0033

1   important aspect of enforcement.  It usually brings

2   about full and complete compliance, usually in my

3   background, early and without any surprises.

4             Having said that, there is a possibility,

5   although it may be remote, that because of something

6   completely out of their control, such as a natural

7   disaster or a permitting issue with State DOT or

8   Ecology or something like that, I can't imagine what it

9   might be, but there might be something completely out

10   of their control that we need to be made aware of as

11   early as possible so that we can guide them and maybe

12   possibly still meet the time lines, but unattended

13   entities sometimes lose track, and I believe that I am

14   unaware that quarterly meetings in the past or regular

15   updates, I don't know if they occurred or not on the

16   past Staff actions that have occurred with Enumclaw,

17   but I am confident that this action, that monitoring in

18   a detailed fashion on each and every step will achieve

19   what we want in the public interest and will help

20   Enumclaw get on board and on the right path

21   permanently, not just to resolve the issues in this

22   particular complaint.

23             JUDGE CLARK:  Well, I attempted to pull all

24   of the previous cases that were cited in the Complaint.

25   Some of those cases were not available on the

0034

1   Commission's system because they are too old, but for

2   the most recent settlement in 051609, it appears in

3   that settlement that there were no penalties that were

4   suspended and there were no quarterly reports required,

5   and so I guess my question is, do you believe the

6   combination of the reporting and the suspended

7   penalties would be a good motivation?

8             MS. SOIZA:  I do.

9             JUDGE CLARK:  Mr. Hawthorne, do you think

10   that the combination of the quarterly reporting

11   requirements and monitoring as well as the suspended

12   penalties would be a motivation for the City?

13             MR. HAWTHORNE:  I look forward to those

14   meetings and working with the Staff so that if we have

15   questions or concerns, we can get them out in the open,

16   and we have predefined dates where I can bring

17   information to them that we've completed a certain

18   violation and we want to get it signed off and move

19   past that one.  I think these are going to be great for

20   insuring our success.

21             JUDGE CLARK:  Does anyone else have anything

22   they want to add to that?  I do have some more specific

23   questions on the terms.  The next one is with respect

24   to Paragraph 20 of the Settlement, and in Paragraph 20,

25   the City agrees to replace the 94 unprotected services

0035

1   of the 141 unprotected services originally identified

2   in the 2008 inspection, and they intend to do that

3   within 24 months, and so my next series of questions

4   are going to be very repetitive because I really want

5   the same information for each of these provisions in

6   the Settlement, and my first question is why will this

7   process take two years?

8             MR. HAWTHORNE:  With the amount of work that

9   the Settlement as a whole is going to take, the City

10   feels that two years would be an adequate time for us

11   to be able to complete all that work in-house with our

12   own employees without having to go out and hire

13   contractors and put additional expense on the gas

14   utility.  That's my answer.

15             JUDGE CLARK:  So it's really looking at the

16   totality of the number of violations that has driven

17   some of the time frames that it will take the City to

18   complete this; is that what you are telling me?

19             MR. HAWTHORNE:  Yes, ma'am.

20             JUDGE CLARK:  How many individuals on City

21   staff will be available to dedicate to completing the

22   work that's necessary to comply to the terms and

23   conditions of the Settlement without hiring outside

24   consultants?

25             MR. HAWTHORNE:  Five.

0036

1             JUDGE CLARK:  Are all of these individuals

2   basically trained already, or will training need to be

3   performed before they are able to complete some of

4   this work?

5             MR. HAWTHORNE:  Four out of the five have a

6   minimum of six years.  We have one new individual who

7   has been with the City a year who is still qualifying

8   on some of the tasks to be completed.

9             JUDGE CLARK:  Do you know how much it will

10   cost the City to comply with the provision, Paragraph

11   20 of the Settlement, approximately?

12             MR. HAWTHORNE:  I couldn't answer that right

13   now, ma'am; sorry.

14             JUDGE CLARK:  That's all right.  Is there

15   another witness from the City would can address how

16   much compliance with these conditions is going to cost

17   the City?

18             MR. HAWTHORNE:  With the whole settlement or

19   just this particular task?

20             JUDGE CLARK:  I'm take what I can get.  I was

21   interested in how much it would cost for each

22   paragraph, but if I'm able to get that and you do have

23   an estimate of how much it will take to comply with all

24   of the terms and conditions, Mr. Hawthorne, I will take

25   that.

0037

1             MR. HAWTHORNE:  I can tell you if we were

2   contracting this out this first item, it would cost

3   around $240,000.  That's why we chose to do the work

4   in-house.  It's going to be a lot less than that

5   because we are already paying our employees and they

6   are on staff anyhow, and the amount of material isn't

7   that high, so I would guess close to $50,000 would be

8   my answer.

9             JUDGE CLARK:  So if you are going to use

10   exclusively in-house employees to work on this, do you

11   think that working on compliance with these conditions

12   will somehow detract from other duties that they were

13   supposed to be performing?

14             MR. HAWTHORNE:  No, ma'am.  Our primary

15   number-one goal is compliance with our owner manual

16   right now as far as the tasks that need to be done to

17   keep us in compliance with leak surveys and atmospheric

18   corrosion; that's number one.

19             With the amount of employees we have and the

20   amount of work we need to do to stay in compliance with

21   our normal tasks, we can usually grab two to three

22   weeks per month for noncompliant work related to the

23   Settlement Agreement.

24             JUDGE CLARK:  And I think you've probably

25   answered my question with respect to Paragraph 21 where

0038

1   I was going to ask you why that was going to take three

2   years, but now I understand that it is taking a look at

3   the work required by the Settlement in totality that's

4   going to do this.

5             MR. HAWTHORNE:  Yes, ma'am.

6             JUDGE CLARK:  But I am interested in knowing

7   how much it will cost for the City to apply the

8   cathodic protection that is noted in Paragraph 21.

9             MR. HAWTHORNE:  Ma'am, in Paragraph 21, that

10   cathodic protection has already been applied.  The

11   Staff would like us to go back and replace those

12   services that have already been repaired.

13             The City had an agreement with Staff back in

14   1995 or '96 that the City would repair or replace all

15   of its unprotected services that it had at the time,

16   which was over 300.  They were supposed to have all

17   those completed by 2005.  In that agreement, the City

18   was allowed to repair those unprotected services, so in

19   2008 when Staff did the audit and brought to my

20   attention that we had missed that deadline, I had sent

21   crews out and started repairing or replacing these

22   unprotected services.

23             Between the time of the audit and working on

24   the Settlement Agreement with Staff, the City had

25   bonded or repaired, applied CP to 47 of these services,

0039

1   and now the Staff would like us to go back and replace

2   those because they were unprotected for up to 30 years,

3   so the City has agreed we will go out and replace

4   those, so there is no cost of adding CP to those.  They

5   will be inserted with plastic so the steel will no

6   longer be there.

7             JUDGE CLARK:  So what you are essentially

8   saying is that this work has already been completed so

9   you don't have any kind of cost estimate for that.

10   That's sort of historical at this juncture.

11             MR. HAWTHORNE:  That was a long answer to

12   your question, ma'am.

13             JUDGE CLARK:  But it was a helpful answer.

14   The next one is with respect to Paragraph 23, and

15   perhaps this is work that has already also been

16   completed because it refers to the 47 services that

17   were addressed in the previous Paragraphs 21 and 22.

18   Let me just shortcut this.  Has this work been

19   complete, Mr. Hawthorne?

20             MR. HAWTHORNE:  The City has designed a

21   procedure for this, and as part of the Settlement, we

22   have to get with Staff and get their approval on the

23   procedure before we can go out and do these.

24             JUDGE CLARK:  So this work has not yet been

25   completed.

0040

1             MR. HAWTHORNE:  No, ma'am.  A portion of it

2   has, just writing the procedure part.

3             JUDGE CLARK:  That's already been submitted

4   to Staff.

5             MR. HAWTHORNE:  I don't believe that

6   particular procedure has been.  I was waiting on the

7   actual Settlement to be signed and agreed to before I

8   would submit that procedure to Mr. Lykken.  Depending

9   on what we find during that survey, we may just decide

10   to forego that whole process and decide to just replace

11   them all within the 24 months anyway and not worry

12   about the  ACDG survey.

13             JUDGE CLARK:  If you replace them all, what

14   will that cost?

15             MR. HAWTHORNE:  The plan is to replace them

16   all within the three-year window anyway.  It would

17   still be around that same cost.

18             JUDGE CLARK:  This would not be an additional

19   cost to the City?

20             MR. HAWTHORNE:  No.  These are part of the

21   replacement plan.  If we perform this survey, it would

22   allow us to do these from the 24-month window to the

23   36-month window and not worry about doing them all in

24   the 24 -- it would actually buy us more time if we

25   needed it.

0041

1             JUDGE CLARK:  About another year.

2             MR. HAWTHORNE:  Yes, ma'am, but based on our

3   current projections and the way we are moving forward,

4   we are going to be done with them all before the 24

5   months.

6             JUDGE CLARK:  I think you've already answered

7   my question with respect to Paragraph 29.  Maybe not.

8   My understanding is that the City went ahead and

9   revised it's O and M manual prior to the Complaint

10   being filed in this particular proceeding, and does

11   this Paragraph 29 require additional revisions to that

12   O and M manual, or have those revisions already been

13   made?

14             MR. HAWTHORNE:  The City has made those

15   revisions, and we have designated farm tap reg stations

16   that used to be just farm taps.  We have redesignated

17   those as district reg stations, identified emergency

18   valves, but we still would like to sit down with the

19   Staff and review that with them during our quarterly

20   meeting and get their approval, and then at that time,

21   we would ask that this particular task be closed.  So

22   we feel it's done.  We just need to meet with Staff and

23   get their approval.

24             JUDGE CLARK:  Paragraph 31, which indicates

25   within 12 months of the Commission approval of the

0042

1   Settlement, Enumclaw will identify every known casing

2   installed on its gas system, and then within the same

3   time period -- I'm assuming it's the same time

4   period -- Enumclaw is going to remove and replace any

5   casings identified as being constructed of coated steel

6   or plastic materials, and I guess my first question is,

7   do you have any idea how many of those casings we are

8   looking at?

9             MR. HAWTHORNE:  We don't have any casings in

10   our system that are designed of anything other than

11   bare steel.

12             JUDGE CLARK:  Maybe this question is more

13   appropriately put to Staff.  What is the risk to the

14   public of having casings that do not comply with the

15   Commission's statutes and rules?

16             MR. LYKKEN:  The risk is that if you have a

17   casing that is coated or is plastic, it prevents the

18   cathodic protect for the actual carrier pipe inside the

19   casing.  You create an insulator, so the cathodic

20   protection is not able to work; thereby, the pipe

21   progressively corrodes.

22             At the time of the inspection, we weren't

23   clear that they were sure what they had in the ground,

24   and since then, they have evaluated their system, and

25   according to Mr. Hawthorne here, they didn't identify

0043

1   any particular casings that were of that issue

2   apparently.

3             JUDGE CLARK:  So you are satisfied that there

4   are no coated or plastic casings?

5             MR. LYKKEN:  Until we have an agreement here,

6   Staff has not done any validation in the field records

7   reviewed or otherwise to either acknowledge that this

8   is true or not.

9             JUDGE CLARK:  So if the Commission approves

10   the Settlement, how soon will Staff be going out to do

11   that field validation?

12             MR. LYKKEN:  We will be scheduling a time

13   with the City as soon as possible, and it won't be

14   particularly with this issue but a number of them where

15   the City has indicated they have completed it, so we

16   will go through those items first and foremost to get

17   some kind of closure on those items.

18             JUDGE CLARK:  Have you identified any

19   particular areas of the Settlement where you believe

20   there is risk to the public if there is not compliance?

21             MR. LYKKEN:  Well, I wouldn't categorize any

22   of these as all being of equal priority.  Our main

23   objective is to get the unprotected services replaced

24   as noted in Paragraphs 20 and 21.  That was our main

25   objective.

0044

1             I will note that even though they have up to

2   36 months to complete these, they are compelled to do a

3   leak survey twice annually until those services get

4   replaced, so there is a mechanism in there to monitor

5   these services in case they do leak in the interim

6   before they are replaced.  I would say that's our high

7   priority item that we want to see done as quickly as

8   possible.

9             As Mr. Hawthorne has pointed out, they have

10   taken a number of actions on a number of these issues

11   already and are progressing quite well, from my

12   understanding, and we expect that they will meet these

13   time lines over and above what we've established here.

14             JUDGE CLARK:  So if I turn back to

15   Paragraph 11 of the Settlement, would I be correct in

16   assuming that the different suspended penalties that

17   are associated with various provisions of the

18   Settlement itself would reflect the Commission staff's

19   priority, for lack of a better word, Ms. Soiza?

20             MS. SOIZA:  Yes.

21             JUDGE CLARK:  I think rather than going

22   through the rest of these individually, just kind of

23   what I have, maybe I'll just take these generally and

24   ask first the City if there is other work that is

25   required by the Settlement that you have already

0045

1   undertaken and are working on completing before this

2   settlement is even approved?

3             MR. HAWTHORNE:  Yes, ma'am.

4             JUDGE CLARK:  As specific as you can possibly

5   be would be very helpful.

6             MR. HAWTHORNE:  How much time do we have?  I

7   could spend all day here.

8             JUDGE CLARK:  I've got all day.  Actually,

9   I've got all week.  I'm sure you didn't want to hear

10   that.

11             MR. HAWTHORNE:  Specifically to Paragraph

12   No. 34, all the piping on some of our reg stations and

13   district reg stations, we have pressure tested to

14   establish a 60-pound MALP.  The City has completed all

15   but one of those reg stations.  They have all been

16   pressure tested.  The MALP has been established.

17             Paragraph No. 27, the City of Enumclaw has

18   established their new procedure for cathodic protection

19   deficiencies to insure that they get completed within

20   90 days.  We have insured that the new form and the

21   paperwork is being filled out properly, and when we sit

22   down with Staff, we will review that with them.

23             Paragraph No. 29, the City has redesignated

24   district reg stations having two or more services as

25   district reg stations instead of farm taps, as it used

0046

1   to be.  Item 35, the City has completed that list of

2   forms to provide to the Staff, and we will provide that

3   to them in our first quarterly meeting.

4             No. 7, Paragraph 36, but the whole section

5   there updating records, the City has designed a new

6   procedure and is implementing that procedure to insure

7   that all construction gets into our mapping system and

8   available to all personnel within 30 days of the

9   construction happening, which more than exceeds the

10   six-month window that's required by the WAC.

11             Item 40 for Section 8 under gas leak surveys,

12   the City is in the process of updating maps but has

13   insured that when we go out and perform leak surveys in

14   specific areas, the maps are up to date.  The City has

15   also designated a significant amount of funds to new

16   equipment, remote methane leak detectors that use laser

17   technology that allow you to scan a large amount of

18   area a lot faster than using CGI's, which just have a

19   vacuum pump on them which you have to be focused on a

20   specific area.  We have new equipment, new technology

21   which allows you to scan a quite large area.

22             JUDGE CLARK:  Let me interrupt you.  Can you

23   tell me a little bit about when the City purchased this

24   new equipment?

25             MR. HAWTHORNE:  Two or three weeks ago.

0047

1             JUDGE CLARK:  Go ahead.

2             MR. HAWTHORNE:  Item 9, Paragraph 43,

3   pressure test documentation, the City has modified the

4   documentation to include all the requirements under 170

5   "A" through "H".  We are using that record and that

6   procedure, but we will get approval or let the Staff

7   review it and see if they would like any changes to it

8   when we meet.

9             Paragraph 45, gas leak records, the City has

10   modified their forms to insure that everything in here

11   is contained within the form.  Item 48, Paragraph 48,

12   the City is 100 percent complete with its atmospheric

13   corrosion inspections.  We are working on our book

14   number one now that allows us to move through another

15   1600 inspections, but when we meet with Staff, we will

16   go through and insure that they feel comfortable that

17   we have addressed everything within our system over the

18   past three years, that we are in 100 percent

19   compliance.

20             JUDGE CLARK:  Let me interrupt you here,

21   because the next paragraph, Paragraph 49, is when that

22   indicates that if you find any deficiencies that you

23   will remediate those in accordance with the time frames

24   established under your revised procedures, and I'm

25   assuming this is included in your O and M manual?

0048

1             MR. HAWTHORNE:  Yes, ma'am.

2             JUDGE CLARK:  The time frames in the O and M

3   manual were designed, I'm presuming, to comply with all

4   state and federal rules and statutes?

5             MR. HAWTHORNE:  Yes, ma'am.

6             JUDGE CLARK:  Go on.

7             MR. HAWTHORNE:  Paragraph 50, the City has

8   written new procedures or improved existing procedures

9   to insure, I feel, that we have met everything within

10   Probable Violation No. 1 in the 2008 Probable Violation

11   report, but again, we will have to meet with Staff and

12   get their approval.  I do anticipate when we go over

13   these procedures with Staff them giving recommendations

14   and us making some changes to fine-tune things to meet

15   their approval.

16             Paragraph 55 is complete.  Paragraph 56 is

17   complete, and Paragraph 57, again, is something the

18   City agrees to, but we will wait until the virtual dirt

19   program is available.

20             JUDGE CLARK:  Those are just paperwork

21   revisions; is that correct, Mr. Hawthorne?

22             MR. HAWTHORNE:  Yes, ma'am.  Paragraph 58 is

23   complete.  Paragraph 59 is complete, but that's one

24   that I'm sure the Staff will spend quite a bit of time

25   reviewing, and so we will sit down with them and make

0049

1   sure it's adequate.  Paragraph 60 is complete, and then

2   the rest is just general provisions within the

3   Agreement.

4             JUDGE CLARK:  All right.

5             MR. HAWTHORNE:  If I may, I think you can

6   tell the City has taken this very serious, and we are

7   working diligently to get all these things 100 percent

8   complete, but we want to work with the Staff to make

9   sure that we don't have repeat violations again in the

10   future.

11             It's very important that we sit down with

12   them and whatever we decide to do that it's a joint

13   venture almost to make, because since they are our

14   inspectors and auditors and they will be out reviewing

15   this with us that we do things that meet their

16   approval, and so we are going to be working with them

17   diligently to make sure this is all 100 percent

18   complete and done right the first time, but as you can

19   tell, the City has completed, I would say, close to 70

20   percent of the work in this agreement.

21             JUDGE CLARK:  I guess my next question is for

22   the Staff.  In terms of scheduling these quarterly

23   meetings and reports, is it Staff's intention to go

24   ahead and schedule these after the Settlement is

25   approved, sort of commencing with the date the

0050

1   Settlement is approved, or have you already established

2   deadlines for meeting with the City?

3             MR. LYKKEN:  We have not scheduled any

4   meetings at this time, but we would anticipate doing

5   that in anticipation the Settlement is approved, so we

6   will progress with scheduling those meetings.

7             JUDGE CLARK:  I guess really the final

8   inquiry I have is under the worst-case scenario and the

9   City doesn't comply, if you can kind of walk me through

10   the process in the Settlement explaining how these

11   suspended penalties, how Staff would go about seeking

12   the suspended penalties.

13             MS. SOIZA:  I'll attempt that, and Dave can

14   help me if I'm wrong on the process.  If we get to the

15   point where a deadline is missed and there is a penalty

16   assigned with that group of steps, we anticipate

17   filing -- I'm not sure what it's called.  Would it be a

18   complaint?  I'm looking at my attorney here.

19             MR. FASSIO:  Just referring to Paragraph 11,

20   the clause states that if Staff determines there is

21   noncompliance, Staff will seek an order of the

22   Commission for immediate imposition of suspended

23   penalties, and so I think, and you can discuss this,

24   but I believe the mechanism would be that for suspended

25   penalties to be imposed, there would need to be an

0051

1   order of the Commission, and Staff would probably

2   petition the Commission to impose those penalties for

3   noncompliance.

4             MS. SOIZA:  And we would present evidence.

5             MR. FASSIO:  So that would go to the

6   Commission and the City would have an opportunity to

7   due process at this point.

8             JUDGE CLARK:  Maybe my question is really

9   more a legal question and I should be asking this of

10   Mr. Fassio or Mr. Reynolds, but I read Paragraph 11, so

11   I guess what is unclear to me is whether or not that

12   process would take place within the context of this

13   docket where you would petition for the imposition of

14   some of the penalties that were suspended in this

15   matter or whether Staff would foresee initiating a new

16   complaint against the City?

17             MR. FASSIO:  I think, and this is only

18   hypothetical, but it could probably be done within the

19   context of this docket, because the suspended penalties

20   would be tied to compliance with this agreement.  So it

21   would be in a sense enforcement of the Commission's

22   order with the suspended penalties being a piece of

23   that enforcement.

24             JUDGE CLARK:  So it would probably be

25   something in the form of a motion filed in this docket?

0052

1             MR. FASSIO:  That's correct.

2             JUDGE CLARK:  That would give the City the

3   opportunity to respond and contest any allegation that

4   the Staff made that the City was not in compliance.

5             MR. FASSIO:  That's correct, and I wanted to

6   address, you asked a question earlier of Staff in terms

7   of some of the written correspondence that would be

8   filed with the Commission or just filed with Staff, and

9   that settlement agreement doesn't address this

10   specifically, but to the extent that there are formal

11   filings of either party, written correspondence, I

12   believe that could be filed simultaneously in the

13   docket itself.  We are not opposed to that.  It was

14   just not addressed in the Settlement.

15             JUDGE CLARK:  I understand that.  I was just

16   trying to understand the process that the settlement

17   had come up with.

18             MR. FASSIO:  So the Commission could be kept

19   apprised with the formal correspondence back and forth

20   by putting that into the record as well.

21             JUDGE CLARK:  Mr. Reynolds, would the City be

22   opposed to filing this correspondence in the docket

23   rather than simply with the director of pipeline

24   safety?

25             MR. REYNOLDS:  It's whatever the director

0053

1   requests, we would comply with that.  Also in answer to

2   Your Honor's further question, the analogy procedurally

3   on the enforcement action, I would analogize it to a

4   standard show-cause hearing in other proceedings.

5             JUDGE CLARK:  Okay.  I think that responds to

6   all the inquiry that I have.  I do appreciate very much

7   everyone's participation this morning regarding all of

8   the questions and your patience and my

9   inartfully-phrased questions sometimes.

10             Is there any other information from any of

11   the individuals who have appeared as witnesses or from

12   counsel regarding information you would like the

13   Commission to consider in making a determination

14   whether to accept, reject, or modify the Settlement?

15             MR. FASSIO:  Just one question, Your Honor.

16   The Settlement, the narrative, and the documents

17   supporting that, are those also part of the record?  Do

18   we need to enter those specifically?

19             JUDGE CLARK:  No.  Those documents were

20   already filed in this proceeding, and ordinarily, we do

21   not separately identify those, but all of the

22   documentation that was filed with the Settlement is

23   already in the file in this case.

24             MR. FASSIO:  I don't have any further

25   thoughts.

0054

1             JUDGE CLARK:  Mr. Reynolds?

2             MR. REYNOLDS:  The closing comment, Your

3   Honor, is that we wish to express our appreciation to

4   Staff for their cooperation in working together with

5   them to again enhance safety.

6             MR. FASSIO:  I would add to Mr. Reynolds that

7   the Staff appreciates the City's willingness to work

8   with us towards this agreement, and we recommend its

9   approval.

10             JUDGE CLARK:  Anything further?  Hearing

11   nothing, we are adjourned.

12        (Evidentiary hearing adjourned at 11:03 a.m.)

13

14

15

16

17

18

19

20

21

22

23

24

25