## DWH-8, p1 Rate Spread
Puget Sound Energy
Twelve Months ended December 2008 | Twelve Months ended December 2008
Summary - Rate Spread | Summary - Rate Spread
Line No. | Voltage Level | Schedule | kWh | Proforma Revenue | PSE Proposed Increase | Percent of Total w/o Schedule 40 & Firm Resale / Special Contract | Percent of Uniform Increase | Proposed Revenue Increase (%) | Proposed Revenue Increase ($) | Proposed Revenue
|  |  | A | B | C | D | E | F | G = B * F | H = B + G
1 | Residential | 7 | 10886425797.8333 | 1086009284.0582 |  | 55.48% | 100% | 8.682% | 94283937.2785 | 1180293221.3367
2
3 | Secondary Voltage
4 | Demand <= 50 kW | 24 | 2690813598.8268 | 251380614.626 |  | 12.84% | 75% | 6.511% | 16368060.4188 | 267748675.0448
5 | Demand > 50 kW but <= 350 kW | 25 / 29 | 3138920021.7017 | 274490508.0886 |  | 14.02% | 50% | 4.341% | 11915204.6985 | 286405712.7871
6 | Demand > 350 kW | 26 | 2126986053.7592 | 167558419.5865 |  | 8.56% | 100% | 8.682% | 14546899.1423 | 182105318.7288
7 | Total Secondary Voltage |  | 7956719674.2877 | 693429542.301 |  |  |  |  | 42830164.2596 | 736259706.5606
8
9 | Primary Voltage
10 | General Service / Irrigation | 31 / 35 | 1352545751.5106 | 106331509.2287 |  | 5.432% | 75% | 6.511% | 6923527.3773 | 113255036.606
11 | Interruptible Total Electric Schools | 43 | 164521412.2367 | 13767819.0527 |  | 0.7033% | 75% | 6.511% | 896459.317 | 14664278.3697
12 | Total Primary Voltage |  | 1517067163.7473 | 120099328.2814 |  |  |  |  | 7819986.6942 | 127919314.9756
13
14 | Campus Rate | 40 | 681456292 | 44871349.9775 |  |  |  | 8.977% | 4028017.6106 | 48899367.5882 | 0 | Iteration Check
15
16 | Total High Voltage | 46 / 49 | 570036950 | 35350468.2907 |  | 1.806% | 100% | 8.682% | 3069017.35 | 38419485.6407
17
18 | Choice / Retail Wheeling | 448 / 449 | 2040112226 | 6161090.5921 |  | 0.3147% | 100% | 8.682% | 534886.6603 | 6695977.2524
19
20 | Lighting | 50-59 | 83137755.6235 | 16499335.965 |  | 0.8429% | 75% | 6.511% | 1074315.6482 | 17573651.6132
21
22 | Total Jurisdictional Retail Sales |  | 23734955859.4918 | 2002420399.466 |  | 100% |  | 7.673% | 153640325.5014 | 2156060724.9675
23
24 | Firm Resale / Special Contract |  | 7617108 | 1323875.2411 |  |  |  | 22.66% | 300039.4986 | 1623914.7397
25
26 | Total Sales |  | 23742572967.4918 | 2003744274.7071 | 153940365 |  |  | 7.683% | 153940365 | 2157684639.7071
27
28
29 | Average Increase Before Schedule 40 |  |  |  | 100% |  |  | 7.683%
30 | Average Increase After Schedule 40 & Firm Resale / Special Contract | [6 empty] | 7.643%
31 | Adjustment to Average Increase for Unequal Allocation of Increase | [6 empty] | 1.1359
32 | Average Increase After Schedule 40 & Firm Resale / Special Contract adjusted for Unequal Allocation of Increase | [6 empty] | 8.682%
33
34 | Proposed Increase, All Classes, DWH-4 |  |  |  | 148443904
35 | Proposed Increase Change, DWH-8 vs. DWH-4 |  |  |  | 5496461
36 | % Increase, DWH-8 vs. DWH-4 |  |  |  | 3.703%
37
38 | Firm Resale Rate Spread Calculaton
39 | Firm Resale Revenue (Cost of Service) DWH-3, p1 |  |  |  | 1619777
40 | Total Revenue (Cost of Service) DWH-3, p1 |  |  |  | 2152188178
41 | Total Revenue (Cost of Service) DWH-8 |  |  |  | 2157684639.7071
42 | Implied Firm Resale Revenue (Cost of Service) DWH-8 |  |  |  | 1623913.7397
43 | Firm Resale Proforma Revenue DWH-8 |  |  |  | 1323875.2411
44 | Firm Resale Increase, DWH-8 |  |  |  | 300039.4986
45
Note on J21: Puget Sound Energy: Iterate change with Rate Spread document to achieve a zero change in cell d24
Note on J31: Puget Sound Energy: Set to Cost of Service, Adjusted for update

## DWH-8, p2 Rate Design Summary
Puget Sound Energy
Summary of Proposed Rate Design
Docket No. UE-090704
Line No. | Rate Schedule | Tariff | Basic Charge | Demand Charge | Reactive Power Charge | Energy Charge | Lamp Charge
1 | Residential | 7 | Class average increase | na | na | Class average increase, 1st Block adjusted for residual | na
2 | Sec Volt <= 50 kW Demand | 24 | Class average increase | na | na | Class average increase, Winter Block adjusted for residual | na
3 | Sec Volt 50 > kW Demand <=350 | 25 | Class average increase | Class average increase, adjusted for residual | Class Average Increase | Class average increase | na
4 | Sec Volt > 350 kW Demand | 26 | Class average increase | Sch 31, adjusted for losses | Class Average Increase | Residual | na
5 | Sec Volt, Irrigation | 29 | Same as Schedule 24 | Class average increase | Class Average Increase | First Block Winter = Sch 25 First Block Summer = Class Avg Second Block = Class Avg | na
6 | Pri Volt - Gen Svc | 31 | Class average increase | Class average increase | Class Average Increase | Class average increase, Adjusted for Residual | na
7 | Pri Volt - Irrigation | 35 | Same as Schedule 31 | Class average increase | Class Average Increase | Residual | na
8 | Pri Volt - Interruptible Schools | 43 | Same as Schedule 31 | Class average increase | Class Average Increase | Residual | na
9 | Campus Rate | 40 | Sch 25, 26 or 31 | Sch 49, Adjusted for Power Factor and Line Losses | Sch 26 or 31 | Sch 49, Adjust for Line Losses | na
10 | High Volt - Interruptible | 46 | na | Class average increase | na | Same as Schedule 49 | na
11 | High Volt - Gen Service | 49 | na | Class average increase | na | Class average increase, Adjusted for Residual | na
12 | Lighting | 50-59 | na | na | na | na | Class Average Increase
13 | Choice / Retail Wheeling | 448/449 | COS Basic Charge | Apply Residual as Equal $ / kVa, PV Adjusted for Rounding | na | na | na

## DWH-8, p3 Proforma Proposed
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Line No. | Voltage Level | Schedule | kWh | Proforma Revenue Rates Effective 11-1-08 | Proposed Revenue | $ Change | Change as Allocated by Rate Spread | Rounding Differences | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
1 | Residential
2 | Residential | 7 | 10886425797.8333 | 1086009284.0582 | 1180291016.7362 | 94281732.678
3 | Total Residential |  | 10886425797.8333 | 1086009284.0582 | 1180291016.7362 | 94281732.678 | 94283937.2785 | 2204.6005 | 8.681%
4
5 | Secondary Voltage
6 | Demand <= 50 kW | 24 | 2690813598.8268 | 251380614.626 | 267748808.5 | 16368193.874
7 | Demand > 50 kW but <= 350 kW | 25 | 3124276082.0187 | 273323435.6991 | 285186691.7523 | 11863256.0532
8 | Demand > 350 kW | 26 | 2126986053.7592 | 167558419.5865 | 182104089.6045 | 14545670.018
9 | Seasonal Irrigation & Drainage Pumping | 29 | 14643939.683 | 1167072.3894 | 1221320.4565 | 54248.067
10 | Total Secondary Voltage |  | 7956719674.2877 | 693429542.301 | 736260910.3132 | 42831368.0122 | 42830164.2596 | -1203.7526 | 6.177%
11
12 | Primary Voltage
13 | General Service | 31 | 1347886610.5106 | 106074485.3959 | 112980895.7525 | 6906410.3566
14 | Seasonal Irrigation & Drainage Pumping | 35 | 4659141 | 257023.8328 | 273761.0988 | 16737.266
15 | Interruptible Total Electric Schools | 43 | 164521412.2367 | 13767819.0527 | 14664268.8274 | 896449.7747
16 | Total Primary Voltage |  | 1517067163.7473 | 120099328.2814 | 127918925.6787 | 7819597.3973 | 7819986.6942 | 389.2969 | 6.511%
17
18 | Campus Rate | 40 | 681456292 | 44871349.9775 | 48899367.5882 | 4028017.6106 | 4028017.6106 | 0 | 8.977%
19
20 | High Voltage
21 | Interruptible | 46 | 50680977 | 3026077.4502 | 3287892.8511 | 261815.4009
22 | General Service | 49 | 519355973 | 32324390.8404 | 35131138.5649 | 2806747.7245
23 | Total High Voltage |  | 570036950 | 35350468.2907 | 38419031.4161 | 3068563.1254 | 3069017.35 | 454.2247 | 8.68%
24
25 | Lighting | 50-59 | 83137755.6235 | 16499335.965 | 17573246.6189 | 1073910.6539 | 1074315.6482 | 404.9943 | 6.509%
26
27 | Power Supplier Choice | 449 | 1750325443 | 5403078.0041 | 5866736.4585 | 463658.4545
28 | Retail Wheeling | 459 | 289786783 | 758012.588 | 829135.1841 | 71122.5961
29 | Total Choice /Retail Wheeling |  | 2040112226 | 6161090.5921 | 6695871.6426 | 534781.0505 | 534886.6603 | 105.6097 | 8.68%
30
31 | Total Jurisdictional Retail Sales |  | 23734955859.4918 | 2002420399.466 | 2156058369.9939 | 153637970.5279 | 153640325.5014 | 2354.9735 | 7.673%
32
33 | Total Firm Resale / Special Contract |  | 7617108 | 1323875.2411 | 1623914.7397 | 300039.4986 | 300039.4986 | 0 | 22.66%
34
35 | Total Sales to Customers |  | 23742572967.4918 | 2003744274.7071 | 2157682284.7336 | 153938010.0265 | 153940365 | 2354.9735 | 7.683%

## DWH-8, p4 Residential Sch 7
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Residential
Schedule 7
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Basic Charge - 1 Phase | 11562880 |  |  | 11562880 | 7 | 80940160 | 7.61 | 87993516.8 | 7053356.8 | 8.714%
2 | Basic Charge - 3 Phase | 3575 |  |  | 3575 | 17.25 | 61668.75 | 18.75 | 67031.25 | 5362.5 | 8.696%
3 | Total Basic Charge | 11566455 |  |  | 11566455 |  | 81001828.75 |  | 88060548.05 | 7058719.3 | 8.714%
4
5 | First 600 kWh | 5938919119.7606 | 0 | 0 | 5938919119.7606 | 0.084233 | 500252974.2148 | 0.091541 | 543654595.142 | 43401620.9272 | 8.676%
6 | All Over 600 kWh | 5143750983.0727 | -63418125 | -176605000 | 4903727858.0727 | 0.10204 | 500386198.0935 | 0.1109 | 543828323.1881 | 43442125.0947 | 8.682%
7 | Total kWh | 11082670102.8333 | -63418125 | -176605000 | 10842646977.8333 |  | 1000639172.3082 |  | 1087482918.3301 | 86843746.0219 | 8.679%
8
9 | Schedule 95 |  |  |  | 10842646977.8333 | 0 | 0 | 0 | 0 | 0
10
11 | Unbilled Revenue |  |  |  | 43778820 | 0.099781 | 4368283 | 0.10844 | 4747550.3561 | 379267.3561 | 8.682%
12
13 | Total Revenue |  |  |  | 10886425797.8333 |  | 1086009284.0582 |  | 1180291016.7362 | 94281732.678 | 8.681%
27 | Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p5 Secondary Sch 24
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Secondary Voltage, Demand 50 kW or less
Schedule 24
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Basic Charge - 1 Phase | 1057108 |  |  | 1057108 | 9.25 | 9778249 | 9.85 | 10412513.8 | 634264.8 | 6.486%
2 | Basic Charge - 3 Phase | 420852 |  |  | 420852 | 23.5 | 9890022 | 25.03 | 10533925.56 | 643903.56 | 6.511%
3 | Total Basic Charge | 1477960 |  |  | 1477960 |  | 19668271 |  | 20946439.36 | 1278168.36 | 6.499%
4
5 | Winter Energy | 1429255356.4777 | -3960065 | -6992000 | 1418303291.4777 | 0.08748 | 124073171.9385 | 0.093177 | 132153245.79 | 8080073.8515 | 6.512%
6 | Summer Energy | 1267818938.3491 | -4247037 | -537000 | 1263034901.3491 | 0.084515 | 106745394.6875 | 0.090019 | 113697138.7845 | 6951744.097 | 6.512%
7 | Total kWh | 2697074294.8268 | -8207102 | -7529000 | 2681338192.8268 |  | 230818566.626 |  | 245850384.5746 | 15031817.9486 | 6.512%
8
9 | Schedule 95 |  |  |  | 2681338192.8268 | 0 | 0 | 0 | 0 | 0
10
11 | Unbilled Revenue |  |  |  | 9475406 | 0.094326 | 893777 | 0.10047 | 951984.5654 | 58207.5654 | 6.513%
12
13 | Total Revenue Schedule 24 |  |  |  | 2690813598.8268 |  | 251380614.626 |  | 267748808.5 | 16368193.874 | 6.511%
| Check | [5 empty] | 224604545.3916 |  | 267748675.0448
| Check | [5 empty] | -25882292.2344 |  | -133.4552
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p6 Secondary Sch 25
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Secondary Voltage, Demand Greater than 50 kW but less than or equal to 350 kW
Schedule 25
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Total Basic Charge | 94411 |  |  | 94411 | 50 | 4720550 | 52.17 | 4925421.87 | 204871.87 | 4.34%
2
3 | Winter - First 20,000 kWh | 798205045.6188 | 0 | 0 | 798205045.6188 | 0.088276 | 70462348.607 | 0.092108 | 73521070.3419 | 3058721.7348 | 4.341%
4 | Summer- First 20,000 kWh | 768493133.4097 | 0 | 0 | 768493133.4097 | 0.080402 | 61788384.9124 | 0.083892 | 64470425.948 | 2682041.0356 | 4.341%
5 | All Over 20,000 kWh | 1569287352.9902 | -14525284 | -7940000 | 1546822068.9902 | 0.063589 | 98360868.545 | 0.066349 | 102630097.4554 | 4269228.9104 | 4.34%
6 | Total kWh Energy | 3135985532.0187 | -14525284 | -7940000 | 3113520248.0187 |  | 230611602.0645 |  | 240621593.7453 | 10009991.6808 | 4.341%
7
8 | First 50 kW | 4417884.1356 |  |  | 4417884.1356 | 0 | 0 | 0 | 0 | 0
9 | Winter - All Over 50 kW | 2434318.4567 |  |  | 2434318.4567 | 8.72 | 21227256.9426 | 9.1 | 22152297.9561 | 925041.0136 | 4.358%
10 | Summer- All Over 50 kW | 2349960.5612 |  |  | 2349960.5612 | 5.81 | 13653270.8607 | 6.06 | 14240761.0011 | 587490.1403 | 4.303%
11 | Total kW Demand | 9202163.1535 |  |  | 9202163.1535 |  | 34880527.8033 |  | 36393058.9572 | 1512531.1539 | 4.336%
12
13 | Total kVarh Reactive Power | 778384244.9997 |  |  | 778384244.9997 | 0.00274 | 2132772.8313 | 0.00286 | 2226178.9407 | 93406.1094 | 4.38%
14
15 | Schedule 95 |  |  |  | 3113520248.0187 | 0 | 0 | 0 | 0 | 0
16
17 | Unbilled Revenue |  |  |  | 10755834 | 0.090926 | 977983 | 0.094873 | 1020438.2391 | 42455.2391 | 4.341%
18
19 | Total Revenue |  |  |  | 3124276082.0187 |  | 273323435.6991 |  | 285186691.7523 | 11863256.0532 | 4.34%
Check
Check
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p7 Secondary Sch 26
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Secondary Voltage, Demand Greater than 350 kW
Schedule 26
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Total Basic Charge | 9827 |  |  | 9827 | 100 | 982700 | 108.68 | 1067998.36 | 85298.36 | 8.68%
2
3 | Total kWh Energy | 2140652458.7592 | -17015915 | -3774000 | 2119862543.7592 | 0.060996 | 129303135.7191 | 0.066827 | 141664054.2118 | 12360918.4927 | 9.56%
4
5 | Winter - All kW | 2455859.642 |  |  | 2455859.642 | 8.52 | 20923924.15 | 8.99 | 22078178.1818 | 1154254.0318 | 5.516%
6 | Summer- All kW | 2571587.7521 |  |  | 2571587.7521 | 5.68 | 14606618.4317 | 5.99 | 15403810.6349 | 797192.2031 | 5.458%
7 | Total kW Demand | 5027447.3941 | 0 | 0 | 5027447.3941 |  | 35530542.5817 |  | 37481988.8166 | 1951446.2349 | 5.492%
8
9 | Total kVarh Reactive Power | 974316206.4 |  |  | 974316206.4 | 0.00119 | 1159436.2856 | 0.00129 | 1256867.9063 | 97431.6206 | 8.403%
10
11 | Schedule 95 |  |  |  | 2119862543.7592 | 0 | 0 | 0 | 0 | 0
12
13 | Unbilled kWh |  |  |  | 7123510 | 0.081786 | 582605 | 0.088886 | 633180.3099 | 50575.3099 | 8.681%
14
15 | Total Revenue |  |  |  | 2126986053.7592 |  | 167558419.5865 |  | 182104089.6045 | 14545670.018 | 8.681%
Check
Check
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p8 Secondary Sch 29
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Secondary Voltage, Seasonal Irrigation & Drainage Pumping Service
Schedule 29
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Basic Charge - 1 Phase | 2881 |  |  | 2881 | 9.25 | 26649.25 | 9.85 | 28377.85 | 1728.6 | 6.486%
2 | Basic Charge - 3 Phase | 5972 |  |  | 5972 | 23.5 | 140342 | 25.03 | 149479.16 | 9137.16 | 6.511%
3 | Total Basic Charge | 8853 |  |  | 8853 |  | 166991.25 |  | 177857.01 | 10865.76 | 6.507%
4
5 | Winter - First 20,000 kWh | 1983877.657 |  |  | 1983877.657 | 0.088276 | 175128.784 | 0.092108 | 182731.0032 | 7602.2192 | 4.341%
6 | Winter - All Over 20,000 kWh | 99782.4943 | -25764 | 3000 | 77018.4943 | 0.067426 | 5193.049 | 0.070353 | 5418.4821 | 225.4331 | 4.341%
7 | Summer- First 20,000 kWh | 10526232.9215 |  |  | 10526232.9215 | 0.061658 | 649026.4695 | 0.064334 | 677194.6688 | 28168.1993 | 4.34%
8 | Summer- All Over 20,000 kWh | 1998466.6102 | -17176 | 65000 | 2046290.6102 | 0.053059 | 108574.1335 | 0.055362 | 113286.7408 | 4712.6073 | 4.34%
9 | Total kWh Energy | 14608359.683 | -42940 | 68000 | 14633419.683 |  | 937922.436 |  | 978630.8949 | 40708.4589 | 4.34%
10
11 | Winter - All Over 50 kW | 3084 |  |  | 3084 | 8.55 | 26368.2 | 8.92 | 27509.28 | 1141.08 | 4.327%
12 | Summer- All Over 50 kW | 7865 |  |  | 7865 | 4.21 | 33111.65 | 4.39 | 34527.35 | 1415.7 | 4.276%
13 | Total kW Demand | 10949 |  |  | 10949 |  | 59479.85 |  | 62036.63 | 2556.78 | 4.299%
14
15 | Total kVarh Reactive Power | 408402 |  |  | 408402 | 0.00272 | 1110.8534 | 0.00284 | 1159.8617 | 49.0082 | 4.412%
16
17 | Schedule 95 |  |  |  | 14633419.683 | 0 | 0 | 0 | 0 | 0
18
19 | Unbilled kWh |  |  |  | 10520 | 0.14905 | 1568 | 0.15552 | 1636.0599 | 68.0599 | 4.341%
20
21 | Total Revenue |  |  |  | 14643939.683 |  | 1167072.3894 |  | 1221320.4565 | 54248.067 | 4.648%
Check
Check
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p9 Primary Sch 31
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Primary Voltage General Service
Schedule 31
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Total Basic Charge | 5816 |  |  | 5816 | 325 | 1890200 | 346.16 | 2013266.56 | 123066.56 | 6.511%
2
3 | Total kWh Energy | 1351483492.5106 | -7134860 | -928000 | 1343420632.5106 | 0.058896 | 79122101.5723 | 0.062725 | 84266059.1742 | 5143957.6019 | 6.501%
4
5 | Winter - All kW | 1724037.992 |  |  | 1724037.992 | 8.27 | 14257794.1935 | 8.81 | 15188774.7092 | 930980.5157 | 6.53%
6 | Summer- All kW | 1752536.773 |  |  | 1752536.773 | 5.51 | 9656477.619 | 5.87 | 10287390.8572 | 630913.2383 | 6.534%
7 | Total kW Demand | 3476574.7649 | 0 | 0 | 3476574.7649 |  | 23914271.8125 |  | 25476165.5664 | 1561893.7539 | 6.531%
8
9 | Total kVarh Reactive Power | 767130403 |  |  | 767130403 | 0.00102 | 782473.0111 | 0.00109 | 836172.1393 | 53699.1282 | 6.863%
10
11 | Schedule 95 |  |  |  | 1343420632.5106 | 0 | 0 | 0 | 0 | 0
12
13 | Unbilled kWh |  |  |  | 4465978 | 0.081827 | 365439 | 0.087155 | 389232.3126 | 23793.3126 | 6.511%
14
15 | Total Revenue |  |  |  | 1347886610.5106 |  | 106074485.3959 |  | 112980895.7525 | 6906410.3566 | 6.511%
Check
Check
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p10 Primary Sch 35
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Primary Voltage Seasonal Irrigation & Drainage Pumping Service
Schedule 35
|  |  | Proforma |  | Proposed
Line |  | Bill | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Determinants | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1 | Total Basic Charge | 12 | 325 | 3900 | 346.16 | 4153.92 | 253.92 | 6.511%
2
3 | Total kWh Energy | 4659000 | 0.047939 | 223347.801 | 0.051053 | 237855.927 | 14508.126 | 6.496%
4
5 | Winter - All kW | 1006 | 4.3 | 4325.8 | 4.58 | 4607.48 | 281.68 | 6.512%
6 | Summer- All kW | 7765 | 2.86 | 22207.9 | 3.05 | 23683.25 | 1475.35 | 6.643%
7 | Total kW Demand | 8771 |  | 26533.7 |  | 28290.73 | 1757.03 | 6.622%
8
9 | Total kVarh Reactive Power | 3098396 | 0.00104 | 3222.3318 | 0.00111 | 3439.2196 | 216.8877 | 6.731%
10
11 | Schedule 95 | 4659000 | 0 | 0 | 0 | 0 | 0
12
13 | Unbilled kWh | 141 | 0.14184 | 20 | 0.15108 | 21.3023 | 1.3023 | 6.511%
14
15 | Total Revenue | 4659141 |  | 257023.8328 |  | 273761.0988 | 16737.266 | 6.512%
| Check |  |  | 245243.6592 |  | 273759.3384
| Check |  |  | -11760.1736 |  | -1.7604
| Schedule 95 Effective 11-1-08 |  | 0 | 0

## DWH-8, p11 Primary Sch 43
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Primary Voltage Interruptible Total Electric School Service
Schedule 43
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Total Basic Charge | 2143 |  |  | 2143 | 325 | 696475 | 346.16 | 741820.88 | 45345.88 | 6.511%
2
3 | Total kWh Energy | 168628595.2367 | -1303081 | -3472000 | 163853514.2367 | 0.055398 | 9077156.9817 | 0.058985 | 9664899.5373 | 587742.5556 | 6.475%
4
5 | Total kW Demand | 822142 |  |  | 822142 | 4.55 | 3740746.1 | 4.85 | 3987388.7 | 246642.6 | 6.593%
6
7 | Total kVarh Reactive Power | 69325077 |  |  | 69325077 | 0.00287 | 198962.971 | 0.00306 | 212134.7356 | 13171.7646 | 6.62%
8
9 | Schedule 95 |  |  |  | 163853514.2367 | 0 | 0 | 0 | 0 | 0
10
11 | Unbilled kWh |  |  |  | 667898 | 0.081566 | 54478 | 0.086877 | 58024.9745 | 3546.9745 | 6.511%
12
13 | Total Revenue |  |  |  | 164521412.2367 |  | 13767819.0527 |  | 14664268.8274 | 896449.7747 | 6.511%
14
15
16 | Critical Demand Charge |  |  |  |  | 3.72 |  | 3.96
| Schedule 95 Effective 11-1-08 |  |  |  |  | 0 | 0

## DWH-8, p12 Campus Sch 40
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Campus Service > 3aMW
Schedule 40
[6 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k)
1 | Basic Charge:
2 | Secondary Voltage - Medium Demand | 384 |  |  | 384 | 50 | 19200 | 52.17 | 20033.28
3 | Secondary Voltage - Large Demand | 459 |  |  | 459 | 100 | 45900 | 108.68 | 49884.12
4 | Primary Voltage | 348 |  |  | 348 | 325 | 113100 | 346.16 | 120463.68
5 |  | 1191 | 0 | 0 | 1191 |  | 178200 |  | 190381.08 | 12181.08 | 6.836%
6 | Production / Transmission Charge:
7 | kWh
8 | Secondary Voltage | 208836134 | -3773405 | -410000 | 204652729 | 0.055703 | 11399770.9635 | 0.06041 | 12363071.3589
9 | Primary Voltage | 475927200 | -1193870 | -207000 | 474526330 | 0.054133 | 25687533.8219 | 0.058809 | 27906418.941
10 |  | 684763334 | -4967275 | -617000 | 679179059 |  | 37087304.7854 |  | 40269490.2999
11
12 | PCORC
13 | Secondary Voltage |  |  |  | 204652729 | 0 | 0 | 0 | 0
14 | Primary Voltage |  |  |  | 474526330 | 0 | 0 | 0 | 0
15 |  |  |  |  | 679179059 |  | 0 |  | 0 | 3182185.5145 | 8.58%
16 | kW (Coincident Demand)
17 | Secondary Voltage | 369054 |  |  | 369054 | 4.13 | 1524193.02 | 4.48 | 1653361.92
18 | Primary Voltage | 806744 |  |  | 806744 | 4.02 | 3243110.88 | 4.37 | 3525471.28
19 |  | 1175798 | 0 | 0 | 1175798 |  | 4767303.9 |  | 5178833.2 | 411529.3 | 8.632%
20 | kVarh
21 | Secondary Voltage | 63329695.6 |  |  | 63329695.6 | 0.00119 | 75362.3378 | 0.00129 | 81695.3073
22 | Primary Voltage | 164508900 |  |  | 164508900 | 0.00102 | 167799.078 | 0.00109 | 179314.701
23 |  | 227838595.6 | 0 | 0 | 227838595.6 |  | 243161.4158 |  | 261010.0083 | 17848.5926 | 7.34%
24
25 | Distribution Charge:
26 | Customer Specific | [5 empty] | 2446609.8764 |  | 2850883 | 404273.1236 | 16.52%
27
28 | Unbilled Revenue |  |  |  | 2277233 | 0.065329 | 148770 | 0.065329 | 148770 | 0 | 0%
29
30 | Total Schedule 40 |  |  |  | 681456292 |  | 44871349.9775 |  | 48899367.5882 | 4028017.6106 | 8.977%
Schedule 95 Effective 11-1-08
| Secondary Voltage |  |  |  |  | 0 | 0
| Primary Voltage |  |  |  |  | 0 | 0
0

## DWH-8, p13 HV Sch 46
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
High Voltage, Interruptible Service
Schedule 46
[5 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Total kWh Energy | 50643400 | -136680 | 50506720 | 0.053192 | 2686553.4502 | 0.057804 | 2919490.4429 | 232936.9926 | 8.67%
2
3 | Total kVa Demand | 164600 |  | 164600 | 2 | 329200 | 2.17 | 357182 | 27982 | 8.5%
4
5 | Schedule 95 | 50643400 |  | 50643400 | 0 | 0 | 0 | 0 | 0
6
7 | Unbilled Revenue | 174257 |  | 174257 | 0.059246 | 10324 | 0.06439 | 11220.4082 | 896.4082 | 8.683%
8
9 | Total Revenue | 50817657 |  | 50680977 |  | 3026077.4502 |  | 3287892.8511 | 261815.4009 | 8.652%
10
11
12 | Annual Energy Minimum Charge |  |  |  |  | 90% | 0.052024
13 | Annual Demand Charge |  |  |  |  | 12 | 26.04
check
check
| Schedule 95 Effective 11-1-08 |  |  |  | 0 | 0

## DWH-8, p14 HV Sch 49
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
High Voltage, General Service
Schedule 49
[5 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Conservation | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
1 | Total kWh Energy | 520125200 | -2414354 | 517710846 | 0.053192 | 27538075.3204 | 0.057804 | 29925757.7422 | 2387682.4218 | 8.67%
2
3 | Total kVa Demand | 1323388 |  | 1323388 | 3.54 | 4684793.52 | 3.85 | 5095043.8 | 410250.28 | 8.757%
4
5 | Schedule 95 | 520125200 |  | 520125200 | 0 | 0 | 0 | 0 | 0
6
7 | Unbilled Revenue | 1645127 |  | 1645127 | 0.061711 | 101522 | 0.067069 | 110337.0228 | 8815.0228 | 8.683%
8
9 | Total Revenue | 521770327 |  | 519355973 |  | 32324390.8404 |  | 35131138.5649 | 2806747.7245 | 8.683%
Check
| Check |  |  |  |  | -32222868.8404 |  | -38419031.4161
| Schedule 95 Effective 11-1-08 |  |  |  | 0 | 0

## DWH-8, p15 Firm Resale
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Firm Resale / Special Contract
[5 empty] | Proforma |  | Proposed
Line |  | Bill Determinants |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Proforma | Weather | Total | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
FIRM RESALE
1 | Total kWh Energy | 7741108 | -124000 | 7617108 | 0.03514 | 267665.1751
2
3 | Total kW Demand | 15431.28 |  | 15431.28 | 5.25 | 81014.22
4
5 | Total kVarh Reactive Power | 2406260 |  | 2406260 | 0.00025 | 601.565
6
7 | Total Revenue |  |  |  |  | 349280.9601 |  | 428441.0508 | 79160.0907 | 22.66%
8
SPECIAL CONTRACT
9 | Total Revenue |  |  |  |  | 974594.281 |  | 1195473.6889 | 220879.4079 | 22.66%
10
11 | Total Firm Resale / Special Contract |  |  |  |  | 1323875.2411 |  | 1623914.7397 | 300039.4986 | 22.66%

## DWH-8, p16 Sch 449
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Retail Wheeling Service
Schedule 449
|  |  | Proforma |  | Proposed
Line |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Bill Determinants | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1 | Primary Voltage:
2 | kWh | 111726555
3 | Customer Charge | 24 | 1000 | 24000 | 800 | 19200 | -4800 | -20%
4 | Distribution Charge | 198458 | 3.979 | 789664.382 | 4.139 | 821417.662 | 31753.28 | 4.021%
5 | Total Primary Voltage Revenue |  |  | 813664.382 |  | 840617.662 | 26953.28 | 3.313%
6
7 | High Voltage:
8 | kWh | 1649097554
9 | Customer Charge | 168 | 1000 | 168000 | 800 | 134400 | -33600 | -20%
10 | Distribution Charge | 2921197 | 1.512 | 4416849.864 | 1.674 | 4890083.778 | 473233.914 | 10.71%
11 | Total High Voltage Revenue |  |  | 4584849.864 |  | 5024483.778 | 439633.914 | 9.589%
12
13 | OATT Revenue |  |  | 38295.7581 |  | 38295.7581 | 0 | 0%
14
15 | Unbilled Revenue | -10498666 | 0.003213 | -33732 | 0.0034919 | -36660.7395 | -2928.7395 | 8.682%
16
17 | Total Schedule 449 | 1750325443 |  | 5403078.0041 |  | 5866736.4585 | 463658.4545 | 8.581%
PV (449)
| Dist & Cust Charge |  |  | 813664.382 |  | 840617.662 | 26953.28
| OATT |  |  | -310535.5644 |  | -310535.5644 | 0
| Unbilled |  |  | -2045 |  | -2222.5546 | -177.5546
| Total |  |  | 501083.8176 |  | 527859.543 | 26775.7254
HV (449 + 459)
| Dist & Cust Charge |  |  | 5410714.336 |  | 5921940.872 | 511226.536
| OATT |  |  | 286392.4385 |  | 286392.4385 | 0
| Unbilled |  |  | -37100 |  | -40334.6906 | -3234.6906
|  |  |  | 5660006.7745 |  | 6167998.6199 | 507991.8454
TOTAL
| Dist & Cust Charge |  |  | 6224378.718 |  | 6762558.534 | 538179.816
| OATT |  |  | -24143.1259 |  | -24143.1259 | 0
| Unbilled |  |  | -39145 |  | -42557.2452 | -3412.2452
|  |  |  | 6161090.5921 |  | 6695858.1629 | 534767.5708

## DWH-8, p17 Sch 459
Puget Sound Energy
Proforma and Proposed Revenue
Twelve Months ended December 2008
Back-up Distribution Service
Schedule 459
|  |  | Proforma |  | Proposed
Line |  |  | Rates Effective 11-1-08 |  | Rates Effective 2010 |  | Differences
No. |  | Bill Determinants | Charge | Revenue | Charge | Revenue | $ | %
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1 | High Voltage:
2 | kWh | 291471526
3 | Customer Charge | 55 | 1000 | 55000 | 800 | 44000 | -11000 | -20%
4 | Back-up Distrbution Service | 509831 | 1.512 | 770864.472 | 1.674 | 853457.094 | 82592.622 | 10.71%
5 | Total High Voltage Revenue |  |  | 825864.472 |  | 897457.094 | 71592.622 | 8.669%
6
7 | OATT Revenue |  |  | -62438.884 |  | -62438.884 | 0 | -0%
8
9 | Unbilled Revenue | -1684743 | 0.003213 | -5413 | 0.0034919 | -5883.0259 | -470.0259 | 8.683%
10
11 | Total Schedule 459 | 289786783 |  | 758012.588 |  | 829135.1841 | 71122.5961 | 9.383%

## DWH-8, p18 Lighting Summary
Puget Sound Energy
Lighting Revenues
Proforma & Proposed
Twelve Months ended December 2008
Line No. | Schedule | Billed kWh | Weather | kWh | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change | Schedule 95 in Proforma Revenue | Schedule 95 Average Rate
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1 | 03E | 7056.72 |  | 7056.72 | 619.2 | 662.4 | 43.2 | 6.977% | 0
2 | 50E-A | 402893.601 |  | 402893.601 | 12422 | 13229 | 807 | 6.497% | 0
3 | 50E-B |  |  | 0 | 28463 | 30316 | 1853 | 6.51%
4 | 52 O&M |  |  | 0 | 916621.8081 | 976554.7725 | 59932.9644 | 6.538%
5 | 52E | 10535790.8797 |  | 10535790.8797 | 1068034 | 1138110 | 70076 | 6.561% | 0
6 | 53E | 47652852.9115 |  | 47652852.9115 | 11048421 | 11766662 | 718241 | 6.501% | 0
7 | 54E | 10986593.3806 |  | 10986593.3806 | 1131922 | 1205602 | 73680 | 6.509% | 0
8 | 55E & 56E (No Res Exch) | 4255750.3612 |  | 4255750.3612 | 1094914 | 1166117 | 71203 | 6.503% | 0
9 | 57E | 7142163.7668 | -47437 | 7094726.7668 | 714105.9569 | 760728.4464 | 46622.4895 | 6.529% | 0
10 | 58E & 59E (No Res Exch) | 2202091.0027 |  | 2202091.0027 | 417800 | 444977 | 27177 | 6.505% | 0
11 | Old Pole Revenue |  |  | 0 | 26986 | 28698 | 1712 | 6.344%
12 | New Pole Revenue |  |  | 0 | 39027 | 41590 | 2563 | 6.567%
13
14 |  | 83185192.6235 | -47437 | 83137755.6235 | 16499335.965 | 17573246.6189 | 1073910.6539 | 6.509% | 0 | 0
15
16 | Proposed Increase | [5 empty] | 1074315.6482
17 | Total Revenue | [5 empty] | 16499335.965
18 | Increase | [5 empty] | 6.511%
19
20 | Difference | [5 empty] | 404.9943

## DWH-8, p19 Sch 003
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 003
Customer Owned & Maintained Compact Fluorescent - Energy Only
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 03E | 22 | Compact Flourescent | 60 |  | 0 | 0.86 | 0.92 | 619.2 | 662.4 | 43.2 | 6.977%
2
3 |  |  |  | 60 | 7056.72 |  |  |  | 619.2 | 662.4 | 43.2 | 6.977%
4
5 | Proposed Increase | [6 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p20 Sch 50
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 50
Limited Street Lighting Service
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 50E-A | 327 | Incandescent | 0 |  | 0 | 11.76 | 12.53 | 0 | 0 | 0 | na
2 | 50E-A | 100 | Mercury Vapor | 13 |  | 0 | 5.86 | 6.24 | 914 | 973 | 59 | 6.455%
3 | 50E-A | 175 | Mercury Vapor | 19 |  | 0 | 8.62 | 9.18 | 1965 | 2093 | 128 | 6.514%
4 | 50E-A | 400 | Mercury Vapor | 47 |  | 0 | 16.92 | 18.02 | 9543 | 10163 | 620 | 6.497%
5 |  |  |  | 79 | 402893.601 |  |  |  | 12422 | 13229 | 807 | 6.497%
6
7 | 50E-B | 100 | Mercury Vapor | 9 |  | 0 | 4.0103 | 4.2714 | 433 | 461 | 28 | 6.467%
8 | 50E-B | 175 | Mercury Vapor | 115 |  | 0 | 6.7525 | 7.1922 | 9318 | 9925 | 607 | 6.514%
9 | 50E-B | 400 | Mercury Vapor | 98 |  | 0 | 14.9465 | 15.9197 | 17577 | 18722 | 1145 | 6.514%
10 | 50E-B | 700 | Mercury Vapor | 2 |  | 0 | 28.2022 | 30.0385 | 677 | 721 | 44 | 6.499%
11 | 50E-B | 1000 | Mercury Vapor | 1 |  | 0 | 38.1413 | 40.6247 | 458 | 487 | 29 | 6.332%
12 |  |  |  | 225 | 0 |  |  |  | 28463 | 30316 | 1853 | 6.51%
13
14 |  |  |  | 304 | 402893.601 |  |  |  | 40885 | 43545 | 2660 | 6.506%
15
16 | Proposed Increase | [6 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p21 Sch 52
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 52
Custom Lighting Service - Company Owned
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 52E | 50 | Sodium Vapor | 0 |  | 0 | 1.99 | 2.12 | 0 | 0 | 0 | na
2 | 52E | 70 | Sodium Vapor | 476 |  | 0 | 2.9 | 3.09 | 16565 | 17650 | 1085 | 6.55%
3 | 52E | 100 | Sodium Vapor | 9094 |  | 0 | 4.09 | 4.36 | 446334 | 475798 | 29464 | 6.601%
4 | 52E | 150 | Sodium Vapor | 3668 |  | 0 | 5.94 | 6.33 | 261455 | 278621 | 17166 | 6.566%
5 | 52E | 200 | Sodium Vapor | 876 |  | 0 | 7.87 | 8.38 | 82729 | 88091 | 5362 | 6.481%
6 | 52E | 250 | Sodium Vapor | 994 |  | 0 | 9.78 | 10.42 | 116656 | 124290 | 7634 | 6.544%
7 | 52E | 310 | Sodium Vapor | 155 |  | 0 | 13.33 | 14.2 | 24794 | 26412 | 1618 | 6.526%
8 | 52E | 400 | Sodium Vapor | 486 |  | 0 | 15.25 | 16.24 | 88938 | 94712 | 5774 | 6.492%
9
10 | 52E | 70 | Metal Halide | 0 |  | 0 | 3.15 | 3.36 | 0 | 0 | 0 | na
11 | 52E | 100 | Metal Halide | 0 |  | 0 | 4.02 | 4.28 | 0 | 0 | 0 | na
12 | 52E | 150 | Metal Halide | 0 |  | 0 | 5.78 | 6.16 | 0 | 0 | 0 | na
13 | 52E | 175 | Metal Halide | 281 |  | 0 | 6.83 | 7.27 | 23031 | 24514 | 1483 | 6.439%
14 | 52E | 250 | Metal Halide | 0 |  | 0 | 9.29 | 9.89 | 0 | 0 | 0 | na
15 | 52E | 400 | Metal Halide | 0 |  | 0 | 14.57 | 15.52 | 0 | 0 | 0 | na
16 | 52E | 1000 | Metal Halide | 18 |  | 0 | 34.87 | 37.14 | 7532 | 8022 | 490 | 6.506%
17
18 |  |  |  | 16048 | 10535790.8797 |  |  |  | 1068034 | 1138110 | 70076 | 6.561%
19
20
21 | Proposed Increase | [6 empty] | 6.511%
22
23
24 | Annual Schedule 95 | [7 empty] | 0

## DWH-8, p22 Sch 52 O&M
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 52 O&M
Custom Lighting Service - Company Owned
Line No. | Schedule | Estimated System Cost | Proforma Base Rate | Proposed Base Rate | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 52 O&M - Option B | 29378904.107 | 0.26% | 0.277% | 916621.8081 | 976554.7725 | 59932.9644 | 6.538%
2 | 52 O&M - Option A |  | 1.5% | 1.598% | 0 | 0 | 0 | 6.533%
3
4 | Proposed Increase |  |  | 6.511%

## DWH-8, p23 Sch 53
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 53
Street Lighting Service - Sodium Vapor
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 53E - Company Owned | 50 | Sodium Vapor | 22 |  | 0 | 8.92 | 9.5 | 2355 | 2508 | 153 | 6.497%
2 | 53E - Company Owned | 70 | Sodium Vapor | 6318 |  | 0 | 10.21 | 10.87 | 774081 | 824120 | 50039 | 6.464%
3 | 53E - Company Owned | 100 | Sodium Vapor | 46025 |  | 0 | 11.5 | 12.25 | 6351450 | 6765675 | 414225 | 6.522%
4 | 53E - Company Owned | 150 | Sodium Vapor | 5154 |  | 0 | 13.68 | 14.54 | 846081 | 899270 | 53189 | 6.287%
5 | 53E - Company Owned | 200 | Sodium Vapor | 7247 |  | 0 | 16.36 | 17.43 | 1422731 | 1515783 | 93052 | 6.54%
6 | 53E - Company Owned | 250 | Sodium Vapor | 2182 |  | 0 | 18.41 | 19.61 | 482047 | 513468 | 31421 | 6.518%
7 | 53E - Company Owned | 310 | Sodium Vapor | 28 |  | 0 | 21.28 | 22.67 | 7150 | 7617 | 467 | 6.531%
8 | 53E - Company Owned | 400 | Sodium Vapor | 1306 |  | 0 | 24.89 | 26.51 | 390076 | 415465 | 25389 | 6.509%
9 | 53E - Company Owned | 1000 | Sodium Vapor | 0 |  | 0 | 55.16 | 58.75 | 0 | 0 | 0 | na
10
11 | 53E - Customer Owned | 50 | Sodium Vapor | 10 |  | 0 | 4.05 | 4.31 | 486 | 517 | 31 | 6.379%
12 | 53E - Customer Owned | 70 | Sodium Vapor | 130 |  | 0 | 5.04 | 5.37 | 7862 | 8377 | 515 | 6.55%
13 | 53E - Customer Owned | 100 | Sodium Vapor | 647 |  | 0 | 6.2 | 6.6 | 48137 | 51242 | 3105 | 6.45%
14 | 53E - Customer Owned | 150 | Sodium Vapor | 371 |  | 0 | 8.11 | 8.64 | 36106 | 38465 | 2359 | 6.534%
15 | 53E - Customer Owned | 200 | Sodium Vapor | 1483 |  | 0 | 10.01 | 10.66 | 178138 | 189705 | 11567 | 6.493%
16 | 53E - Customer Owned | 250 | Sodium Vapor | 818 |  | 0 | 11.99 | 12.77 | 117694 | 125350 | 7656 | 6.505%
17 | 53E - Customer Owned | 310 | Sodium Vapor | 35 |  | 0 | 14.44 | 15.38 | 6065 | 6460 | 395 | 6.513%
18 | 53E - Customer Owned | 400 | Sodium Vapor | 1798 |  | 0 | 17.46 | 18.6 | 376717 | 401314 | 24597 | 6.529%
19 | 53E - Customer Owned | 1000 | Sodium Vapor | 1 |  | 0 | 42.23 | 44.98 | 507 | 540 | 33 | 6.509%
20
21 | 53E - Customer Owned | 70 | Metal Hallide | 0 |  | 0 | 8.99 | 9.58 | 0 | 0 | 0 | na
22 | 53E - Customer Owned | 100 | Metal Hallide | 0 |  | 0 | 9.85 | 10.49 | 0 | 0 | 0 | na
23 | 53E - Customer Owned | 150 | Metal Hallide | 0 |  | 0 | 11.94 | 12.72 | 0 | 0 | 0 | na
24 | 53E - Customer Owned | 175 | Metal Hallide | 4 |  | 0 | 15.37 | 16.37 | 738 | 786 | 48 | 6.504%
25 | 53E - Customer Owned | 250 | Metal Hallide | 0 |  | 0 | 15.87 | 16.9 | 0 | 0 | 0 | na
26 | 53E - Customer Owned | 400 | Metal Hallide | 0 |  | 0 | 17.85 | 19.01 | 0 | 0 | 0 | na
27
28 |  |  |  | 73579 | 47652852.9115 |  |  |  | 11048421 | 11766662 | 718241 | 6.501%
29
30 | Proposed Increase | [6 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p24 Sch 54
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 54
Customer Owned Street Lighting Energy Service - Sodium Vapor
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 54E - Customer Owned | 50 | Sodium Vapor | 194 |  | 0 | 1.99 | 2.12 | 4633 | 4935 | 302 | 6.518%
2 | 54E - Customer Owned | 70 | Sodium Vapor | 985 |  | 0 | 2.9 | 3.09 | 34278 | 36524 | 2246 | 6.552%
3 | 54E - Customer Owned | 100 | Sodium Vapor | 2461 |  | 0 | 4.08 | 4.35 | 120491 | 128464 | 7973 | 6.617%
4 | 54E - Customer Owned | 150 | Sodium Vapor | 1079 |  | 0 | 5.93 | 6.32 | 76782 | 81831 | 5049 | 6.576%
5 | 54E - Customer Owned | 200 | Sodium Vapor | 1790 |  | 0 | 7.86 | 8.37 | 168833 | 179788 | 10955 | 6.489%
6 | 54E - Customer Owned | 250 | Sodium Vapor | 2344 |  | 0 | 9.75 | 10.38 | 274248 | 291969 | 17721 | 6.462%
7 | 54E - Customer Owned | 310 | Sodium Vapor | 150 |  | 0 | 13.31 | 14.18 | 23958 | 25524 | 1566 | 6.536%
8 | 54E - Customer Owned | 400 | Sodium Vapor | 2318 |  | 0 | 15.23 | 16.22 | 423638 | 451176 | 27538 | 6.5%
9 | 54E - Customer Owned | 1000 | Sodium Vapor | 11 |  | 0 | 38.34 | 40.84 | 5061 | 5391 | 330 | 6.52%
10
11 |  |  |  | 11332 | 10986593.3806 |  |  |  | 1131922 | 1205602 | 73680 | 6.509%
12
13 | Proposed Increase | [6 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p25 Sch 55 & 56
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedules 55 & 56
Area Lighting Service
Line No. | Schedule | Lamp Size (Watts) | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 55E & 56E | 70 | Sodium Vapor | 9 |  | 0 | 10.28 | 10.95 | 1110 | 1183 | 73 | 6.577%
2 | 55E & 56E | 100 | Sodium Vapor | 5035 |  | 0 | 11.56 | 12.31 | 698455 | 743770 | 45315 | 6.488%
3 | 55E & 56E | 150 | Sodium Vapor | 367 |  | 0 | 13.79 | 14.69 | 60731 | 64695 | 3964 | 6.527%
4 | 55E & 56E | 200 | Sodium Vapor | 1464 |  | 0 | 16.53 | 17.61 | 290399 | 309372 | 18973 | 6.533%
5 | 55E & 56E | 250 | Sodium Vapor | 106 |  | 0 | 18.63 | 19.84 | 23697 | 25236 | 1539 | 6.494%
6 | 55E & 56E | 400 | Sodium Vapor | 68 |  | 0 | 25.15 | 26.79 | 20522 | 21861 | 1339 | 6.525%
7
8 | 55E & 56E | 250 | Metal Halide | 0 |  | 0 | 21.51 | 22.91 | 0 | 0 | 0 | na
9 | Total Schedules 55 & 56 |  |  | 7049 | 4255750.3612 |  |  |  | 1094914 | 1166117 | 71203 | 6.503%
10
11 | Proposed Increase | [6 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p26 Sch 57
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedule 57
Continuous Lighting Service
Line No. | Schedule | Annual kWh | Weather | Annual kWh | Annual Watts = kWh / 0.254 | Proforma $ / Watt Charge | Proposed $ / Watt Charge | Schedule 95 | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l)
1 | 57E | 7142163.7668 | -47437 | 7094726.7668 | 28958068 | 0.02466 | 0.02627 | 0 | 714105.9569 | 760728.4464 | 46622.4895 | 6.529%
2 | [8 empty] | 714105.9569 | 760728.4464 | 46622.4895 | 6.529%
3
4 | Minimum Charge | [7 empty] | 4.21 | 4.48
5
6 | Proposed Increase | [5 empty] | 6.511%
| Annual Schedule 95 | [7 empty] | 0

## DWH-8, p27 Sch 58 & 59
Puget Sound Energy
Proforma & Proposed Revenue
Twelve Months ended December 2008
Schedules 58 & 59
Flood Lighting Service
Line No. | Schedule | Lamp Size (Watts) |  | Lamp Type | Inventory @ 12-31-08 | Billed kWh 12 Months ended 12-31-08 | Schedule 95 | Proforma Base Lamp Charge | Proposed Lamp Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m)
1 | 58E & 59E | 70 | Directional | Sodium Vapor | 69 |  | 0 | 12.28 | 13.08 | 10168 | 10830 | 662 | 6.511%
2 | 58E & 59E | 100 | Directional | Sodium Vapor | 6 |  | 0 | 13.47 | 14.35 | 970 | 1033 | 63 | 6.495%
3 | 58E & 59E | 150 | Directional | Sodium Vapor | 199 |  | 0 | 15.38 | 16.38 | 36727 | 39115 | 2388 | 6.502%
4 | 58E & 59E | 200 | Directional | Sodium Vapor | 353 |  | 0 | 17.96 | 19.13 | 76079 | 81035 | 4956 | 6.514%
5 | 58E & 59E | 250 | Directional | Sodium Vapor | 37 |  | 0 | 19.99 | 21.29 | 8876 | 9453 | 577 | 6.501%
6 | 58E & 59E | 400 | Directional | Sodium Vapor | 479 |  | 0 | 25.39 | 27.04 | 145942 | 155426 | 9484 | 6.498%
7
8 | 58E & 59E | 100 | Horizontal | Sodium Vapor | 1 |  | 0 | 15.37 | 16.37 | 184 | 196 | 12 | 6.522%
9 | 58E & 59E | 150 | Horizontal | Sodium Vapor | 9 |  | 0 | 17.2 | 18.32 | 1858 | 1979 | 121 | 6.512%
10 | 58E & 59E | 200 | Horizontal | Sodium Vapor | 6 |  | 0 | 20 | 21.3 | 1440 | 1534 | 94 | 6.528%
11 | 58E & 59E | 250 | Horizontal | Sodium Vapor | 22 |  | 0 | 20.81 | 22.16 | 5494 | 5850 | 356 | 6.48%
12 | 58E & 59E | 400 | Horizontal | Sodium Vapor | 70 |  | 0 | 27.21 | 28.98 | 22856 | 24343 | 1487 | 6.506%
13
14 | 58E & 59E | 175 | Directional | Metal Halide | 3 |  | 0 | 17.54 | 18.68 | 631 | 672 | 41 | 6.498%
15 | 58E & 59E | 250 | Directional | Metal Halide | 8 |  | 0 | 20.54 | 21.88 | 1972 | 2100 | 128 | 6.491%
16 | 58E & 59E | 400 | Directional | Metal Halide | 74 |  | 0 | 25.55 | 27.21 | 22688 | 24162 | 1474 | 6.497%
17 | 58E & 59E | 1000 | Directional | Metal Halide | 104 |  | 0 | 47.29 | 50.37 | 59018 | 62862 | 3844 | 6.513%
18
19 | 58E & 59E | 250 | Horizontal | Metal Halide | 1 |  | 0 | 24.43 | 26.02 | 293 | 312 | 19 | 6.485%
20 | 58E & 59E | 400 | Horizontal | Metal Halide | 61 |  | 0 | 30.88 | 32.89 | 22604 | 24075 | 1471 | 6.508%
21
22 | Total Schedules 58 & 59 |  |  |  | 1502 | 2202091.0027 |  |  |  | 417800 | 444977 | 27177 | 6.505%
23
24 | Proposed Increase | [7 empty] | 6.511%
| Annual Schedule 95 | [8 empty] | 0

## DWH-8, p28 Sch 55 & 58 Poles
Puget Sound Energy
Lighting Revenue
Twelve Months ended December 2008
Pole Rentals
Schedules 55 & 58
Line No. | Schedule | Inventory @ 12-31-08 | Proforma Charge | Proposed Charge | Annual Proforma Revenue | Annual Proposed Revenue | Revenue Change | % Change
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1 | Old Pole - Sch 55 | 1097 | 2.05 | 2.18 | 26986 | 28698 | 1712 | 6.344%
2
3 | New Pole - Sch 55 | 239 | 8.07 | 8.6 | 23145 | 24665 | 1520 | 6.567%
4 | New Pole - Sch 58 | 164 | 8.07 | 8.6 | 15882 | 16925 | 1043 | 6.567%
5
6 | Total New Pole Revenue | 403 |  |  | 39027 | 41590 | 2563 | 6.567%
7
8 | Average Proforma Charge |  |  |  | 8.07
9
10 | Proposed Increase |  |  |  | 6.511%
11
12 | Proposed New Pole Charge |  |  |  | 8.6

## DWH-8, p29 Rate Des Sch 7
Puget Sound Energy
Rate Design
Residential Schedule 7
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges
3 | One Phase | 11562880 | 7 |  | 7.61 | 80940160 | 87993516.8 | Class % Increase
4 | Three Phase | 3575 | 17.25 |  | 18.75 | 61668.75 | 67031.25
5 | Total Basic Charge | 11566455 |  |  |  | 81001828.75 | 88060548.05
6
7 | Energy Charges
8 | First 600 kWh | 5938919119.7606 | 0.084233 | 0 | 0.091541 | 500252974.2148 | 543654595.142 | Class % Increase, Adjust for Residual
9 | All Over 600 kWh | 4903727858.0727 | 0.10204 | 0 | 0.1109 | 500386198.0935 | 543828323.1881 | Class % Increase
10 | Total Billed kWh | 10842646977.8333 |  |  |  | 1000639172.3082 | 1087482918.3301
11
12 | Unbilled | 43778820 | 0.099781 |  | 0.10844 | 4368294.4384 | 4747550.3561 | Class % Increase
13
14 | Total kWh | 10886425797.8333
15
16 | Total Revenue |  |  |  |  | 1086009295.4967 | 1180291016.7362
17
18 | Target Proposed Increase (Decrease) from Rate Spread | [5 empty] | 94283937.2785 | Rate Spread Workpapers, Column G
19 | Target Proposed Revenue | [5 empty] | 1180293232.7751
20 | Target Proposed Revenue Change (%) | [5 empty] | 8.682%
21
22 | Remainder after Basic Charge & Unbilled | [5 empty] | 86845962.0608
23 | Remaining Increase - % | [5 empty] | 8.679% | Class % Increase
24
25
26 | Over (Under) Recover Target Rate Spread | [5 empty] | -2216.0389

## DWH-8, p30 Rate Des Sch 24
Puget Sound Energy
Rate Design
Secondary Voltage, Schedule 24, Demand < 50 kW
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges
3 | One Phase | 1057108 | 9.25 |  | 9.85 | 9778249 | 10412513.8 | Class % Increase | 14.9643
4 | Three Phase | 420852 | 23.5 |  | 25.03 | 9890022 | 10533925.56 |  | 13.3077
5 | Total Basic Charge | 1477960 |  |  |  | 19668271 | 20946439.36 |  | 12.45%
6 | [8 empty] | 14.1725
7 | Energy Charges
8 | Winter kWh (Oct - Mar) | 1418303291.4777 | 0.08748 | 0 | 0.093177 | 124073171.9385 | 132153245.79 | Class % Increase, Adjust for Residual
9 | Summer kWh (Apr - Sep) | 1263034901.3491 | 0.084515 | 0 | 0.090019 | 106745394.6875 | 113697138.7845 | Class % Increase
10 | Total Billed kWh | 2681338192.8268 |  |  |  | 230818566.626 | 245850384.5746
11
12 | Unbilled | 9475406 | 0.094326 |  | 0.10047 | 893777.1464 | 951984.5654 | Class % Increase
13 | Total kWh | 2690813598.8268
14
15 | Total Revenue |  |  |  |  | 251380614.7723 | 267748808.5
16
17 | Target Proposed Increase (Decrease) from Rate Spread | [5 empty] | 16368060.4188 | Rate Spread Workpapers, Column I
18 | Target Proposed Revenue | [5 empty] | 267748675.1911
19 | Target Proposed Revenue Change (%) | [5 empty] | 6.511%
20
21 | Target Revenue less Basic Charge | [5 empty] | 246802235.8311
22 | Proforma Energy Revenue | [5 empty] | 231712343.7723
23 | Left to Spread | [5 empty] | 15089892.0588
24 | % Increase | [5 empty] | 6.512% | Class % Increase
25
26 | Over (Under) Recover Target Rate Spread | [5 empty] | 133.3089
Note on K10: PSE: COS Basic Charge
Note on K11: PSE: Proforma Average Basic Charge
Note on K12: PSE: Increase to Average Basic Charge
Note on K13: PSE: Proposed Average Basic Charge

## DWH-8, p31 Rate Des Sch 25
Puget Sound Energy
Rate Design
Secondary Voltage, Schedule 25, Demand >50 kW and < 350 kW
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges | 94411 | 50 |  | 52.17 | 4720550 | 4925421.87 | Class % Increase
3
4 | Energy Charges
5 | First 20,000 kWh | [7 empty] | First Block Energy Charge Increase
6 | Winter kWh (Oct - Mar) | 798205045.6188 | 0.088276 | 0 | 0.092108 | 70462348.607 | 73521070.3419 | Class % Increase | 132250733.5195 | a | Total Proforma Energy Revenue Sch 25
7 | Summer kWh (Apr - Sep) | 768493133.4097 | 0.080402 | 0 | 0.083892 | 61788384.9124 | 64470425.948 |  | 99624770.5062 | b | Total Proforma Energy Revenue Sch 25, less Demand revenue in First Block
8 | Total First 20,000 kWh | 1566698179.0285 | [6 empty] | 32625963.0132 | c | Sch 25 + Sch 29 Demand Charge Revenue - First Block Energy Charge
9 | Over 20,000 kWh | [7 empty] | 4324555.8232 | d=b*3.3% | Total Proforma Energy Revenue Sch 25, less Demand revenue in First Block * Class Average Inc
10 | All Months | 1546822068.9902 | 0.063589 | 0 | 0.066349 | 98360868.545 | 102630097.4554 | Class % Increase | 0 | e=c*4.9% | Sch 25 + Sch 29 Demand Charge Revenue (in First Block Energy Charge) * 150% Class Average Inc
11 | Total Billed kWh Energy | 3113520248.0187 |  |  |  | 230611602.0645 | 240621593.7453 |  | 4324555.8232 | f=d+e | Total Increase to First Block Energy Charge Revenue
12 | [8 empty] | 3.27% | g=f/a | Average increase to energy revenue
13 | Unbilled
14 | Winter Unbilled (Block 1) | 11910407.6663
15 | Winter Unbilled (Block 2) | -1154573.6663
16 | Total Unbilled | 10755834 | 0.090926 |  | 0.094873 | 977984.9623 | 1020438.2391 | Class % Increase
17 | Total kWh | 3124276082.0187 |  |  |  | 231589587.0268 | 241642031.9844
18
19 | Demand Charges | [7 empty] | DEMAND CHARGES
20 | First 50 kW | 4417884.1356 | 0 |  | 0 | 0 | 0 | Class % Increase, Adjusted for rounding | 70345611.7058 |  |  | COS Demand
21 | Winter Over 50 kW | 2434318.4567 | 8.72 |  | 9.1 | 21227256.9426 | 22152297.9561
22 | Summer Over 50 kW | 2349960.5612 | 5.81 |  | 6.06 | 13653270.8607 | 14240761.0011
23 | Total Demand | 4784279.0179 |  |  |  | 34880527.8033 | 36393058.9572 |  | 69699854.3513 | 72725073.1991 | 104.3% | Total Demand Charge Revenue
24 | [8 empty] | 37073891.3381 | 38682434.3896 | 104.3% | Sch 25 + Sch 29 Demand > 50 kW & Reactive Power Charge Revenue
25 | Reactive Power Charge (kVarh) | 778384244.9997 | 0.00274 |  | 0.00286 | 2132772.8313 | 2226178.9407 | Class % Increase | 32625963.0132 | 34042638.8095 | 104.3% | Sch 25 + Sch 29 Demand Charge Revenue - First Block Energy Charge
26 | [8 empty] | Proforma | Proposed
27 | Total Revenue |  |  |  |  | 273323437.6614 | 285186691.7523
28
29 | Proposed Increase Sch 25 & Sch 29 | [5 empty] | 11915204.6985 |  |  | 37151691.7246
30 | Total Proforma Revenue Sch 25 & 29 | [5 empty] | 274490510.0463
31 | Total Proposed Revenue Sch 25 & 29 | [5 empty] | 286405714.7449
32
33 | Target Proposed % Increase | [5 empty] | 4.341% | Class Average Increase
34
35
36 | Check
37 | Sch 25 Proposed Revenue | [5 empty] | 285186691.7523
38 | Sch 29 Proposed Revenue | [5 empty] | 1221320.4565
39 | Total Sch 25 & 29 Revenue | [5 empty] | 286408012.2087
40 | Target Sch 25 & 29 | [5 empty] | 286405714.7449
41
42 | Over (Under) Recover Target Rate Spread | [5 empty] | 2297.4639
Note on K13: PSE: Total Proforma 1st block energy revenue
Note on K14: PSE: Non-demand related costs in first block
Note on K15: PSE: Demand Related Revenue in First block
Note on K16: PSE: Increase Non-Demand Revenue in first block by class average increase
Note on K17: PSE: Demand Related to be increased by 150% of Class Average
Note on K19: PSE: Average increase to First Block Energy
Note on K30: Puget Sound Energy: Total Demand Charges Use Average increase for demand
Note on K31: PSE: Proforma Demand Charges
Note on K32: Puget Sound Energy: Demand costs implicit in energy charge
Note on L30: Puget Sound Energy: Total Demand Charges Use Average increase for demand
Note on L31: PSE: Proforma Demand Charges

## DWH-8, p32 Rate Des Sch 29
Puget Sound Energy
Rate Design
Secondary Voltage, Schedule 29, Irrigation
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges
3 | One Phase | 2881 | 9.25 |  | 9.85 | 26649.25 | 28377.85 | Set Equal to Sch 24
4 | Three Phase | 5972 | 23.5 |  | 25.03 | 140342 | 149479.16
5 | Total Basic Charge | 8853 |  |  |  | 166991.25 | 177857.01
6
7 | Energy Charges
8 | First 20,000 kWh
9 | Winter kWh (Oct - Mar) | 1983877.657 | 0.088276 | 0 | 0.092108 | 175128.784 | 182731.0032 | 1st Block Winter=Sch 25=Class Avg Inc 1st Block Summer = Class Avg Inc
10 | Summer kWh (Apr - Sep) | 10526232.9215 | 0.061658 | 0 | 0.064334 | 649026.4695 | 677194.6688
11 | Total First 20,000 kWh | 12510110.5785
12 | Over 20,000 kWh
13 | Winter kWh (Oct - Mar) | 77018.4943 | 0.067426 | 0 | 0.070353 | 5193.049 | 5418.4821 | Class % Increase
14 | Summer kWh (Apr - Sep) | 2046290.6102 | 0.053059 | 0 | 0.055362 | 108574.1335 | 113286.7408
15 | Total Over 20,000 kWh | 2123309.1045
16 | Total Billed kWh Energy | 14633419.683 |  |  |  | 937922.436 | 978630.8949
17
18 | Unbilled | 10520 | 0.14905 |  | 0.15552 | 1567.9955 | 1636.0599 | Class % Increase
19 | Total kWh | 14643939.683 |  |  |  | 939490.4315 | 980266.9548
20
21 | Demand Charges
22 | First 50 kW | 21989.26 | 0 |  | 0 | 0 | 0 | Class % Increase
23 | Winter Over 50 kW | 3084 | 8.55 |  | 8.92 | 26368.2 | 27509.28
24 | Summer Over 50 kW | 7865 | 4.21 |  | 4.39 | 33111.65 | 34527.35
25 | Total Demand | 32938.26 |  |  |  | 59479.85 | 62036.63
26
27 | Reactive Power Charge (kVarh) | 408402 | 0.00272 |  | 0.00284 | 1110.8534 | 1159.8617 | Class % Increase
28
29 | Total Revenue |  |  |  |  | 1167072.3849 | 1221320.4565
30
31 | Target Proposed % Increase (Sch 25 & 29) | [5 empty] | 4.341% | Class % Increase

## DWH-8, p33 Rate Des Sch 26
Puget Sound Energy
Rate Design
Secondary Voltage, Schedule 26, Demand >350 kW
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges | 9827 | 100 |  | 108.68 | 982700 | 1067998.36 | Class % Increase | 172.2567
3
4 | Energy Charges
5 | All kWh | 2119862543.7592
6
7 | Total Billed kWh Energy | 2119862543.7592 | 0.060996 | 0 | 0.066827 | 129303135.7191 | 141664054.2118 | Apply Residual & Adjust
8
9 | Unbilled | 7123510 | 0.081786 |  | 0.088886 | 582603.3889 | 633180.3099 | Class % Increase
10 | [8 empty] | Sch 26 COS | 39002984.0613
11 | Total kWh | 2126986053.7592 |  |  |  | 129885739.108 | 142297234.5217 |  | Sch 31+ COS | 27771017.5746
12 | [8 empty] | Sum | 66774001.6359
13 | Demand Charges
14 | Winter (Oct to Mar) | 2455859.642 | 8.52 |  | 8.99 | 20923924.15 | 22078178.1818 | Sch 31 Adj for Losses | Proposed 26, 31,35,43 | 69282447.8137
15 | Summer (Apr to Sep) | 2571587.7521 | 5.68 |  | 5.99 | 14606618.4317 | 15403810.6349 |  |  | 2508446.1779
16 | Total Demand | 5027447.3941 |  |  |  | 35530542.5817 | 37481988.8166 |  | COS | 39002984.0613 | 3.757%
17
18 | Reactive Power Charge (kVarh) | 974316206.4 | 0.00119 |  | 0.00129 | 1159436.2856 | 1256867.9063 | Class % Increase | Dem + react | 38738856.7229
19 | [8 empty] | diff | -264127.3384
20 | Total Revenue |  |  |  |  | 167558417.9754 | 182104089.6045 |  | % | -0.6818%
21 | [8 empty] | 1.5 X | 41467943.1311
22 | Target Proposed Increase Sch 26 | [5 empty] | 14546899.1423 | Rate Spread Workpapers, Column G
23 | Target Proposed Revenue 26 | [5 empty] | 182105317.1176
24 | Target Proposed % Increase | [5 empty] | 8.682% | Class % Increase
25
26 | Over (Under) Recover Target Rate Spread | [5 empty] | -1227.5131
27
28 | Adjustments to Secondary Voltage Rates for Delivery at Primary Voltage
29 | Basic Charge Addition Sec Voltage Rate: | 237.48
30 | Demand Credit per kW to all Demand: | 2% |  | 0.15
31 | Energy Charge Reduction to Base Rates: | 2% |  | 0.001337
32
33
Note on K9: dhoff: COS Customer costs
Note on L23: dhoff: COS demand cost

## DWH-8, p34 Rate Des Sch 31
Puget Sound Energy
Rate Design
Primary Voltage, Schedule 31
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges | 5816 | 325 |  | 346.16 | 1890200 | 2013266.56 | Class % Increase
3
4 | Energy Charges
5 | Total Billed kWh Energy | 1343420632.5106 | 0.058896 | 0 | 0.062725 | 79122101.5723 | 84266059.1742 | Class % Increase Adjust For Residual
6
7 | Unbilled | 4465978 | 0.081827 |  | 0.087155 | 365437.5818 | 389232.3126 | Class % Increase
8
9 | Total kWh | 1347886610.5106 |  |  |  | 79487539.1542 | 84655291.4868
10
11 | Demand Charges
12 | Winter (Oct to Mar) | 1724037.992 | 8.27 |  | 8.81 | 14257794.1935 | 15188774.7092 | Class % Increase
13 | Summer (Apr to Sep) | 1752536.773 | 5.51 |  | 5.87 | 9656477.619 | 10287390.8572 |  | DEMAND CHARGES
14 | Total Demand | 3476574.7649 |  |  |  | 23914271.8125 | 25476165.5664 |  | 27771017.5746 | 28666209.9264 | 30543591.0908
15 | [9 empty] | 96.88% | 90.92%
16 | Reactive Power Charge (kVarh) | 767130403 | 0.00102 |  | 0.00109 | 782473.0111 | 836172.1393 | Class % Increase |  | Proforma | Proposed
17
18 | Total Revenue |  |  |  |  | 106074483.9777 | 112980895.7525 |  |  | .5 x avg | 29599476.5249
19
20 | Proposed Revenue Increase 31, 35 | [5 empty] | 6923527.3773 | Rate Spread Workpapers, Column G
21 | Proforma Revenue 31, 35 | [5 empty] | 106331507.8105
22 | Target Sch 31 & 35 | [5 empty] | 113255035.1878
23
24 | Target Proposed % Increase | [5 empty] | 6.511% | Class Average Increase
25
26
27 | Check
28 | Sch 31 Proposed Revenue | [5 empty] | 112980895.7525
29 | Sch 35 Proposed Revenue | [5 empty] | 273761.0988
30 | Total Sch 31 & 35 Revenue | [5 empty] | 113254656.8513
31
32 | Over (Under) Recover Target Rate Spread | [5 empty] | -378.3365
Note on K21: dhoff: COS demand
Note on L21: PSE: Proforma Demand Charge Sch 31 & Sch 35
Note on L22: PSE: Ratio COS Demand to Proforma
Note on M21: PSE: Proposed Demand Charge Sch 31 & Sch 35
Note on M22: PSE: Ratio COS Demand to Proforma

## DWH-8, p35 Rate Des Sch 35
Puget Sound Energy
Rate Design
Primary Voltage, Schedule 35, Irrigation
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges | 12 | 325 |  | 346.16 | 3900 | 4153.92 | Same as Sch 31
3
4 | Energy Charges
5 | Total Billed kWh Energy | 4659000 | 0.047939 | 0 | 0.051053 | 223347.801 | 237855.927 | Apply Residual & Adjust
6
7 | Unbilled | 141 | 0.14184 |  | 0.15108 | 20 | 21.3023 | Class % Increase
8
9 | Total kWh | 4659141 |  |  |  | 223367.801 | 237877.2293
10
11 | Demand Charges
12 | Winter (Oct to Mar) | 1006 | 4.3 |  | 4.58 | 4325.8 | 4607.48 | Class % Increase
13 | Summer (Apr to Sep) | 7765 | 2.86 |  | 3.05 | 22207.9 | 23683.25
14 | Total Demand | 8771 |  |  |  | 26533.7 | 28290.73
15
16 | Reactive Power Charge (kVarh) | 3098396 | 0.00104 |  | 0.00111 | 3222.3318 | 3439.2196 | Class % Increase
17
18 | Total Revenue |  |  |  |  | 257023.8328 | 273761.0988
19
20 | Proposed Revenue Increase 31, 35 | [5 empty] | 6.511% | Class % Increase
1
2 | Target Proposed $ Increase Sch 35 | [5 empty] | 16735.5056
3 | Target Proposed Revenue 35 | [5 empty] | 273759.3384
4
5 | Over (Under) Recover Target Rate Spread |  |  | 1.065 |  |  | 1.7604

## DWH-8, p36 Rate Des Sch 43
Puget Sound Energy
Rate Design
Primary Voltage, Schedule 43, Interruptible
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Basic Charges | 2143 | 325 |  | 346.16 | 696475 | 741820.88 | Same as Sch 31
3
4 | Energy Charges
5 | Total Billed kWh Energy | 163853514.2367 | 0.055398 | 0 | 0.058985 | 9077156.9817 | 9664899.5373 | Apply Residual & Adjust for Rounding
6
7 | Unbilled | 667898 | 0.081566 |  | 0.086877 | 54477.7683 | 58024.9745 | Class % Increase
8 | Total kWh | 164521412.2367 |  |  |  | 9131634.75 | 9722924.5118
9
10 | Demand Charges - All kW | 822142 | 4.55 |  | 4.85 | 3740746.1 | 3987388.7 | Class % Increase | 3795702.8404
11
12 | Reactive Power Charge (kVarh) | 69325077 | 0.00287 |  | 0.00306 | 198962.971 | 212134.7356 | Class % Increase
13
14 | Total Revenue |  |  |  |  | 13767818.8209 | 14664268.8274
15
16 | Proposed Revenue Increase Sch 43 | [5 empty] | 896459.317 | Rate Spread Workpapers, Column G
17 | Target Proposed $ Increase Sch 43 | [5 empty] | 14664278.1379
18 | Proposed Revenue % Increase Sch 43 | [5 empty] | 6.511% | Sch 43 Class Average Increase
19 | Target Sch 31 Proposed Revenue Change (%) | [5 empty] | 6.511% | Sch 31 Average Increase
1
2 | Over (Under) Recover Target Rate Spread | [5 empty] | -9.3105
Note on K17: PSE: COS Demand

## DWH-8, p37 Rate Des Sch 46
Puget Sound Energy
Rate Design
High Voltage, Schedule 46, Interruptible
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Energy Charges
3 | Total Billed kWh Energy | 50506720 | 0.053192 | 0 | 0.057804 | 2686553.4502 | 2919490.4429 | Same as Sch 49
4
5 | Unbilled | 174257 | 0.059246 |  | 0.06439 | 10324.0302 | 11220.4082 | Class % Increase
6 | Total Energy | 50680977 |  |  |  | 2696877.4805 | 2930710.8511
7 | [8 empty] | DEMAND CHARGES
8 | Demand Charges - All kVa | 164600 | 2 |  | 2.17 | 329200 | 357182 | Class % Increase | 6069374.4728
9 | [8 empty] | 5013993.52 | 5452225.8
10 | Total Revenue |  |  |  |  | 3026077.4805 | 3287892.8511 |  | 121% | 111.3%
11 | [8 empty] | Proforma | Proposed
12 | Target Proposed % Increase Sch 46 & 49 | [5 empty] | 8.682% | Class Average Increase
[9 empty] | 1.5 X | 5666942.4192
Note on K15: dhoff: COS demand
Note on K16: PSE: Proforma Sch 46 & 49 Demand Revenue
Note on K17: PSE: Ratio Demand COS to Proforma Demand Revenue
Note on L16: PSE: Proposed Sch 46 & 49 Demand Revenue
Note on L17: PSE: Ratio Demand COS to Proposed Demand Revenue

## DWH-8, p38 Rate Des Sch 49
Puget Sound Energy
Rate Design
High Voltage, Schedule 49
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | PCORC Effective 11-1-08 | Proposed Rates Effective 2010 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h)
1
2 | Energy Charges
3 | Total Billed kWh Energy | 517710846 | 0.053192 | 0 | 0.057804 | 27538075.3204 | 29925757.7422 | Class % Increase, and Adjust | 0.086705
4
5 | Unbilled | 1645127 | 0.061711 |  | 0.067069 | 101522.4323 | 110337.0228 | Class % Increase
6 | Total Energy | 519355973 |  |  |  | 27639597.7527 | 30036094.7649
7
8 | Demand Charges - All kVa | 1323388 | 3.54 |  | 3.85 | 4684793.52 | 5095043.8 | Class % Increase
9
10 | Total Revenue |  |  |  |  | 32324391.2727 | 35131138.5649
11
12 | Target Proposed $ Increase Sch 46 & 49 | [5 empty] | 3069017.35 | Rate Spread Workpapers, Column G
13 | Target Proposed Revenue 46 & 49 | [5 empty] | 38419486.1032
14
15 | Target Proposed % Increase Sch 46 & 49 | [5 empty] | 8.682% | Class % Increase
16
17
18 | Sch 46 Proposed | [5 empty] | 3287892.8511
19 | Sch 49 Proposed | [5 empty] | 35131138.5649
20 | Total HV Proposed | [5 empty] | 38419031.4161
21 | Over (Under) Recover Target Rate Spread | [5 empty] | -454.6872

## DWH-8, p39 Rate Des Sch 448-9
Puget Sound Energy
Rate Design
Choice / Retail Wheeling Schedules 448 and 449
Line No. | Description | Bill Determinants | Base Rates Effective 11-1-08 | Proposed Rates Effective 2008 | Proforma Revenue Effective 11-1-08 | Proposed Revenue Effective 2010 | Notes:
| (a) | (b) | (c) | (d) | (e) | (f) | (g)
1
2 | Basic Charges | [6 empty] | COS Basic charg
3 | 449 Primary Voltage | 24 | 1000 | 800 | 24000 | 19200 | COS Basic Charge | 802.3863
4 | 449 High Voltage | 168 | 1000 | 800 | 168000 | 134400
5 | 459 High Voltage | 55 | 1000 | 800 | 55000 | 44000
6 | Total Basic Charge | 247 |  |  | 247000 | 197600
7
8 | Demand Charges - All kVa
9 | 449 Primary Voltage | 198458 | 3.979 | 4.139 | 789664.382 | 821417.662 | Apply resdual to Demand on Equal $ / kVa Adjust for Rounding
10 | 449 High Voltage | 2921197 | 1.512 | 1.674 | 4416849.864 | 4890083.778 | Apply resdual to Demand on Equal $ / kVa
11 | 459 High Voltage | 509831 | 1.512 | 1.674 | 770864.472 | 853457.094
12 | Total Demand Charge | 3629486 |  |  | 5977378.718 | 6564958.534
13
14 | OATT Revenue |  |  |  | -24143.1259 | -24143.1259
15
16 | Unbilled
17 | 449 Primary Voltage - kWh | -636482 | 0.003213 | 0.0034919 | -2045.0167 | -2222.5586 | Class % Increase (after OATT)
18 | 449 High Voltage - kWh | -9862184 | 0.003213 | 0.0034919 | -31687.1972 | -34438.1809
19 | 459 High Voltage - kWh | -1684743 | 0.003213 | 0.0034919 | -5413.0793 | -5883.0259
20
21 |  |  |  |  | -39145.2931 | -42543.7655
22
23 | Total Revenue |  |  |  | 6161090.299 | 6695871.6426
24
25 | Target Proposed $ Increase Sch 449 & 459 |  |  |  |  | 534886.6603 | Rate Spread Workpapers, Column G
26 | Target Proposed Revenue Sch 449 & 459 |  |  |  |  | 6695976.9593
27 | Target Proposed % Increase Sch 449 & 459 |  |  |  |  | 8.682% | Class Average Increase
28
29
30 | Proposed less Basic Charge & OATT & Unbilled |  |  |  |  | 6565063.8506
31 | Left to Spread |  |  |  |  | 587685.1326
32 | Remaining Rate Change % |  |  |  |  | 9.832%
33 | Remaining Rate Change $ / kVa |  |  |  |  | 0.16192
34 | Check |  |  |  |  | -105.3166
35
36 | Subtotal Sch 449 - PV |  |  |  | 811619.3653 | 838395.1034
37 | Subtotal Sch 449 & 459 - HV |  |  |  | 5373614.0595 | 5881619.6652
38 | OATT Revenue |  |  |  | -24143.1259 | -24143.1259
39 | Total |  |  |  | 6161090.299 | 6695871.6426
Note: There are no customers currently served under Schedules 448 and 458. All Primary Voltage rates are the same under Schedules 448, 449, 458 & 459. All High Voltage rates are the same under Schedules 448, 449, 458 & 459.

## DWH-8, p40 Sch 40 Summary
Puget Sound Energy
Calculation of Schedule 40 Tariff Charges
Test Year Twelve Months ended December 31, 2008
Line No. | Description | Rate | Notes
| (a) | (b) | (c) | (d) | (e)
Basic Charge
1 | Primary Voltage Metering Points | 346.16 | Set Equal to Schedule 31
2 | Secondary Voltage >- 350 kW | 108.68 | Set Equal to Schedule 26
3 | Secondary Voltage< 350 kW | 52.17 | Set Equal to Schedule 25
4
5
6 | Production & Transmission Charges
7 | Demand ($/kW of Coincident Billing Demand) |  | Set Equal to Schedule 49, Adjust for Line Losses & Power Factor
8 | High Voltage Metering Point | 4.28
9 | Primary Voltage Metering Point | 4.37
10 | Secondary Voltage Metering Point | 4.48
11
12 | Energy Charge (Cents / kWh) |  | Set Equal to Schedule 49, Adjust for Line Losses
13 | High Voltage Metering Point | 0.057804
14 | Primary Voltage Metering Point | 0.058809
15 | Secondary Voltage Metering Point | 0.06041
16
17 | Reactive Power Charge - (Cents / kVARh)
18 | Primary Voltage Metering Point | 0.109 | Set Equal to Schedule 31
19 | Secondary Voltage Metering Point | 0.129 | Set Equal to Schedule 26
20
21
22 | Customer Specific Distribution Charge | Total Distribution | Transformer Charge | Feeder Charge | Substation Charge
23 | Customer 1 | 1.76 | 0.2 | 1.16 | 0.4
24 | Customer 2 | 7.01 | 0.77 | 5.28 | 0.96
25 | Customer 3 | 1.94 | 0 | 1.12 | 0.82
26 | Customer 4 | 0.53 | 0.13 | 0.2 | 0.2
27 | Customer 5 | 0.7 | 0.1 | 0.29 | 0.31
28 | Customer 6 | 1.1 | 0.15 | 0.37 | 0.58
29 | Customer 7 | 0.84 | 0 | 0.66 | 0.18
30 | Customer 8 | 1.38 | 0 | 0.44 | 0.94
31 | Customer 9 | 1.57 | 0.08 | 0.19 | 1.3
32
33 | Note: Distribution Charge FCR at 8.56% ROR

## DWH-8, p41 Sch 40 Prod & Trans
Puget Sound Energy
Schedule 40
Campus Rate, Demand >3aMW
Calculation of Production & Transmission Charges
Schedule 40 Production & Transmission Charge Calculation
Line No. | Description | Sch 40 Rates Eff 11-1-08 | Power Factor | Proforma Schedule 40 Demand Rate ($ / kVa) | Implicit Loss Adjustment | Proposed Schedule 49 Demand Rate ($ / kVa) | Proposed Schedule 40 Rate | Bill Determinants | Proforma Revenue Effective 1-1-09 | Proposed Revenue Effective 2010 | Revenue Change
|  | a | b | c = a * b | d | e = e * (1+d) | f = e / b | g | h = a * g | i = f * g | j = i - h
1 | Demand Charge Calculation
2 | High Voltage Metering Point | 3.93 | 90% | 3.537 |  | 3.85 | 4.28 | 0 | 0 | 0 | 0
3 | Primary Voltage Metering Point | 4.02 | 90% | 3.618 | 2.239% | 3.9362 | 4.37 | 806744 | 3243110.88 | 3525471.28 | 282360.4
4 | Secondary Voltage Metering Point | 4.13 | 90% | 3.717 | 4.843% | 4.0364 | 4.48 | 369054 | 1524193.02 | 1653361.92 | 129168.9
5
6 | Energy Charge Calculation
7 | High Voltage Metering Point | 0.053192 |  |  |  | 0.057804 |  | 0 | 0 | 0 | 0
8 | Primary Voltage Metering Point | 0.054133 |  |  | 1.738% | 0.058809 |  | 474526330 | 25687533.8219 | 27906418.941 | 2218885.1191
9 | Secondary Voltage Metering Point | 0.055703 |  |  | 4.508% | 0.06041 |  | 204652729 | 11399770.9635 | 12363071.3589 | 963300.3954
10
11 | Proposed Basic Charge Revenue Change | 12181.08
12 | Proposed Reactive Charge Revenue Change | 17848.5926
13 | Proposed Distribution Charge Revenue Change | 404273.1236
14 | Proposed Prod & Trans Demand Charge | 411529.3
15 | Proposed Prod & Trans Energy Charge | 3182185.5145
16 | Subtotal | 4028017.6106
17 | Proposed Revenue Change | 4028017.6106
18 | Check | 0
19 | Proforma Charges | 44871349.9775
20 | % Change | 8.977%
21
22 | Total Proposed Revenue | 48899367.5882
23 | Total Proposed Revenue from Summary | 48899367.5882
24 | Difference | 0
Note on C26: Puget Sound Energy: Iterate change with Rate Spread document to achieve a zero change in cell d24

## DWH-8, p42 Sch 40 FCR Rates
Puget Sound Energy
Schedule 40
Campus Rate, Demand > 3aMW
Fixed Charge Rates (FCR) For Distribution Charges
| (a) | (b) | (c) | (d) | (e) | (f) | (g)
Fixed Charge Rates
Docket No. UE-09xxxx and Weighted Cost of Capital = 0.0856
Line No. | Asset Age (35 yr asset) | FCR on Gross Plant Value | FCR on net Plant Value |  | Load Research Data
1 | 0 | 11.53% | 11.53%
2 | 1 | 11.78% | 12.13% |  | Schedule 49 Power Factor | Annual KWh | Power Factor
3 | 2 | 11.42% | 12.11% |  | Sch 49 Annual kWh 2008 | 520125200.1
4 | 3 | 11.06% | 12.1% |  | Sch 49 Annual kvarh 2008 | 242707609.943 | 90.62%
5 | 4 | 10.72% | 12.1%
6 | 5 | 10.39% | 12.12% |  | Loss Factors from 2009 GRC
7 | 6 | 10.07% | 12.15% |  | High Voltage Sch 49 | 1.386% | ENERGY_1 Allocator
8 | 7 | 9.752% | 12.19% |  | Primary Voltage Sch 31 | 3.36% | ENERGY_1 Allocator
9 | 8 | 9.446% | 12.24% |  | Secondary Voltage Sch 26 | 7.592% | ENERGY_1 Allocator
10 | 9 | 9.147% | 12.31%
11 | 10 | 8.855% | 12.4% |  | Energy Loss Factor (Sec Voltage - High Voltage) | 6.207%
12 | 11 | 8.57% | 12.5% |  | Energy Loss Factor (Primary Voltage - High Voltage) | 1.974%
13 | 12 | 8.295% | 12.62%
14 | 13 | 8.028% | 12.77%
15 | 14 | 7.772% | 12.95%
16 | 15 | 7.526% | 13.17%
17 | 16 | 7.294% | 13.44%
18 | 17 | 7.075% | 13.76%
19 | 18 | 6.872% | 14.15%
20 | 19 | 6.687% | 14.63%
21 | 20 | 6.523% | 15.22%
22 | 21 | 6.383% | 15.96%
23 | 22 | 6.256% | 16.84%
24 | 23 | 6.135% | 17.89%
25 | 24 | 6.02% | 19.15%
26 | 25 | 5.911% | 20.69%
27 | 26 | 5.811% | 22.6%
28 | 27 | 5.722% | 25.03%
29 | 28 | 5.647% | 28.23%
30 | 29 | 5.592% | 32.62%
31 | 30 | 5.567% | 38.97%
32 | 31 | 5.593% | 48.94%
33 | 32 | 5.719% | 66.72%
34 | 33 | 6.088% | 106.5%
35 | 34 | 7.424% | 259.8%
36
37 | FCR on Land: |  | 12.97%

## DWH-8, p43 Typ Res GRC 2010
Puget Sound Energy
Residential Customer Impacts
Docket No. UE-090704, GRC Filing
Customer Bill
Line No. | Month | kWh | Present | Proposed | $ Difference | % Difference
| (a) | (b) | (c) | (d) | (e) | (f)
1 | January | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
2 | February | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
3 | March | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
4 | April | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
5 | May | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
6 | June | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
7 | July | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
8 | August | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
9 | September | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
10 | October | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
11 | November | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
12 | December | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
13
14 | Annual Total | 12000 | 1107.9312 | 1210.392 | 102.4608 | 9.248%
15
16 | Monthly Average | 1000 | 92.3276 | 100.866 | 8.5384 | 9.248%
17
18 | Average Cents |  |  | 10.0866
19
20
21 | Rates |  |  | Present Rate Effective 10-1-2009 | Proposed GRC Rates Effective 2010
22 | Customer Monthly Charge: |  |  | 7 | 7.61 | per Month
23 | Energy Charge:
24 | Schedule 7 first 600 kWh |  |  | 8.4233 | 9.1541 | ¢ / kWh
25 | Schedule 7 over 600 kWh |  |  | 10.2042 | 11.0901 | ¢ / kWh
26 | Schedule 95 - Power Cost Adjustment Clause |  |  | 0 | 0 | ¢ / kWh
27 | Schedule 95A - Wind Power Production Credit |  |  | -0.1684 | -0.1684 | ¢ / kWh
28 | Schedule 120 - Conservation Rider |  |  | 0.2833 | 0.2833 | ¢ / kWh
29 | Schedule 129 - Low Income |  |  | 0.0553 | 0.0553 | ¢ / kWh
30 | Schedule 132 - Merger Credit |  |  | -0.0462 | -0.0462 | ¢ / kWh
31 | Schedule 194 - BPA Exchange Credit |  |  | -0.7269 | -0.7269 | ¢ / kWh