Agenda Date:		August 9, 2000

Item No.:            	2 C

Docket:		UE-001081

Company Name:   	Avista Corp.

Staff:          Hank McIntosh, Regulatory Consultant

Doug Kilpatrick, Electric Industry Coordinator

Joelle Steward, Policy Analyst

Graciela Etchart, Policy Analyst

Recommendation:

Grant Avista's request for waiver of the time requirement in WAC 480-107-060(2)(b).

Accept Avista's proposal in Docket UE 001081 and allow the RFP to be issued for new power resources on August 14, 2000, after the Company makes certain amendments to text as agreed in consultation with Staff and other parties.

Background:

Avista Corp. ("Avista" or "Company") recently sold its interest in the Centralia Coal Station to TransAlta. This transaction was reviewed in two Commission Dockets

UE-991255 and UE-000080.  A contract with TransAlta was provided in the terms of sale in order to bridge the gap between the signing over of ownership and the acquisition of a replacement resource.  This contract will expire on December 31, 2003. Therefore there are about 40 months of supply left in that resource.  The Company estimates the time required to find and implement a solution to the power supply shortfall is almost that long and perhaps longer, if a combustion turbine is selected.  This difficulty in quickly obtaining delivery of turbines is driven by a large increase in the number of orders and a moderate production capacity for new equipment.

Avista first approached Regulatory Division Staff (Staff) about the content of a request for proposals (RFP) for replacement power on May 23, 2000.  Discussions were held in the weeks following May 31st.  Company shared draft products of an Integrated Resource Plan (IRP) Update and an RFP during that time.  The Company filed its RFP in this Docket on July 13, 2000.

Proposal:

The Company proposes to issue an RFP in short order. To do so, they seek waiver of WAC- 480- 107- 060 (2) (b) as to review time and public comment time.  The rule allows a time frame of 90 days.  It contemplates a public comment period of 60 days.  The Company has circulated the draft RFP to several parties and has incorporated comments into the text.  Staff issued a notice for comment on the request for waiver and the RFP itself on July 18th.  Staff has received no comments on either the substance of the RFP or on the proposed waiver of the full 60-day comment period.

Docket:  UE 001081

August 9, 2000

Page 2

Analysis:

At Staff request, Avista updated its 1997 IRP (Docket UE 971342) which had previously shown no need for power in the 2004-2009 timeframe.  After revision of loads and resources to incorporate current of knowledge of growth and company resources, an obvious need for power was clear.   The Company filed the Updated 1997 IRP one day prior to filing the RFP.  This study included a refined quantitative determination of the need for resources.

During our review process, Staff has worked with Avista personnel to model the Avista system with an hourly production cost model (Prosym 8 ).  This model is known to Staff and is used by many power companies and their consultants in power resource analysis studies. Projected years 2004, 2010, 2015, and 2020 were analyzed to estimate the size, shape and changes in the new resource block.  Because the wholesale sales and purchase contracts in Company's portfolio are close to expiration, the analysis considered only core elements of native load.  The requirement was modeled by allowing a pseudo purchase to fill the gap left when all current Avista resources had been dispatched.  The results are that about 300 mW of capacity and associated energy are required for supply to core loads as now understood.  The effects of supplying the requirement with combinations of combustion turbines and contracts were also run as sensitivities.  The complete RFP evaluation will require modeling of the candidates to check flexibility and cost results.

As an ongoing process, the Company has indicated that Staff will be given access to all materials needed to review the final evaluation system before the bids are opened, and that any adjustment to bids as envisioned by the RFP language will be made available to Staff before any evaluations occur.   Further, Avista has committed to sharing all modeling and analysis with Staff required to verify final selections.  Specifically, if no bidder is cheaper than a known Avista affiliate resource, then all data needed to verify such a conclusion will be provided for Staff review.

Staff reviewed the avoided cost estimates filed with the RFP.  Although the avoided cost published in the updated IRP is slightly different, the avoided cost is computed using the IRP's assumptions and is generally consistent with it.  Avista uses the planning idea of the marginal unit as that which has lowest long run marginal cost and that technology is a combined cycle combustion turbine.  The resulting levelized cost is consistent with the range of estimates Staff has reviewed in recent work.  It might be noted that in other dockets, a retrofitted coal station might have been a good proxy for an avoided cost.  However, in neither the original 1997 IRP nor in the IRP Update, is a coal unit a marginal resource.  In short, in the world modeled by these studies, the coal unit was either already owned or not for sale at cost but only at prices determined by market conditions.  This does not mean that only gas turbine technologies can win this competition.  Other variables such as fuel price risk, availability and  dispatchability and other features as known just before the decision are also important variables for consideration in actual power system resource acquisition.

Docket:  UE 001081

August 9, 2000

Page 3

Staff reviewed the RFP language to ensure equitable treatment among resource types and for conservation as well.  The Company received comment from a small number of sources.  These included the North West Energy Coalition,  and Northwest Energy Services, Inc., an ESCO.  The discussions which followed produced compromises on content which are reflected in the current draft RFP text.  This modest level of interest and the accommodations made from it leads Staff to conclude that there is not material opposition to this draft RFP and no evident opposition to a waiver of comment time.

Conclusion:

Staff believes that after a compressed but intense review period, the filed draft RFP should be considered adequate to meet the minimum standard of the relevant rules covering bidding on resources.  In light of a credible showing of urgency in the case of replacement resources and possible lead-time risks, Staff believes that holding the Company to a full 90 day review period is not in the public interest.

Staff recommends that the Commission grant the Company's request for waiver of the time requirement in WAC 480 107 060 (2) (b).  Further, the Staff recommends that the RFP be accepted and that the Company be allowed to issue and process the RFP no later than August 14, 2000, as requested.   We  recommend no further comment time beyond the 21 days already afforded.