Third Revision of Sheet No. 80-c

Canceling Second Revision

WN U-60	of Sheet No. 80-c

# PUGET SOUND ENERGY

## Electric Tariff G

## SCHEDULE  80

GENERAL RULES AND PROVISIONS

(Continued)

Service shall be supplied only under and pursuant to these General Rules and Provisions, and any modifications or additions thereto lawfully made, and under such applicable rate schedule or schedules as may from time to time be lawfully fixed.  Service shall be supplied only to those for whom the Company is the sole source of electric power, unless otherwise provided under appropriate contract.  Service shall be used by Customer only for the purposes specified in the service agreement and applicable rate schedule or schedules.  Service shall not be resold unless specifically authorized in the applicable rate schedule.

- APPLICATION FOR SERVICE - Each prospective Customer desiring electric service may be required to sign the Company's standard form of application for electric service or other evidence of agreement before service is supplied by the Company.  In the absence of a signed agreement or application for service, the delivery of electric service by the Company and the acceptance thereof by the Customer shall be deemed to constitute an agreement by the Customer for acceptance of electric service and payment therefore under the applicable rate schedules, terms, and conditions contained therein, and these General Rules and Provisions.

For electric service in large quantity or under special conditions, the Company may require a suitable written agreement.  No such agreement or any modification thereof shall be binding upon the Company until executed by its duly authorized representatives; if executed, it shall be binding upon the heirs, administrators, executors, successors, and assigns of the parties thereto.

7.	SERVICE ENTRANCES AND CONNECTIONS - The Customer shall provide a suitable service entrance to the Premises to be served at the point specified by the Company.  Such entrance facilities, including conduit and trenching on Customer property, shall meet the requirements of the authority enforcing the local electrical code or ordinance.  The Customer shall provide a structurally sound point of attachment for the Company's overhead service conductors which will permit the clearances required by law for safety.  All necessary wiring, transformers, switches, cut-outs, conduit and protection equipment beyond the Point of Delivery shall be provided, installed, and maintained by the Customer and shall be of types and characteristics acceptable to the Company.

The Customer shall make provisions for the connection of metering equipment at a point convenient of access to the Company's distribution systems, readily accessible without risk of bodily harm to Company employees, free from vibration, corrosive atmosphere, and abnormal temperatures.  All meter locations and provisions for connecting metering equipment are subject to approval by the Company.

Unless otherwise agreed or otherwise stated in the applicable rate schedule, all meters, facilities and equipment furnished and installed by the Company upon the Customer's Premises shall be, and remain, the personal property of the Company, regardless of whether the Customer may have contributed to the cost thereof, and may be removed by the Company

(M) Transferred from Sheet No. 80-b      (K) Transferred to Sheet No. 80-d

(M)

|

|

|

|

|

|

|

|

|

|

|

|

|

(M)

(K)

|

|

|

|

|

|

|

|

(K)

## Issued:  December 19, 2005		Effective:  January 19, 2006

Advice No.:   2005-49

Issued By Puget Sound Energy

| By: |  | Tom DeBoer Title: Director, Rates & Regulatory Affairs |
| --- | --- | --- |