## 2016 Rate Calculation
Replacement Projects 11-1-15 to 10-31-16
2016-08-31
| Project | Location |  | Estimtimated Cost | Actual Cost |  |  | TYPE OF PIPE TO BE REPLACED
1 | CRM RPL ANACORTES BARE STEEL | MT. VERNON |  | 2723160.5 | 755560.36 | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | CRM RPL LONGVIEW BARE STEEL | LONGVIEW |  | 4828686.01 | 2451250 | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | CRM VANCE CREEK EXPOSURE REPLACE | ABERDEEN |  | 664016 |  | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
4 | CRM CAMP CREEK EXPOSURE REPLACEMENT | ABERDEEN |  | 676782 |  | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
5 | CRM 3" BURLINGTON HP LINE REPLACEMENT | MT. VERNON |  | 0 | 0 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
6 | CRM WENATCHEE RIV RR BRIDGE RPL | WENATCHEE |  | 1260100.59 | 1260101 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
7 | CRM 4" GRANDVIEW HP LINE #3 RPL | YAKIMA |  | 1830673.89 | 1830674 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
8 | CRM BELLINGHAM BRIDGE CROSSINGS RMV | BELLINGHAM |  | 444651.92 | 414652 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
9 | CRM KELSO GRADE ST BRIDGE RELOCATE | LONGVIEW |  | 0 | 0 | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
| CRM BREMERTON HWY3 CASING REMOVAL | BREMERTON |  | -955 | -955
10 | CRM COLLEGE PLACE CARS PROJECT | WALLA WALLA |  | 1597598.12 | 1362233 | MODERATE (ORANGE) RISK IN DIMP
11 | 2 IN STEEL IP BORE BELFAIR PL | KENNEWICK |  | 0 | 0 | MODERATE (ORANGE) RISK IN DIMP
12 | CRM 6" NOB HILL REPLACEMENT | YAKIMA |  | 0 |  | IDENTIFIED HIGH (RED) RISK IN DIMP
13 | KENNEWICK RR CROSS NEAR KAMIAKIN | KENNEWICK |  | 36210 |  | MODERATE (ORANGE) RISK IN DIMP
14 | CRM SHELTON 4" IP BRIDGE REPLACEMENT | ABERDEEN |  | 203105.21 | 203105 | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
15 | CRM SUNNYSIDE 2" IP MAIN RPL | YAKIMA |  | 42317 | 42317 | PROJECT WILL REPLACE HOUSE PIPING SERVING MULTIPLE BUILDINGS
16 | CRM KELSO MILL STREET REPLACEMENT | LONGVIEW |  | 173302 | 173302 | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
17 | CRM REL ZILLAH @ MEYERS BRIDGE RD | YAKIMA |  | 2054131.43 | 2054071 | HIGH (RED) RISK IN DIMP
18 | 4" HP SHORTED CASING - 1ST & PARK | ABERDEEN |  | 152024.65 | 152025 | HIGH (RED) RISK IN DIMP
19
20 | Total Estimated Replacement Cost |  |  | 16685804.32 | 10698335.36
MAOP O&M November 1, 2015 - October 31, 2016
| Project | Location | [5 empty] | Work to be Performed
21 | 8" & 12" BREMERTON TRANSMISSION LINE | BREMERTON |  |  |  | IN SITU TESTING AT 15 LOCATIONS
22 | 8" BELLINGHAM TRANSMISSION LINE #1 | BELLINGHAM |  |  |  | IN SITU TESTING AT 35 LOCATIONS
23 | 16" FREDONIA TRANSMISSION LINE FITTINGS | MT. VERNON |  |  |  | IN SITU TESTING AT 25 LOCATIONS
24 | 16" MARCH POINT TRANSMISSION LINE FITTINGS | MT. VERNON |  |  |  | IN SITU TESTING AT 12 LOCATIONS
25 | 8" MARCH POINT TRANSMISSION LINE (0.188") | MT. VERNON |  |  |  | IN SITU TESTING AT 21 LOCATIONS
26 | 8" MARCH POINT TRANSMISSION LINE (0.250") | MT. VERNON |  |  |  | IN SITU TESTING AT 10 LOCATIONS
27 | 8" ANACORTES TRANSMISSION LINE | MT. VERNON |  |  |  | IN SITU TESTING AT 60 LOCATIONS
28 | 12" N. WHATCOM TRANSMISSION LINE | BELLINGHAM |  |  |  | EXPOSE AND VERIFY FITTINGS
29 | 4" NORTH LYNDEN HP LINE | BELLINGHAM |  |  |  | EXPOSE AND VERIFY FITTINGS
30 | 8" KITSAP LINE (PHASE 1) | ABERDEEN |  |  |  | EXPOSE AND VERIFY FITTINGS
31 | 12" KITSAP HP LINE | ABERDEEN |  |  |  | EXPOSE AND VERIFY FITTINGS
32 | 4" OLYMPIC VIEW HP LINE | BREMERTON |  |  |  | EXPOSE AND VERIFY FITTINGS
33 | 4" OTHELLO TRANSMISSION SEGMENT AND HP LINE | WENATCHEE |  |  |  | EXPOSE AND VERIFY FITTINGS
34
35 |  |  |  | 0 | 0
36 | FIT |  | Ln 35* .35 | 0
37 | NOI |  | Ln 35 - Ln 36 | 0
[5 empty] | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
[5 empty] | 502/503 | 504 | 541 | 505/512 | 511 | 570/577 | 663
38 | Rate Base Allocation from UG-152286 Company COS |  |  | 269194121 | 126742143 | 65362490 |  | 6946804 | 4640252 | 749893 | 64752539
39 | Percentage |  |  | 100% | 47.08% | 24.28% | 0% | 2.581% | 1.724% | 0.2786% | 24.05%
40 | Total Investment |  | Ln 20 | 16685804.32
41 | Depreciation Expense - Rate 2.58% |  | Ln 40* 2.58% | 430493.7515 | 430493.7515
42 | Accumulated Depr. (Avg) |  | Ln 41 / 2 | 215246.8757
43 | Accum Tax depreciation |  | Ln 40 *3.75% | 625717.662
44 | Deferred Tax |  | (Ln 43 - Ln 41) * .35 | 68328.3687
45 | Accum Def Tax (Avg) |  | Ln 44 / 2 | 34164.1843
46 | FIT |  | Ln 41* .35 |  | 150672.813
47 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.6475%) x 35% FIT) |  |  |  | 152303.729
48 | Rate Bate |  | Ln 20 - Ln 42 - Ln 45 | 16436393.2599
49 | Authorized ROR from UG-152286 |  |  | 7.35%
50 | NOI |  | ((Ln 48 * Ln 49) + Ln 37) and (Ln 41 - Ln 46-Ln 47) | 1208074.9046 | 127517.2094
51 | Total NOI |  | Sum Ln 50 | 1335592.114
52 | Conversion Factor in UG-152286 |  |  | 0.62095
53 | Revenue Requirement (Current Year Investment) |  | Ln 51 / Ln 52 | 2150885.118
54 | Total Revenue Requirement |  | Lm 53 | 2150885.118
55 | Allocation Rev Req to Schedules |  | Ln 54 * Ln 39 |  | 1012681.0652 | 522252.1446 | 0 | 55505.5857 | 37076.0288 | 5991.7122 | 517378.5816
56 | Weather Normalized 2015 Volumes |  |  |  | 114264968 | 78652039 | 0 | 10965451 | 10179951 | 4130363 | 431781706
57 | Rate Charge |  | Ln 55 / Ln 56 |  | 0.0088626 | 0.00664 |  | 0.0050619 | 0.0036421 | 0.0014507 | 0.0011982
58 | 2015 Commission Basis Total Revenue |  |  |  | 232942589
59 | Percentage Increase in Revenue |  | (Ln 54 / Ln 58 |  | 0.9234%