## Sheet2
Fuel | Measure Description | Program | 1st Year kWh Savgings | 1st Year Therm Savings | UOM | Source
Electric | Web Tstat Elec DIY | Residential Prescriptive | 748.5 | 0 | Unit | ResConnectedTstats_v1.3
Electric | Web Tstat Elec Cont | Residential Prescriptive | 748.5 | 0 | Unit | ResConnectedTstats_v1.3
Electric | ELEC RESISTANCE TO ASHP | Residential Prescriptive | 5865.33 | 0 | Unit | ResSFExistingHVAC_4_2
Electric | ELEC WINDOWS --> <0.30 U | Residential Prescriptive | 11.13 | 0 | SQFT | ResSFWx_v3_7
Electric | E ESTAR HOME - MANUF, ELEC/DF | Residential Prescriptive | 3315 | 0 | Unit | RTF
Electric | ElEC Storm Windows | Residential Prescriptive | 12.25 | 0 | SQFT | ResSFWx_v3_7
Electric | Ductless Heat Pump (displace zonal) | Residential Prescriptive | 2348 | 0 | Unit | ResSFExistingHVAC_v4_2
Electric | Heat Pump Water Heater (Anysize Ave Tier 2/3) | Residential Prescriptive | 1166 | 0 | Unit | ResHPWH_v4_2
Electric | Wall Insulation R0->=R11+ | Residential Prescriptive | 2 | 0 | SQFT | ResSFWx_v3_7
Electric | Floor Insulation R0->=R19+ | Residential Prescriptive | 1 | 0 | SQFT | ResSFWx_v3_7
Electric | Attic Insulation less than R11 to R49 | Residential Prescriptive | 1.75 | 0 | SQFT | ResSFWx_v3_7
Electric | Front Load Washer | Residential Prescriptive | 143 | 0 | Unit | ResClothesWashers_v6_1_Update
Electric | Vented Energy Star Clothing Dryer | Residential Prescriptive | 68 | 0 | Unit | ResClothesDryers_v3.1
Electric | Web Tstat Elec DIY | Low Income | 1 | 0 | SQFT | Avista
Electric | Web Tstat Elec Cont | Low Income | 186.86 | 0 | Unit | Avista
Electric | ELEC RESISTANCE TO ASHP | Low Income | 39 | 0 | Unit | Avista
Electric | ELEC WINDOWS --> <0.30 U | Low Income | 1.64 | 0 | SQFT | Avista
Electric | E ESTAR HOME - MANUF, ELEC/DF | Low Income | 2053.5 | 0 | Unit | Avista
Electric | ElEC Storm Windows | Low Income | 0.45529 | 0 | SQFT | Avista
Electric | Ductless Heat Pump (displace zonal) | Low Income | 2.61 | 0 | SQFT | Avista
Electric | Heat Pump Water Heater (Anysize Ave Tier 2/3) | Low Income | 1.23 | 0 | SQFT | Avista
Electric | Wall Insulation R0->=R11+ | Low Income | 1.48 | 0 | SQFT | Avista
Electric | Floor Insulation R0->=R19+ | Low Income | 689 | 0 | Unit | Avista
Electric | Attic Insulation less than R11 to R49 | Low Income | 3902.55 | 0 | Unit | Avista
Electric | Front Load Washer | Low Income | 2348 | 0 | Unit | Avista
Electric | Vented Energy Star Clothing Dryer | Low Income | 587.33 | 0 | Unit | Avista
Electric | E AIR INFILTRATION | Low Income | 5865.33 | 0 | Unit | Avista
Electric | E ENERGY STAR RATED DOORS | Low Income | 1 | 1 | Unit | Avista
Electric | E ENERGY STAR REFRIGERATOR | Low Income | 9 | 0 | Unit | Avista
Electric | 12-20 watt LED Fixture Retrofit | Interior Lighting | 159.87 | -1.9845 | Unit | Avista
Electric | 140 watt fixture/Lamp - Int | Interior Lighting | 627.23 | -7.7859 | Unit | Avista
Electric | 175 watt fixture/Lamp - Int | Interior Lighting | 1015.33 | -12.6034 | Unit | Avista
Electric | 400 watt fixture/Lamp - Int | Interior Lighting | 2723.66 | -33.8091 | Unit | Avista
Electric | 2-9 watt MR16 | Interior Lighting | 57.2 | -0.71003 | Unit | Avista
Electric | Occ Sensors | Interior Lighting | 127.92 | -1.5879 | Unit | Avista
Electric | T5HO TLED | Interior Lighting | 105.4 | -1.3083 | Unit | Avista
Electric | T8 TLED | Interior Lighting | 48.38 | -0.60055 | Unit | Avista
Electric | U-Bend | Interior Lighting | 52.09 | -0.6466 | Unit | Avista
Electric | 2x2 fixtures | Interior Lighting | 106.15 | -1.3177 | Unit | Avista
Electric | 2x4 fixtures | Interior Lighting | 139.83 | -1.7357 | Unit | Avista
Electric | 8' T8 TLED | Interior Lighting | 57.84 | -0.71797 | Unit | Avista
Electric | LLLC Fixture | Interior Lighting | 187.2 | -2.3237 | Unit | Avista
Electric | 25 watt fixture | Exterior Lighting | 329.18 | 0 | Unit | Avista
Electric | 30 watt fixture | Exterior Lighting | 439.27 | 0 | Unit | Avista
Electric | 50 watt fixture | Exterior Lighting | 675 | 0 | Unit | Avista
Electric | 100 watt fixture | Exterior Lighting | 681.18 | 0 | Unit | Avista
Electric | 100 watt NC fixture | Exterior Lighting | 737.88 | 0 | Unit | Avista
Electric | 140 watt fixture - Ext | Exterior Lighting | 910.42 | 0 | Unit | Avista
Electric | 140 watt NC fixture | Exterior Lighting | 817.83 | 0 | Unit | Avista
Electric | 160 watt fixture | Exterior Lighting | 1142.86 | 0 | Unit | Avista
Electric | 160 watt NC fixture | Exterior Lighting | 984.07 | 0 | Unit | Avista
Electric | 175 watt fixture - Ext | Exterior Lighting | 1415.5 | 0 | Unit | Avista
Electric | 300 watt fixture - Ext | Exterior Lighting | 2468.82 | 0 | Unit | Avista
Electric | 400 watt fixture - Ext | Exterior Lighting | 3493.04 | 0 | Unit | Avista
Electric | Sign Lighting | Exterior Lighting | 107.2 | 0 | Unit | Avista
Electric | Less than R11 attic insulation (E/E) to R30-R44 Attic Insulation | Non-Res Shell | 1.02 | 0 | SQFT | Avista
Electric | Less than R11 attic insulation (E/E) to R45+ Attic Insulation | Non-Res Shell | 1.39 | 0 | SQFT | Avista
Electric | Less than R11 roof insulation (E/E) to R30+ Roof Insulation | Non-Res Shell | 1.36 | 0 | SQFT | Avista
Electric | Less than R4 wall insulation (E/E) to R11-R18 Wall Insulation | Non-Res Shell | 2.82 | 0 | SQFT | Avista
Electric | Less than R4 wall insulation (E/E) to R19+ Wall Insulation | Non-Res Shell | 4.11 | 0 | SQFT | Avista
Electric | 15 HP Industrial | GreenMotors | 525 | 0 | Unit | RTF
Electric | 20 HP Ind | GreenMotors | 703 | 0 | Unit | RTF
Electric | 25 HP Ind | GreenMotors | 893 | 0 | Unit | RTF
Electric | 30 HP Ind | GreenMotors | 962 | 0 | Unit | RTF
Electric | 40 HP Ind | GreenMotors | 1121 | 0 | Unit | RTF
Electric | 50 HP Ind | GreenMotors | 1206 | 0 | Unit | RTF
Electric | 60 HP Ind | GreenMotors | 1269 | 0 | Unit | RTF
Electric | 75 HP Ind | GreenMotors | 1305 | 0 | Unit | RTF
Electric | 100 HP Ind | GreenMotors | 1723 | 0 | Unit | RTF
Electric | 125 HP Ind | GreenMotors | 1990 | 0 | Unit | RTF
Electric | 150 HP Ind | GreenMotors | 2366 | 0 | Unit | RTF
Electric | 200 HP Ind | GreenMotors | 3138 | 0 | Unit | RTF
Electric | 250 HP Ind | GreenMotors | 3799 | 0 | Unit | RTF
Electric | 300 HP Ind | GreenMotors | 4535 | 0 | Unit | RTF
Electric | 350 HP Ind | GreenMotors | 5287 | 0 | Unit | RTF
Electric | 400 HP Ind | GreenMotors | 5994 | 0 | Unit | RTF
Electric | 450 HP Ind | GreenMotors | 6732 | 0 | Unit | RTF
Electric | 500 HP Ind | GreenMotors | 7491 | 0 | Unit | RTF
Electric | 600 HP Ind | GreenMotors | 10137 | 0 | Unit | RTF
Electric | 700 HP Ind | GreenMotors | 11777 | 0 | Unit | RTF
Electric | 800 HP Ind | GreenMotors | 13431 | 0 | Unit | RTF
Electric | 900 HP Ind | GreenMotors | 15077 | 0 | Unit | RTF
Electric | 1000 HP Ind | GreenMotors | 16682 | 0 | Unit | RTF
Electric | 1250 HP Ind | GreenMotors | 17812 | 0 | Unit | RTF
Electric | 1500 HP Ind | GreenMotors | 21329 | 0 | Unit | RTF
Electric | 1750 HP Ind | GreenMotors | 24779 | 0 | Unit | RTF
Electric | 2000 HP Ind | GreenMotors | 28201 | 0 | Unit | RTF
Electric | 2250 HP Ind | GreenMotors | 31527 | 0 | Unit | RTF
Electric | 2500 HP Ind | GreenMotors | 34957 | 0 | Unit | RTF
Electric | 3000 HP Ind | GreenMotors | 41686 | 0 | Unit | RTF
Electric | 3500 HP Ind | GreenMotors | 48532 | 0 | Unit | RTF
Electric | 4000 HP Ind | GreenMotors | 55466 | 0 | Unit | RTF
Electric | 4500 HP Ind | GreenMotors | 62269 | 0 | Unit | RTF
Electric | 5000 HP Ind | GreenMotors | 69044 | 0 | Unit | RTF
Electric | Washington Fleet Heat | Fleet Heat | 8000 | 0 | Unit | Avista
Electric | Prescriptive VFDs - HVAC Cooling Pump | NR VFD | 1091 | 0 | Unit | Avista
Electric | Prescriptive VFDs - HVAC Fan | NR VFD | 1022 | 0 | Unit | Avista
Electric | Prescriptive VFDS - HVAC Heating Pump or combo | NR VFD | 1756 | 0 | Unit | Avista
Electric | On-Demand Commercial Overwrapper | Grocer | 1588 | 0 | Unit | ComOnDemandOverwrappers_v1_1
Electric | LT Case: T12 to LP LED Inside Lamp | Grocer | 104 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: T12 to LP LED Inside Lamp | Grocer | 85 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: T8 to LED Inside Lamp | Grocer | 52 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | LT Case: T8 to LP LED Inside Lamp | Grocer | 63 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | T12 to LP LED Outside Lamp | Grocer | 73 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | T8 to LP LED Outside Lamp | Grocer | 44 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: 2 T8 to 1 High Power LED Inside Lamp | Grocer | 116 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: 2 T12 to 1 High Power LED Inside Lamp | Grocer | 183 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | LT Case: 2 T8 to 1 High Power LED Inside Lamp | Grocer | 142 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | LT Case: 2 T12 to 1 High Power LED Inside Lamp | Grocer | 223 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: 2 T8 to 1 High Power LED Outside Lamp | Grocer | 99 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | MT Case: 2 T12 to 1 High Power LED Outside Lamp | Grocer | 156 | 0 | Unit | ComGroceryDisplayCaseLighting_v1_2
Electric | Anti-Sweat Heater Controls - Low Temp | Grocer | 305 | 0 | Unit | ComGroceryComGroceryAntySweatHeaterControls_v3.1
Electric | Anti-Sweat Heater Controls - Med Temp | Grocer | 217 | 0 | Unit | ComGroceryComGroceryAntySweatHeaterControls_v3.1
Electric | Gaskets for Low Temp Reach-in Glass Doors | Grocer | 243 | 0 | Unit | ComGroceryDoorGasketReplacement_v1_5
Electric | Gaskets for Medium Temp Reach-in Glass Doors | Grocer | 248 | 0 | Unit | ComGroceryDoorGasketReplacement_v1_5
Electric | Gaskets for Walk-in Freezer - Main Door | Grocer | 347 | 0 | Unit | ComGroceryDoorGasketReplacement_v1_5
Electric | Gaskets for Walk-in Cooler - Main | Grocer | 204 | 0 | Unit | ComGroceryDoorGasketReplacement_v1_5
Electric | Evap motors: shaded pole to ECM in Walk-in - Greater than 23 watts | Grocer | 1355 | 0 | Unit | ComGroceryWalkinECM_v3_1
Electric | Evap motors: shaded pole to ECM in Walk-in - less than 23 watts | Grocer | 583 | 0 | Unit | ComGroceryWalkinECM_v3_1
Electric | Evap motors: shaded pole to ECM in Display Case | Grocer | 685 | 0 | Unit | ComGroceryWalkinECM_v3_1
Electric | Floating Head Pressure for Single Compressor Systems, LT Condensing Unit | Grocer | 855 | 0 | Unit | ComGroceryFHPSingleCompressor_v1_6
Electric | Floating Head Pressure for Single Compressor Systems, LT Remote Condenser | Grocer | 685 | 0 | Unit | ComGroceryFHPSingleCompressor_v1_6
Electric | Floating Head Pressure for Single Compressor Systems, MT Condensing Unit | Grocer | 757 | 0 | Unit | ComGroceryFHPSingleCompressor_v1_6
Electric | Floating Head Pressure for Single Compressor Systems, MT Remote Condenser | Grocer | 473 | 0 | Unit | ComGroceryFHPSingleCompressor_v1_6
Electric | Evaporator Fan ECM Motor Controller - Walk-In - Medium Temp - >23 Watt - 2 or more motors/controller | Grocer | 318 | 0 | Unit | ComGroceryWalkinEvapFanECMController_v3_1
Electric | Evaporator Fan ECM Motor Controller - Walk-In - Low Temp - >23 Watt - 3 or more motors/controller | Grocer | 253 | 0 | Unit | ComGroceryWalkinEvapFanECMController_v3_1
Electric | Evaporator Fan ECM Motor Controller - Walk-In - Low Temp - ≤ 23 Watt - 7 or more motors/controller | Grocer | 119 | 0 | Unit | ComGroceryWalkinEvapFanECMController_v3_1
Electric | Strip Curtains for Convenience Store Walk-in Freezers | Grocer | 31 | 0 | Unit | ComGroceryStripCurtain_v1_7
Electric | Strip Curtains for Restaurant Walk-in Freezers | Grocer | 129 | 0 | Unit | ComGroceryStripCurtain_v1_7
Electric | Strip Curtains for Supermarket Walk-in Coolers | Grocer | 123 | 0 | Unit | ComGroceryStripCurtain_v1_7
Electric | Strip Curtains for Supermarket Walk-in Freezers | Grocer | 535 | 0 | Unit | ComGroceryStripCurtain_v1_7
Electric | Add doors to Open Medium Temp Cases | Grocer | 533 | 0 | Unit | Avista
Electric | Cases - Low Temp Coffin to High Efficiency Reach-in | Grocer | 1074 | 0 | Unit | Avista
Electric | Cases - Low Temp Open to Reach-in | Grocer | 1674 | 0 | Unit | Avista
Electric | Cases - Low Temp Reach-in to High Efficiency Reach-in | Grocer | 963 | 0 | Unit | Avista
Electric | Cases - Medium Temp Open Case to New High Efficiency Open Case | Grocer | 222 | 0 | Unit | Avista
Electric | Cases - Medium Temp Open Case to New Reach In | Grocer | 585 | 0 | Unit | Avista
Electric | Special Doors with Low/No ASH for Low Temperature Reach-in | Grocer | 1700 | 0 | Unit | Avista
Electric | Advanced Floating Controls: Floating Head and Suction Pressure with Balanced Port Valves | Grocer | 238.4 | 0 | Unit | Avista
Electric | Advanced Floating Controls: Floating Head and Suction Pressure with Electronic Expansion Valves (EEXVs) | Grocer | 676.8 | 0 | Unit | Avista
Electric | Advanced Floating Controls: Increase Suction Temperature with Electronic Expansion Valves (EEXVs) | Grocer | 203.6 | 0 | Unit | Avista
Electric | Efficient Compressors - Low Temperature | Grocer | 798 | 0 | Unit | ComGrocertyCompressorECM_v2_3
Electric | Floating Head Pressure Control - Air Cooled | Grocer | 332 | 0 | Unit | Avista
Electric | Floating Head Pressure Control - Evap Cooled | Grocer | 708 | 0 | Unit | Avista
Electric | Floating Head Pressure Control w/ VFD- Air Cooled | Grocer | 915 | 0 | Unit | Avista
Electric | Multiplex - Compressors - Air-cooled Condenser | Grocer | 1968 | 0 | Unit | Avista
Electric | Multiplex - Compressors - Evaporative Condenser | Grocer | 1968 | 0 | Unit | Avista
Electric | Multiplex - Controls - Floating suction pressure - air cooled condenser | Grocer | 227 | 0 | Unit | Avista
Electric | Multiplex - Controls - Floating suction pressure - evaporative condenser | Grocer | 231 | 0 | Unit | Avista
Electric | Multiplex - Efficient/oversized Air-cooled Condenser for Multiplex | Grocer | 2061 | 0 | Unit | Avista
Electric | Multiplex - Efficient/oversized Water-cooled Condenser for Multiplex | Grocer | 1550 | 0 | Unit | Avista
Electric | VFD - Condenser Fan Motors - Air Cooled | Grocer | 930 | 0 | Unit | Avista
Electric | VFD - Condenser Fan Motors - Evap Cooled | Grocer | 930 | 0 | Unit | Avista
Electric | 0.81 to 1.00 GPM electric pre-rinse sprayer | Food | 570 | 0 | Unit | ComCookingPreRinseSprayValve_v2_4
Electric | 3 pan electric steamer | Food | 9066 | 0 | Unit | ComCookingSteamer_v3_1
Electric | 4 pan electric steamer | Food | 12123 | 0 | Unit | ComCookingSteamer_v3_1
Electric | 5 pan electric steamer | Food | 15013 | 0 | Unit | ComCookingSteamer_v3_1
Electric | 6 pan electric steamer | Food | 17906 | 0 | Unit | ComCookingSteamer_v3_1
Electric | 10 or larger pan electric steamer | Food | 29954 | 0 | Unit | ComCookingSteamer_v3_1
Electric | Efficient combination oven (>= 16 pan and <= 20 pan) electric | Food | 5528 | 0 | Unit | ComCookingCombinationOven_v3_1
Electric | Efficient combination oven (>= 6 pan and <= 15 pan) electric | Food | 5107 | 0 | Unit | ComCookingCombinationOven_v3_1
Electric | Efficient Electric convection oven full size | Food | 977 | 0 | Unit | ComCookingConvectionOven_v3_1
Electric | Efficient hot food holding cabinet, 1/2 size | Food | 1607 | 0 | Unit | ComCookingHotFoodCabinet_v3_1
Electric | Efficient hot food holding cabinet, full size | Food | 2860 | 0 | Unit | ComCookingHotFoodCabinet_v3_1
Electric | Efficient hot food holding cabinet, Double Size | Food | 5238 | 0 | Unit | ComCookingHotFoodCabinet_v3_1
Electric | Electric fryer (Large Vat Size) | Food | 1660 | 0 | Unit | ComCookingFryer_v3_1
Electric | Standard Efficiency Appliance to H.E. electric griddle, 70% effic. or better | Food | 1636 | PY | Unit | Avista
Electric | High temp electric hot water dishwasher | Food | 4110 | PY | Unit | Avista
Electric | Low temp electric hot water dishwasher | Food | 3801 | PY | Unit | Avista
Electric | Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 200 to 399 lbs./day capacity | Food | 592 | 0 | Unit | Avista
Electric | Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 400 to 599 lbs./day capacity | Food | 804 | 0 | Unit | Avista
Electric | Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 600 to 799 lbs./day capacity | Food | 1000 | 0 | Unit | Avista
Electric | Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 800 to 999 lbs./day capacity | Food | 173 | 0 | Unit | Avista
Electric | Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, under 200 lbs./day capacity | Food | 940 | 0 | Unit | Avista
Electric | Washington Air Guardian | AirGuardian | 6000 | 0 | Unit | Avista
Nat Gas | G Windows Single Pane <0.30 U-value | Residential Prescriptive | 0 | 0.52048 | Unit | Convert from Kwh to Therms
Nat Gas | G Windows Dual Pane <0.30 U-value | Residential Prescriptive | 0 | 0.23891 | Unit | Convert from Kwh to Therms
Nat Gas | G Web Tstat Gas DIY | Residential Prescriptive | 0 | 26 | Unit | Impact Eval
Nat Gas | G Web Tstat Gas Cont | Residential Prescriptive | 0 | 26 | Unit | Impact Eval
Nat Gas | NG FURNACE 90% | Residential Prescriptive | 0 | 103 | Unit | Impact Eval
Nat Gas | G TANKLESS WH (0.82+) | Residential Prescriptive | 0 | 78 | Unit | AEG TRM Value
Nat Gas | NG Storm Windows | Residential Prescriptive | 0 | 0.41809 | Unit | Convert from Kwh to Therms
Nat Gas | E STAR HOME - GAS ONLY | Residential Prescriptive | 0 | 133.98 | Unit | AEG TRM Value
Nat Gas | G HE Water Heaters (<= 55)(.65 or greater) | Residential Prescriptive | 0 | 21.8 | Unit | AEG TRM Value
Nat Gas | G Wall Insulation | Residential Prescriptive | 0 | 0.07 | Unit | AEG TRM Value
Nat Gas | G Floor Insulation | Residential Prescriptive | 0 | 0.06 | Unit | AEG TRM Value
Nat Gas | G Attic Insulation | Residential Prescriptive | 0 | 0.15 | Unit | AEG TRM Value
Nat Gas | NG BOILER 96% AFUE | Residential Prescriptive | 0 | 112.4 | Unit | AEG TRM Value
Nat Gas | G AIR INFILTRATION | Low Income | 0 | 12.23 | SQ FT | WPL
Nat Gas | G ENERGY STAR DOORS | Low Income | 0 | 9.66 | Unit | Avista
Nat Gas | G ENERGY STAR WINDOWS | Low Income | 0 | 0.24669 | SQ FT | Avista
Nat Gas | G HE FURNACE AFUE 95% | Low Income | 0 | 62.24 | Unit | Avista
Nat Gas | G HE WH < 55 Gal | Low Income | 0 | 7.0512 | Unit | Avista
Nat Gas | G INS - CEIL/ATTIC | Low Income | 0 | 0.093 | SQ FT | WPL
Nat Gas | G INS - DUCT | Low Income | 0 | 0.071 | SQ FT | WPL
Nat Gas | G INS - FLOOR | Low Income | 0 | 0.072 | SQ FT | WPL
Nat Gas | G INS - WALL | Low Income | 0 | 0.056 | SQ FT | WPL
Nat Gas | G duct sealing | Low Income | 0 | 20.17 | Unit | WPL
Nat Gas | HEALTH & HUMAN SAFETY | Low Income | 0 | 1 | Unit | Avista
Nat Gas | Tankless Water Heater (<=55 Gal) | Low Income | 0 | 66.5 | Unit | Avista
Nat Gas | HE Boiler AFUE 96% | Low Income | 0 | 103.84 | Unit | Avista
Nat Gas | Gas Boiler <300kBtu .85-.89 AFUE | NR HVAC | 0 | 1.77 | Unit | Avista
Nat Gas | Gas Boiler <300kBtu .90+ AFUE AFUE | NR HVAC | 0 | 2.87 | Unit | Avista
Nat Gas | Multistage Furnace <225 kBtu .90-.95 AFUE | NR HVAC | 0 | 3.67 | Unit | Avista
Nat Gas | Multistage Furnace <225 kBtu .95+ AFUE | NR HVAC | 0 | 4.22 | Unit | Avista
Nat Gas | Singlestage Furnace <225 kBtu .90-.95 AFUE | NR HVAC | 0 | 2.87 | Unit | Avista
Nat Gas | Singlestage Furnace <225 kBtu .95+ AFUE | NR HVAC | 0 | 3.67 | Unit | Avista
Nat Gas | Less than R11 attic insulation (E/G) to R30-R44 Attic Insulation | NR Shell | 0 | 0.09 | SQ FT | Avista
Nat Gas | Less than R11 attic insulation (E/G) to R45+ Attic Insulation | NR Shell | 0 | 0.13 | SQ FT | Avista
Nat Gas | Less than R11 roof insulation (E/G) to R30+ Roof Insulation | NR Shell | 0 | 0.13 | SQ FT | Avista
Nat Gas | Less than R4 wall insulation (E/G) to R11-R18 Wall Insulation | NR Shell | 0 | 0.27 | SQ FT | Avista
Nat Gas | Less than R4 wall insulation (E/G) to R19+ Wall Insulation | NR Shell | 0 | 0.39 | SQ FT | Avista
Nat Gas | 0.81 to 1 GPM gas pre-rinse sprayer | Food | 0 | 16.81 | SQ FT | Avista
Nat Gas | 3 pan gas steamer | Food | 0 | 586.2169 | SQ FT | Avista
Nat Gas | 4 pan gas steamer | Food | 0 | 779.9115 | SQ FT | Avista
Nat Gas | 5 pan gas steamer | Food | 0 | 973.6333 | SQ FT | Avista
Nat Gas | 6 pan gas steamer | Food | 0 | 1167.3552 | SQ FT | Avista
Nat Gas | 10 or larger pan gas steamer | Food | 0 | 3043.2441 | SQ FT | Avista
Nat Gas | Efficient combination oven (>= 16 pan and <= 20 pan) gas | Food | 0 | 500 | SQ FT | Avista
Nat Gas | Efficient combination oven (>= 6 pan and <= 15 pan) gas | Food | 0 | 403 | SQ FT | Avista
Nat Gas | Efficient convection oven full size | Food | 0 | 450 | SQ FT | Avista
Nat Gas | H.E. gas convection oven, 40% effic. or better | Food | 0 | 323 | SQ FT | Avista
Nat Gas | Gas rack oven | Food | 0 | 1034 | SQ FT | Avista
Nat Gas | Energy Star 50% effic.gas fryer | Food | 0 | 505 | SQ FT | Avista
Nat Gas | H.E. gas griddle, 40% effic. or better | Food | 0 | 88 | SQ FT | Avista
Nat Gas | High temp gas hot water dishwasher | Food | 0 | 102.8166 | SQ FT | Avista
Nat Gas | Low temp gas hot water dishwasher | Food | 0 | 140.1036 | SQ FT | Avista