## Output - Summary
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less - Net Output Delivered to PSE's Transmission System
Summary - Levelized
Levelized
Baseload - 5 year | 30.8531
Baseload - 10 year | 31.8525
Baseload - 15 year | 32.7811
Levelized
Wind - 10 year | 26.4198
Wind - 15 year | 27.3632
Levelized
Solar - 10 year | 23.0469
Solar - 15 year | 23.9995
Summary - Escalating @ 2.5%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Baseload - 5 year | 1 2021: 29.4519; 2 2022: 30.1882; 3 2023: 30.9429; 4 2024: 31.7165; 5 2025: 32.5094; 6 2026: 33.3221; 7 2027: 34.1552
Baseload - 10 year | 28.845 | 29.5661 | 30.3052 | 31.0629 | 31.8394 | 32.6354 | 33.4513 | 34.2876 | 35.1448 | 36.0234 | 36.924 | 37.8471
Baseload - 15 year | 28.3269 | 29.0351 | 29.761 | 30.505 | 31.2676 | 32.0493 | 32.8505 | 33.6718 | 34.5136 | 35.3764 | 36.2608 | 37.1674 | 38.0965 | 39.049 | 40.0252 | 41.0258 | 42.0514
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Wind - 10 year | 23.9252 | 24.5233 | 25.1364 | 25.7648 | 26.4089 | 27.0691 | 27.7459 | 28.4395 | 29.1505 | 29.8793 | 30.6263 | 31.3919
Wind - 15 year | 23.6452 | 24.2363 | 24.8422 | 25.4633 | 26.0998 | 26.7523 | 27.4211 | 28.1067 | 28.8093 | 29.5296 | 30.2678 | 31.0245 | 31.8001 | 32.5951 | 33.41 | 34.2453 | 35.1014
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Solar - 10 year | 20.8708 | 21.3925 | 21.9274 | 22.4755 | 23.0374 | 23.6134 | 24.2037 | 24.8088 | 25.429 | 26.0647 | 26.7164 | 27.3843
Solar - 15 year | 20.7386 | 21.257 | 21.7884 | 22.3332 | 22.8915 | 23.4638 | 24.0504 | 24.6516 | 25.2679 | 25.8996 | 26.5471 | 27.2108 | 27.8911 | 28.5883 | 29.303 | 30.0356 | 30.7865

## Output - 5yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 5 | 100% | Flat | 0.020932 | 0.010876 | 0.031807 | 0.031807 | 31.8073
[5 empty] | 20.9317 | 10.8756 | 31.8073 | 31.8073 | 30.8531 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 30.8531 | 30.8531 | 30.8531 | 30.8531 | 30.8531 |  |  |  |  | 125.1937 | 30.8531
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 |  |  | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 29.4519 | 30.1882 | 30.9429 | 31.7165 | 32.5094 | 33.3221 | 34.1552 |  |  | 125.1937 | 30.8531
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 |  |  |  |  | 425.0784 | 104.7576
| 2.5 Percent Index |  | 0.95459 | 0.97845 | 1.0029 | 1.028 | 1.0537 |  |  |  |  | 4.0577 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 100% | Flat | 0.021962 | 0.010876 | 0.032838 | 0.032838 | 32.8376
[5 empty] | 21.9621 | 10.8756 | 32.8376 | 32.8376 | 31.8525 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 | 31.8525 |  |  | 219.7405 | 31.8525
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 28.845 | 29.5661 | 30.3052 | 31.0629 | 31.8394 | 32.6354 | 33.4513 | 34.2876 | 35.1448 | 36.0234 | 36.924 | 37.8471 | 219.7405 | 31.8525
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 100% | Flat | 0.022949 | 0.010846 | 0.033795 | 0.033795 | 33.7949
[5 empty] | 22.9491 | 10.8459 | 33.7949 | 33.7949 | 32.7811 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 | 32.7811 |  |  | 291.3499 | 32.7811
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 28.3269 | 29.0351 | 29.761 | 30.505 | 31.2676 | 32.0493 | 32.8505 | 33.6718 | 34.5136 | 35.3764 | 36.2608 | 37.1674 | 38.0965 | 39.049 | 40.0252 | 41.0258 | 42.0514 | 291.3499 | 32.7811
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 17.8% | Flat | 0.021962 | 0.0052748 | 0.027237 | 0.027237 | 27.2369
[5 empty] | 21.9621 | 5.2748 | 27.2369 | 27.2369 | 26.4198 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 | 26.4198 |  |  | 182.2617 | 26.4198
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.9252 | 24.5233 | 25.1364 | 25.7648 | 26.4089 | 27.0691 | 27.7459 | 28.4395 | 29.1505 | 29.8793 | 30.6263 | 31.3919 | 182.2617 | 26.4198
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 17.8% | Flat | 0.022949 | 0.0052604 | 0.028209 | 0.028209 | 28.2095
[5 empty] | 22.9491 | 5.2604 | 28.2095 | 28.2095 | 27.3632 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 | 27.3632 |  |  | 243.1969 | 27.3632
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.6452 | 24.2363 | 24.8422 | 25.4633 | 26.0998 | 26.7523 | 27.4211 | 28.1067 | 28.8093 | 29.5296 | 30.2678 | 31.0245 | 31.8001 | 32.5951 | 33.41 | 34.2453 | 35.1014 | 243.1969 | 27.3632
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 4% | Flat | 0.021962 | 0.0017976 | 0.02376 | 0.02376 | 23.7597
[5 empty] | 21.9621 | 1.7976 | 23.7597 | 23.7597 | 23.0469 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 | 23.0469 |  |  | 158.9933 | 23.0469
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 20.8708 | 21.3925 | 21.9274 | 22.4755 | 23.0374 | 23.6134 | 24.2037 | 24.8088 | 25.429 | 26.0647 | 26.7164 | 27.3843 | 158.9933 | 23.0469
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 4% | Flat | 0.022949 | 0.0017927 | 0.024742 | 0.024742 | 24.7418
[5 empty] | 22.9491 | 1.7927 | 24.7418 | 24.7418 | 23.9995 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 | 23.9995 |  |  | 213.3017 | 23.9995
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 20.7386 | 21.257 | 21.7884 | 22.3332 | 22.8915 | 23.4638 | 24.0504 | 24.6516 | 25.2679 | 25.8996 | 26.5471 | 27.2108 | 27.8911 | 28.5883 | 29.303 | 30.0356 | 30.7865 | 213.3017 | 23.9995
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values, net capacity factors and Effective Load Carrying Capability (ELCC) as provided in the 2021 IRP.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Electric EES CE Std Energy
Levelized Cost Effectiveness Standard-Energy
Including
Line Loss Reduction |  | 0%
Nominal Discount Rate |  | 7.39%
Measure Life | Flat ($/MWh) | Flat ($/kWh)
1 | 22.85 | 0.02285
2 | 22.0496 | 0.02205
3 | 21.5787 | 0.021579
4 | 21.1782 | 0.021178
5 | 20.9317 | 0.020932
6 | 20.7986 | 0.020799
7 | 21.0717 | 0.021072
8 | 21.3935 | 0.021393
9 | 21.7259 | 0.021726
10 | 21.9621 | 0.021962
11 | 22.1369 | 0.022137
12 | 22.3141 | 0.022314
13 | 22.5259 | 0.022526
14 | 22.7362 | 0.022736
15 | 22.9491 | 0.022949
16 | 23.1838 | 0.023184
17 | 23.3793 | 0.023379
18 | 23.5479 | 0.023548
19 | 23.6911 | 0.023691
20 | 23.8241 | 0.023824
21 | 23.964 | 0.023964

## FlatLoadShapeEnergy_perMWh
|  | Year | Measure Life | Annual Weighted Average of Hourly Price | Line Loss Reduction | Planning Adjustment | Avoided Renewable Benefits | Conservation Credit | Present Value-Energy | Cumulative Present Value -Energy | Levelized Cost Effectiveness Standard-Energy
|  |  | (years) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
Line Loss Reduction | 0% | [1] | [2] | [3] | [4] | [5] | [6] | [7] | [8] | [9] | [10]
Nominal Discount Rate | 7.39% | 2021 | 1 | 22.85 | 0 | 0 | 0 | 0 | 21.2776 | 21.2776 | 22.85
GDP Inflation | 2.5% | 2022 | 2 | 21.19 | 0 | 0 | 0 | 0 | 18.374 | 39.6516 | 22.0496
|  | 2023 | 3 | 20.53 | 0 | 0 | 0 | 0 | 16.5767 | 56.2282 | 21.5787
|  | 2024 | 4 | 19.79 | 0 | 0 | 0 | 0 | 14.8796 | 71.1078 | 21.1782
|  | 2025 | 5 | 19.75 | 0 | 0 | 0 | 0 | 13.8276 | 84.9354 | 20.9317
|  | 2026 | 6 | 19.97 | 0 | 0 | 0 | 0 | 13.0195 | 97.955 | 20.7986
|  | 2027 | 7 | 23.19 | 0 | 0 | 0 | 0 | 14.0784 | 112.0334 | 21.0717
|  | 2028 | 8 | 24.42 | 0 | 0 | 0 | 0 | 13.805 | 125.8383 | 21.3935
|  | 2029 | 9 | 25.44 | 0 | 0 | 0 | 0 | 13.3919 | 139.2303 | 21.7259
|  | 2030 | 10 | 25.05 | 0 | 0 | 0 | 0 | 12.2792 | 151.5094 | 21.9621
|  | 2031 | 11 | 24.78 | 0 | 0 | 0 | 0 | 11.3109 | 162.8204 | 22.1369
|  | 2032 | 12 | 25.38 | 0 | 0 | 0 | 0 | 10.7876 | 173.608 | 22.3141
|  | 2033 | 13 | 26.69 | 0 | 0 | 0 | 0 | 10.5638 | 184.1718 | 22.5259
|  | 2034 | 14 | 27.4 | 0 | 0 | 0 | 0 | 10.0985 | 194.2703 | 22.7362
|  | 2035 | 15 | 28.25 | 0 | 0 | 0 | 0 | 9.6953 | 203.9655 | 22.9491
|  | 2036 | 16 | 29.71 | 0 | 0 | 0 | 0 | 9.4947 | 213.4602 | 23.1838
|  | 2037 | 17 | 29.43 | 0 | 0 | 0 | 0 | 8.758 | 222.2182 | 23.3793
|  | 2038 | 18 | 29.33 | 0 | 0 | 0 | 0 | 8.1276 | 230.3459 | 23.5479
|  | 2039 | 19 | 29.12 | 0 | 0 | 0 | 0 | 7.5141 | 237.86 | 23.6911
|  | 2040 | 20 | 29.38 | 0 | 0 | 0 | 0 | 7.0595 | 244.9195 | 23.8241
|  | 2041 | 21 | 30.3949 | 0 | 0 | 0 | 0 | 6.8008 | 251.7203 | 23.964

## Baseload Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | $ / MWh | $ / kWh | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
Deferred T&D Cost Credit ($/kW-yr) | [4] | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
NW Power Act Regional Credit | [5] | 0% | 2021 | 1 | 95.27 | 88.714 | 88.714 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
Nominal Discount Rate |  | 7.39% | 2022 | 2 | 95.27 | 82.6092 | 171.3232 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
GDP Inflation |  | 2.5% | 2023 | 3 | 95.27 | 76.9245 | 248.2477 | 95.27 | 10.8459 | 0.010846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8459 | 0.010846
|  |  | 2024 | 4 | 95.27 | 71.631 | 319.8787 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2025 | 5 | 95.27 | 66.7017 | 386.5804 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2026 | 6 | 95.27 | 62.1117 | 448.6921 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2027 | 7 | 95.27 | 57.8375 | 506.5295 | 95.27 | 10.8459 | 0.010846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8459 | 0.010846
|  |  | 2028 | 8 | 95.27 | 53.8574 | 560.3869 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2029 | 9 | 95.27 | 50.1512 | 610.5382 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2030 | 10 | 95.27 | 46.7001 | 657.2383 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2031 | 11 | 95.27 | 43.4864 | 700.7247 | 95.27 | 10.8459 | 0.010846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8459 | 0.010846
|  |  | 2032 | 12 | 95.27 | 40.4939 | 741.2186 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2033 | 13 | 95.27 | 37.7074 | 778.926 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2034 | 14 | 95.27 | 35.1126 | 814.0386 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2035 | 15 | 95.27 | 32.6963 | 846.7349 | 95.27 | 10.8459 | 0.010846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8459 | 0.010846
|  |  | 2036 | 16 | 95.27 | 30.4463 | 877.1812 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2037 | 17 | 95.27 | 28.3512 | 905.5323 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2038 | 18 | 95.27 | 26.4002 | 931.9325 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2039 | 19 | 95.27 | 24.5835 | 956.516 | 95.27 | 10.8459 | 0.010846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8459 | 0.010846
|  |  | 2040 | 20 | 95.27 | 22.8918 | 979.4078 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876
|  |  | 2041 | 21 | 95.27 | 21.3165 | 1000.7242 | 95.27 | 10.8756 | 0.010876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.8756 | 0.010876

## Wind Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
Deferred T&D Cost Credit ($/kW-yr) | [4] | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
NW Power Act Regional Credit | [5] | 0% | 2021 | 1 | 16.9581 | 15.7911 | 15.7911 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
Nominal Discount Rate |  | 7.39% | 2022 | 2 | 16.9581 | 14.7044 | 30.4955 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
GDP Inflation |  | 2.5% | 2023 | 3 | 16.9581 | 13.6926 | 44.1881 | 16.9581 | 5.2604 | 0.0052604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2604 | 0.0052604
|  |  | 2024 | 4 | 16.9581 | 12.7503 | 56.9384 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2025 | 5 | 16.9581 | 11.8729 | 68.8113 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2026 | 6 | 16.9581 | 11.0559 | 79.8672 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2027 | 7 | 16.9581 | 10.2951 | 90.1623 | 16.9581 | 5.2604 | 0.0052604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2604 | 0.0052604
|  |  | 2028 | 8 | 16.9581 | 9.5866 | 99.7489 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2029 | 9 | 16.9581 | 8.9269 | 108.6758 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2030 | 10 | 16.9581 | 8.3126 | 116.9884 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2031 | 11 | 16.9581 | 7.7406 | 124.729 | 16.9581 | 5.2604 | 0.0052604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2604 | 0.0052604
|  |  | 2032 | 12 | 16.9581 | 7.2079 | 131.9369 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2033 | 13 | 16.9581 | 6.7119 | 138.6488 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2034 | 14 | 16.9581 | 6.25 | 144.8989 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2035 | 15 | 16.9581 | 5.8199 | 150.7188 | 16.9581 | 5.2604 | 0.0052604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2604 | 0.0052604
|  |  | 2036 | 16 | 16.9581 | 5.4194 | 156.1382 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2037 | 17 | 16.9581 | 5.0465 | 161.1848 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2038 | 18 | 16.9581 | 4.6992 | 165.884 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2039 | 19 | 16.9581 | 4.3759 | 170.2598 | 16.9581 | 5.2604 | 0.0052604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2604 | 0.0052604
|  |  | 2040 | 20 | 16.9581 | 4.0747 | 174.3346 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748
|  |  | 2041 | 21 | 16.9581 | 3.7943 | 178.1289 | 16.9581 | 5.2748 | 0.0052748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2748 | 0.0052748

## Solar Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | $ / MWh | $ / kWh | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
Deferred T&D Cost Credit ($/kW-yr) | [4] | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
NW Power Act Regional Credit | [5] | 0% | 2021 | 1 | 3.8108 | 3.5486 | 3.5486 | 3.8108 | 1.6732 | 0.0016732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6732 | 0.0016732
Nominal Discount Rate |  | 7.39% | 2022 | 2 | 3.8108 | 3.3044 | 6.8529 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
GDP Inflation |  | 2.5% | 2023 | 3 | 3.8108 | 3.077 | 9.9299 | 3.8108 | 1.7927 | 0.0017927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7927 | 0.0017927
|  |  | 2024 | 4 | 3.8108 | 2.8652 | 12.7951 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2025 | 5 | 3.8108 | 2.6681 | 15.4632 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2026 | 6 | 3.8108 | 2.4845 | 17.9477 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2027 | 7 | 3.8108 | 2.3135 | 20.2612 | 3.8108 | 1.7927 | 0.0017927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7927 | 0.0017927
|  |  | 2028 | 8 | 3.8108 | 2.1543 | 22.4155 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2029 | 9 | 3.8108 | 2.006 | 24.4215 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2030 | 10 | 3.8108 | 1.868 | 26.2895 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2031 | 11 | 3.8108 | 1.7395 | 28.029 | 3.8108 | 1.7927 | 0.0017927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7927 | 0.0017927
|  |  | 2032 | 12 | 3.8108 | 1.6198 | 29.6487 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2033 | 13 | 3.8108 | 1.5083 | 31.157 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2034 | 14 | 3.8108 | 1.4045 | 32.5615 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2035 | 15 | 3.8108 | 1.3079 | 33.8694 | 3.8108 | 1.7927 | 0.0017927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7927 | 0.0017927
|  |  | 2036 | 16 | 3.8108 | 1.2179 | 35.0872 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2037 | 17 | 3.8108 | 1.134 | 36.2213 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2038 | 18 | 3.8108 | 1.056 | 37.2773 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2039 | 19 | 3.8108 | 0.98334 | 38.2606 | 3.8108 | 1.7927 | 0.0017927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7927 | 0.0017927
|  |  | 2040 | 20 | 3.8108 | 0.91567 | 39.1763 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976
|  |  | 2041 | 21 | 3.8108 | 0.85266 | 40.029 | 3.8108 | 1.7976 | 0.0017976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7976 | 0.0017976

## Energy Prices
Forecast Mid-C Power Prices (Nominal $/MWh) from PSE’s 2021 Integrated Resource Plan Base Scenario: Pursuant to WAC 480-106-040(a), the 2021-2041 Avoided Energy Costs are based on PSE’s most current forecast of market prices for the Mid-C Market used in PSE’s final 2021 IRP, which was filed with the UTC on 4/4/2021 under Dockets UE-200304 and UG-200305. The 2022-2041 Avoided Energy Costs are as shown at Figure 34 of 2021 IRP Appendix G, page G-59. The 2021 Avoided Energy Costs are from the same market price strip but it just wasn’t shown at Figure 34.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Ave
MONTHS
1 | 2021 | 27.69 | 28.82 | 21.13 | 17.18 | 10.79 | 13.67 | 22.61 | 25.02 | 25.99 | 25.91 | 26.7 | 28.98 | 22.85
2 | 2022 | 26.56 | 27.65 | 20.55 | 15.1 | 9.49 | 11.31 | 21.01 | 22.88 | 24.31 | 23.59 | 24.69 | 27.53 | 21.19
3 | 2023 | 25.24 | 26.5 | 19.77 | 14.79 | 9.7 | 10.29 | 20.13 | 21.93 | 23.68 | 23.11 | 24.42 | 27.09 | 20.53
4 | 2024 | 24.49 | 25.82 | 18.79 | 13.88 | 7.17 | 9.23 | 18.46 | 22.35 | 24 | 22.97 | 24.39 | 26.06 | 19.79
5 | 2025 | 24.49 | 25.82 | 18.97 | 12.83 | 7.53 | 9.73 | 18.21 | 22.47 | 24.22 | 22.79 | 23.8 | 26.5 | 19.75
6 | 2026 | 24.38 | 26.73 | 18.2 | 13.87 | 7.99 | 9.55 | 18.67 | 22.57 | 24.01 | 23.09 | 23.99 | 26.99 | 19.97
7 | 2027 | 28.08 | 28.91 | 19.71 | 15.44 | 9.14 | 10.75 | 22.01 | 26.84 | 28.62 | 28.87 | 29 | 31.2 | 23.19
8 | 2028 | 28.71 | 29.47 | 19.64 | 16.52 | 9.08 | 11.2 | 23.79 | 28.14 | 32.15 | 31.02 | 30.01 | 33.37 | 24.42
9 | 2029 | 29.33 | 31.29 | 19.63 | 20.07 | 8.87 | 11.5 | 23.61 | 30.2 | 35.24 | 32.07 | 28.96 | 34.85 | 25.44
10 | 2030 | 29.05 | 30.29 | 18.28 | 18.75 | 8.06 | 10.96 | 22.71 | 29.93 | 34.66 | 32.94 | 30.73 | 34.61 | 25.05
11 | 2031 | 28.42 | 30.42 | 18.22 | 18.19 | 8.55 | 11.12 | 22.13 | 29.98 | 34.53 | 32.65 | 29.03 | 34.49 | 24.78
12 | 2032 | 28.24 | 29.21 | 18.31 | 19.43 | 10.21 | 10.67 | 23.05 | 29.05 | 33.67 | 34.86 | 32.28 | 35.65 | 25.38
13 | 2033 | 29.08 | 31.54 | 19.17 | 19.67 | 9.61 | 11.64 | 24.84 | 29.95 | 34.57 | 37.49 | 36.03 | 37.07 | 26.69
14 | 2034 | 29.79 | 32.26 | 19.17 | 19.69 | 10.51 | 12.34 | 27.12 | 30.25 | 36.25 | 37.68 | 35.17 | 38.81 | 27.4
15 | 2035 | 31 | 35.33 | 19.95 | 22.93 | 11.6 | 12.6 | 27.03 | 32.04 | 37.97 | 36.64 | 32.09 | 40.27 | 28.25
16 | 2036 | 31.9 | 35.4 | 20.49 | 21.57 | 11.51 | 13.52 | 29.25 | 34.32 | 39.07 | 38.76 | 38.04 | 42.85 | 29.71
17 | 2037 | 32.89 | 35.55 | 19.9 | 20.06 | 11.58 | 12.92 | 30.46 | 34.47 | 38.51 | 38.58 | 35.59 | 42.87 | 29.43
18 | 2038 | 33.05 | 34.31 | 19.61 | 20.59 | 12.34 | 12.73 | 30.02 | 34.49 | 38.54 | 38.11 | 34.6 | 43.72 | 29.33
19 | 2039 | 31.29 | 33.46 | 18.2 | 19.01 | 10.72 | 12.48 | 30.87 | 34.28 | 40.25 | 38.63 | 36.81 | 43.64 | 29.12
20 | 2040 | 31.22 | 33.69 | 17.21 | 18.62 | 10 | 12.67 | 30.73 | 33.44 | 41.9 | 38.88 | 37.62 | 46.67 | 29.38
21 | 2041 | 32.1641 | 35.5041 | 18.2293 | 21.0698 | 10.5972 | 12.7936 | 29.3727 | 38.672 | 45.7891 | 37.0243 | 35.3924 | 48.4135 | 30.3949
|  | 12: 20-year levelized | 23.8241
|  | 12: 15-year levelized | 22.9491

## Capacity Delivered
|  | Indicative Avoided Capacity Costs for Resources Delivered to PSE's System |  | Delivered to PSE Capacity Value ($/kW-yr) |  |  |  |  | Delivered to PSE Capacity Value ($/MWh)
|  | Capacity Resource Addition | (a) Levelized Net $/kW-yr Delivered To PSE | (b)=(a)*1.000 Baseload Resource ELCC=100.0% | (c)=(a)*0.178 Wind Resource ELCC=17.8% | (d)=(a)*0.040 Solar Resource ELCC=4.0% | (e) Year | (f) Total Hours in Year | (g)=(f)*1.000 Baseload Resource NCF=100% | (h)=(b)*(g) Baseload Resource | (i)=(f)*0.367 Wind Resource NCF=36.7% | (j)=(c)*(i) Wind Resource | (k)=(f)*0.242 Solar Resource NCF=24.2% | (l)=(d)*(k) Wind Resource
|  |  |  | 100% | 17.8% | 4% |  |  | 100% |  | 36.7% |  | 24.2%
|  |  | $/kW-yr | $/kW-yr | $/kW-yr | $/kW-yr |  |  | Hours Available | $/MWh | Hours Available | $/MWh | Hours Available | $/MWh
1 | 2021 | Frame Peaker | 95.27 | 95.27 | 16.9581 | 3.8108 | 2021 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
2 | 2022 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2022 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
3 | 2023 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2023 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
4 | 2024 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2024 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
5 | 2025 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2025 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
6 | 2026 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2026 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
7 | 2027 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2027 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
8 | 2028 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2028 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
9 | 2029 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2029 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
10 | 2030 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2030 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
11 | 2031 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2031 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
12 | 2032 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2032 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
13 | 2033 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2033 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
14 | 2034 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2034 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
15 | 2035 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2035 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
16 | 2036 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2036 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
17 | 2037 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2037 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
18 | 2038 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2038 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
19 | 2039 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2039 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
20 | 2040 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2040 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
21 | 2041 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2041 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
22 | 2042 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2042 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
- Basis for assumptions in this table is PSE's 2021 IRP
-Capacity Cost: Appendix G, Figure 35, page G-60
-Effective Load Carrying Capably (ELCC): Chapter 7, Figure 7-17 Page 7-28 for "Generic WA East Wind" and "Generic WA East Solar" for Year 2027
-Net Capacity Factor (NCF) Appendix D
-Solar NCF: Figure D-27, page D-56, Capacity Factor for "Utility Solar WA East"
-Wind NCF: Figure D-29, page D-62, Capacity Factor for "On-Shore Wind SE Wash."

## Cost of Capital
As Used in UE-190529 and UG-190530
PUGET SOUND ENERGY-ELECTRIC
PRO FORMA COST OF CAPITAL APPROVED IN UE-190529/UG-190530
FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018
LINE |  | PRO FORMA |  | COST OF
NO. | DESCRIPTION | CAPITAL % | COST % | CAPITAL
1 | SHORT & LONG TERM DEBT | 51.5% | 5.5% | 2.83%
2 | EQUITY | 48.5% | 9.4% | 4.56%
3 | TOTAL COST OF CAPITAL | 100% |  | 7.39%
4
5 | AFTER TAX DEBT | 51.5% | 5.5% | 2.24%
6 | EQUITY | 48.5% | 9.4% | 4.56%
7 | TOTAL AFTER TAX COST OF CAPITAL | 100% |  | 6.8%