## TOTAL FIRST YEAR
| Program Year: | CASCADE NATURAL GAS CORPORATION
| 2014-01-01 | COMMERCIAL Program Participant Cost Effectiveness
2012-12-31
|  |  |  | TOTAL |  |  |  | TOTAL | MEASURE | SOCIETAL | PARTICIPANT | TOTAL | TOTAL NET |  | DISCOUNTED | PROGRAM |  | TOTAL |  | LOADED | BENEFIT | TOTAL | LOADED | BENEFIT
|  |  |  | MEASURE | ANNUAL THERM |  | UNITS | ANNUAL THERM | INCREM | NEBS | NEBS | INCREMENTAL | INCREMENTAL |  | THERM | DELIVERY | PROGRAM | REBATES | UTILITY | UC | COST | RESOURCE | TRC | COST
SS | MEASURE | DESCRIPTION | EFFICIENCY TYPE FOR QUALIFICATION | COUNT | SAVINGS/UNIT | UNITS | INSTALLED | SAVINGS | COST |  |  | COST | COST w NEBS | LIFE | SAVINGS | & ADMIN | REBATE | COST | COST |  | RATIO | COST |  | RATIO
Standard Measures
#REF! | HVAC Unit Heater | High-Eff Non-Condensing with Electronic Ignition | Minimum 86% AFUE | 0 | 0.61 | kBtu/hr | 0 | 0 | 3.26 | 1.158 | 0.40375 | 0 | 0 | 18 | 0 | 0 | 1.5 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | HVAC Unit Heater | High Efficiency Condensing | Minimum 92% AFUE | 0 | 1.1 | kBtu/hr | 0 | 0 | 5.23 | 2.0882 | 0.72806 | 0 | 0 | 18 | 0 | 0 | 3 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Warm Air Furnace | High Efficiency Condensing Furnace | Minimum 91% AFUE | 27 | 1.1 | kBtu/hr | 2123 | 2335.3 | 6.72 | 2.0882 | 0.72806 | 14266.56 | 8287.5577 | 18 | 29158.9272 | 6057.8792 | 3 | 6369 | 0.21842 | 0.42618 | 1.0807 | 0.28422 | 0.49197 | 0.83186
#REF! | Radiant Heating | Direct Fired Radiant Heating | None | 8 | 4.328 | kBtu/hr | 760 | 3289.28 | 21 | 8.2163 | 2.8646 | 15960 | 7538.5498 | 18 | 41070.4732 | 8532.5487 | 6.5 | 4940 | 0.12028 | 0.32803 | 1.404 | 0.18355 | 0.39131 | 1.0459
#REF! | Insulation-Attic | Attic Insulation (Tier 1 - Z1 &Z3) | Minimum R-30 | 2 | 0.399 | sq. ft. | 5854 | 2335.746 | 1.35 | 0.96363 | 0.34407 | 7902.9 | 247.6288 | 30 | 39569.0115 | 6059.0362 | 0.5 | 2927 | 0.073972 | 0.2271 | 1.9245 | 0.0062582 | 0.15938 | 2.3333
#REF! | Insulation-Attic | Attic Insulation (Tier 1- Z2) | Minimum R-30 | 0 | 0.22 | sq. ft. | 0 | 0 | 1.35 | 0.53132 | 0.18971 | 0 | 0 | 30 | 0 | 0 | 0.5 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Insulation-Attic | Attic Insulation (Tier 2 - Z1 &Z3) | Minimum R-45 | 2 | 0.407 | sq. ft. | 820 | 333.74 | 1.63 | 0.98295 | 0.35097 | 1336.6 | 242.7866 | 30 | 5653.7663 | 865.7374 | 0.65 | 533 | 0.094273 | 0.2474 | 1.7666 | 0.042942 | 0.19607 | 1.8967
#REF! | Insulation-Attic | Attic Insulation (Tier 2 - Z2) | Minimum R-45 | 0 | 0.23 | sq. ft. | 0 | 0 | 1.63 | 0.55548 | 0.19834 | 0 | 0 | 30 | 0 | 0 | 0.65 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Insulation-Roof | Roof Insulation (Tier 1 - Z1 & Z3) | Minimum R-21 | 1 | 0.447 | sq. ft. | 2260 | 1010.22 | 1.83 | 1.0796 | 0.38546 | 4135.8 | 824.8629 | 30 | 17113.7644 | 2620.5587 | 0.6 | 1356 | 0.079234 | 0.23236 | 1.8809 | 0.048199 | 0.20132 | 1.8472
#REF! | Insulation-Roof | Roof Insulation (Tier 1 Z2) | Minimum R-30 | 0 | 0.25 | sq. ft. | 0 | 0 | 1.83 | 0.60378 | 0.21558 | 0 | 0 | 30 | 0 | 0 | 0.6 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Insulation-Roof | Roof Insulation (Tier 2 - Z1 & Z3) | Minimum R-21 | 1 | 0.46 | sq. ft. | 32344 | 14878.24 | 2.15 | 1.111 | 0.39667 | 69539.6 | 20777.037 | 30 | 252046.7765 | 38594.862 | 0.8 | 25875.2 | 0.10266 | 0.25579 | 1.7087 | 0.082433 | 0.23556 | 1.5787
#REF! | Insulation-Roof | Roof Insulation (Tier 2- Z2) | Minimum R-30 | 0 | 0.253 | sq. ft. | 0 | 0 | 2.15 | 0.61102 | 0.21817 | 0 | 0 | 30 | 0 | 0 | 0.8 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Insulation-Wall | Wall Insulation (Tier 1- Z1 & Z3) | Minimum R-11 | 3 | 0.22 | sq. ft. | 2181 | 479.82 | 1.5 | 0.53132 | 0.18971 | 3271.5 | 1698.918 | 30 | 8128.4537 | 1244.6759 | 0.3 | 654.3 | 0.080495 | 0.23362 | 1.8708 | 0.20901 | 0.36213 | 1.0269
#REF! | Insulation-Wall | Wall Insulation (Tier 1- Z2) | Minimum R-19 | 0 | 0.12 | sq. ft. | 0 | 0 | 1.5 | 0.28981 | 0.10348 | 0 | 0 | 30 | 0 | 0 | 0.3 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Insulation-Wall | Wall Insulation (Tier 2- Z1 & Z3) | Minimum R-11 | 1 | 0.243 | sq. ft. | 200 | 48.6 | 1.7 | 0.58687 | 0.20955 | 340 | 180.7163 | 30 | 823.3147 | 126.0707 | 0.4 | 80 | 0.097168 | 0.25029 | 1.7461 | 0.2195 | 0.37262 | 0.99802
#REF! | Insulation-Wall | Wall Insulation (Tier 2- Z2) | Minimum R-19 | 0 | 0.135 | sq. ft. | 0 | 0 | 1.7 | 0.32604 | 0.11641 | 0 | 0 | 30 | 0 | 0 | 0.4 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Domestic Hot Water Tanks | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 22 | 0.79 | kBtu/hr | 5847.9 | 4619.841 | 6.06 | 1.3624 | 0.4696 | 35438.274 | 24725.0096 | 15 | 50759.9496 | 11984.0872 | 2.5 | 14619.75 | 0.28802 | 0.52411 | 0.90633 | 0.4871 | 0.72319 | 0.58394
#REF! | Boiler Vent Damper | Boiler Vent Damper | Minimum 1,000 kBtu input | 1 | 270 | kBtu/hr | 1 | 270 | 1.5 | 412.5623 | 139.9121 | 1.5 |  | 12 | 2509.1577 | 700.3928 | 1000 | 1000 | 0.39854 | 0.67767 | 0.7016 | 0 | 0.27913 | -
#REF! | Gas Fryer | Energy Star | None | 45 | 548 | each | 45 | 24660 | 1400 | 671.5987 | 219.6702 | 63000 | 22892.9013 | 8 | 164870.1782 | 63969.2126 | 600 | 27000 | 0.16377 | 0.55176 | 0.86534 | 0.13885 | 0.52685 | 0.84318
#REF! | Clothes Washer | Commercial Gas Washer | 1.8 MEF | 0 | 90 | each | 0 | 0 | 200 | 124.4657 | 41.5729 | 0 | 0 | 10 | 0 | 0 | 180 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Steam Trap | Steam Traps Line Size <2" | Minimum 300 kBtuh system size, steam pressures operating at 7 psig or greater, steam trap line size < 2", Min 25 psig Trap Design Pressure | 1 | 136.9 | kBtu/hr | 6 | 821.4 | 315 | 156.3241 | 50.4345 | 1890 | 649.4486 | 7 | 4899.2634 | 2130.7507 | 80 | 480 | 0.097974 | 0.53289 | 0.89878 | 0.13256 | 0.56747 | 0.78589
#REF! | Boiler | High Efficiency Condensing Boiler | Min 90% Thermal Eff & 300 kBtu input | 33 | 1.5 | kBtu/hr | 46847 | 70270.5 | 8.89 | 3.0045 | 1.0537 | 416469.83 | 226355.0367 | 20 | 940782.7223 | 182285.0183 | 4 | 187388 | 0.19918 | 0.39294 | 1.1504 | 0.2406 | 0.43436 | 0.92515
#REF! | DHW Tankless Water Heater | Energy Star | .82 EF | 20 | 35 | gpm | 135.12 | 4729.2 | 137.9 | 66.4438 | 23.1657 | 18633.048 | 6525.0115 | 18 | 59049.5434 | 12267.7697 | 60 | 8107.2 | 0.13729 | 0.34505 | 1.3348 | 0.1105 | 0.31825 | 1.2859
#REF! | Gas Convection Oven | Energy Star | ≥44% Cooking Eff/ ≤13,000 Btu/hr Idle Rate | 6 | 261 | each | 6 | 1566 | 900 | 398.8102 | 135.2484 | 5400 | 2195.6485 | 12 | 14553.1149 | 4062.2785 | 400 | 2400 | 0.16491 | 0.44405 | 1.0707 | 0.15087 | 0.43001 | 1.006
#REF! | Conn 6 Pan Gas Steamer | Energy Star or CEE/FSTC Qualified | ≥38% Cooking Eff / ≤2,083 Btu/hr/pan Idle Rate | 0 | 912 | each | 0 | 0 | 3200 | 1393.5438 | 472.592 | 0 | 0 | 12 | 0 | 0 | 1200 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Door Type Dish LT Gas | Energy Star | ≤.6 kw Idle Rate/ ≤1.18 gallon/rack | 1 | 448 | each | 1 | 448 | 1800 | 684.5478 | 232.1504 | 1800 | 883.3017 | 12 | 4163.3432 | 1162.1333 | 600 | 600 | 0.14411 | 0.42325 | 1.1233 | 0.21216 | 0.4913 | 0.88048
#REF! | Double Rack Oven | Double Rack Oven | FSTC Qualified/≥50% Cooking Eff/ ≤3,500 Btu/hr/Idle Rate D Rack | 0 | 1806 | each | 0 | 0 | 6200 | 2759.5834 | 935.8565 | 0 | 0 | 12 | 0 | 0 | 2000 | 0 | 0 | 0 | - | 0 | 0 | -
#REF! | Gas Griddle | Energy Star | ≥38% Cooking Eff/ ≤2650 Btu/hr sq ft Idle Rate | 0 | 158 | each | 0 | 0 | 1048 | 241.4253 | 81.8745 | 0 | 0 | 12 | 0 | 0 | 200 | 0 | 0 | 0 | - | 0 | 0 | -
| Gas Fryer (New Tariff) | Energy Star | None | 7 | 272 | each | 16 | 4352 | 1049 | 415.6183 | 140.9485 | 16784 | 7878.9312 | 12 | 40443.9056 | 11289.2949 | 600 | 9600 | 0.23737 | 0.5165 | 0.92053 | 0.19481 | 0.47395 | 0.91271
| Motion Control Faucet | Maximum flow rate of 1.8 gpm | WaterSense® Certified and Below Deck Mixing Valve | 1 | 136 | each | 1 | 136 | 315 | 131.0978 | 40.7155 | 315 | 143.1867 | 5 | 602.5672 | 352.7905 | 105 | 105 | 0.17425 | 0.75973 | 0.63931 | 0.23763 | 0.82311 | 0.54841
| Insulation - Attic (New Tariff) | Attic Insulation (Tier 1) | Minimum R-30 | 1 | 0.31 | sq. ft. | 7200 | 2232 | 1.35 | 0.74869 | 0.26732 | 9720 | 2404.7503 | 30 | 37811.4888 | 5789.9141 | 0.5 | 3600 | 0.095209 | 0.24833 | 1.7599 | 0.063598 | 0.21672 | 1.7159
| Insulation - Wall (New Tariff) | Wall Insulation (Tier 2) | Minimum R-19 | 1 | 0.19 | sq. ft. | 6840 | 1299.6 | 1.7 | 0.45887 | 0.16384 | 11628 | 7368.6369 | 30 | 22016.0443 | 3371.2242 | 0.56 | 3830.4 | 0.17398 | 0.32711 | 1.3361 | 0.33469 | 0.48782 | 0.76235
| Gas Convection Oven (New Tariff) | Energy Star | ≥42% Cooking Eff/ ≤13,000 Btu/hr Idle Rate | 2 | 213 | each | 2 | 426 | 900 | 325.4658 | 110.3751 | 1800 | 928.3182 | 12 | 3958.8933 | 1105.0643 | 450 | 900 | 0.22734 | 0.50647 | 0.93876 | 0.23449 | 0.51362 | 0.8422
| Radiant Heating (New Tariff) | Direct Fired Radiant Heating | None | 8 | 4.33 | kBtu/hr | 310 | 1342.3 | 21 | 8.22 | 2.8659 | 6510 | 3073.3474 | 18 | 16760.1713 | 3481.99 | 6.95 | 2154.5 | 0.12855 | 0.3363 | 1.3695 | 0.18337 | 0.39113 | 1.0463
| Energy Saver Kit A | Kitchen Pre Rinse Spray Valve & Bath Aerators | Provided | 2 | 109 | each | 2 | 218 | 55 | 105.071 | 32.6323 | 110 | -165.4067 | 5 | 965.8798 | 565.5024 | 68.59 | 137.18 | 0.14203 | 0.7275 | 0.66764 | -0.17125 | 0.41423 | 1.0897
| Energy Saver Kit B | Low Flow Showerhead | Provided | 3 | 14 | each | 3 | 42 | 25 | 19.3613 | 6.4669 | 75 | -2.4847 | 10 | 337.7929 | 108.95 | 26.49 | 79.47 | 0.23526 | 0.5578 | 0.8669 | -0.0073556 | 0.31518 | 1.3965
Custom Measures
| WVC - Batjer Hall Custom Controls Upgrade | COMCUSTDDC | COMCUSTDDC | 1 | 19830 | /unit | 1 | 19830 | 154350 | 34197.551 | 11787.5887 | 154350 | 108364.8603 | 15 | 217879.7497 | 22593.7268 | 24996 | 24996 | 0.11472 | 0.21842 | 2.1748 | 0.49736 | 0.60106 | 0.7026
| WVC - Brown Library Custom Controls Upgrade | COMCUSTDDC | COMCUSTDDC | 1 | 12880 | /unit | 1 | 12880 | 49445 | 22212.025 | 7656.2856 | 49445 | 19576.6894 | 15 | 141517.4572 | 14675.0984 | 16235 | 16235 | 0.11472 | 0.21842 | 2.1748 | 0.13833 | 0.24203 | 1.7448
| City of Longview Water/Sewer Custom Controls Upgrade | COMCUSTDDC | COMCUSTDDC | 1 | 6762 | /unit | 1 | 6762 | 13938 | 11661.3131 | 4019.5499 | 13938 | 0 | 15 | 74296.665 | 7704.4266 | 6969 | 6969 | 0.0938 | 0.1975 | 2.4052 | 0 | 0.1037 | -
| City of Longview Library Custom Controls Upgrade | COMCUSTDDC | COMCUSTDDC | 1 | 4239 | /unit | 1 | 4239 | 33211 | 7310.3085 | 2519.7977 | 33211 | 23380.8937 | 15 | 46575.5047 | 4829.7936 | 7980 | 7980 | 0.17133 | 0.27503 | 1.7271 | 0.502 | 0.6057 | 0.69722
| Barrie Apartments (Judy Holloway) Cust Insulation | COMCUSTINS | COMCUSTINS | 1 | 243 | /unit | 1 | 243 | 1974 | 586.8725 | 209.5458 | 1974 | 1177.5817 | 30 | 4116.5734 | 276.8672 | 492 | 492 | 0.11952 | 0.18677 | 2.34 | 0.28606 | 0.35332 | 1.0526
| Stremler Gravel Custom Insulation | COMCUSTINS | COMCUSTINS | 1 | 423 | /unit | 1 | 423 | 17280 | 1021.5929 | 364.7649 | 17280 | 15893.6422 | 30 | 7165.887 | 481.9539 | 856 | 856 | 0.11945 | 0.18671 | 2.3408 | 2.218 | 2.2852 | 0.16274
| Whatcom Land Trust (A) Air Sealing | COMCUSTINS | COMCUSTINS | 1 | 98 | /unit | 1 | 98 | 550 | 169.0045 | 58.2543 | 550 | 322.7411 | 15 | 1076.7633 | 111.6584 | 124 | 124 | 0.11516 | 0.21886 | 2.1704 | 0.29973 | 0.40343 | 1.0468
| Walla Walla Nursery Custom Greenhouse | COMCUSTOTH | COMCUSTOTH | 1 | 11853 | /unit | 1 | 11853 | 67213 | 17269.3643 | 5815.4564 | 67213 | 44128.1793 | 11 | 102892.3645 | 13504.9644 | 11444 | 11444 | 0.11122 | 0.24248 | 1.975 | 0.42888 | 0.56013 | 0.77741
| Stanwood High School Control Upgrade | COMCUSTDDC | COMCUSTDDC | 1 | 7504 | /unit | 1 | 7504 | 31300 | 12940.9189 | 4460.6186 | 31300 | 13898.4625 | 15 | 82449.3011 | 8549.8399 | 9459 | 9459 | 0.11473 | 0.21842 | 2.1748 | 0.16857 | 0.27227 | 1.5511
| Shields Bag and Printing Custom 2014 | COMCUSTOTH | COMCUSTOTH | 1 | 229000 | /unit | 1 | 229000 | 291500 | 394918.7681 | 136124.9531 | 291500 | 0 | 15 | 2516110.0694 | 260915.957 | 145750 | 145750 | 0.057927 | 0.16162 | 2.939 | 0 | 0.1037 | -
| Cowiche Canyon Combi Oven | COMCUSTOTH | COMCUSTOTH | 1 | 712 | /unit | 1 | 712 | 5660 | 1087.9421 | 368.9534 | 5660 | 4203.1046 | 12 | 6616.7419 | 811.2321 | 739 | 739 | 0.11169 | 0.23429 | 2.0294 | 0.63522 | 0.75783 | 0.57081
| Hoquiam High School Retrocommissioning | COMCUSTRET | COMCUSTRET | 1 | 28046 | /unit | 1 | 28046 | 54500 | 27035.0654 | 8396.3797 | 54500 | 19068.5549 | 5 | 124261.7708 | 31954.7988 | 12971 | 12971 | 0.10438 | 0.36154 | 1.3434 | 0.15345 | 0.41061 | 1.0993
| Lincoln Elementary Custom DDC Controls | COMCUSTDDC | COMCUSTDDC | 1 | 1442 | /unit | 1 | 1442 | 18708 | 2486.7811 | 857.1711 | 18708 | 15364.0478 | 15 | 15843.8023 | 1642.973 | 1818 | 1818 | 0.11475 | 0.21844 | 2.1746 | 0.96972 | 1.0734 | 0.39342
| TOTAL PROGRAM | [6 empty] | 465175.787 |  |  |  | 1445956.612 | 611032.452 | 15.4333 | 5098851.1539 | 736781.0324 |  | 544569 | 0.1068 | 0.2513 | 1.8948 | 0.11984 | 0.26434 | 1.6014
| Nominal interest rate (post tax cost of cap.) | 8.76%
| Inflation rate | 2%
| Long term real discount rate | 4.17%
Total 2014 Program Admin
736106.58
custom admin
368053.29
prescriptive admin
368053.29
Note on K5: Robert Cuti: 1) Economic Impact- Based on 50% of Retail Value of 1st year therm savings 2) Carbon Offset- Based on PV of annual CO2 reduction valued at $20/ton
Note on L5: Robert Cuti: 1) Property Value Adder- Based on 10% of Retail Value of 1st Year therm savings 2) Maintenance Benefit- PV of annual maintenance benefit based on 5% of Retail Value of 1st Year therm savings 3) Water/Sewer Savings- PV of annual water/sewer savings benefit based on $2/1000 gallons- Where applicable
Note on N5: Robert Cuti: Incremental Cost - (Societal Nebs+Participant Nebs)
Note on Z5: Robert Cuti: Uses Column 6 PV amounts in APP 2885 table to make B/C Ratio calc
Note on O64: srinivas.duggirala: An average of Measure Life weighted for Total Annual Therm Savings
Note on B71: Brian Farnsworth: Program Admin Billed to Date (through the end of December 2014)

## APP 2885
CASCADE NATURAL GAS CORPORATION
2014 INTEGRATED RESOURCE PLAN
PORTFOLIO COST APPENDIX 1 TABLE H
45 YEAR RESOURCE SUMMARY COSTS - MELDED COST PER THERM
|  | IRP ANNUAL |  | PV OF | NON | PORTFOLIO COSTS
|  | PORTFOLIO | NOMINAL | RESOURCE | ENERGY | WITH | COST-
|  | COST PER | COST PER | PORTFOLIO | BENEFIT | CONSERVATION | EFFECTIVENESS
| YEAR | THERM (PV)* | THERM | COST/THERM |  | CREDIT | LIMIT
2015 | 1 | 0.42 | 0.46 | 0.42 | 5% | 0.445 | 0.4635
2016 | 2 | 0.42 | 0.5 | 0.84 | 5% | 0.8848 | 0.4703
2017 | 3 | 0.41 | 0.53 | 1.25 | 5% | 1.3154 | 0.4755
2018 | 4 | 0.38 | 0.53 | 1.63 | 5% | 1.7158 | 0.4746
2019 | 5 | 0.37 | 0.56 | 2 | 7.5% | 2.152 | 0.4857
2020 | 6 | 0.34 | 0.56 | 2.34 | 7.5% | 2.5185 | 0.4831
2021 | 7 | 0.31 | 0.57 | 2.66 | 7.5% | 2.8567 | 0.4789
2022 | 8 | 0.31 | 0.61 | 2.97 | 7.5% | 3.1922 | 0.4775
2023 | 9 | 0.29 | 0.63 | 3.26 | 7.5% | 3.5083 | 0.4755
2024 | 10 | 0.27 | 0.63 | 3.54 | 10% | 3.8891 | 0.4836
2025 | 11 | 0.24 | 0.61 | 3.78 | 10% | 4.1571 | 0.4789
2026 | 12 | 0.24 | 0.65 | 4.02 | 10% | 4.4185 | 0.4755
2027 | 13 | 0.23 | 0.67 | 4.24 | 10% | 4.6671 | 0.4723
2028 | 14 | 0.21 | 0.67 | 4.45 | 10% | 4.896 | 0.4687
2029 | 15 | 0.19 | 0.66 | 4.64 | 12.5% | 5.2192 | 0.475
2030 | 16 | 0.18 | 0.67 | 4.82 | 12.5% | 5.4169 | 0.4707
2031 | 17 | 0.15 | 0.64 | 4.97 | 12.5% | 5.5902 | 0.4656
2032 | 18 | 0.14 | 0.65 | 5.11 | 12.5% | 5.7507 | 0.4606
2033 | 19 | 0.14 | 0.69 | 5.25 | 12.5% | 5.9071 | 0.4563
2034 | 20 | 0.13 | 0.69 | 5.38 | 12.5% | 6.0521 | 0.4521
2035 | 21 | 0.12 | 0.71 | 5.5 | 15% | 6.3257 | 0.458
2036 | 22 | 0.11 | 0.72 | 5.61 | 15% | 6.4561 | 0.454
2037 | 23 | 0.11 | 0.73 | 5.72 | 15% | 6.5785 | 0.4503
2038 | 24 | 0.1 | 0.75 | 5.82 | 15% | 6.6932 | 0.4467
2039 | 25 | 0.09 | 0.76 | 5.91 | 15% | 6.8008 | 0.4432
2040 | 26 | 0.09 | 0.78 | 6 | 17.5% | 7.0517 | 0.4494
2041 | 27 | 0.08 | 0.79 | 6.08 | 17.5% | 7.1484 | 0.4461
2042 | 28 | 0.08 | 0.81 | 6.16 | 17.5% | 7.2391 | 0.443
2043 | 29 | 0.07 | 0.83 | 6.23 | 17.5% | 7.3241 | 0.44
2044 | 30 | 0.07 | 0.84 | 6.3 | 17.5% | 7.4039 | 0.437
2045 | 31 | 0.06 | 0.86 | 6.36 | 20% | 7.6378 | 0.4435
2046 | 32 | 0.06 | 0.88 | 6.42 | 20% | 7.7094 | 0.4407
2047 | 33 | 0.06 | 0.89 | 6.48 | 20% | 7.7766 | 0.4381
2048 | 34 | 0.05 | 0.91 | 6.53 | 20% | 7.8396 | 0.4355
2049 | 35 | 0.05 | 0.93 | 6.58 | 20% | 7.8987 | 0.433
2050 | 36 | 0.05 | 0.95 | 6.63 | 20% | 7.9541 | 0.4306
2051 | 37 | 0.04 | 0.97 | 6.67 | 20% | 8.0061 | 0.4283
2052 | 38 | 0.04 | 0.99 | 6.71 | 20% | 8.0549 | 0.4261
2053 | 39 | 0.04 | 1.01 | 6.75 | 20% | 8.1006 | 0.424
2054 | 40 | 0.04 | 1.03 | 6.79 | 20% | 8.1434 | 0.4219
2055 | 41 | 0.03 | 1.05 | 6.82 | 20% | 8.1837 | 0.4199
2056 | 42 | 0.03 | 1.07 | 6.85 | 20% | 8.2214 | 0.418
2057 | 43 | 0.03 | 1.09 | 6.88 | 20% | 8.2567 | 0.4161
2058 | 44 | 0.03 | 1.11 | 6.91 | 20% | 8.2899 | 0.4143
2059 | 45 | 0.03 | 1.13 | 6.93 | 20% | 8.321 | 0.4126
Cascade's Long Term Real Discount Rate: |  |  |  | 4.17%
|  | IRP Discount Rate = |  | 8.76%
|  | Revised Discount Rate= |  | 8.76%
|  | Years 21-45 Escalation = |  | 2% | (EIA Inflation Rate)

## PIVOT (hidden)
Row Labels | Sum of Current Incentive Total (Measures)
2014-03-21 | 3336
2014-04-03 | 3492
2014-05-05 | 4783.2
2014-05-16 | 12100
2014-06-19 | 2060
2014-07-31 | 13040
2014-09-04 | 6464
2014-10-01 | 1200
2014-10-16 | 81770.2
2014-10-27 | 4114.3
2014-12-15 | 33374.75
2015-01-05 | 21640
2015-02-04 | 35581
2015-03-18 | 46400
2015-03-30 | 10710.4
2015-05-05 | 8925
2015-05-12 | 15528.5
Grand Total | 304519.35

## LM data
Program Type | Project Number | Project Name | Payee Company | LM BD Lead | Fac Address 1 | Fac City | Fac Address 2 | Measure Code (Measures) | Measure Life (Measures) | Current Total Savings thm (Measures) | Current Incentive Total (Measures) | Current Status | Pending Milestone | Project End | Install Date (Measures) | Zone | Installer (Measures) | Trade Ally (Measures) | Baseline Equipment Description (Measures) | Account Manager | Installed Units (Measures) | Installed per Unit thm (Measures)
COM Standard | 007137-C-BIRCHWOOD | Birchwood Boilers & Tanked DHW | Bellingham School District #501 | Bob Cuti | 3200 Pinewood Ave | Bellingham |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2014-10-16 | 2014-08-20 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007137-C-BIRCHWOOD | Birchwood Boilers & Tanked DHW | Bellingham School District #501 | Bob Cuti | 3200 Pinewood Ave | Bellingham |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2014-10-16 | 2014-08-20 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007135-C-CHIEF JOSE | Chief Joseph Middle High Efficiency Boilers | Richland School District No. 400 | Bob Cuti | 504 Wilson St | Richland |  | COMBOILERS | 20 | 4500 | 12000 | 7-Completed |  | 2014-10-16 | 2014-07-29 | Zone 3 | Three Rivers Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 3000 | 1.5
COM Standard | 007135-C-CHIEF JOSE | Chief Joseph Middle High Efficiency Boilers | Richland School District No. 400 | Bob Cuti | 504 Wilson St | Richland |  | COMBOILERS | 20 | 4500 | 12000 | 7-Completed |  | 2014-10-16 | 2014-07-29 | Zone 3 | Three Rivers Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 3000 | 1.5
COM Standard | 007135-C-CHIEF JOSE | Chief Joseph Middle High Efficiency Boilers | Richland School District No. 400 | Bob Cuti | 504 Wilson St | Richland |  | COMBOILERS | 20 | 4500 | 12000 | 7-Completed |  | 2014-10-16 | 2014-07-29 | Zone 3 | Three Rivers Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 3000 | 1.5
COM Standard | 007151-C-DAVIS SCHO | Davis Elementary School Boilers | College Place School District No. 250 | Bob Cuti | 31 SE Ash Ave | College Place |  | COMBOILERS | 20 | 2250 | 6000 | 7-Completed |  | 2014-12-15 | 2014-08-31 | Zone 3 |  |  | High-Efficiency-Condensing Boiler |  | 1500 | 1.5
COM Standard | 007151-C-DAVIS SCHO | Davis Elementary School Boilers | College Place School District No. 250 | Bob Cuti | 31 SE Ash Ave | College Place |  | COMBOILERS | 20 | 2250 | 6000 | 7-Completed |  | 2014-12-15 | 2014-08-31 | Zone 3 |  |  | High-Efficiency-Condensing Boiler |  | 1500 | 1.5
COM Standard | 007202-C-FERNDALE L | Ferndale Library Boilers | City of Ferndale | Autumn Marks | 2125 Main St | Ferndale |  | COMBOILERS | 20 | 900 | 2400 | 7-Completed |  | 2015-05-12 | 2014-05-21 | Zone 1 | Columbia Hydronics Company |  | High-Efficiency-Condensing Boiler |  | 600 | 1.5
COM Standard | 007202-C-FERNDALE L | Ferndale Library Boilers | City of Ferndale | Autumn Marks | 2125 Main St | Ferndale |  | COMBOILERS | 20 | 900 | 2400 | 7-Completed |  | 2015-05-12 | 2014-05-21 | Zone 1 | Columbia Hydronics Company |  | High-Efficiency-Condensing Boiler |  | 600 | 1.5
COM Standard | 007172-C-HILLCREST | Hillcrest Elementary Boilers | Oak Harbor School District No. 201 | Brian Farnsworth | 1500 NW 2nd Ave | Oak Harbor |  | COMBOILERS | 20 | 900 | 2400 | 7-Completed |  | 2015-03-18 | 2014-09-01 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | High-Efficiency-Condensing Boiler |  | 600 | 1.5
COM Standard | 007172-C-HILLCREST | Hillcrest Elementary Boilers | Oak Harbor School District No. 201 | Brian Farnsworth | 1500 NW 2nd Ave | Oak Harbor |  | COMBOILERS | 20 | 1500 | 4000 | 7-Completed |  | 2015-03-18 | 2014-09-01 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | High-Efficiency-Condensing Boiler |  | 1000 | 1.5
COM Standard | 007095-C-HOLTZINGER | Holtzinger Fruit Boilers | C.M. Holtzinger Fruit Co. | Brian Farnsworth | 1312 N 6th Ave | Yakima |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2015-01-05 | 2014-09-26 | Zone 3 | Atlas Boiler and Equipment Co. |  | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007130-C-LONGVIEW S | Longview School District Boiler | Longview School District #122 | Bob Cuti | 2903 Nichols Blvd | Longview |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2014-12-15 | 2014-09-26 | Zone 2 | Stewart Plumbing, Inc. |  | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007130-C-LONGVIEW S | Longview School District Boiler | Longview School District #122 | Bob Cuti | 2903 Nichols Blvd | Longview |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2014-12-15 | 2014-09-26 | Zone 2 | Stewart Plumbing, Inc. |  | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007191-C-MASON COUN | Mason County Government Boilers | Mason County Government | Bob Cuti | 416 N 5th St | Shelton |  | COMBOILERS | 20 | 525 | 1400 | 7-Completed |  | 2015-05-05 | 2014-11-18 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 350 | 1.5
COM Standard | 007139-C-OLYMPIC CO | Olympic College Gym Boilers | Olympic College | Autumn Marks | 1600 Chester Ave #GYM | Bremerton |  | COMBOILERS | 20 | 598.5 | 1596 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 399 | 1.5
COM Standard | 007139-C-OLYMPIC CO | Olympic College Gym Boilers | Olympic College | Autumn Marks | 1600 Chester Ave #GYM | Bremerton |  | COMBOILERS | 20 | 598.5 | 1596 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 399 | 1.5
COM Standard | 007141-C-OLYMPIC CO | Olympic College Science & Technology Boilers | Olympic College | Bob Cuti | 1600 Chester Ave | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007141-C-OLYMPIC CO | Olympic College Science & Technology Boilers | Olympic College | Bob Cuti | 1600 Chester Ave | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007141-C-OLYMPIC CO | Olympic College Science & Technology Boilers | Olympic College | Bob Cuti | 1600 Chester Ave | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007140-C-OLYMPIC CO | Olympic College Student Center Kitchen Boilers | Olympic College | Bob Cuti | 1018 15th St | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007140-C-OLYMPIC CO | Olympic College Student Center Kitchen Boilers | Olympic College | Bob Cuti | 1018 15th St | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007140-C-OLYMPIC CO | Olympic College Student Center Kitchen Boilers | Olympic College | Bob Cuti | 1018 15th St | Bremerton |  | COMBOILERS | 20 | 1275 | 3400 | 7-Completed |  | 2015-02-04 | 2014-10-15 | Zone 2 | General Mechanical |  | High-Efficiency-Condensing Boiler |  | 850 | 1.5
COM Standard | 007122-C-ST. GABRIE | St. Gabriel Church Boiler | St. Gabriel Catholic Church | Brian Farnsworth | 1150 Mitchell Rd SE | Port Orchard |  | COMBOILERS | 20 | 1575 | 4200 | 7-Completed |  | 2014-07-31 | 2014-01-16 | Zone 2 |  |  | High-Efficiency-Condensing Boiler |  | 1050 | 1.5
COM Standard | 007108-C-STANWOOD H | Stanwood High School Control Upgrade, Boilers | Stanwood-Camano School District NO. 401 | Bob Cuti | 7400 272nd St NW | Stanwood |  | COMBOILERS | 20 | 4500 | 12000 | 7-Completed |  | 2015-03-18 | 2014-01-01 | Zone 1 |  |  | High-Efficiency-Condensing Boiler |  | 3000 | 1.5
COM Standard | 007108-C-STANWOOD H | Stanwood High School Control Upgrade, Boilers | Stanwood-Camano School District NO. 401 | Bob Cuti | 7400 272nd St NW | Stanwood |  | COMBOILERS | 20 | 4500 | 12000 | 7-Completed |  | 2015-03-18 | 2014-01-01 | Zone 1 |  |  | High-Efficiency-Condensing Boiler |  | 3000 | 1.5
COM Standard | 007168-C-WALLA WALL | Walla Walla Community College Boilers | Walla Walla Community College | Autumn Marks | 500 Tausick Way | Walla Walla |  | COMBOILERS | 20 | 598.5 | 1596 | 7-Completed |  | 2015-02-04 | 2014-08-01 | Zone 3 | Valley Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 399 | 1.5
COM Standard | 007168-C-WALLA WALL | Walla Walla Community College Boilers | Walla Walla Community College | Autumn Marks | 500 Tausick Way | Walla Walla |  | COMBOILERS | 20 | 900 | 2400 | 7-Completed |  | 2015-02-04 | 2014-08-01 | Zone 3 | Valley Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 600 | 1.5
COM Standard | 007169-C-WALLA WALL | Walla Walla Community College Boilers (2) | Walla Walla Community College | Autumn Marks | 500 Tausick Way | Walla Walla |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2015-03-18 | 2014-08-01 | Zone 3 | Johnson Controls, Inc. |  | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007169-C-WALLA WALL | Walla Walla Community College Boilers (2) | Walla Walla Community College | Autumn Marks | 500 Tausick Way | Walla Walla |  | COMBOILERS | 20 | 3000 | 8000 | 7-Completed |  | 2015-03-18 | 2014-08-01 | Zone 3 | Johnson Controls, Inc. |  | High-Efficiency-Condensing Boiler |  | 2000 | 1.5
COM Standard | 007048-C-WALLA WALL | Walla Walla Nursery Boiler | Walla Walla Nursery Co. | Bob Cuti | 4176 Stateline Rd | Walla Walla |  | COMBOILERS | 20 | 2625 | 7000 | 7-Completed |  | 2014-05-16 | 2014-04-14 | Zone 3 | Rough Brothers, Inc. |  | High-Efficiency-Condensing Boiler |  | 1750 | 1.5
COM Standard | 007163-C-WALLA WALL | Walla Walla SD (Berney) Boilers | Walla Walla School District #140 | Autumn Marks | 1718 Pleasant St | Walla Walla |  | COMBOILERS | 20 | 1500 | 4000 | 7-Completed |  | 2015-01-05 | 2014-10-04 | Zone 3 | Cutting Edge Plumbing & Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 1000 | 1.5
COM Standard | 007163-C-WALLA WALL | Walla Walla SD (Berney) Boilers | Walla Walla School District #140 | Autumn Marks | 1718 Pleasant St | Walla Walla |  | COMBOILERS | 20 | 1500 | 4000 | 7-Completed |  | 2015-01-05 | 2014-10-04 | Zone 3 | Cutting Edge Plumbing & Mechanical, Inc. |  | High-Efficiency-Condensing Boiler |  | 1000 | 1.5
COM Standard | 007117-C-WANDER BRE | Wander Brewing Boiler Vent Damper, Steam Traps | Wander Brewing, LLC | Brian Farnsworth | 1807 Dean Ave | Bellingham |  | COMBOILSTP | 7 | 821.4 | 480 | 7-Completed |  | 2014-06-19 | 2014-02-10 | Zone 1 |  |  | Steam Trap fitted to Steam Boiler* |  | 6 | 136.9
COM Standard | 007117-C-WANDER BRE | Wander Brewing Boiler Vent Damper, Steam Traps | Wander Brewing, LLC | Brian Farnsworth | 1807 Dean Ave | Bellingham |  | COMBOILVTD | 12 | 270 | 1000 | 7-Completed |  | 2014-06-19 | 2014-02-10 | Zone 1 |  |  | Boiler Vent Damper |  | 1 | 270
COM Standard | 007137-C-BIRCHWOOD | Birchwood Boilers & Tanked DHW | Bellingham School District #501 | Bob Cuti | 3200 Pinewood Ave | Bellingham |  | COMDHWTSCT | 15 | 157.21 | 497.5 | 7-Completed |  | 2014-10-16 | 2014-08-20 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | Condensing Tank |  | 199 | 0.79
COM Standard | 007137-C-BIRCHWOOD | Birchwood Boilers & Tanked DHW | Bellingham School District #501 | Bob Cuti | 3200 Pinewood Ave | Bellingham |  | COMDHWTSCT | 15 | 157.21 | 497.5 | 7-Completed |  | 2014-10-16 | 2014-08-20 | Zone 1 |  | Blythe Plumbing & Heating, Inc. | Condensing Tank |  | 199 | 0.79
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Condensing Tank |  | 200 | 0.79
COM Standard | 007145-C-DAYS INN B | Days Inn Bellingham Tanked DHW | Days Inn Bellingham | Autumn Marks | 215 N Samish Way | Bellingham |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2014-10-16 | 2014-02-11 | Zone 1 |  | Favinger Plumbing | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007204-C-HOT STONE | Hot Stone LLC Tanked DHW | Hot Stone LLC | Autumn Marks | 4862 W Hildebrand Blvd | Kennewick |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-12 | 2014-02-01 | Zone 3 | York Custom Mechanical |  | Condensing Tank |  | 200 | 0.79
COM Standard | 007204-C-HOT STONE | Hot Stone LLC Tanked DHW | Hot Stone LLC | Autumn Marks | 4862 W Hildebrand Blvd | Kennewick |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-12 | 2014-02-01 | Zone 3 | York Custom Mechanical |  | Condensing Tank |  | 200 | 0.79
COM Standard | 007167-C-LINCOLN EL | Lincoln Elementary Custom and Standard DHW Tank | Kennewick School District #17 | Bob Cuti | 4901 W 20th Ave | Kennewick |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-02-04 | 2014-04-15 | Zone 3 |  | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007167-C-LINCOLN EL | Lincoln Elementary Custom and Standard DHW Tank | Kennewick School District #17 | Bob Cuti | 4901 W 20th Ave | Kennewick |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-02-04 | 2014-04-15 | Zone 3 |  | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007191-C-MASON COUN | Mason County Government Boilers | Mason County Government | Bob Cuti | 416 N 5th St | Shelton |  | COMDHWTSCT | 15 | 671.5 | 2125 | 7-Completed |  | 2015-05-05 | 2014-11-18 | Zone 2 | General Mechanical |  | Condensing Tank |  | 850 | 0.79
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-08-21 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-08-21 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2015-05-05 | 2014-08-21 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Condensing Tank |  | 200 | 0.79
COM Standard | 007115-C-NORTH STAR | North Star Restaurants (McDonald's) Tanked DHW, Fryers | North Star Restaurants, Inc. | Autumn Marks | 300 Kelso Dr | Kelso |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2014-05-16 | 2014-01-05 | Zone 2 | Hendrickson Plumbing, LLC |  | Condensing Tank |  | 200 | 0.79
COM Standard | 007120-C-STICK & ST | Stick & Stone Pizza Tanked DHW | Stick and Stone Investments, Inc. | Autumn Marks | 3027 Duportail St | Richland |  | COMDHWTSCT | 15 | 158 | 500 | 7-Completed |  | 2014-06-19 | 2014-01-01 | Zone 3 | Riggle Plumbing Inc |  | Condensing Tank |  | 200 | 0.79
COM Standard | 007158-C-UNION GOSP | Union Gospel Mission Tanked DHW | Union Gospel Mission of Yakima, Wash. | Autumn Marks | 1302 N 1st St | Yakima |  | COMDHWTSCT | 15 | 157.92 | 499.75 | 7-Completed |  | 2014-12-15 | 2014-06-14 | Zone 3 | Pinnacle Plumbing and Heating, Inc. |  | Condensing Tank |  | 199.9 | 0.79
COM Standard | 007187-C-WALLA WALL | Walla Walla Hospitality DHW | Walla Walla Hospitality (Courtyard Marriott) | Autumn Marks | 550 W Rose St | Walla Walla |  | COMDHWTSCT | 15 | 790 | 2500 | 7-Completed |  | 2015-03-30 | 2014-11-25 | Zone 3 | McGee Plumbing Co, Inc. |  | Condensing Tank |  | 1000 | 0.79
COM Standard | 007156-C-FIDALGO GR | Fidalgo Elementary Dishwasher | Anacortes School District | Bob Cuti | 13590 Gibralter Rd | Anacortes |  | COMFSDISDL | 12 | 448 | 600 | 7-Completed |  | 2014-12-15 | 2014-08-21 | Zone 1 | Hobart Service |  | Door Type- Low Temp-Gas Main |  | 1 | 448
COM Standard | 007112-C-AJP ENTERP | AJP Enterprises Fryer | AJP Enterprises, LLC | Autumn Marks | 400 E Heron St | Aberdeen |  | COMFSFRYER | 8 | 2192 | 2400 | 7-Completed |  | 2014-05-05 | 2014-01-07 | Zone 2 |  |  | Gas Fryer |  | 4 | 548
COM Standard | 007126-C-AVENUE CAT | Avenue Catering Fryer | Dick's Restaurant Supply | Autumn Marks | 654 S Spruce St | Burlington |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-07-31 | 2014-05-30 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007174-C-BUFFALO WI | Buffalo Wild Wings Fryers | Blazin Wings Inc | Autumn Marks | 6 Bellis Fair Parkway | Bellingham |  | COMFSFRYER | 8 | 3836 | 4200 | 7-Completed |  | 2015-02-04 | 2014-07-21 | Zone 1 |  |  | Gas Fryer |  | 7 | 548
COM Standard | 007132-C-CASTLE CAT | Castle Catering (Purple Starfish) Standard | Purple Starfish LLC | Autumn Marks | 608 Williams Blvd | Richland |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-09-04 | 2014-03-01 | Zone 3 | Columbia River Plumbing & Mechanical |  | Gas Fryer |  | 1 | 548
COM Standard | 007131-C-EZ'S BURGE | EZ's Burger Deluxe Fryers | DSL Northwest, Inc. | Autumn Marks | 1950 N Wenatchee Ave | Wenatchee |  | COMFSFRYER | 8 | 1644 | 1800 | 7-Completed |  | 2014-09-04 | 2014-02-25 | Zone 3 | DSL Northwest, Inc. |  | Gas Fryer |  | 3 | 548
COM Standard | 007136-C-GAUFRE GOU | Gaufre Gourmet Fryer | Gaufre Gourmet, LLC | Brian Farnsworth | 351 Three Rivers Dr | Kelso | SP 222 | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-01 | 2014-04-24 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007123-C-GOOD BURGE | Good Burger Fryer | Fullner Food Service Contracting LLC | Autumn Marks | 5687 3rd Ave | Ferndale |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-07-31 | 2014-05-06 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007144-C-MESTIZO ME | Mestizo Mexican Restaurant Fryer | Dick's Restaurant Supply | Autumn Marks | 617 Metcalf St | Sedro Woolley |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-16 | 2014-06-27 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007125-C-MOOSE LODG | Moose Lodge Fryer | Dick's Restaurant Supply | Autumn Marks | 3228 Old Highway 99 S | Mount Vernon |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-07-31 | 2014-04-05 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007128-C-NELL THORN | Nell Thorn Restaurant Fryer | Dick's Restaurant Supply | Autumn Marks | 116 S 1st St | La Conner |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-07-31 | 2014-02-07 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007134-C-NIPP'S BUR | Nipp's Burgers Fryer | Nipp's Inc. | Brian Farnsworth | 980 Ocean Beach Hwy | Longview |  | COMFSFRYER | 8 | 1096 | 1200 | 7-Completed |  | 2014-09-04 | 2014-05-20 | Zone 2 |  |  | Gas Fryer |  | 2 | 548
COM Standard | 007115-C-NORTH STAR | North Star Restaurants (McDonald's) Tanked DHW, Fryers | North Star Restaurants, Inc. | Autumn Marks | 300 Kelso Dr | Kelso |  | COMFSFRYER | 8 | 1644 | 1800 | 7-Completed |  | 2014-05-16 | 2014-01-05 | Zone 2 | Hendrickson Plumbing, LLC |  | Gas Fryer |  | 3 | 548
COM Standard | 007115-C-NORTH STAR | North Star Restaurants (McDonald's) Tanked DHW, Fryers | North Star Restaurants, Inc. | Autumn Marks | 300 Kelso Dr | Kelso |  | COMFSFRYER | 8 | 1644 | 1800 | 7-Completed |  | 2014-05-16 | 2014-01-05 | Zone 2 | Hendrickson Plumbing, LLC |  | Gas Fryer |  | 3 | 548
COM Standard | 007143-C-NORTHWEST | Northwest Restaurants Inc. Fryers | Northwest Restaurants, Inc. | Autumn Marks | 1120 Barkley Blvd | Bellingham |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-16 | 2014-04-30 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007143-C-NORTHWEST | Northwest Restaurants Inc. Fryers | Northwest Restaurants, Inc. | Autumn Marks | 1120 Barkley Blvd | Bellingham |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-16 | 2014-04-30 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007138-C-PORTAL WAY | Portal Way Station Fryer | Dick's Restaurant Supply | Autumn Marks | 6000 Portal Way | Blaine |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-01 | 2014-06-05 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007098-C-RED ROBIN | Red Robin Fryers | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 1021 N Columbia Ctr Blvd | Kennewick |  | COMFSFRYER | 8 | 1096 | 1200 | 7-Completed |  | 2014-03-21 | 2014-01-03 | Zone 3 |  |  | Gas Fryer |  | 2 | 548
COM Standard | 007097-C-RED ROBIN | Red Robin Intl. Fryer | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 10455 NW Silverdale Way | Silverdale |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-03-21 | 2014-01-03 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007142-C-RED ROBIN | Red Robin Silverdale Fryer | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 10455 NW Silverdale Way | Silverdale |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-10-16 | 2014-07-17 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007104-C-CAMALOCH G | Rockaway Bar & Grill Fryers | Rockaway Bar & Grill, Inc. | Autumn Marks | 326 E North Camano Dr | Camano Island |  | COMFSFRYER | 8 | 1096 | 1200 | 7-Completed |  | 2014-04-03 | 2014-02-25 | Zone 1 |  |  | Gas Fryer |  | 2 | 548
COM Standard | 007106-C-SEEDS BIST | Seeds Bistro & Bar Fryer | Seeds Bistro & Bar, Inc. | Autumn Marks | 623 Morris St | La Conner | #15 | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-04-03 | 2014-01-28 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007127-C-SIMON REST | Skippers Silverdale Fryer | Simon Restaurants, LLC | Autumn Marks | 10725 Silverdale Way NW | Silverdale |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-07-31 | 2014-04-01 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007113-C-STANWOOD H | Stanwood Hotel and Saloon Fryer | Dick's Restaurant Supply | Autumn Marks | 26926 102nd Dr NW | Stanwood |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-05-05 | 2014-01-06 | Zone 1 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007133-C-SUSHI SAKU | Sushi Sakura Fryers | Sushi Sakura | Brian Farnsworth | 1310 Ocean Beach Hwy | Longview |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-09-04 | 2014-05-28 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007133-C-SUSHI SAKU | Sushi Sakura Fryers | Sushi Sakura | Brian Farnsworth | 1310 Ocean Beach Hwy | Longview |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-09-04 | 2014-05-28 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007107-C-THE STRIP | The Strip Steakhouse Fryer | Bargreen-Ellingson, Inc. | Autumn Marks | 405 W Railroad Ave | Shelton |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-04-03 | 2014-02-06 | Zone 2 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007114-C-VERONTE, I | Veronte, Inc (Burger King) Fryer | Veronte, Inc (DBA Burger King) | Brian Farnsworth | 2113 S 1st St | Yakima |  | COMFSFRYER | 8 | 548 | 600 | 7-Completed |  | 2014-05-16 | 2014-03-28 | Zone 3 |  |  | Gas Fryer |  | 1 | 548
COM Standard | 007173-C-AMERICAN L | American Legion #7 Fryer | Dick's Restaurant Supply | Autumn Marks | 1688 W Bakerview Rd | Bellingham |  | COMFSFRYER-NT | 8 | 272 | 600 | 7-Completed |  | 2015-02-04 | 2014-11-19 | Zone 1 |  |  | Gas Fryer |  | 1 | 272
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMFSFRYER-NT | 8 | 816 | 1800 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Gas Fryer |  | 3 | 272
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMFSFRYER-NT | 8 | 1088 | 2400 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Gas Fryer |  | 4 | 272
COM Standard | 007157-C-BULLPEN SP | Bullpen Sports Grill Fryer | Dick's Restaurant Supply | Autumn Marks | 701 B Metcalf St | Sedro Woolley |  | COMFSFRYER-NT | 8 | 272 | 600 | 7-Completed |  | 2014-12-15 | 2014-09-20 | Zone 1 |  |  | Gas Fryer |  | 1 | 272
COM Standard | 007155-C-CHIPOTLE M | Chipotle Mexican Grill Fryer | Chipotle Mexican Grill, Inc. | Autumn Marks | 1753 S Burlington #106B | Burlington |  | COMFSFRYER-NT | 8 | 272 | 600 | 7-Completed |  | 2014-12-15 | 2014-09-26 | Zone 1 |  |  | Gas Fryer |  | 1 | 272
COM Standard | 007165-C-MILL CITY | Mill City Grill Fryer | Mill City Grill LLC | Brian Farnsworth | 1260 Commerce Ave #A | Longview |  | COMFSFRYER-NT | 8 | 272 | 600 | 7-Completed |  | 2015-02-04 | 2014-09-03 | Zone 2 |  |  | Gas Fryer |  | 1 | 272
COM Standard | 007162-C-RED ROBIN | Red Robin (Yakima) Fryers | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 2702 W Nob Hill Blvd | Yakima |  | COMFSFRYER-NT | 8 | 1360 | 3000 | 7-Completed |  | 2015-01-05 | 2014-09-30 | Zone 3 |  |  | Gas Fryer |  | 5 | 272
COM Standard | 007171-C-BELLINGHAM | Bellingham Unitarian Fellowship Furnaces | Bellingham Unitarian Fellowship | Brian Farnsworth | 1708 I Street | Bellingham |  | COMFURNACE | 18 | 96.8 | 264 | 7-Completed |  | 2015-02-04 | 2014-11-18 | Zone 1 |  | AirTech Heating and Hydro Mechanical, Inc. | Warm-Air Furnace |  | 88 | 1.1
COM Standard | 007171-C-BELLINGHAM | Bellingham Unitarian Fellowship Furnaces | Bellingham Unitarian Fellowship | Brian Farnsworth | 1708 I Street | Bellingham |  | COMFURNACE | 18 | 96.8 | 264 | 7-Completed |  | 2015-02-04 | 2014-11-18 | Zone 1 |  | AirTech Heating and Hydro Mechanical, Inc. | Warm-Air Furnace |  | 88 | 1.1
COM Standard | 007170-C-BREMERTON | Bremerton Dance Center Furnace | Bremerton Dance Center, LLC | Brian Farnsworth | 511 Chester Ave | Bremerton |  | COMFURNACE | 18 | 88 | 240 | 7-Completed |  | 2015-02-04 | 2014-11-05 | Zone 2 |  | Economy Hearth and Home Services | Warm-Air Furnace |  | 80 | 1.1
COM Standard | 007203-C-COWICHE CA | Cowiche Canyon Convection Oven, Furnace | Cowiche Canyon Kitchen & Ice House | Autumn Marks | 202 E Yakima Ave | Yakima |  | COMFURNACE | 18 | 63.8 | 174 | 7-Completed |  | 2015-05-12 | 2014-10-24 | Zone 3 | All Seasons Heating and Cooling |  | Warm-Air Furnace |  | 58 | 1.1
COM Standard | 007103-C-FOUNTAIN C | Fountain Community Church Furnaces | Fountain Community Church | Brian Farnsworth | 2100 Broadway | Bellingham |  | COMFURNACE | 18 | 145.2 | 396 | 7-Completed |  | 2014-04-03 | 2014-01-24 | Zone 1 |  | Ronk Brothers, Inc. | Warm-Air Furnace |  | 132 | 1.1
COM Standard | 007103-C-FOUNTAIN C | Fountain Community Church Furnaces | Fountain Community Church | Brian Farnsworth | 2100 Broadway | Bellingham |  | COMFURNACE | 18 | 145.2 | 396 | 7-Completed |  | 2014-04-03 | 2014-01-24 | Zone 1 |  | Ronk Brothers, Inc. | Warm-Air Furnace |  | 132 | 1.1
COM Standard | 007153-C-HARDAN BUI | Hardan Building Furnaces | Hardan Family, LLC | Brian Farnsworth | 2825 Meridian St | Bellingham |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-05-16 | Zone 1 |  | A. A. Anderson Co, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007153-C-HARDAN BUI | Hardan Building Furnaces | Hardan Family, LLC | Brian Farnsworth | 2825 Meridian St | Bellingham |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-05-16 | Zone 1 |  | A. A. Anderson Co, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007153-C-HARDAN BUI | Hardan Building Furnaces | Hardan Family, LLC | Brian Farnsworth | 2825 Meridian St | Bellingham |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-05-16 | Zone 1 |  | A. A. Anderson Co, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007153-C-HARDAN BUI | Hardan Building Furnaces | Hardan Family, LLC | Brian Farnsworth | 2825 Meridian St | Bellingham |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-05-16 | Zone 1 |  | A. A. Anderson Co, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007153-C-HARDAN BUI | Hardan Building Furnaces | Hardan Family, LLC | Brian Farnsworth | 2825 Meridian St | Bellingham |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-05-16 | Zone 1 |  | A. A. Anderson Co, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007192-C-HILTON HOM | Hilton Homewood Furnace & Tanked DHW | Homewood Suites Richland | Autumn Marks | 1060 George Washington Way Hotel | Richland |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2015-05-05 | 2014-10-01 | Zone 3 | Wray Plumbing | Bruce Heating and Air Conditioning, Inc. | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMFURNACE | 18 | 88 | 240 | 7-Completed |  | 2015-05-05 | 2014-09-25 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Warm-Air Furnace |  | 80 | 1.1
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMFURNACE | 18 | 88 | 240 | 7-Completed |  | 2015-05-05 | 2014-09-25 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Warm-Air Furnace |  | 80 | 1.1
COM Standard | 007193-C-MY PLACE H | My Place Hotel Furnaces, Tanked DHW | Pasco My Place, LLC | Autumn Marks | 6830 Rodeo Dr | Pasco |  | COMFURNACE | 18 | 88 | 240 | 7-Completed |  | 2015-05-05 | 2014-09-25 | Zone 3 | Russell & Sons Plumbing, Inc. | Bruce Heating and Air Conditioning, Inc. | Warm-Air Furnace |  | 80 | 1.1
COM Standard | 007152-C-OXARC, INC | Oxarc, Inc. Furnaces | Oxarc, Inc. | Brian Farnsworth | 11 N 4th Ave | Walla Walla |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-12-15 | 2014-08-01 | Zone 3 |  | College Place Heating & Air Conditioning Inc | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007152-C-OXARC, INC | Oxarc, Inc. Furnaces | Oxarc, Inc. | Brian Farnsworth | 11 N 4th Ave | Walla Walla |  | COMFURNACE | 18 | 106.7 | 291 | 7-Completed |  | 2014-12-15 | 2014-08-01 | Zone 3 |  | College Place Heating & Air Conditioning Inc | Warm-Air Furnace |  | 97 | 1.1
COM Standard | 007161-C-PALAZZO PR | Palazzo Properties Furnaces | Palazzo Properties LTD | Brian Farnsworth | 2923 Covey Ln | Sunnyside |  | COMFURNACE | 18 | 92.4 | 252 | 7-Completed |  | 2014-12-15 | 2014-06-16 | Zone 3 | Chinook Heating and Cooling |  | Warm-Air Furnace |  | 84 | 1.1
COM Standard | 007161-C-PALAZZO PR | Palazzo Properties Furnaces | Palazzo Properties LTD | Brian Farnsworth | 2923 Covey Ln | Sunnyside |  | COMFURNACE | 18 | 92.4 | 252 | 7-Completed |  | 2014-12-15 | 2014-06-16 | Zone 3 | Chinook Heating and Cooling |  | Warm-Air Furnace |  | 84 | 1.1
COM Standard | 007183-C-PAT WATERS | Pat Waters Furnace | Robert Patrick Waters | Brian Farnsworth | 3610 Bethel Rd SE | Port Orchard |  | COMFURNACE | 18 | 88 | 240 | 7-Completed |  | 2015-03-30 | 2014-08-28 | Zone 2 | Hank's Sheet Metal |  | Warm-Air Furnace |  | 80 | 1.1
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMFURNACE | 18 | 110 | 300 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Warm-Air Furnace |  | 100 | 1.1
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMFURNACE | 18 | 110 | 300 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Warm-Air Furnace |  | 100 | 1.1
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMFURNACE | 18 | 110 | 300 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Warm-Air Furnace |  | 100 | 1.1
COM Standard | 007096-C-STATE FARM | State Farm Insurance Furnace | Keith L. Sorestad | Brian Farnsworth | 820 Township St | Sedro Woolley |  | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2014-03-21 | 2014-01-06 | Zone 1 |  | Right Way Plumbing & Heating | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007182-C-WILLIAM MU | William Murdoch DDS Furnaces | William BL Murdoch DDS | Autumn Marks | 120 E Birch | Walla Walla | Ste. 4 | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2015-03-30 | 2014-06-24 | Zone 3 | Valley Mechanical, Inc. |  | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007182-C-WILLIAM MU | William Murdoch DDS Furnaces | William BL Murdoch DDS | Autumn Marks | 120 E Birch | Walla Walla | Ste. 4 | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2015-03-30 | 2014-06-24 | Zone 3 | Valley Mechanical, Inc. |  | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007182-C-WILLIAM MU | William Murdoch DDS Furnaces | William BL Murdoch DDS | Autumn Marks | 120 E Birch | Walla Walla | Ste. 4 | COMFURNACE | 18 | 66 | 180 | 7-Completed |  | 2015-03-30 | 2014-06-24 | Zone 3 | Valley Mechanical, Inc. |  | Warm-Air Furnace |  | 60 | 1.1
COM Standard | 007181-C-M & L PROD | M & L Productions Insulation | M & L Productions | Brian Farnsworth | 1485 W Rose St | Walla Walla |  | COMIAT1 | 30 | 2232 | 3600 | 7-Completed |  | 2015-03-30 | 2014-09-02 | Zone 3 |  | Smith Insulation, Inc. | Tier 1 / Minimum R-30 |  | 7200 | 0.31
COM Standard | 007148-C-CROSSROADS | Crossroads Bible Church Insulation | Crossroads Bible Church, Inc. | Brian Farnsworth | 302 S Quincy St | Kennewick |  | COMIAT1Z13 | 30 | 389.42 | 488 | 7-Completed |  | 2014-10-27 | 2014-04-15 | Zone 3 |  | Intermountain West Insulation | Attic Insulation - Tier 1 / Z1&3: Minimum R-30 |  | 976 | 0.399
COM Standard | 007147-C-SKYLINE BE | Skyline Beach Club Insulation | Skyline Beach Club, Inc. | Brian Farnsworth | 6041 Sands Way | Anacortes |  | COMIAT1Z13 | 30 | 1946.32 | 2439 | 7-Completed |  | 2014-10-27 | 2014-08-27 | Zone 1 | Master Insulation & Services, LLC |  | Attic Insulation - Tier 1 / Z1&3: Minimum R-30 |  | 4878 | 0.399
COM Standard | 007149-C-WHATCOM LA | Whatcom Land Trust (A) Insulation | Whatcom Land Trust | Brian Farnsworth | 412 N Commercial St | Bellingham |  | COMIAT2Z13 | 30 | 142.45 | 227.5 | 7-Completed |  | 2014-10-27 | 2014-08-26 | Zone 1 |  | CAZ Energy Audits LLC | Attic Insulation - Tier 2 / Z1&3: Minimum R-45 |  | 350 | 0.407
COM Standard | 007150-C-WHATCOM LA | Whatcom Land Trust (B) Insulation | Whatcom Land Trust | Brian Farnsworth | 412 N Commercial St #B | Bellingham |  | COMIAT2Z13 | 30 | 191.29 | 305.5 | 7-Completed |  | 2014-10-27 | 2014-08-26 | Zone 1 |  | CAZ Energy Audits LLC | Attic Insulation - Tier 2 / Z1&3: Minimum R-45 |  | 470 | 0.407
COM Standard | 007094-C-FOURTH COR | Fourth Corner Quilts Roof Insulation | State & Ohio LLC | Brian Farnsworth | 1844 N State St | Bellingham |  | COMIRT1Z13 | 30 | 1010.22 | 1356 | 7-Completed |  | 2014-03-21 | 2014-02-07 | Zone 1 | Western Roofing Company, Inc. |  | Roof Insulation - Tier 1 / Z1&3: Minimum R-21 |  | 2260 | 0.447
COM Standard | 007146-C-MCLOUGHLIN | McLoughlin Middle School Roof Insulation | Pasco School District No 1 | Bob Cuti | 2803 Road 88 | Pasco |  | COMIRT2Z13 | 30 | 14878.24 | 25875.2 | 7-Completed |  | 2014-10-16 | 2014-07-24 | Zone 3 | Royal Roofing & Siding, Inc. |  | Roof Insulation - Tier 2 / Z1&3: Minimum R-30 |  | 32344 | 0.46
COM Standard | 007148-C-CROSSROADS | Crossroads Bible Church Insulation | Crossroads Bible Church, Inc. | Brian Farnsworth | 302 S Quincy St | Kennewick |  | COMIWT1Z13 | 30 | 185.9 | 253.5 | 7-Completed |  | 2014-10-27 | 2014-04-15 | Zone 3 |  | Intermountain West Insulation | Wall Insulation - Tier 1 / Z1&3: Minimum R-11 |  | 845 | 0.22
COM Standard | 007149-C-WHATCOM LA | Whatcom Land Trust (A) Insulation | Whatcom Land Trust | Brian Farnsworth | 412 N Commercial St | Bellingham |  | COMIWT1Z13 | 30 | 209 | 285 | 7-Completed |  | 2014-10-27 | 2014-08-26 | Zone 1 |  | CAZ Energy Audits LLC | Wall Insulation - Tier 1 / Z1&3: Minimum R-11 |  | 950 | 0.22
COM Standard | 007150-C-WHATCOM LA | Whatcom Land Trust (B) Insulation | Whatcom Land Trust | Brian Farnsworth | 412 N Commercial St #B | Bellingham |  | COMIWT1Z13 | 30 | 84.92 | 115.8 | 7-Completed |  | 2014-10-27 | 2014-08-26 | Zone 1 |  | CAZ Energy Audits LLC | Wall Insulation - Tier 1 / Z1&3: Minimum R-11 |  | 386 | 0.22
COM Standard | 007181-C-M & L PROD | M & L Productions Insulation | M & L Productions | Brian Farnsworth | 1485 W Rose St | Walla Walla |  | COMIWT2 | 30 | 1299.6 | 3830.4 | 7-Completed |  | 2015-03-30 | 2014-09-29 | Zone 3 |  | Smith Insulation, Inc. | Tier 2 / Minimum R-19 |  | 6840 | 0.19
COM Standard | 007119-C-BARRIE APA | Barrie Apartments (Judy Holloway) Custom Insulation | Judith B. Holloway | Brian Farnsworth | 102 E Chestnut | Walla Walla |  | COMIWT2Z13 | 30 | 48.6 | 80 | 7-Completed |  | 2014-06-19 | 2014-01-10 | Zone 3 |  | Smith Insulation, Inc. | Wall Insulation - Tier 2 / Z1&3: Minimum R-19 |  | 200 | 0.243
COM Standard | 007164-C-TAMARACK C | Tamarack Cellars Faucet, Tankless DHW | Tamarack Cellars | Brian Farnsworth | 108 Beech St | Walla Walla |  | COMMTNFCTR | 5 | 136 | 105 | 7-Completed |  | 2015-02-04 | 2014-09-09 | Zone 3 | Chris Johnson Plumbing |  | Motion Faucet Controls |  | 1 | 136
COM Standard | 007116-C-ASLAN BREW | Aslan Brewing Convection Oven | Aslan Brewing Co, LLC | Autumn Marks | 1330 N Forest St | Bellingham |  | COMOVEN413 | 12 | 261 | 400 | 7-Completed |  | 2014-05-16 | 2014-03-24 | Zone 1 |  |  | Convection Oven |  | 1 | 261
COM Standard | 007154-C-BURLINGTON | Burlington-Edison SD Double Convection Oven | Smith & Greene Company | Bob Cuti | 515 W Victoria Ave | Burlington |  | COMOVEN413 | 12 | 522 | 800 | 7-Completed |  | 2014-12-15 | 2014-08-19 | Zone 1 |  |  | Gas Convection Oven |  | 2 | 261
COM Standard | 007132-C-CASTLE CAT | Castle Catering (Purple Starfish) Standard | Purple Starfish LLC | Autumn Marks | 608 Williams Blvd | Richland |  | COMOVEN413 | 12 | 522 | 800 | 7-Completed |  | 2014-09-04 | 2014-03-01 | Zone 3 | Columbia River Plumbing & Mechanical |  | Convection Oven |  | 2 | 261
COM Standard | 007160-C-LORENZO'S | Lorenzo's Convection Oven | Dick's Restaurant Supply | Autumn Marks | 902 Hwy 20 | Sedro Woolley |  | COMOVEN413 | 12 | 261 | 400 | 7-Completed |  | 2014-12-15 | 2014-06-13 | Zone 1 |  |  | Convection Oven |  | 1 | 261
COM Standard | 007203-C-COWICHE CA | Cowiche Canyon Convection Oven, Furnace | Cowiche Canyon Kitchen & Ice House | Autumn Marks | 202 E Yakima Ave | Yakima |  | COMOVEN413-NT | 12 | 213 | 450 | 7-Completed |  | 2015-05-12 | 2014-12-16 | Zone 3 | All Seasons Heating and Cooling |  | Convection Oven |  | 1 | 213
COM Standard | 007203-C-COWICHE CA | Cowiche Canyon Convection Oven, Furnace | Cowiche Canyon Kitchen & Ice House | Autumn Marks | 202 E Yakima Ave | Yakima |  | COMOVEN413-NT | 12 | 213 | 450 | 7-Completed |  | 2015-05-12 | 2014-12-16 | Zone 3 | All Seasons Heating and Cooling |  | Convection Oven |  | 1 | 213
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 259.69 | 390 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 60 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007121-C-SKAGIT COU | Skagit County Fire Radiant, Furnaces | Skagit County Fire District 9 | Autumn Marks | 16822 W Big Lake Blvd B | Mount Vernon |  | COMRADIANT | 18 | 432.82 | 650 | 7-Completed |  | 2014-07-31 | 2014-05-12 | Zone 1 |  | Feller Heating & AC | Direct-fired Radiant Heating |  | 100 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 86.56 | 139 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 20 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 86.56 | 139 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 20 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 86.56 | 139 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 20 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 216.4 | 347.5 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 50 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 216.4 | 347.5 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 50 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 216.4 | 347.5 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 50 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 216.4 | 347.5 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 50 | 4.328
COM Standard | 007206-C-BUFFALO WI | Buffalo Wild Wings Radiant, Tanked DHW, Fryers | Wingmen V, LLC | Autumn Marks | 2529 Main St | Union Gap |  | COMRADIANT-NT | 18 | 216.4 | 347.5 | 7-Completed |  | 2015-05-12 | 2014-12-06 | Zone 3 | Apex Plumbing |  | Direct-fired Radiant Heating |  | 50 | 4.328
COM Standard | 007111-C-BIRTHROOT | Birthroot Midwives and Birth Center Tankless | Birthroot Midwives and Birth Center | Brian Farnsworth | 1600 Broadway St | Bellingham |  | COMTANKLESS | 18 | 200.2 | 343.2 | 7-Completed |  | 2014-05-05 | 2014-03-11 | Zone 1 |  | Northwest Energy Systems | Energy Star |  | 5.72 | 35
COM Standard | 007132-C-CASTLE CAT | Castle Catering (Purple Starfish) Standard | Purple Starfish LLC | Autumn Marks | 608 Williams Blvd | Richland |  | COMTANKLESS | 18 | 168 | 288 | 7-Completed |  | 2014-09-04 | 2014-03-01 | Zone 3 | Columbia River Plumbing & Mechanical |  | Energy Star |  | 4.8 | 35
COM Standard | 007132-C-CASTLE CAT | Castle Catering (Purple Starfish) Standard | Purple Starfish LLC | Autumn Marks | 608 Williams Blvd | Richland |  | COMTANKLESS | 18 | 168 | 288 | 7-Completed |  | 2014-09-04 | 2014-03-01 | Zone 3 | Columbia River Plumbing & Mechanical |  | Energy Star |  | 4.8 | 35
COM Standard | 007132-C-CASTLE CAT | Castle Catering (Purple Starfish) Standard | Purple Starfish LLC | Autumn Marks | 608 Williams Blvd | Richland |  | COMTANKLESS | 18 | 168 | 288 | 7-Completed |  | 2014-09-04 | 2014-03-01 | Zone 3 | Columbia River Plumbing & Mechanical |  | Energy Star |  | 4.8 | 35
COM Standard | 007208-C-FRANKLIN M | Franklin Middle Tankless DHW | Yakima Public Schools | Bob Cuti | 410 S 19th Ave | Yakima |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-05-12 | 2014-01-07 | Zone 3 | Apex Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007208-C-FRANKLIN M | Franklin Middle Tankless DHW | Yakima Public Schools | Bob Cuti | 410 S 19th Ave | Yakima |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-05-12 | 2014-01-07 | Zone 3 | Apex Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007095-C-HOLTZINGER | Holtzinger Fruit Boilers | C.M. Holtzinger Fruit Co. | Brian Farnsworth | 1312 N 6th Ave | Yakima |  | COMTANKLESS | 18 | 385 | 660 | 7-Completed |  | 2015-01-05 | 2014-09-26 | Zone 3 | Atlas Boiler and Equipment Co. |  | Energy Star |  | 11 | 35
COM Standard | 007095-C-HOLTZINGER | Holtzinger Fruit Boilers | C.M. Holtzinger Fruit Co. | Brian Farnsworth | 1312 N 6th Ave | Yakima |  | COMTANKLESS | 18 | 385 | 660 | 7-Completed |  | 2015-01-05 | 2014-09-26 | Zone 3 | Atlas Boiler and Equipment Co. |  | Energy Star |  | 11 | 35
COM Standard | 007095-C-HOLTZINGER | Holtzinger Fruit Boilers | C.M. Holtzinger Fruit Co. | Brian Farnsworth | 1312 N 6th Ave | Yakima |  | COMTANKLESS | 18 | 385 | 660 | 7-Completed |  | 2015-01-05 | 2014-09-26 | Zone 3 | Atlas Boiler and Equipment Co. |  | Energy Star |  | 11 | 35
COM Standard | 007095-C-HOLTZINGER | Holtzinger Fruit Boilers | C.M. Holtzinger Fruit Co. | Brian Farnsworth | 1312 N 6th Ave | Yakima |  | COMTANKLESS | 18 | 385 | 660 | 7-Completed |  | 2015-01-05 | 2014-09-26 | Zone 3 | Atlas Boiler and Equipment Co. |  | Energy Star |  | 11 | 35
COM Standard | 007207-C-MCKINLEY E | McKinley Elementary Tankless DHW | Yakima Public Schools | Brian Farnsworth | 610 S 12th Ave | Yakima |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-05-12 | 2014-01-16 | Zone 3 | Apex Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007102-C-PATADA RET | Patada Retail Consulting Tankless | Patada Retail Consulting, Inc. | Brian Farnsworth | 1400 W Holly St | Bellingham |  | COMTANKLESS | 18 | 175 | 300 | 7-Completed |  | 2014-04-03 | 2014-01-07 | Zone 1 | Altama Construction |  | Energy Star |  | 5 | 35
COM Standard | 007110-C-RED ROBIN | Red Robin Intl (Kennewick) Tankless DHW | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 1021 N Columbia Ctr Blvd | Kennewick |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2014-05-05 | 2014-03-10 | Zone 3 |  |  | Energy Star |  | 6 | 35
COM Standard | 007110-C-RED ROBIN | Red Robin Intl (Kennewick) Tankless DHW | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 1021 N Columbia Ctr Blvd | Kennewick |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2014-05-05 | 2014-03-10 | Zone 3 |  |  | Energy Star |  | 6 | 35
COM Standard | 007110-C-RED ROBIN | Red Robin Intl (Kennewick) Tankless DHW | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 1021 N Columbia Ctr Blvd | Kennewick |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2014-05-05 | 2014-03-10 | Zone 3 |  |  | Energy Star |  | 6 | 35
COM Standard | 007110-C-RED ROBIN | Red Robin Intl (Kennewick) Tankless DHW | Red Robin Gourmet Burgers, Inc. | Brian Farnsworth | 1021 N Columbia Ctr Blvd | Kennewick |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2014-05-05 | 2014-03-10 | Zone 3 |  |  | Energy Star |  | 6 | 35
COM Standard | 007209-C-STANTON-UN | Stanton-Union Gap Tankless DHW | Yakima Public Schools | Brian Farnsworth | 901 Whitman St | Yakima |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-05-12 | 2014-01-16 | Zone 3 | Apex Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007209-C-STANTON-UN | Stanton-Union Gap Tankless DHW | Yakima Public Schools | Brian Farnsworth | 901 Whitman St | Yakima |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-05-12 | 2014-01-16 | Zone 3 | Apex Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007164-C-TAMARACK C | Tamarack Cellars Faucet, Tankless DHW | Tamarack Cellars | Brian Farnsworth | 108 Beech St | Walla Walla |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-02-04 | 2014-10-27 | Zone 3 | Chris Johnson Plumbing |  | Energy Star |  | 6 | 35
COM Standard | 007164-C-TAMARACK C | Tamarack Cellars Faucet, Tankless DHW | Tamarack Cellars | Brian Farnsworth | 108 Beech St | Walla Walla |  | COMTANKLESS | 18 | 210 | 360 | 7-Completed |  | 2015-02-04 | 2014-10-27 | Zone 3 | Chris Johnson Plumbing |  | Energy Star |  | 6 | 35

## ESKs
Program Type | Project Number | Project Name | Payee Company | LM BD Lead | Fac Address 1 | Fac City | Fac Address 2 | Measure Code (Measures) | Measure Life (Measures) | Current Total Savings thm (Measures) | Current Incentive Total (Measures) | Current Status | Pending Milestone | Project End | Install Date (Measures) | Zone | Installer (Measures) | Trade Ally (Measures) | Baseline Equipment Description (Measures) | Account Manager | Installed Units (Measures) | Installed per Unit thm (Measures)
COM Standard | 007178-C-K BRANDS | K Brands ESK | K Brands | Brian Farnsworth | 217 W Main St | Walla Walla |  | COMESVKTB | 10 | 14 | 0 | 7-Completed |  | 2014-12-29 | 2014-12-29 | Zone 3 |  |  | Energy Saver Kit B |  | 1 | 14
COM Standard | 007176-C-HANNEGAN S | Hannegan Seafoods ESK | Hannegan Seafoods | Brian Farnsworth | 6069 Hannegan Rd | Bellingham |  | COMESVKTB | 10 | 28 | 0 | 7-Completed |  | 2014-12-29 | 2014-12-29 | Zone 1 |  |  | Energy Saver Kit B |  | 2 | 14
COM Standard | 007179-C-H. F, HAUF | H. F, Hauff Comnpany ESK | H. F, Hauff Company | Brian Farnsworth | 2921 Sutherland Dr | Yakima |  | COMESVKTA | 5 | 109 | 0 | 7-Completed |  | 2014-12-29 | 2014-12-29 | Zone 3 |  |  | Energy Saver Kit A |  | 1 | 109
COM Standard | 007177-C-HANNEGAN P | Hannegan Properties ESK | Hannegan Properties | Brian Farnsworth | 6069 Hannegan Rd | Bellingham |  | COMESVKTA | 5 | 109 | 0 | 7-Completed |  | 2014-12-29 | 2014-12-29 | Zone 1 |  |  | Energy Saver Kit A |  | 1 | 109

## Sheet1 (hidden)
Measures | Incentive
COMBOILERS | 187388
COMBOILSTP | 480
COMBOILVTD | 1000
COMCUSTDDC | 0
COMCUSTINS | 0
COMCUSTOTH | 0
COMDHWTSCT | 14619.75
COMFSDISDL | 600
COMFSFRYER | 27000
COMFSFRYER-NT | 9600
COMFURNACE | 6369
COMIAT1Z13 | 2927
COMIAT2Z13 | 533
COMIRT1Z13 | 1356
COMIRT2Z13 | 25875.2
COMIWT1Z13 | 654.3
COMIWT2Z13 | 80
COMOVEN413 | 2400
COMRADIANT | 4940
COMTANKLESS | 8107.2
293929.45