## CONFIDENTIAL
This file contains confidential information
Shaded information is designated as confidential per WAC 480-07-160
REDACTED VERSION

## (R) Beaver Creek Prod O&M
Shaded Information is Designated Confidential per WAC 480-07-160 |  |  |  |  | REDACTED VERSION
BEAVER CREEK WIND PROJECT
| Commercial Operations Date | 2025-01-01
| # of WTGS Installed | 88
| MW Installed Capcity per WTG | 2.82
| MW Installed Capacity Total | 248.16
| Capacity Factor | 36.96%
| MWH Generated | 803466.6394 |  | 803466.6394 | 803466.6394
| % of Year in Commercial Operations |  |  | 100% | 100%
DIRECT COSTS ONLY |  |  |  | 2025 | 2026
BVC O&M | 2023 $ |  | annual escalation | 2% | 2%
W_K.99999.03.xx.xx - BVC 115KV 230KV TRANSMISSION LINE MAINT
Outside Services
Outside Services
Outside Services
Materials and Supplies
W_K.99999.03.xx.xx - BVC 34.5KV COLLECTION SYSTEM MAINT
Outside Services
Outside Services
Outside Services
Outside Services
Materials and Supplies
W_K.99999.03.xx.xx - BVC BACKFEED POWER
Materials and Supplies
W_K.99999.03.xx.xx - BVC COMMUNICATION SITE SERVICES
Outside Services
Outside Services
W_K.99999.03.xx.xx - BVC ENVIRONMENTAL AND COMPLIANCE
Outside Services
Outside Services
Outside Services
Outside Services
W_K.99999.03.xx.xx - BVC LEASE AND ROYALTY PAYMENTS
Rent/Lease
W_K.99999.03.xx.xx - BVC PLANT OPERATIONS
Labor
Outside Services
Outside Services
Outside Services
Outside Services
Materials and Supplies
W_K.99999.03.xx.xx - BVC ROAD FENCE AND GROUNDS SERVICES
Outside Services
Outside Services
Outside Services
Outside Services
Outside Services
Outside Services
W_K.99999.03.xx.xx - BVC SITE FIBER SERVICES
Outside Services
W_K.99999.03.xx.xx - BVC SUBSTATION MAINTENANCE
Outside Services
Outside Services
Outside Services
Labor
Labor
Labor
Outside Services
Labor
W_K.99999.03.xx.xx - BVC SUPERVISION AND SUPPORT
Labor
Employee Expenses
Office and Supplies
Materials and Supplies
Outside Services
W_K.99999.03.xx.xx - BVC WIND CONTRACTED MAINTENANCE
Outside Services
Outside Services
Outside Services
Software and Hardware
TOTAL O&M - BVC -Direct Costs: |  |  |  | 13631605.5943 | 13904237.7062
|  | O&M DIRECT COSTS BY COST ELEMENT | FERC Code | 2025 | 2026
|  | Employee Expenses | 549
|  | Labor | 546
|  | Materials and Supplies | 553
|  | Office and Supplies | 549
|  | Outside Services | 553
|  | Rent/Lease | 550
|  | Software and Hardware | 549
|  |  | TOTAL O&M - BVC -Direct Costs: | 13631605.5943 | 13904237.7062
|  | Labor OH: | 64.9% | 227363.1848 | 225023.2085
|  | Materials OH: | 5% | 40185.45 | 40989.159
|  |  | TOTAL O&M - BVC -Direct & Indirect Costs: | 13899154.2291 | 14170250.0737
Note on C40: Year 1 $
Note on C70: LSR 2023 $32K (for 2 substation)
Note on C72: Miranda Bowen: NERC Relay Testing $32K in 2023 at LSR (for 2 substations) Breaker Maint planned at $50K for LSR in 2026 (for 2 substations) Total = 82K/6 years for 2 substations at LSR