(M) from page 1

(K) to page 3

DEFINITIONS:

Functional Lighting: Common less expensive luminaires that may be mounted either on wood, fiberglass or non-decorative metal poles.  The Company will maintain a list of functional light fixtures that are available.

Decorative Lighting: More stylish luminaires mounted vertically on decorative metal poles.  The Company will maintain a listing of standard decorative street light fixtures that are available under this Electric Service Schedule.  Available decorative lighting fixtures are grouped into Decorative Series 1 and Decorative Series 2 according to cost.

PROVISIONS:

- Installation, daily operation, repair and maintenance of lights on this rate schedule to be performed by the Company, providing that the facilities furnished remain readily accessible for maintenance purposes.

- Company will install only Company approved street lighting equipment at locations acceptable to Company.

- Inoperable lights will be repaired as soon as reasonably possible, during regular business hours or as allowed by Company’s operating schedule and requirements, provided the Company receives notification of inoperable lights from Customer or a member of the public by either notifying Pacific Power’s customer service (1-888-221-7070) or www.pacificpower.net/streetlights.  Pacific Power’s obligation to repair street lights is limited to this tariff.

- Existing fixtures and facilities that are deemed irreparable will be replaced with comparable fixtures and facilities from the Company’s Construction Standards.

- The Company will, upon written request of Customer, convert existing street lighting facilities to other types of Company approved facilities. In such event, should the revenue increase, the streetlighting extension allowance defined in Rule 14 Section III.D is applicable only to the increase in annual revenue due to the replacement. If there is no increase in revenue, there is no allowance. The Customer shall advance the estimated cost of all materials and labor associated with installation and removal, less the estimated salvage on the removed facilities, in excess of the applicable allowance.

6.	The entire system, including initial lamp requirements and wiring suitable for connection to Company’s system, will be furnished and installed by the Company.  The Consumer is responsible for all associated costs that exceed the Street Lighting Extension Allowance as described in Rule 14 of this tariff.  Consumer shall not perform the electrical connection of meters or service conductor to the point of delivery.