## Throught Put CE
Measure description | Program | WA Units | Incentive | Est. Sub TRC | Est. Sub UCT | NTG | Est Net Sub UCT
E AIR INFILTRATION (per 1000 cfm50)* | Low Income | 75 | 730 | 1.2057 | 1.0961 | 1 | 1.0961
E ENERGY STAR DOORS | Low Income | 20 | 374 | 0.38226 | 0.90887 | 1 | 0.90887
E ENERGY STAR WINDOWS | Low Income | 10 | 42.49 | 0.88098 | 0.90909 | 1 | 0.90909
E INS - CEIL/ATTIC | Low Income | 60 | 553 | 0.83245 | 0.91005 | 1 | 0.91005
E INS - DUCT | Low Income | 10 | 217 | 0.64811 | 0.90958 | 1 | 0.90958
E INS - FLOOR | Low Income | 75 | 2313 | 0.82668 | 0.90943 | 1 | 0.90943
E INS - WALL | Low Income | 25 | 951 | 1.9837 | 1.8034 | 1 | 1.8034
E Ductsealing | Low Income | 25 | 1132.85 | 0.3873 | 0.90909 | 1 | 0.90909
E Ductless Heatpump * | Low Income | 15 | 2512.49 | 0.81516 | 0.90909 | 1 | 0.90909
LEDs (Giveaway) * | Low Income | 6105 | 8.76 | 1.9499 | 1.15 | 1 | 1.15
Elec Res --> Heat Pump * | Low Income | 6 | 3297 | 1.5562 | 1.4148 | 1 | 1.4148
Estar Refrigerator | Low Income | 7 | 201 | 0.41179 | 0.91032 | 1 | 0.91032
E to G Furnace Conversion | Low Income | 100 | 3231 | 2.3949 | 1.7551 | 1 | 1.7551
E to G DHW Conversion | Low Income | 100 | 1353.45 | 1.2041 | 0.75881 | 1 | 0.75881
Tier1 0-55Gallon HPWH | Residential | 100 | 200 | 1.1558 | 4.4877 | 1 | 4.4877
Tier2 0-55Gallon HPWH | Residential | 100 | 200 | 1.4435 | 5.711 | 1 | 5.711
Tier3 0-55Gallon HPWH | Residential | 100 | 200 | 1.5251 | 6.034 | 1 | 6.034
Estar Home - SF, Elec/DF | Residential | 7 | 600 | 2.6046 | 11.3858 | 0.33 | 3.7573
Storm Windows | Residential | 5000 | 1 | 1.2189 | 10.9697 | 0.56 | 6.143
Web Tstat Elec DIY | Residential | 4 | 75 | 2.639 | 6.3976 | 0.46 | 2.9429
Web Tstat Elec Contractor | Residential | 20 | 100 | 1.508 | 4.7982 | 0.46 | 2.2072
DHP 9.0 and Above | Residential | 20 | 450 | 0.78836 | 4.8833 | 0.46 | 2.2463
DHP 9.0-11.0 | Residential | 20 | 450 | 0.78836 | 4.8833 | 0.46 | 2.2463
DHP 11.1-12.5 | Residential | 20 | 450 | 0.82329 | 5.1341 | 0.46 | 2.3617
DHP 12.6 and above | Residential | 20 | 450 | 0.86063 | 5.4022 | 0.46 | 2.485
Variable Speed Motor | Residential | 635 | 80 | 2.1372 | 6.6786 | 0.46 | 3.0722
Elec Res --> ASHP | Residential | 60 | 700 | 1.3492 | 5.0098 | 0.7 | 3.5069
Elec Res --> Natural Gas Furnace | Residential | 342 | 1500 | 1.654 | 4.6834 | 0.7 | 3.2784
E DHW--> NG DHW | Residential | 270 | 750 | 0.94894 | 2.0463 | 0.7 | 1.4324
Elec Res--> NG Direct Vent Wall Heat | Residential | 3 | 1200 | 4.1573 | 8.3147 | 0.7 | 5.8203
CFL - General Purpose and Dimmable - 1490- 2600 lumens | Simple Steps | 4433 | 0.15 | 54.7792 | 51.4836 | 1 | 51.4836
CFL - General Purpose and Dimmable - 250- 1049 lumens | Simple Steps | 15491 | 0.55 | 9.0351 | 7.7333 | 1 | 7.7333
CFL - General Purpose and Dimmable - 1050- 1489 lumens | Simple Steps | 373 | 0.15 | 44.5575 | 35.9356 | 1 | 35.9356
CFL - Decorative and Mini-Base - 1490- 2600 lumens | Simple Steps | 2 | 0.22 | 13.8508 | 2.4973 | 1 | 2.4973
CFL - Decorative and Mini-Base - 250- 1049 lumens | Simple Steps | 75 | 0.31 | 21.7706 | 19.4949 | 1 | 19.4949
CFL - Decorative and Mini-Base - 1050- 1489 lumens | Simple Steps | 7 | 0.4 | 32.7354 | 12.1326 | 1 | 12.1326
CFL - Globe - 1490- 2600 lumens | Simple Steps | 0 | 0.47 | 26.5574 | 19.264 | 1 | 19.264
CFL - Globe - 250- 1049 lumens | Simple Steps | 12 | 2 | 5.9239 | 3.5594 | 1 | 3.5594
CFL - Globe - 1050- 1489 lumens | Simple Steps | 2 | 0.1 | 34.4505 | 6.3876 | 1 | 6.3876
CFL - Reflectors and Outdoor - 1490- 2600 lumens | Simple Steps | 159 | 0.12 | 25.6578 | 19.0488 | 1 | 19.0488
CFL - Reflectors and Outdoor - 250- 1049 lumens | Simple Steps | 294 | 0.32 | 35.5507 | 21.5979 | 1 | 21.5979
CFL - Reflectors and Outdoor - 1050- 1489 lumens | Simple Steps | 40 | 0.46 | 33.7242 | 17.8384 | 1 | 17.8384
LED - Decorative and Mini-Base - 1490- 2600 lumens | Simple Steps | 42 | 0.2 | 23.577 | 14.4389 | 1 | 14.4389
LED - Decorative and Mini-Base - 250 - 1049 lumens | Simple Steps | 21943 | 2 | 5.6441 | 9.1335 | 1 | 9.1335
LED - Decorative and Mini-Base - 1050- 1489 lumens | Simple Steps | 840 | 0.15 | 156.4438 | 102.9754 | 1 | 102.9754
LED - General Purpose and Dimmable - 1490- 2600 lumens | Simple Steps | 4751 | 2 | 4.4518 | 7.7903 | 1 | 7.7903
LED - General Purpose and Dimmable - 250- 1049 lumens | Simple Steps | 162094 | 1 | 8.151 | 10.208 | 1 | 10.208
LED - General Purpose and Dimmable - 1050- 1489 lumens | Simple Steps | 25081 | 3 | 4.2771 | 5.9323 | 1 | 5.9323
LED - Globe - 1490 - 2600 lumens | Simple Steps | 23 | 3 | 10.3943 | 7.7903 | 1 | 7.7903
LED - Globe - 250- 1049 lumens | Simple Steps | 3236 | 1 | 4.7327 | 9.4021 | 1 | 9.4021
LED - Globe - 1050 - 1489 lumens | Simple Steps | 23 | 0.25 | 5.8669 | 6.1785 | 1 | 6.1785
LED - Reflectors and Outdoor - 1490 - 2600 lumens | Simple Steps | 852 | 2 | 3.7272 | 8.1597 | 1 | 8.1597
LED - Reflectors and Outdoor - 250 - 1049 lumens | Simple Steps | 109146 | 2 | 24.2622 | 13.6666 | 1 | 13.6666
LED - Reflectors and Outdoor - 1050 - 1489 lumens | Simple Steps | 4846 | 4 | 14.7592 | 8.6802 | 1 | 8.6802
Showerhead 2.0 GPM | Simple Steps | 2189 | 8 | 6.7031 | 6.2744 | 1 | 6.2744
Showerhead 1.75 GPM | Simple Steps | 61 | 8 | 9.1292 | 8.5717 | 1 | 8.5717
Showerhead 1.5 GPM | Simple Steps | 19 | 8 | 11.1952 | 10.5763 | 1 | 10.5763
LED - Downlight (Retrofit Kit) Kit Fixture | Simple Steps | 27013 | 3 | 1.4949 | 11.3251 | 1 | 11.3251
LED - Decorative Ceiling Flush Mount Fixture | Simple Steps | 9081 | 3 | 0.98654 | 7.127 | 1 | 7.127
LED - Track Light Fixture | Simple Steps | 560 | 2 | 0.89814 | 7.2627 | 1 | 7.2627
LED - Linear Shop Light Fixture | Simple Steps | 280 | 1.5 | 0.64927 | 6.174 | 1 | 6.174
LED - Linear Flush Mount Fixture | Simple Steps | 420 | 1.5 | 0.46552 | 6.6132 | 1 | 6.6132
LED - Exterior Porch Light Fixture | Simple Steps | 2739 | 5 | 2.3479 | 8.2304 | 1 | 8.2304
LED - Exterior Security Fixture | Simple Steps | 280 | 10 | 5.0858 | 12.2568 | 1 | 12.2568
400 watt HID to 100-175 watt LED 2X4 Troffers | NR Int Lighting | 1800 | 185 | 2.2225 | 3.4759 | 0.65 | 2.2593
40-100 watt Incandescent to 6-20 watt LED lamp (Combine) | NR Int Lighting | 4800 | 8 | 10.2325 | 7.7483 | 0.65 | 5.0364
Over 150 watt Incandescent to 50-60W LED | NR Int Lighting | 300 | 55 | 2.4318 | 3.4391 | 0.65 | 2.2354
20 watt MR16 (GU10 Base) to MR16 LED 2-4 watt | NR Int Lighting | 75 | 10 | 11.2103 | 3.8285 | 0.65 | 2.4886
35 watt MR16 (GU10 Base) to MR16 LED 4-6 watt | NR Int Lighting | 75 | 10 | 19.609 | 2.873 | 0.65 | 1.8675
50 watt MR16 (GU10 Base) to MR16 LED 6-9 watt | NR Int Lighting | 1000 | 10 | 30.3833 | 9.5689 | 0.65 | 6.2198
75-100 watt Incandescent to LED* 12-20 watt Fixture | NR Int Lighting | 250 | 20 | 8.1447 | 7.1769 | 0.65 | 4.665
Occupancy sensors built in with relays (not switch sensors) | NR Int Lighting | 100 | 40 | 3.5953 | 4.6337 | 0.65 | 3.0119
4-Lamp T12/T8 Fixture to 2-Lamp LED (50-75 Watt) | NR Int Lighting | 5500 | 35 | 1.2319 | 3.5592 | 0.65 | 2.3135
4-Lamp T12/T8 Fixture to 2-Lamp HP T8 Fixture/Retrofit | NR Int Lighting | 75 | 35 | 1.8685 | 3.7902 | 0.65 | 2.4636
3-Lamp T12/T8 Fixture to LED Qualified 2x4 Fixture (40-60 Watt) | NR Int Lighting | 1500 | 29 | 1.3048 | 3.2434 | 0.65 | 2.1082
3-Lamp T12/T8 Fixture to 2-Lamp HP T8 Fixture/Retrofit | NR Int Lighting | 60 | 25 | 1.0604 | 3.0339 | 0.65 | 1.9721
2-Lamp T12/T8 Fixture to 1-Lamp HP T8 Fixture/Retrofit | NR Int Lighting | 60 | 18 | 2.5489 | 3.1593 | 0.65 | 2.0536
250 watt HID to 85-140 LED (60 hour/week) | NR Int Lighting | 1000 | 120 | 1.2837 | 3.1944 | 0.65 | 2.0764
1000 watt HID to 300-400 wattLED | NR Int Lighting | 500 | 460 | 2.0183 | 3.2586 | 0.65 | 2.1181
4': 1-Lamp LED 22-28 watt T5HO Retro Tube Lamp | NR Int Lighting | 2000 | 15 | 2.1469 | 3.9615 | 0.65 | 2.575
4': 1-Lamp LED 8-23 watt T8 RetroTube Lamp | NR Int Lighting | 20000 | 6.5 | 2.3611 | 3.442 | 0.65 | 2.2373
70-89 watt HID Fixture to 15-25 watt LED Fixture | NR Ext Lighting | 100 | 60 | 2.6005 | 3.8923 | 0.65 | 2.53
90 - 100 W HID to 25-30W LED | NR Ext Lighting | 100 | 80 | 2.8093 | 3.7714 | 0.65 | 2.4514
150 W HID to 30-50W LED | NR Ext Lighting | 50 | 125 | 3.6702 | 3.7326 | 0.65 | 2.4262
175 W HID to 35-85W LED | NR Ext Lighting | 150 | 130 | 3.8229 | 3.7087 | 0.65 | 2.4107
250 W HID to 85-140W LED | NR Ext Lighting | 75 | 140 | 1.8242 | 3.6882 | 0.65 | 2.3973
320 W HID to 118-160W LED | NR Ext Lighting | 100 | 180 | 2.1427 | 3.6117 | 0.65 | 2.3476
400 W HID to 118 -175W LED | NR Ext Lighting | 150 | 255 | 2.2415 | 3.6472 | 0.65 | 2.3707
250 watt HID Canopy Fixture to 85-140 watt LED Canopy Fixture | NR Ext Lighting | 0 | 160 | 2.0198 | 3.616 | 0.65 | 2.3504
320 watt HID Canopy Fixture to 118-160 watt LED Canopy Fixture | NR Ext Lighting | 0 | 200 | 2.7034 | 3.7326 | 0.65 | 2.4262
400 watt HID Canopy Fixture to 118-175 watt LED Canopy Fixture | NR Ext Lighting | 0 | 250 | 2.362 | 3.7202 | 0.65 | 2.4181
175 watt HID Fixture to 35-85 watt LED Fixture | NR Ext Lighting | 50 | 130 | 6.0563 | 3.7087 | 0.65 | 2.4107
250 watt HID Fixture to 85-118 watt LED Fixture | NR Ext Lighting | 100 | 140 | 2.4339 | 3.6882 | 0.65 | 2.3973
320 & 400 watt HID Fixture to 118-175 watt LED Fixture | NR Ext Lighting | 150 | 175 | 2.7612 | 3.7149 | 0.65 | 2.4147
1000W HID to 300W-400W LED | NR Ext Lighting | 200 | 610 | 2.5573 | 3.6347 | 0.65 | 2.3626
Sign Lighting LED | NR Ext Lighting | 6000 | 17 | 4.1552 | 5.3329 | 0.65 | 3.4664
Less than R11 attic insulation (E/E) to R30-R44 Attic Insulation | NR Shell | 250 | 0.2 | 2.1152 | 7.3071 | 0.65 | 4.7496
Less than R11 attic insulation (E/E) to R45+ Attic Insulation | NR Shell | 250 | 0.25 | 2.5473 | 7.9662 | 0.65 | 5.178
Less than R11 roof insulation (E/E) to R30+ Roof Insulation | NR Shell | 6000 | 0.25 | 3.4571 | 7.7942 | 0.65 | 5.0662
Less than R4 wall insulation (E/E) to R11-R18 Wall Insulation | NR Shell | 1800 | 0.4 | 7.2859 | 10.101 | 0.65 | 6.5656
Less than R4 wall insulation (E/E) to R19+ Wall Insulation | NR Shell | 1800 | 0.45 | 9.9654 | 13.0859 | 0.65 | 8.5058
Prescriptive VFDs - HVAC Cooling Pump | NR VFD | 500 | 130 | 4.6565 | 6.5126 | 0.65 | 4.2332
Prescriptive VFDs - HVAC Fan | NR VFD | 500 | 130 | 4.362 | 6.1008 | 0.65 | 3.9655
Prescriptive VFDS - HVAC Heating Pump or combo | NR VFD | 750 | 130 | 7.4948 | 10.4823 | 0.65 | 6.8135
0.61 to 0.80 GPM electric pre-rinse sprayer | NR Food Service | 1 | 70 | 1.4968 | 2.1076 | 0.65 | 1.3699
0.61 to 0.80 GPM gas pre-rinse sprayer | NR Food Service | 0 | 39 | 0.40298 | 1.0184 | 0.65 | 0.66198
0.81 to 1.00 GPM electric pre-rinse sprayer | NR Food Service | 0 | 65 | 0.92732 | 1.4061 | 0.65 | 0.914
0.81 to 1.00 GPM gas pre-rinse sprayer | NR Food Service | 0 | 2 | 0.065861 | 3.2457 | 0.65 | 2.1097
3 pan electric steamer | NR Food Service | 0.1 | 70 | 31.4522 | 128.7336 | 0.65 | 83.6768
3 pan gas steamer | NR Food Service | 0 | 934 | 1.3459 | 2.4458 | 0.65 | 1.5898
4 pan electric steamer | NR Food Service | 0.1 | 100 | 109.6236 | 119.8883 | 0.65 | 77.9274
4 pan gas steamer | NR Food Service | 0 | 1245 | 1.3431 | 2.4411 | 0.65 | 1.5867
5 pan electric steamer | NR Food Service | 0.1 | 135 | 69.9 | 110.8647 | 0.65 | 72.062
5 pan gas steamer | NR Food Service | 0 | 1556 | 1.3415 | 2.4383 | 0.65 | 1.5849
6 pan electric steamer | NR Food Service | 0.1 | 160 | 37.8361 | 112.154 | 0.65 | 72.9001
6 pan gas steamer | NR Food Service | 0 | 1867 | 1.3404 | 2.4365 | 0.65 | 1.5837
10 or larger pan electric steamer | NR Food Service | 0 | 180 | 9.2183 | 166.332 | 0.65 | 108.1158
10 or larger pan gas steamer | NR Food Service | 0 | 2144 | 3.0428 | 5.5312 | 0.65 | 3.5953
Efficient combination oven (>= 16 pan and <= 20 pan) electric | NR Food Service | 1 | 1000 | 23.6294 | 8.3622 | 0.65 | 5.4355
Efficient combination oven (>= 16 pan and <= 20 pan) gas | NR Food Service | 0 | 1150 | 0.41159 | 1.8601 | 0.65 | 1.2091
Efficient combination oven (>= 6 pan and <= 15 pan) electric | NR Food Service | 0 | 995 | 4.6911 | 6.1068 | 0.65 | 3.9694
Efficient combination oven (>= 6 pan and <= 15 pan) gas | NR Food Service | 0 | 927 | 0.33174 | 1.8599 | 0.65 | 1.209
Efficient convection oven full size | NR Food Service | 0 | 330 | 0.94856 | 2.3544 | 0.65 | 1.5304
Efficient convection oven half size | NR Food Service | 1 | 270 | 1.2197 | 2.9157 | 0.65 | 1.8952
H.E. gas convection oven, 40% effic. or better | NR Food Service | 0 | 743 | 0.94943 | 2.1909 | 0.65 | 1.4241
Gas rack oven | NR Food Service | 0 | 2378 | 0.80774 | 1.5233 | 0.65 | 0.99013
Efficient hot food holding cabinet, full size | NR Food Service | 0 | 165 | 1.1876 | 4.8762 | 0.65 | 3.1696
Electric fryer | NR Food Service | 1 | 295 | 1.456 | 3.0869 | 0.65 | 2.0065
Energy Star 50% effic.gas fryer | NR Food Service | 0 | 1162 | 1.1198 | 2.1903 | 0.65 | 1.4237
H.E. gas griddle, 40% effic. or better | NR Food Service | 0 | 200 | 0.99358 | 2.2175 | 0.65 | 1.4414
Standard Efficiency Appliance to H.E. electric griddle, 70% effic. or better | NR Food Service | 1 | 325 | 1.0513 | 2.9408 | 0.65 | 1.9115
High temp electric hot water dishwasher | NR Food Service | 0 | 820 | 1.615 | 2.9281 | 0.65 | 1.9033
High temp gas hot water dishwasher | NR Food Service | 0 | 236 | 1.189 | 6.4038 | 0.65 | 4.1625
Low temp electric hot water dishwasher | NR Food Service | 0 | 760 | 1.7087 | 2.9217 | 0.65 | 1.8991
Low temp gas hot water dishwasher | NR Food Service | 1 | 322 | 1.1281 | 3.1308 | 0.65 | 2.035
Standard Efficiency Appliance to Energy Star 65% effic. or greater 3-pan electric steam cooker | NR Food Service | 1 | 70 | 4.6394 | 7.4109 | 0.65 | 4.8171
Standard Efficiency Appliance to Energy Star 65% effic. or greater 4-pan electric steam cooker | NR Food Service | 1 | 70 | 4.6394 | 7.4109 | 0.65 | 4.8171
Standard Efficiency Appliance to Energy Star 65% effic. or greater 5-pan electric steam cooker | NR Food Service | 0 | 135 | 5.3423 | 7.2311 | 0.65 | 4.7002
Standard Efficiency Appliance to Energy Star 65% effic. or greater 6-pan electric steam cooker | NR Food Service | 0 | 135 | 6.6568 | 8.7413 | 0.65 | 5.6818
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, between 12 & 20 cu.ft. (CEE tier 2) | NR Food Service | 0 | 210 | 1.2736 | 3.6554 | 0.65 | 2.376
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, less than 12 cu.ft. (CEE tier 2) | NR Food Service | 0 | 175 | 0.76485 | 2.9243 | 0.65 | 1.9008
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, over 20 cu.ft. (CEE tier 2) | NR Food Service | 0 | 350 | 0.80133 | 2.9243 | 0.65 | 1.9008
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1000 to 1199 lbs./day capacity | NR Food Service | 0 | 140 | 2.4328 | 3.9493 | 0.65 | 2.567
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1200 to 1399 lbs./day capacity | NR Food Service | 0 | 160 | 2.3232 | 3.9468 | 0.65 | 2.5654
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1400 to 1599 lbs./day capacity | NR Food Service | 0 | 180 | 2.4151 | 3.9032 | 0.65 | 2.5371
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1600 or greater lbs./day capacity | NR Food Service | 0 | 195 | 2.2207 | 3.934 | 0.65 | 2.5571
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 200 to 399 lbs./day capacity | NR Food Service | 1 | 65 | 1.3798 | 3.0297 | 0.65 | 1.9693
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 400 to 599 lbs./day capacity | NR Food Service | 1 | 70 | 1.6465 | 3.956 | 0.65 | 2.5714
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 600 to 799 lbs./day capacity | NR Food Service | 1 | 95 | 2.0279 | 3.9588 | 0.65 | 2.5732
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 800 to 999 lbs./day capacity | NR Food Service | 0 | 120 | 2.3388 | 3.898 | 0.65 | 2.5337
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, under 200 lbs./day capacity | NR Food Service | 1 | 35 | 0.69004 | 2.3121 | 0.65 | 1.5029
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1000 to 1199 lbs./day capacity | NR Food Service | 0 | 115 | 1.5226 | 3.8235 | 0.65 | 2.4853
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1200 to 1399 lbs./day capacity | NR Food Service | 0 | 135 | 1.6088 | 3.8495 | 0.65 | 2.5022
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1400 to 1599 lbs./day capacity | NR Food Service | 0 | 155 | 1.6785 | 3.8689 | 0.65 | 2.5148
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1600 to 1799 lbs./day capacity | NR Food Service | 0 | 175 | 1.736 | 3.8838 | 0.65 | 2.5245
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1800 or greater lbs./day capacity | NR Food Service | 0 | 195 | 1.7842 | 3.8956 | 0.65 | 2.5322
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 400 to 599 lbs./day capacity | NR Food Service | 0 | 70 | 1.5109 | 4.0161 | 0.65 | 2.6105
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 600 to 799 lbs./day capacity | NR Food Service | 0 | 90 | 1.6243 | 3.976 | 0.65 | 2.5844
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 800 to 999 lbs./day capacity | NR Food Service | 0 | 105 | 1.6263 | 3.9426 | 0.65 | 2.5627
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, less than 400 lbs./day capacity & under | NR Food Service | 0 | 65 | 1.2139 | 2.8354 | 0.65 | 1.843
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 100 to 149 lbs./day capacity | NR Food Service | 1 | 40 | 0.70664 | 2.409 | 0.65 | 1.5658
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 150 to 199 lbs./day capacity | NR Food Service | 0 | 45 | 0.66155 | 2.3388 | 0.65 | 1.5202
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 200 to 249 lbs./day capacity & under | NR Food Service | 0 | 60 | 0.74351 | 2.2531 | 0.65 | 1.4645
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 250 to 299 lbs./day capacity | NR Food Service | 0 | 70 | 0.80726 | 2.3589 | 0.65 | 1.5333
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 300 to 349 lbs./day capacity | NR Food Service | 0 | 85 | 0.86031 | 2.3003 | 0.65 | 1.4952
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 350 to 399 lbs./day capacity | NR Food Service | 0 | 95 | 0.90185 | 2.3733 | 0.65 | 1.5426
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 400 or greater lbs./day capacity | NR Food Service | 0 | 110 | 0.93647 | 2.3218 | 0.65 | 1.5092
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 50 to 99 lbs./day capacity | NR Food Service | 0 | 30 | 0.60099 | 2.2765 | 0.65 | 1.4797
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, less than 50 lbs./day capacity & under | NR Food Service | 0 | 0 | 0.28814 | 1.8 | 0.65 | 1.17
Visi Cooler | NR Food Service | 0 | 20 | 4.6256 | 7.359 | 0.65 | 4.7833
15 HP Agricultural | NR Green Motors | 0 | 134 | 2.226 | 9.0387 | 0.65 | 5.8752
15 HP Industrial | NR Green Motors | 1 | 134 | 1.7725 | 7.1972 | 0.65 | 4.6782
20 HP | NR Green Motors | 0 | 150 | 2.666 | 9.0886 | 0.65 | 5.9076
20 HP Ind | NR Green Motors | 1 | 150 | 2.1182 | 7.2212 | 0.65 | 4.6938
25 HP | NR Green Motors | 0 | 171 | 3.0969 | 9.6285 | 0.65 | 6.2585
25 HP Ind | NR Green Motors | 1 | 171 | 2.4312 | 7.5589 | 0.65 | 4.9133
30 HP | NR Green Motors | 0 | 188 | 3.0299 | 8.6306 | 0.65 | 5.6099
30 HP Ind | NR Green Motors | 1 | 188 | 2.3817 | 6.7841 | 0.65 | 4.4097
40 HP | NR Green Motors | 0 | 230 | 2.8868 | 7.545 | 0.65 | 4.9043
40 HP Ind | NR Green Motors | 1 | 230 | 2.2663 | 5.9234 | 0.65 | 3.8502
50 HP | NR Green Motors | 0 | 254 | 2.8103 | 6.4891 | 0.65 | 4.2179
50 HP Ind | NR Green Motors | 0 | 254 | 2.2062 | 5.0944 | 0.65 | 3.3113
60 HP | NR Green Motors | 0 | 300 | 2.6488 | 6.0199 | 0.65 | 3.9129
60 HP Ind | NR Green Motors | 0 | 300 | 2.1939 | 4.9861 | 0.65 | 3.2409
75 HP | NR Green Motors | 0 | 324 | 2.5263 | 4.9607 | 0.65 | 3.2245
75 HP Ind | NR Green Motors | 0 | 324 | 2.0905 | 4.1051 | 0.65 | 2.6683
100 HP | NR Green Motors | 0 | 402 | 2.6873 | 4.9104 | 0.65 | 3.1917
100 HP Ind | NR Green Motors | 0 | 402 | 2.224 | 4.0639 | 0.65 | 2.6415
125 HP | NR Green Motors | 0 | 451 | 2.6648 | 4.3702 | 0.65 | 2.8406
125 HP Ind | NR Green Motors | 0 | 451 | 2.2765 | 3.7335 | 0.65 | 2.4268
150 HP | NR Green Motors | 0 | 503 | 2.8415 | 4.3312 | 0.65 | 2.8153
150 HP Ind | NR Green Motors | 0 | 503 | 2.4269 | 3.6992 | 0.65 | 2.4045
200 HP | NR Green Motors | 0 | 605 | 3.1265 | 4.2989 | 0.65 | 2.7943
200 HP Ind | NR Green Motors | 0 | 605 | 2.6703 | 3.6717 | 0.65 | 2.3866
250 HP | NR Green Motors | 0 | 778 | 2.8497 | 4.031 | 0.65 | 2.6202
250 HP | NR Green Motors | 0 | 778 | 3.5939 | 5.0837 | 0.65 | 3.3044
300 HP | NR Green Motors | 0 | 786 | 3.367 | 4.0098 | 0.65 | 2.6064
300 HP | NR Green Motors | 0 | 786 | 4.2466 | 5.0573 | 0.65 | 3.2873
350 HP | NR Green Motors | 0 | 824 | 3.7442 | 4.0068 | 0.65 | 2.6044
350 HP | NR Green Motors | 0 | 824 | 4.7227 | 5.0539 | 0.65 | 3.285
400 HP | NR Green Motors | 0 | 921 | 3.7997 | 3.9767 | 0.65 | 2.5849
400 HP | NR Green Motors | 0 | 921 | 4.792 | 5.0153 | 0.65 | 3.26
450 HP | NR Green Motors | 0 | 1006 | 3.9055 | 3.9686 | 0.65 | 2.5796
450 HP | NR Green Motors | 0 | 1006 | 4.9257 | 5.0053 | 0.65 | 3.2535
4500 HP | NR Green Motors | 0 | 7479 | 4.7972 | 3.6241 | 0.65 | 2.3556
4500 HP | NR Green Motors | 0 | 7479 | 5.1417 | 3.8843 | 0.65 | 2.5248
500 HP | NR Green Motors | 0 | 1087 | 4.0218 | 3.9743 | 0.65 | 2.5833
500 HP | NR Green Motors | 0 | 1087 | 5.0726 | 5.0126 | 0.65 | 3.2582
600 HP | NR Green Motors | 0 | 1611 | 3.122 | 3.8103 | 0.65 | 2.4767
600 HP | NR Green Motors | 0 | 1611 | 3.9931 | 4.8734 | 0.65 | 3.1677
700 HP | NR Green Motors | 0 | 1747 | 3.3447 | 3.7942 | 0.65 | 2.4663
700 HP | NR Green Motors | 0 | 1747 | 4.278 | 4.853 | 0.65 | 3.1545
800 HP | NR Green Motors | 0 | 1939 | 3.4366 | 3.7861 | 0.65 | 2.461
800 HP | NR Green Motors | 0 | 1939 | 4.3954 | 4.8425 | 0.65 | 3.1476
900 HP | NR Green Motors | 0 | 2137 | 3.5005 | 3.778 | 0.65 | 2.4557
900 HP | NR Green Motors | 0 | 2137 | 4.4772 | 4.8322 | 0.65 | 3.1409
1000 HP | NR Green Motors | 0 | 2303 | 3.5938 | 3.7621 | 0.65 | 2.4454
1000 HP | NR Green Motors | 0 | 2303 | 4.5969 | 4.8121 | 0.65 | 3.1279
1250 HP | NR Green Motors | 0 | 2752 | 3.7292 | 3.732 | 0.65 | 2.4258
1250 HP | NR Green Motors | 0 | 2752 | 3.9971 | 4.0001 | 0.65 | 2.6
1500 HP | NR Green Motors | 0 | 3152 | 3.8989 | 3.724 | 0.65 | 2.4206
1500 HP | NR Green Motors | 0 | 3152 | 4.179 | 3.9916 | 0.65 | 2.5945
1750 HP | NR Green Motors | 0 | 3598 | 3.9681 | 3.7084 | 0.65 | 2.4104
1750 HP | NR Green Motors | 0 | 3598 | 4.2531 | 3.9747 | 0.65 | 2.5835
2000 HP | NR Green Motors | 0 | 4036 | 4.0259 | 3.6928 | 0.65 | 2.4003
2000 HP | NR Green Motors | 0 | 4036 | 4.315 | 3.958 | 0.65 | 2.5727
2250 HP | NR Green Motors | 0 | 4397 | 4.1312 | 3.6697 | 0.65 | 2.3853
2250 HP | NR Green Motors | 0 | 4397 | 4.428 | 3.9333 | 0.65 | 2.5567
2500 HP | NR Green Motors | 0 | 4811 | 4.1865 | 3.662 | 0.65 | 2.3803
2500 HP | NR Green Motors | 0 | 4811 | 4.4872 | 3.9251 | 0.65 | 2.5513
3000 HP | NR Green Motors | 0 | 5625 | 4.27 | 3.6392 | 0.65 | 2.3655
3000 HP | NR Green Motors | 0 | 5625 | 4.5767 | 3.9006 | 0.65 | 2.5354
3500 HP | NR Green Motors | 0 | 6216 | 4.4986 | 3.6316 | 0.65 | 2.3605
3500 HP | NR Green Motors | 0 | 6216 | 4.8217 | 3.8924 | 0.65 | 2.5301
4000 HP | NR Green Motors | 0 | 6940 | 4.6049 | 3.6316 | 0.65 | 2.3605
4000 HP | NR Green Motors | 0 | 6940 | 4.9356 | 3.8924 | 0.65 | 2.5301
5000 HP | NR Green Motors | 0 | 7983 | 4.9833 | 3.6165 | 0.65 | 2.3507
5000 HP | NR Green Motors | 0 | 7983 | 5.3412 | 3.8763 | 0.65 | 2.5196
Washington Air Guardian | NR Air Guardian | 10 | 1440 | 2.1698 | 1.9725 | 0.65 | 1.2821
Washington Fleet Heat | NR Fleet Heat | 67 | 150 | 6.4262 | 5.842 | 0.65 | 3.7973
Controls - Anti Sweat heat - Dedicated ASHC Device - Low Temp | Energy Smart Grocer | 7 | 40 | 4.4145 | 3.4303 | 0.75 | 2.5727
Controls - Anti Sweat heat - Dedicated ASHC Device - Med Temp | Energy Smart Grocer | 7 | 40 | 2.7516 | 2.1381 | 0.75 | 1.6036
Controls - Anti-Sweat Heat - Energy Management System - Low Temp | Energy Smart Grocer | 7 | 14 | 0.88295 | 9.8007 | 0.75 | 7.3506
Controls - Anti-Sweat Heat - Energy Management System - Med Temp | Energy Smart Grocer | 7 | 14 | 0.55035 | 6.1089 | 0.75 | 4.5816
Gaskets Reach In Low Temp | Energy Smart Grocer | 2 | 40 | 2.6143 | 4.5156 | 0.75 | 3.3867
Gaskets Reach In Medium Temp | Energy Smart Grocer | 2 | 25 | 0.67104 | 7.8656 | 0.75 | 5.8992
Gaskets Walk In Low Temp | Energy Smart Grocer | 2 | 65 | 6.7255 | 4.2329 | 0.75 | 3.1746
Gaskets Walk In Medium Temp | Energy Smart Grocer | 2 | 25 | 9.5659 | 6.4701 | 0.75 | 4.8525
Evap motors: shaded pole to ECM in Walk-in - Greater than 23 watts | Energy Smart Grocer | 105 | 140 | 2.7106 | 5.8084 | 0.75 | 4.3563
Evap motors: shaded pole to ECM in Walk-in - less than 23 watts | Energy Smart Grocer | 105 | 140 | 1.4668 | 3.1431 | 0.75 | 2.3574
Floating Head Pressure for Single Compressor Systems, LT Condensing Unit | Energy Smart Grocer | 42 | 100 | 0.92349 | 6.3553 | 0.75 | 4.7665
Floating Head Pressure for Single Compressor Systems, LT Remote Condenser | Energy Smart Grocer | 70 | 100 | 0.10094 | 5.4314 | 0.75 | 4.0735
Floating Head Pressure for Single Compressor Systems, MT Condensing Unit | Energy Smart Grocer | 105 | 100 | 0.89952 | 6.0022 | 0.75 | 4.5017
Floating Head Pressure for Single Compressor Systems, MT Remote Condenser | Energy Smart Grocer | 0 | 100 | 2.4951 | 3.5159 | 0.75 | 2.6369
Evaporated Fan - Walk-In ECM Controller - Low Temp - 1/10-1/20 HP | Energy Smart Grocer | 0 | 35 | 1.094 | 5.2567 | 0.75 | 3.9426
Evaporated Fan - Walk-In ECM Controller - Medium Temp - 1/10-1/20 HP | Energy Smart Grocer | 0 | 35 | 1.95 | 4.4065 | 0.75 | 3.3049
Strip Curtains for Convenience Store Walk-in Freezers | Energy Smart Grocer | 0 | 5 | 0.22898 | 3.622 | 0.75 | 2.7165
Strip Curtains for Restaurant Walk-in Freezers | Energy Smart Grocer | 0 | 5 | 0.95284 | 15.0723 | 0.75 | 11.3042
Strip Curtains for Supermarket Walk-in Coolers | Energy Smart Grocer | 0 | 5 | 0.90853 | 14.3712 | 0.75 | 10.7784
Strip Curtains for Supermarket Walk-in Freezers | Energy Smart Grocer | 0 | 5 | 37.6301 | 29.0778 | 0.75 | 21.8083
Evap motors: shaded pole to ECM in Display Case | Energy Smart Grocer | 0 | 55 | 6.2906 | 6.4465 | 0.75 | 4.8349
Add doors to Open Medium Temp Cases | Energy Smart Grocer | 266 | 253.6 | 1.4942 | 2.0622 | 0.75 | 1.5467
Cases - Low Temp Reach-in to High Efficiency Reach-in | Energy Smart Grocer | 140 | 192.6 | 2.7838 | 3.7165 | 0.75 | 2.7874
Cases - Medium Temp Open Case to New High Efficiency Open Case | Energy Smart Grocer | 210 | 44.4 | 2.0522 | 3.7165 | 0.75 | 2.7874
Cases - Medium Temp Open Case to New Reach In | Energy Smart Grocer | 210 | 117 | 5.4078 | 3.7165 | 0.75 | 2.7874
Floating Head Pressure Control - Air Cooled | Energy Smart Grocer | 14 | 66.4 | 5.2334 | 3.7165 | 0.75 | 2.7874
Floating Head Pressure Control - Evap Cooled | Energy Smart Grocer | 35 | 141.6 | 11.16 | 3.7165 | 0.75 | 2.7874
Floating Head Pressure Control w/ VFD- Air Cooled | Energy Smart Grocer | 35 | 183 | 3.7407 | 3.7165 | 0.75 | 2.7874
VFD - Condenser Fan Motors - Air Cooled | Energy Smart Grocer | 35 | 186 | 3.9774 | 3.7165 | 0.75 | 2.7874
VFD - Condenser Fan Motors - Evap Cooled | Energy Smart Grocer | 35 | 186 | 3.9775 | 3.7165 | 0.75 | 2.7874
Single Row T8_Low Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 3500 | 10 | 0.63221 | 3.749 | 0.75 | 2.8117
Single Row T12_Low Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 1400 | 10 | 1.0709 | 6.3503 | 0.75 | 4.7627
Double Row T8 _High Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 700 | 18 | 1.4192 | 4.6756 | 0.75 | 3.5067
Double Row T12 _High Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 700 | 18 | 2.2837 | 7.5235 | 0.75 | 5.6426
Single Row T8_Low Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 0 | 7 | 0.1119 | 3.9348 | 0.75 | 2.9511
Single Row T12_Low Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 0 | 7 | 0.32629 | 6.6673 | 0.75 | 5.0005
Double Row T8 _High Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 0 | 10 | 0.22168 | 6.1973 | 0.75 | 4.648
Double Row T12 _High Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 0 | 10 | 0.52924 | 9.9463 | 0.75 | 7.4597
Single Row T8_Low Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 700 | 10 | 0.6258 | 5.2027 | 0.75 | 3.902
Single Row T12_Low Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 700 | 10 | 1.3643 | 8.7986 | 0.75 | 6.599
Double Row T8 _High Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 700 | 18 | 1.8946 | 6.4608 | 0.75 | 4.8456
Double Row T12 _High Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 700 | 18 | 2.0796 | 10.4138 | 0.75 | 7.8104
Low-flow faucet aerator (0.5 gpm) Electric Water Heat | Small Business | 2052 | 8 | 20.1383 | 18.3075 | 1 | 18.3075
Low-flow faucet aerator (1.0 gpm) Electric Water Heat | Small Business | 2052 | 8 | 11.8144 | 10.7404 | 1 | 10.7404
Low-flow faucet aerator (0.5 gpm) Gas Water Heat | Small Business | 2052 | 8 | 5.2944 | 4.8131 | 1 | 4.8131
Low-flow faucet aerator (1.0 gpm) Gas Water Heat | Small Business | 2052 | 8 | 4.1179 | 3.7435 | 1 | 3.7435
Pre-Rinse Spray Valve Electric Heat | Small Business | 76 | 129 | 2.1876 | 1.9887 | 1 | 1.9887
Pre-Rinse Spray Valve Gas Heat | Small Business | 76 | 129 | 1.0973 | 0.9975 | 1 | 0.9975
Shower Head Fitness Electric | Small Business | 53 | 41 | 58.4572 | 51.0586 | 1 | 51.0586
Shower Head Fitness Gas | Small Business | 53 | 41 | 24.1015 | 19.8262 | 1 | 19.8262
Shower Head Electric | Small Business | 205 | 41 | 3.1083 | 2.7149 | 1 | 2.7149
Shower Head Gas | Small Business | 205 | 41 | 1.2698 | 1.0435 | 1 | 1.0435
Cooler Miser | Small Business | 152 | 225 | 0.4834 | 0.43946 | 1 | 0.43946
Vending Miser | Small Business | 53 | 225 | 1.5927 | 1.4479 | 1 | 1.4479
Tier 1 smart power strip | Small Business | 912 | 39 | 0.49046 | 0.44587 | 1 | 0.44587
Screw in LED lamp 40W | Small Business | 266 | 17 | 3.0891 | 2.3345 | 1 | 2.3345
Screw in LED lamp 60W | Small Business | 912 | 17 | 4.4072 | 3.4402 | 1 | 3.4402
Screw in LED lamp 75W | Small Business | 91 | 27 | 3.3139 | 2.656 | 1 | 2.656
Screw in LED lamp 100W | Small Business | 91 | 31 | 3.8248 | 3.1443 | 1 | 3.1443
Screw in LED BR30 | Small Business | 1976 | 22 | 4.067 | 3.2597 | 1 | 3.2597
Screw in LED BR40 | Small Business | 456 | 28 | 4.2346 | 3.4812 | 1 | 3.4812
Screw in LED PAR30 | Small Business | 456 | 28 | 3.1955 | 2.5612 | 1 | 2.5612
Screw in LEDPAR38 | Small Business | 456 | 32 | 3.7052 | 3.046 | 1 | 3.046
Multifamily NG Market Transformation (per unit) | MF Market Transformation | 400 | 3500 | 0.8564 | 1.5571 | 1 | 1.5571

## UES
Measure description | Program | UES
E AIR INFILTRATION (per 1000 cfm50)* | Low Income | 620
E ENERGY STAR DOORS | Low Income | 154
E ENERGY STAR WINDOWS | Low Income | 17.5
E INS - CEIL/ATTIC | Low Income | 228
E INS - DUCT | Low Income | 169
E INS - FLOOR | Low Income | 953
E INS - WALL | Low Income | 777
E Ductsealing | Low Income | 798
E Ductless Heatpump * | Low Income | 2348
LEDs (Giveaway) * | Low Income | 15
Elec Res --> Heat Pump * | Low Income | 4795
Estar Refrigerator | Low Income | 340
E to G Furnace Conversion | Low Income | 5898
E to G DHW Conversion | Low Income | 3003
Tier1 0-55Gallon HPWH | Residential | 1306
Tier2 0-55Gallon HPWH | Residential | 1662
Tier3 0-55Gallon HPWH | Residential | 1756
Estar Home - SF, Elec/DF | Residential | 3095
Storm Windows | Residential | 8.5
Web Tstat Elec DIY | Residential | 600
Web Tstat Elec Contractor | Residential | 600
DHP 9.0 and Above | Residential | 2259
DHP 9.0-11.0 | Residential | 2259
DHP 11.1-12.5 | Residential | 2375
DHP 12.6 and above | Residential | 2499
Variable Speed Motor | Residential | 414
Elec Res --> ASHP | Residential | 3605
Elec Res --> Natural Gas Furnace | Residential | 7485
E DHW--> NG DHW | Residential | 3790
Elec Res--> NG Direct Vent Wall Heat | Residential | 10624
CFL - General Purpose and Dimmable - 1490- 2600 lumens | Simple Steps | 12.8
CFL - General Purpose and Dimmable - 250- 1049 lumens | Simple Steps | 10.1
CFL - General Purpose and Dimmable - 1050- 1489 lumens | Simple Steps | 12.8
CFL - Decorative and Mini-Base - 1490- 2600 lumens | Simple Steps | 1.8
CFL - Decorative and Mini-Base - 250- 1049 lumens | Simple Steps | 19.8
CFL - Decorative and Mini-Base - 1050- 1489 lumens | Simple Steps | 15.9
CFL - Globe - 1490- 2600 lumens | Simple Steps | 21.5
CFL - Globe - 250- 1049 lumens | Simple Steps | 10.6
CFL - Globe - 1050- 1489 lumens | Simple Steps | 1.2
CFL - Reflectors and Outdoor - 1490- 2600 lumens | Simple Steps | 12.6
CFL - Reflectors and Outdoor - 250- 1049 lumens | Simple Steps | 28.3
CFL - Reflectors and Outdoor - 1050- 1489 lumens | Simple Steps | 33.6
LED - Decorative and Mini-Base - 1490- 2600 lumens | Simple Steps | 4.3
LED - Decorative and Mini-Base - 250 - 1049 lumens | Simple Steps | 27.2
LED - Decorative and Mini-Base - 1050- 1489 lumens | Simple Steps | 23
LED - General Purpose and Dimmable - 1490- 2600 lumens | Simple Steps | 23.2
LED - General Purpose and Dimmable - 250- 1049 lumens | Simple Steps | 15.2
LED - General Purpose and Dimmable - 1050- 1489 lumens | Simple Steps | 26.5
LED - Globe - 1490 - 2600 lumens | Simple Steps | 34.8
LED - Globe - 250- 1049 lumens | Simple Steps | 14
LED - Globe - 1050 - 1489 lumens | Simple Steps | 2.3
LED - Reflectors and Outdoor - 1490 - 2600 lumens | Simple Steps | 24.3
LED - Reflectors and Outdoor - 250 - 1049 lumens | Simple Steps | 40.7
LED - Reflectors and Outdoor - 1050 - 1489 lumens | Simple Steps | 51.7
Showerhead 2.0 GPM | Simple Steps | 82
Showerhead 1.75 GPM | Simple Steps | 112
Showerhead 1.5 GPM | Simple Steps | 138
LED - Downlight (Retrofit Kit) Kit Fixture | Simple Steps | 29.8471
LED - Decorative Ceiling Flush Mount Fixture | Simple Steps | 31.8369
LED - Track Light Fixture | Simple Steps | 21.6287
LED - Linear Shop Light Fixture | Simple Steps | 13.7898
LED - Linear Flush Mount Fixture | Simple Steps | 14.7708
LED - Exterior Porch Light Fixture | Simple Steps | 61.2768
LED - Exterior Security Fixture | Simple Steps | 182.5069
Less than R11 attic insulation (E/E) to R30-R44 Attic Insulation | NR Shell | 1.02
Less than R11 attic insulation (E/E) to R45+ Attic Insulation | NR Shell | 1.39
Less than R11 roof insulation (E/E) to R30+ Roof Insulation | NR Shell | 1.36
Less than R4 wall insulation (E/E) to R11-R18 Wall Insulation | NR Shell | 2.82
Less than R4 wall insulation (E/E) to R19+ Wall Insulation | NR Shell | 4.11
Prescriptive VFDs - HVAC Cooling Pump | NR VFD | 1091
Prescriptive VFDs - HVAC Fan | NR VFD | 1022
Prescriptive VFDS - HVAC Heating Pump or combo | NR VFD | 1756
0.61 to 0.80 GPM electric pre-rinse sprayer | NR Food Service | 891
0.61 to 0.80 GPM gas pre-rinse sprayer | NR Food Service | 49
0.81 to 1.00 GPM electric pre-rinse sprayer | NR Food Service | 552
0.81 to 1.00 GPM gas pre-rinse sprayer | NR Food Service | 30
3 pan electric steamer | NR Food Service | 21470
3 pan gas steamer | NR Food Service | 0
4 pan electric steamer | NR Food Service | 28564
4 pan gas steamer | NR Food Service | 0
5 pan electric steamer | NR Food Service | 35659
5 pan gas steamer | NR Food Service | 0
6 pan electric steamer | NR Food Service | 42754
6 pan gas steamer | NR Food Service | 0
10 or larger pan electric steamer | NR Food Service | 71333
10 or larger pan gas steamer | NR Food Service | 0
Efficient combination oven (>= 16 pan and <= 20 pan) electric | NR Food Service | 17877
Efficient combination oven (>= 16 pan and <= 20 pan) gas | NR Food Service
Efficient combination oven (>= 6 pan and <= 15 pan) electric | NR Food Service | 12990
Efficient combination oven (>= 6 pan and <= 15 pan) gas | NR Food Service
Efficient convection oven full size | NR Food Service | 1661
Efficient convection oven half size | NR Food Service | 1683
H.E. gas convection oven, 40% effic. or better | NR Food Service | 0
Gas rack oven | NR Food Service | 0
Efficient hot food holding cabinet, full size | NR Food Service | 820
Electric fryer | NR Food Service | 2449
Energy Star 50% effic.gas fryer | NR Food Service
H.E. gas griddle, 40% effic. or better | NR Food Service
Standard Efficiency Appliance to H.E. electric griddle, 70% effic. or better | NR Food Service | 1636
High temp electric hot water dishwasher | NR Food Service | 4110
High temp gas hot water dishwasher | NR Food Service | 1700
Low temp electric hot water dishwasher | NR Food Service | 3801
Low temp gas hot water dishwasher | NR Food Service | 517
Standard Efficiency Appliance to Energy Star 65% effic. or greater 3-pan electric steam cooker | NR Food Service | 888
Standard Efficiency Appliance to Energy Star 65% effic. or greater 4-pan electric steam cooker | NR Food Service | 888
Standard Efficiency Appliance to Energy Star 65% effic. or greater 5-pan electric steam cooker | NR Food Service | 1671
Standard Efficiency Appliance to Energy Star 65% effic. or greater 6-pan electric steam cooker | NR Food Service | 2020
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, between 12 & 20 cu.ft. (CEE tier 2) | NR Food Service | 1700
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, less than 12 cu.ft. (CEE tier 2) | NR Food Service | 876
Standard Efficiency Appliance to Energy Star electric hot food holding cabinet, over 20 cu.ft. (CEE tier 2) | NR Food Service | 1752
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1000 to 1199 lbs./day capacity | NR Food Service | 1182
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1200 to 1399 lbs./day capacity | NR Food Service | 1350
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1400 to 1599 lbs./day capacity | NR Food Service | 1502
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 1600 or greater lbs./day capacity | NR Food Service | 1640
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 200 to 399 lbs./day capacity | NR Food Service | 421
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 400 to 599 lbs./day capacity | NR Food Service | 592
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 600 to 799 lbs./day capacity | NR Food Service | 804
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, 800 to 999 lbs./day capacity | NR Food Service | 1000
Standard Efficiency Appliance to Energy Star ice maker, air cooled, ice making head, under 200 lbs./day capacity | NR Food Service | 173
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1000 to 1199 lbs./day capacity | NR Food Service | 940
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1200 to 1399 lbs./day capacity | NR Food Service | 1111
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1400 to 1599 lbs./day capacity | NR Food Service | 1282
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1600 to 1799 lbs./day capacity | NR Food Service | 1453
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 1800 or greater lbs./day capacity | NR Food Service | 1624
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 400 to 599 lbs./day capacity | NR Food Service | 601
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 600 to 799 lbs./day capacity | NR Food Service | 765
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, 800 to 999 lbs./day capacity | NR Food Service | 885
Standard Efficiency Appliance to Energy Star ice maker, air cooled, remote condensing, less than 400 lbs./day capacity & under | NR Food Service | 394
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 100 to 149 lbs./day capacity | NR Food Service | 206
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 150 to 199 lbs./day capacity | NR Food Service | 225
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 200 to 249 lbs./day capacity & under | NR Food Service | 289
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 250 to 299 lbs./day capacity | NR Food Service | 353
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 300 to 349 lbs./day capacity | NR Food Service | 418
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 350 to 399 lbs./day capacity | NR Food Service | 482
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 400 or greater lbs./day capacity | NR Food Service | 546
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, 50 to 99 lbs./day capacity | NR Food Service | 146
Standard Efficiency Appliance to Energy Star ice maker, air cooled, self contained, less than 50 lbs./day capacity & under | NR Food Service | 56
Visi Cooler | NR Food Service | 150
15 HP Agricultural | NR Green Motors | 317
15 HP Industrial | NR Green Motors | 601
20 HP | NR Green Motors | 425
20 HP Ind | NR Green Motors | 804
25 HP | NR Green Motors | 595
25 HP Ind | NR Green Motors | 1052
30 HP | NR Green Motors | 640
30 HP Ind | NR Green Motors | 1133
40 HP | NR Green Motors | 746
40 HP Ind | NR Green Motors | 1319
50 HP | NR Green Motors | 802
50 HP Ind | NR Green Motors | 1418
60 HP | NR Green Motors | 765
60 HP Ind | NR Green Motors | 1476
75 HP | NR Green Motors | 788
75 HP Ind | NR Green Motors | 1519
100 HP | NR Green Motors | 1040
100 HP Ind | NR Green Motors | 2005
125 HP | NR Green Motors | 1157
125 HP Ind | NR Green Motors | 2598
150 HP | NR Green Motors | 1376
150 HP Ind | NR Green Motors | 3089
200 HP | NR Green Motors | 1821
200 HP Ind | NR Green Motors | 4088
250 HP | NR Green Motors | 4972
250 HP | NR Green Motors | 2823
300 HP | NR Green Motors | 5935
300 HP | NR Green Motors | 3370
350 HP | NR Green Motors | 6919
350 HP | NR Green Motors | 3929
400 HP | NR Green Motors | 7848
400 HP | NR Green Motors | 4456
450 HP | NR Green Motors | 8811
450 HP | NR Green Motors | 5003
4500 HP | NR Green Motors | 104783
4500 HP | NR Green Motors | 37021
500 HP | NR Green Motors | 9804
500 HP | NR Green Motors | 5567
600 HP | NR Green Motors | 14689
600 HP | NR Green Motors | 6193
700 HP | NR Green Motors | 17065
700 HP | NR Green Motors | 7195
800 HP | NR Green Motors | 19461
800 HP | NR Green Motors | 8205
900 HP | NR Green Motors | 21847
900 HP | NR Green Motors | 9211
1000 HP | NR Green Motors | 24172
1000 HP | NR Green Motors | 10192
1250 HP | NR Green Motors | 29973
1250 HP | NR Green Motors | 10590
1500 HP | NR Green Motors | 35891
1500 HP | NR Green Motors | 12681
1750 HP | NR Green Motors | 41697
1750 HP | NR Green Motors | 14732
2000 HP | NR Green Motors | 47454
2000 HP | NR Green Motors | 16766
2250 HP | NR Green Motors | 53051
2250 HP | NR Green Motors | 18744
2500 HP | NR Green Motors | 58823
2500 HP | NR Green Motors | 20783
3000 HP | NR Green Motors | 70147
3000 HP | NR Green Motors | 24784
3500 HP | NR Green Motors | 81667
3500 HP | NR Green Motors | 28854
4000 HP | NR Green Motors | 93334
4000 HP | NR Green Motors | 32976
5000 HP | NR Green Motors | 116183
5000 HP | NR Green Motors | 41049
Washington Fleet Heat | NR Fleet Heat | 1500
Controls - Anti Sweat heat - Dedicated ASHC Device - Low Temp | Energy Smart Grocer | 369
Controls - Anti Sweat heat - Dedicated ASHC Device - Med Temp | Energy Smart Grocer | 230
Controls - Anti-Sweat Heat - Energy Management System - Low Temp | Energy Smart Grocer | 369
Controls - Anti-Sweat Heat - Energy Management System - Med Temp | Energy Smart Grocer | 230
Gaskets Reach In Low Temp | Energy Smart Grocer | 243
Gaskets Reach In Medium Temp | Energy Smart Grocer | 248
Gaskets Walk In Low Temp | Energy Smart Grocer | 347
Gaskets Walk In Medium Temp | Energy Smart Grocer | 204
Evap motors: shaded pole to ECM in Walk-in - Greater than 23 watts | Energy Smart Grocer | 1094
Evap motors: shaded pole to ECM in Walk-in - less than 23 watts | Energy Smart Grocer | 592
Floating Head Pressure for Single Compressor Systems, LT Condensing Unit | Energy Smart Grocer | 855
Floating Head Pressure for Single Compressor Systems, LT Remote Condenser | Energy Smart Grocer | 685
Floating Head Pressure for Single Compressor Systems, MT Condensing Unit | Energy Smart Grocer | 757
Floating Head Pressure for Single Compressor Systems, MT Remote Condenser | Energy Smart Grocer | 473
Evaporated Fan - Walk-In ECM Controller - Low Temp - 1/10-1/20 HP | Energy Smart Grocer | 207
Evaporated Fan - Walk-In ECM Controller - Medium Temp - 1/10-1/20 HP | Energy Smart Grocer | 264
Strip Curtains for Convenience Store Walk-in Freezers | Energy Smart Grocer | 31
Strip Curtains for Restaurant Walk-in Freezers | Energy Smart Grocer | 129
Strip Curtains for Supermarket Walk-in Coolers | Energy Smart Grocer | 123
Strip Curtains for Supermarket Walk-in Freezers | Energy Smart Grocer | 535
Evap motors: shaded pole to ECM in Display Case | Energy Smart Grocer | 477
Add doors to Open Medium Temp Cases | Energy Smart Grocer | 533
Cases - Low Temp Reach-in to High Efficiency Reach-in | Energy Smart Grocer | 963
Cases - Medium Temp Open Case to New High Efficiency Open Case | Energy Smart Grocer | 222
Cases - Medium Temp Open Case to New Reach In | Energy Smart Grocer | 585
Floating Head Pressure Control - Air Cooled | Energy Smart Grocer | 332
Floating Head Pressure Control - Evap Cooled | Energy Smart Grocer | 708
Floating Head Pressure Control w/ VFD- Air Cooled | Energy Smart Grocer | 915
VFD - Condenser Fan Motors - Air Cooled | Energy Smart Grocer | 930
VFD - Condenser Fan Motors - Evap Cooled | Energy Smart Grocer | 930
Single Row T8_Low Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 49
Single Row T12_Low Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 83
Double Row T8 _High Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 110
Double Row T12 _High Power LED_Inside Refrigerated Space_Medium Temperature Case | Energy Smart Grocer | 177
Single Row T8_Low Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 36
Single Row T12_Low Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 61
Double Row T8 _High Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 81
Double Row T12 _High Power LED_Outside Refrigerated Space_HVAC Interaction | Energy Smart Grocer | 130
Single Row T8_Low Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 68
Single Row T12_Low Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 115
Double Row T8 _High Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 152
Double Row T12 _High Power LED_Inside Refrigerated Space_Low Temperature Case | Energy Smart Grocer | 245
Low-flow faucet aerator (0.5 gpm) Electric Water Heat | Small Business | 300
Low-flow faucet aerator (1.0 gpm) Electric Water Heat | Small Business | 176
Low-flow faucet aerator (0.5 gpm) Gas Water Heat | Small Business
Low-flow faucet aerator (1.0 gpm) Gas Water Heat | Small Business
Pre-Rinse Spray Valve Electric Heat | Small Business | 1130
Pre-Rinse Spray Valve Gas Heat | Small Business
Shower Head Fitness Electric | Small Business | 4288
Shower Head Fitness Gas | Small Business
Shower Head Electric | Small Business | 228
Shower Head Gas | Small Business
Vending Miser | Small Business | 1612
Tier 1 smart power strip | Small Business | 105.02
Screw in LED lamp 40W | Small Business | 51.87
Screw in LED lamp 60W | Small Business | 76.44
Screw in LED lamp 75W | Small Business | 93.73
Screw in LED lamp 100W | Small Business | 127.4
Screw in LED BR30 | Small Business | 93.73
Screw in LED BR40 | Small Business | 127.4
Screw in LED PAR30 | Small Business | 93.73
Screw in LEDPAR38 | Small Business | 127.4
Multifamily NG Market Transformation (per unit) | MF Market Transformation | 5874