## Sheet 1
Exh. ASR-12: NorthWestern Energy Interconnection Queue for Projects Utilizing the Colstrip Transmission System (as of June 3, 2020)
Project Number | Queue Position | Date Interconnection Request Received | Location | Interconnect Point | Type of Interconnection Service Requested | In Service Date | Generating Facility Type | Summer Output (MW) | Winter Output (MW) | Status | Studies Available
164 - Rosebud County Wind |  | 2013-09-30 | Rosebud and Custer County, Montana | 500kV at Colstrip Substation | Energy Resource | 2021-10-01 | Wind | 301 | 301 | Signed LGIA | Feasibility Study System Impact Study System Impact Study-Revised Facilities Study
207 - Buffalo Trail Solar |  | 2015-07-20 | Yellowstone County, Montana | NWE Broadview 230kV Substation | Energy Resource | 2021-12-31 | Solar | 250 | 250 | Signed LGIA | Feasibility Study System Impact Study Facilities Study Revised Facilities Study
234 - Clearwater Wind 1 |  | 2015-12-29 | Rosebud & Custer Counties, Montana | Colstrip 500kV Bus | Energy Resource | 2021-10-01 | Wind | 750 | 750 | Signed LGIA | Feasibility Study System Impact Study System Impact Study Revised Facilities Study
309 - Broadview Solar I |  | 2016-12-09 | Yellowstone County, Montana | 230kV at Broadview Substation | Network Resource | 2022-03-31 | Solar and Battery | 80 | 80 | Signed LGIA | Feasibility Study System Impact Study Facilities Study
310 | 1 | 2016-12-21 | Meagher County, Montana | New 500kV Substation between Broadview and Townsend | Energy Resource | 2023-02-01 | Pumped Storage Hydro | 450 | 450 | Active | System Impact Study System Impact Study Revised Facilities Study
311 | 2 | 2017-02-27 | Yellowstone County, Montana | 500kV at Broadview Substation | Energy Resource | 2021-12-31 | Solar and Battery | 300 | 300 | Active | Feasibility Study System Impact Study Facilities Study
356 | 7 | 2018-10-09 | Rosebud County, Montana | 500kV at Colstrip Substation | Energy Resource | 2021-09-01 | Wind | 750 | 750 | Active | Feasibility Study
357 | 8 | 2018-10-09 | Rosebud County, Montana | 500kV at Colstrip Substation | Energy Resource | 2021-09-01 | Wind | 750 | 750 | Active | Feasibility Study
358 | 9 | 2018-10-11 | Yellowstone County, Montana | 230kV at Broadview Substation | Energy Resource | 2022-12-31 | Solar and Battery | 80 | 80 | Active | Feasibility Study System Impact Study
361 | 11 | 2019-03-15 | Wheatland County, Montana | 500 kV Broadview - Townsend | Energy Resource | 2021-12-31 | Wind | 600 | 600 | Active
362 | 12 | 2019-04-24 | Wheatland County, Montana | New proposed 500kV Substation between Broadview and Townsend | Energy Resource | 2022-10-31 | Wind | 300.15 | 300.15 | Active
366 | 14 | 2019-09-24 | Rosebud County, Montana | Colstrip 500kV Substation | Energy Resource | 2022-12-01 | Wind | 600 | 600 | Active
367 | 15 | 2019-09-24 | Rosebud County, Montana | Colstrip 500kV Substation | Energy Resource | 2022-12-01 | Wind | 400 | 400 | Active
369 | 17 | 2019-11-19 | Rosebud County, Montana | Colstrip 500kV Substation | Energy Resource | 2024-09-01 | Wind and Battery | 500 | 500 | Active
Source: NorthWestern Energy interconnection queue, accessed from http://www.oatioasis.com/NWMT/. Data current as of June 3, 2020.