## Final Cost
Kim Ljungberg
1100 310th NE, Stanwood WA 98292
*** Construction Materials ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
1 | FCD202 6"X1"IP DBL 6.63 - 7.61 T#167077 | 1 | LS | 80.74 | 80.74
2 | 1" X 100' POLY PIPE 25DLB | 100 | EA | 0.58 | 58
3 | 731318 1" BALL CORP MIP X MIP | 1 | EA | 62.42 | 62.42
4 | 5/8 X 314 720-212WCDD33 12" | 1 | LF | 153.88 | 153.88
5 | 74753-30 1" IPS X 314" MIP OJ | 1 | LF | 36.5 | 36.5
6 | 61361"IPS/6133T 1-114"CTS STIFF | 2 | EA | 2.09 | 4.18
7 | 74754-30 1"0J X 1" FIP IPS | 1 | EA | 28.01 | 28.01
8 | MID-STATES BOX MSBCF1118-12XL MID-ST LID MSCBC111 SR DI RDR LID 3/4" PVC THO PLUG (50) 450-007 | 1 | EA | 48.45 | 48.45
9 | ST LID MSCBC111 SR DI RDR LID 3/4" PVC | 2 | EA | 56.02 | 112.04
10 | THO PLUG (50) 450-007 | 1 | EA | 0.76 | 0.76
11 |  | 1 | EA | 0 | 0
12 |  | 1 | EA | 0 | 0
30 |  | Sub-Total |  |  | 528.2
31 |  | Contingency |  | 20% | 0
13 |  | Sales Tax |  | 8.6% | 93.2025
14 |  | SUB Total - Materials |  |  | 621.4025
15
*** Construction Labor ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
16 | Backhoe & Operator | 0 | HRS | 0 | 0
17 | Servicemen (2 men x 6.5hrs) | 12.75 | HRS | 85 | 1083.75
19 | Truck | 0 | HRS
20
30 |  | Sub-Total |  |  | 1083.75
31 |  | Contingency |  | 20% | 0
32 |  | Sales Tax |  | 8.6% | 93.2025
33 |  | SUB Total |  |  | 1176.9525
Item | Description | Quant./Units | Unit | Unit Cost | Total
39 | Administrative/Clarical | 4 | HR | 68.5 | 274
40
41 |  | SUB TOTAL |  |  | 274
42
43 |  | Sub-Total |  |  | 274
|  | Total Cost = |  |  | 2072.355
| Please remit payment to: | Account: |  |  | Ljungberg
Tatoosh Water
| 14263 Calhoun Road | Payment Due Date: |  |  | 2018-09-30
| Mount Vernon, WA 98273 | Payment Due: |  |  | 2072.36

## Estimate Form
Kim Ljungberg
1100 310th NE, Stanwood WA 98292
*** Construction Materials ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
1 | FCD202 6"X1"IP DBL 6.63 - 7.61 T#167077 | 1 | LS | 80.74 | 80.74
2 | 1" X 100' POLY PIPE 25DLB | 100 | EA | 0.58 | 58
3 | 731318 1" BALL CORP MIP X MIP | 1 | EA | 62.42 | 62.42
4 | 5/8 X 314 720-212WCDD33 12" | 1 | LF | 153.88 | 153.88
5 | 74753-30 1" IPS X 314" MIP OJ | 1 | LF | 36.5 | 36.5
6 | 61361"IPS/6133T 1-114"CTS STIFF | 2 | EA | 2.09 | 4.18
7 | 74754-30 1"0J X 1" FIP IPS | 1 | EA | 28.01 | 28.01
8 | MID-STATES BOX MSBCF1118-12XL MID-ST LID MSCBC111 SR DI RDR LID 3/4" PVC THO PLUG (50) 450-007 | 1 | EA | 48.45 | 48.45
9 | ST LID MSCBC111 SR DI RDR LID 3/4" PVC | 2 | EA | 56.02 | 112.04
10 | THO PLUG (50) 450-007 | 1 | EA | 0.76 | 0.76
11 |  | 1 | EA | 0 | 0
12 |  | 1 | EA | 0 | 0
30 |  | Sub-Total |  |  | 528.2
31 |  | Contingency |  | 20% | 0
13 |  | Sales Tax |  | 8.6% | 93.2025
14 |  | SUB Total - Materials |  |  | 621.4025
15
*** Construction Labor ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
16 | Backhoe & Operator | 0 | HRS | 0 | 0
17 | Servicemen (2 men x 6.5hrs) | 12.75 | HRS | 85 | 1083.75
19 | Truck | 0 | HRS
20
30 |  | Sub-Total |  |  | 1083.75
31 |  | Contingency |  | 20% | 0
32 |  | Sales Tax |  | 8.6% | 93.2025
33 |  | SUB Total - Materials
34 |  | Total |  |  | 1176.9525
Item | Description | Quant./Units | Unit | Unit Cost | Total
29 | County Permits (Encroachment) | 1 | LS | 0 | 0
30 | DOH Review Fees | 1 | LS | 0 | 0
31 | Hydrogeologist | 1 | LS | 0 | 0
32 | Geotechnical Engineer | 1 | LS | 0 | 0
33 | Engineering Consultant | 1 | LS | 0 | 0
34 | Land Cost | 1 | LS | 0 | 0
35 | Additional Insurance | 1 | LS | 0 | 0
36 | Bonding | 1 | LS | 0 | 0
37 | Underground Contractor | 1 | LS | 0 | 0
38 | Paveing Contractor - Pavement Restoration | 1 | SY | 0 | 0
39 | Administrative/Clarical | 4 | HR | 68.5 | 274
40
41 |  | SUB TOTAL |  |  | 270
42 |  | Contingency |  | 20% | 54
43 |  | Sub-Total - Outside Contractor |  |  | 324
44
|  | Projected Funds Required = |  |  | 2122.355 | LF | #DIV/0! | $/LF
Assumptions:
1) This document is intended to forecast approximate construction costs based upon current information and similar projects, and is not
intended to accurately represent actual design or construction components or prices.
2) Totals are rounded to nearest $100

## Materials Worksheet
Edit Header then remove this note
Unit
| Task | Quantity |  | Cost | Total
28883 Bacus Road water service
| Single Service | 0 | EA | 0 | 0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Sub-Total | 0
|  |  |  | Rounded Value | 0
Assembly Items Listed Below
Chemical Feed Pump Assembly
| Pulsafeeder Series E+ LPB4-KTC1-XXX 12 gpd Chem Pump | 1 | EA | 624.88 | 0
| 30-gallon linear Polyethlene Solution Tub w/ Cover | 1 | EA | 205.36 | 0
| Flow Indicator - Puslafeeder #U7012309 | 1 | EA | 30.4 | 0
| Suction Strainer for 3/8" Poly Tubing | 1 | EA | 11.95 | 0
| 3/8"x1/4" Polyethylene Tubing | 30 | LF | 0.247 | 0
| Injection Back Pressure valve Assembly - Pulsafeeder #J61026 | 2 | EA | 157.04 | 0
| KOP Kit - Pulsafeeder #K4KTC1 | 2 | EA | 69.64 | 0
| 8"x1" Tapping Saddle | 1 | EA | 69.7 | 0
| 1" PVC Pipe | 18 | LF | 0.41 | 0
| 1"x1" Tee SLxSL | 1 | EA | 0.64 | 0
| 1" Ball Valve | 2 | EA | 14.76 | 0
| 1" 90º Elbow | 4 | EA | 0.44 | 0
| 2"x1" TEE SLxSL | 1 | EA | 3.42 | 0
| 1"x1/2" Bushing | 1 | EA | 0.54 | 0
| 1/2" PVC Pipe | 8 | LF | 0.27 | 0
| 1/2" Ball Valve | 1 | EA | 6.48 | 0
| 1/2"x1/4" Bushing | 1 | EA | 0.38 | 0
| N.C. Well Pump Aux, Contact | 1 | EA | 17.4 | 0
| Duplex Outlet | 1 | EA | 0.91 | 0
| Shielded 2-Conductor Telemtry Cable | 30 | LF | 0.456 | 0
| NEMA 1 Enclosure | 1 | EA | 40.82 | 0
| Potter & Brumfield 8-pin Relay | 2 | EA | 124 | 0
| Breaker - 110VAC 15A | 1 | EA | 3.52 | 0
| Eye Wash Station | 1 | EA | 342 | 0
| Protective Apron | 1 | EA | 24.95 | 0
| Eye Protection Shields | 1 | EA | 9.45 | 0
0
|  |  |  | Sub-Total | 0
|  |  | 8.6% | WSST | 0
|  |  |  | Total | 0
|  |  |  | Rounded Value | 0
Hydrant Assembly
60600033 | 6" Dry-Barrel Hydrant | 1 | EA | 0 | 0
60500031 | 5" Storz Adaptor | 1 | EA | 0 | 0
60600081 | 18" Valve Box Riser /w Lid | 1 | EA | 0 | 0
60600082 | CI Valve Box Bottom Section | 1 | EA | 0 | 0
30600194 | 6"x6" Tee, MJxFLG | 1 | EA | 0 | 0
30600141 | 6" Ductile Iron Pipe Cl 50 | 12 | LF | 0 | 0
30600028 | 6" MEGALUG PK/KIT (DI) | 2 | EA | 0 | 0
30800029 | 8" MEGALUG PK/KIT (PVC) | 2 | EA | 0 | 0
30600030 | 6" FLG BOLT & GSKT KIT | 2 | EA | 0 | 0
40600285 | 6" MJ x FLG GATE VALVE | 1 | EA | 0 | 0
| GRAVEL 1 1/4 minus | 0.5 | CY | 0 | 0
125004816 | Support Blocks | 6 | EA | 0 | 0
0
|  |  |  | Sub-Total | 0
|  |  |  | Rounded Value | 0
| Single Service | [5 empty] | Double Service
30400181 | 4 x 1 TAPPING SADDLE | 1 | EA | 50.7 | 0 | 30800181 | 8 x 1 TAPPING SADDLE | 1 | EA | 0 | 0
40101255 | 1" CORP STOP x PAC JT-NO LEAD | 1 | EA | 93.1523 | 0 | 40101255 | 1" CORP STOP x PAC JT-NO LEAD | 1 | EA | 0 | 0
60100012 | 1" CL 200 POLY PIPE | 160 | LF | 0.68736 | 0 | 60100012 | 1" CL 200 POLY PIPE | 30 | LF | 0 | 0
51400155 | LOCATOR WIRE, # 14 | 160 | LF | 0.18239 | 0 | 51400155 | LOCATOR WIRE, # 14 | 30 | LF | 0 | 0
80034090 | 3/4" BRASS 90 ELBOW | 1 | EA | 6.553 | 0 | 80034090 | 3/4" BRASS 90 ELBOW | 2 | EA | 0 | 0
80034134 | 3/4" x 12" BRASS NIPPLE | 1 | EA | 20.0789 | 0 | 80034134 | 3/4" x 12" BRASS NIPPLE | 2 | EA | 0 | 0
40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 1 | EA | 41.3098 | 0 | 40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 2 | EA | 0 | 0
100034060 | RES METER BOX w/lid, STANDARD | 2 | EA | 44.3539 | 0 | 100034060 | RES METER BOX w/lid, STANDARD | 2 | EA | 0 | 0
100058258 | 5/8"x3/4" MTR, BODY ONLY, COMP | 1 | EA | 49.0945 | 0 | 100058258 | 5/8"x3/4" MTR, BODY ONLY, COMP | 2 | EA | 0 | 0
100058158 | 5/8"x3/4" METER w/HRE REG+ERT | 1 | EA | 216.0539 | 0 | 100058158 | 5/8"x3/4" METER w/HRE REG+ERT | 2 | EA | 0 | 0
40100300 | 1" PRESS REGULATING VALVE-NO L | 1 | EA | 120.99 | 0 | [5 empty] | 0
|  |  |  | Sub-Total | 0 |  |  |  |  | Sub-Total | 0
|  |  |  | Rounded Value | 0 |  |  |  |  | Rounded Value | 0
2" Blowoff
40200282 | 2" THREADED GATE AWWA | 1 | EA | 358 | 0
30800183 | 8 x 2 TAPPING SADDLE | 1 | EA | 142 | 0
60600081 | 18" VALVE BOX RISER w/LID | 1 | EA | 61 | 0
60600082 | VALVE BOX BOTTOM CI | 1 | EA | 38 | 0
20200130 | 2 x 6 GALV NIPPLE | 4 | EA | 6.85 | 0
20200140 | 2" GALVANIZED PIPE | 6 | LF | 4.27 | 0
20200090 | 2" GALV 90 ELBOW | 4 | EA | 9.65 | 0
10200020 | 2" PVC ADAPTOR FIP | 2 | EA | 2.16 | 0
10200141 | 2" PVC PIPE, CL 200 | 20 | LF | 0.96 | 0
125001000 | BEDDING SAND | 2.5 | CY | 5.5 | 0
|  |  |  | Sub-Total | 0
|  |  |  | Rounded Value | 0
2" Air/Vac Assembly
40200282 | 2" THREADED GATE AWWA | 1 | EA | 455.584 | 0
30800183 | 8 x 2 TAPPING SADDLE | 1 | EA | 140.7511 | 0
60600081 | 18" VALVE BOX RISER w/LID | 1 | EA | 59.6304 | 0
60600082 | VALVE BOX BOTTOM CI | 1 | EA | 36.188 | 0
20200130 | 2 x 6 GALV NIPPLE | 7 | EA | 5.5762 | 0
40200312 | 2" AIR/VAC VALVE, ARI #D-040 | 1 | EA | 446.7299 | 0
20200140 | 2" GALVANIZED PIPE | 7 | LF | 4.1744 | 0
20200090 | 2" GALV 90 ELBOW | 4 | EA | 9.5686 | 0
10200020 | 2" PVC ADAPTOR FIP | 2 | EA | 2.1077 | 0
20200180 | 2" GALV 180 ELBOW | 1 | EA | 87.9828 | 0
40200271 | 2" ENVIRO STRAINER-NO LEAD | 1 | EA | 49.7683 | 0
20200060 | 2" GALV CAP | 1 | EA | 4.5698 | 0
20200191 | 2" GALV REDUCING TEE | 2 | EA | 13.8392 | 0
40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 1 | EA | 41.3098 | 0
20034135 | 3/4 x 18 GALV NIPPLE | 2 | EA | 8.5882 | 0
20034130 | 3/4 x 6 GALV NIPPLE | 1 | EA | 2.3422 | 0
20034090 | 3/4" GALV 90 ELBOW | 1 | EA | 1.7755 | 0
100102070 | EXTRA LG METER BOX LID, STD | 1 | EA | 253.188 | 0
20112130 | 1 1/2 x 6 GALV NIPPLE | 3 | EA | 4.7619 | 0
20112090 | 1-1/2" GALV 90 ELBOW | 1 | EA | 6.4831 | 0
20112200 | 1-1/2" GALV UNION | 1 | EA | 12.7644 | 0
60600083 | CONCRETE VALVE BOX MARKER | 1 | EA | 12.7644 | 0
10200141 | 2" PVC PIPE, CL 200 | 20 | LF | 0.91177 | 0
125004816 | BLOCKS 2/8 4/8 4/16 - AVG | 3 | EA | 2.4823 | 0
|  |  |  | Sub-Total | 0
|  |  |  | Rounded Value | 0

## Projected Eng Hrs
Employee
Task | Hours | Classification | Rate | Total
Facility Design
Project Setup |  | Engineer | 125 | 0
Develop Base Drawings from Available Contour Info |  | Engineer | 125 | 0
Design & Draft Watermain Construction Documents |  | Engineer | 125 | 0
Sub-Total | 0 |  |  | 0
Revisions per Peer Review Comments
P.E. Peer Review |  | Principle Eng | 0 | 0
Revisions to Construction Documents per Peer Review Comments |  | Engineer | 125 | 0
Coping & Re-Submittal of Project Report & Construction Documents |  | Clerical | 75 | 0
Sub-Total | 0 |  |  | 0
Construction
Pre-Construction Conference with Engineering & Contractor |  | Engineer | 125 | 0
Construction Inspection by Operations |  | Engineer | 125 | 0
Sub-Total | 0 |  |  | 0
Record Documents
As-Built Drawings & Testing Validations along with Project Certification Document Preparation |  | Engineer | 125 | 0
P.E. Project Certification |  | Principle Eng | 0 | 0
Updating Base Maps & Site Piping |  | Engineer | 125 | 0
Coping, Binding & Submittal of Project Certification to File & Rosario |  | Clerical | 75 | 0
Sub Total | 0 |  |  | 0
Projected Total Hours | 0 |  |  | 0
0

## Consolidation Records Migration
Consolidate Records
Empolyee
Task | Hours | Classification
Update System History | 0 | Engineer
Site Facility Address Update | 0 | Clerical
Source of Supply Inventory drawing | 0 | Engineer
Update Connection Summary | 0 | Clerical
Document Draw Records Consolidation | 0 | Clerical
Sattin System Customer Migration to Aspinwall | 0 | Clerical
System's Owned & Managed List Update | 0 | Clerical
CMP Revisions for consolidated System - Site Selection & rotation | 0 | Engineer
CMP Revisions for consolidated System - CMP Map Update | 0 | Engineer
Coliform Monitoring Schedule Updated - WQ | 0 | Clerical
Chemical Contaminants Monitoring Schedule Update - WQ | 0 | Clerical
Nitrate Monitoring Schedule Update - WQ | 0 | Clerical
Lead & Cooper Schedule Update - WQ | 0 | Clerical
WQ Records Merge | 0 | Clerical
Wellhead Meter Reading Forms merge | 0 | Clerical
Wellhead Protection Records Merge | 0 | Engineer
Sanitary Survey Action Items merge | 0 | Clerical
Total | 0