## FCR Read Me
SCHEDULE 62 UPDATE April 1, 2023
UE-220066 Electric Rate Design Work Paper
2022 GRC Compliance Filing
Effective January 11, 2023
Background | In order to calculate customer-specific rates, it is necessary to convert the distribution plant used by the customer into a levelized fixed charge rate (FCR). This spreadsheet shows what annual rate is necessary to recover the remaining value of the distribution facilities used to serve the customer
Inputs | Once the cost of capital and capital structure for the rate case has been determined, those numbers should be entered in the top of the tab LvlFCR.
Notes: | Based upon the depreciation study, gross plant, and plant in service assume all facilities under the Special Contract distribution rate have an original life of 49 years for substation equipment and 35 years for OH/UG Feeder
Cost of Capital updated for Docket No. UE-220066 @ 7.160%

## Sch 62 FCR Table
Special Contract Fixed Charge Rates For Land and Depreciable Plant
Docket No. UE-220066 + Weighted Cost of Capital = 7.160% + 49 Year Substation Plant Life + 35 Year Feeder Plant Life
With FIT & Revenue sensitive together
Book Life | Real Property O&M, A&G and Capital Charge | Replacement Coverage FCR | FCR on Net Plant Value of Feeders | FCR on Net Plant Value of Substations
0 | 8.698% | 8.043% | 8.602% | 9.704%
1 |  |  | 8.61% | 9.652%
2 |  |  | 8.634% | 9.619%
3 |  |  | 8.665% | 9.588%
4 |  |  | 8.702% | 9.558%
5 |  |  | 8.746% | 9.527%
6 |  |  | 8.798% | 9.496%
7 |  |  | 8.858% | 9.462%
8 |  |  | 8.927% | 9.425%
9 |  |  | 9.006% | 9.386%
10 |  |  | 9.099% | 9.345%
11 |  |  | 9.206% | 9.314%
12 |  |  | 9.33% | 9.296%
13 |  |  | 9.476% | 9.287%
14 |  |  | 9.645% | 9.288%
15 |  |  | 9.844% | 9.302%
16 |  |  | 10.08% | 9.33%
17 |  |  | 10.35% | 9.375%
18 |  |  | 10.68% | 9.438%
19 |  |  | 11.08% | 9.525%
20 |  |  | 11.55% | 9.637%
21 |  |  | 12.09% | 9.745%
22 |  |  | 12.72% | 9.848%
23 |  |  | 13.45% | 9.958%
24 |  |  | 14.34% | 10.08%
25 |  |  | 15.44% | 10.21%
26 |  |  | 16.8% | 10.35%
27 |  |  | 18.55% | 10.5%
28 |  |  | 20.87% | 10.67%
29 |  |  | 24.08% | 10.85%
30 |  |  | 28.78% | 11.06%
31 |  |  | 36.27% | 11.28%
32 |  |  | 49.9% | 11.54%
33 |  |  | 81.44% | 11.82%
34 |  |  | 210% | 12.15%
35 |  |  |  | 12.52%
36 |  |  |  | 12.94%
37 |  |  |  | 13.44%
38 |  |  |  | 14.03%
39 |  |  |  | 14.73%
40 |  |  |  | 14.76%
41 |  |  |  | 14.78%
42 |  |  |  | 14.81%
43 |  |  |  | 14.83%
44 |  |  |  | 14.86%
45 |  |  |  | 14.89%
46 |  |  |  | 14.92%
47 |  |  |  | 14.95%
48 |  |  |  | 14.99%
49

## FCR Rates Feeder
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-220066 + Weighted Cost of Capital = 7.160% + 35 Year Feeder Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on net Plant Value
0 | 109462.7401 | 8602.1846 | 8.602%
1 | 105693.2555 | 8364.3873 | 8.61%
2 | 102092.5246 | 8140.7994 | 8.634%
3 | 98539.4457 | 7921.9592 | 8.665%
4 | 95028.3194 | 7707.4642 | 8.702%
5 | 91553.0381 | 7496.8674 | 8.746%
6 | 88112.0608 | 7290.0835 | 8.798%
7 | 84700.5546 | 7086.749 | 8.858%
8 | 81313.3404 | 6886.4542 | 8.927%
9 | 77964.8832 | 6690.4525 | 9.006%
10 | 74657.9578 | 6499.0484 | 9.099%
11 | 71395.5381 | 6312.5873 | 9.206%
12 | 68180.8105 | 6131.4638 | 9.33%
13 | 65017.1899 | 5956.1339 | 9.476%
14 | 61908.3354 | 5787.1284 | 9.645%
15 | 58858.1684 | 5625.0728 | 9.844%
16 | 55870.8909 | 5470.7115 | 10.08%
17 | 52951.0058 | 5324.9417 | 10.35%
18 | 50103.3383 | 5188.8579 | 10.68%
19 | 47333.0592 | 5063.8145 | 11.08%
20 | 44645.7096 | 4951.5122 | 11.55%
21 | 41907.1258 | 4837.9489 | 12.09%
22 | 39117.656 | 4722.9975 | 12.72%
23 | 36327.7399 | 4612.8135 | 13.45%
24 | 33537.3456 | 4508.1465 | 14.34%
25 | 30746.4387 | 4410.0339 | 15.44%
26 | 27954.9827 | 4319.9618 | 16.8%
27 | 25162.9382 | 4240.1465 | 18.55%
28 | 22370.2631 | 4174.0575 | 20.87%
29 | 19576.9122 | 4127.4624 | 24.08%
30 | 16782.8371 | 4110.7285 | 28.78%
31 | 13987.986 | 4144.5731 | 36.27%
32 | 11192.3033 | 4277.3188 | 49.9%
33 | 8395.7295 | 4653.9096 | 81.44%
34 | 5598.2007 | 5999.0319 | 210%
35

## FCR Rates Sub
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-220066 + Weighted Cost of Capital = 7.160% + 49 Year Sub Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on Gross Plant Value | NBV | FCR ON 10 Year Terms | Annual | Substation NBV Based on 10 Year
0 | 108544.6873 | 8043.3396 | 8.043% | 100000 | 67658.8044 | 9704.4611 | 9.704%
1 |  |  |  | 97959.1837 | 65920.1333 | 9455.0794 | 9.652%
2 |  |  |  | 95918.3673 | 64326.3311 | 9226.4766 | 9.619%
3 |  |  |  | 93877.551 | 62754.5861 | 9001.0375 | 9.588%
4 |  |  |  | 91836.7347 | 61197.3662 | 8777.6818 | 9.558%
5 |  |  |  | 89795.9184 | 59646.6001 | 8555.2518 | 9.527%
6 |  |  |  | 87755.102 | 58098.6423 | 8333.2246 | 9.496%
7 |  |  |  | 85714.2857 | 56546.4047 | 8110.5835 | 9.462%
8 |  |  |  | 83673.4694 | 54982.2919 | 7886.2392 | 9.425%
9 |  |  |  | 81632.6531 | 53418.1792 | 7661.8948 | 9.386%
10 |  |  |  | 79591.8367 | 51854.0665 | 7437.5504 | 9.345%
11 |  |  |  | 77551.0204 | 50360.1179 | 7223.2699 | 9.314%
12 |  |  |  | 75510.2041 | 48939.3457 | 7019.4852 | 9.296%
13 |  |  |  | 73469.3878 | 47569.904 | 6823.063 | 9.287%
14 |  |  |  | 71428.5714 | 46255.468 | 6634.5303 | 9.288%
15 |  |  |  | 69387.7551 | 44999.9761 | 6454.4522 | 9.302%
16 |  |  |  | 67346.9388 | 43807.6487 | 6283.4339 | 9.33%
17 |  |  |  | 65306.1224 | 42683.0084 | 6122.1241 | 9.375%
18 |  |  |  | 63265.3061 | 41630.9016 | 5971.2179 | 9.438%
19 |  |  |  | 61224.4898 | 40656.5216 | 5831.4603 | 9.525%
20 |  |  |  | 59183.6735 | 39765.4338 | 5703.6495 | 9.637%
21 |  |  |  | 57142.8571 | 38823.5004 | 5568.5458 | 9.745%
22 |  |  |  | 55102.0408 | 37831.0975 | 5426.2031 | 9.848%
23 |  |  |  | 53061.2245 | 36838.6946 | 5283.8604 | 9.958%
24 |  |  |  | 51020.4082 | 35846.2916 | 5141.5177 | 10.08%
25 |  |  |  | 48979.5918 | 34853.8887 | 4999.175 | 10.21%
26 |  |  |  | 46938.7755 | 33861.4858 | 4856.8324 | 10.35%
27 |  |  |  | 44897.9592 | 32869.0829 | 4714.4897 | 10.5%
28 |  |  |  | 42857.1429 | 31876.6799 | 4572.147 | 10.67%
29 |  |  |  | 40816.3265 | 30884.277 | 4429.8043 | 10.85%
30 |  |  |  | 38775.5102 | 29891.8741 | 4287.4616 | 11.06%
31 |  |  |  | 36734.6939 | 28899.4712 | 4145.119 | 11.28%
32 |  |  |  | 34693.8776 | 27907.0682 | 4002.7763 | 11.54%
33 |  |  |  | 32653.0612 | 26914.6653 | 3860.4336 | 11.82%
34 |  |  |  | 30612.2449 | 25922.2624 | 3718.0909 | 12.15%
35 |  |  |  | 28571.4286 | 24929.8594 | 3575.7482 | 12.52%
36 |  |  |  | 26530.6122 | 23937.4565 | 3433.4056 | 12.94%
37 |  |  |  | 24489.7959 | 22945.0536 | 3291.0629 | 13.44%
38 |  |  |  | 22448.9796 | 21952.6507 | 3148.7202 | 14.03%
39 |  |  |  | 20408.1633 | 20960.2477 | 3006.3775 | 14.73%
40 |  |  |  | 18367.3469 | 18894.6436 | 2710.1031 | 14.76%
41 |  |  |  | 16326.5306 | 16823.4849 | 2413.0319 | 14.78%
42 |  |  |  | 14285.7143 | 14746.3739 | 2115.107 | 14.81%
43 |  |  |  | 12244.898 | 12662.8845 | 1816.2672 | 14.83%
44 |  |  |  | 10204.0816 | 10572.5599 | 1516.4471 | 14.86%
45 |  |  |  | 8163.2653 | 8474.9107 | 1215.5763 | 14.89%
46 |  |  |  | 6122.449 | 6369.4125 | 913.5798 | 14.92%
47 |  |  |  | 4081.6327 | 4255.5033 | 610.3768 | 14.95%
48 |  |  |  | 2040.8163 | 2132.5809 | 305.8811 | 14.99%
49

## Lvl FCR Sub Equip
Special Contract Analysis | [16 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE: |  |  |  |  | PUGET SOUND ENERGY-ELECTRIC |  |  |  | ‚
[8 empty] | L.T. Debt | 51% | 5% | 2.55% |  | CONVERSION FACTOR
[8 empty] | S.T. Debt | 0% | 0% | 0% |  | 12 MONTHS ENDED JUNE 30, 2021
[8 empty] | ALL DEBT | 51% |  | 2.55% |  | 2022 GENERAL RATE CASE |  |  |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% | [5 empty] | ‚
|  | NPV Revenue Req. |  | 108544.6873 |  |  |  | COMMON | 49% | 9.4% | 4.61% |  | LINE |  |  |  | ‚
|  | Annual Equivalent |  | 8043.3396 | [6 empty] | ----------- |  | NO. | DESCRIPTION | %'s | RATE | ‚
|  | FCR |  | 8.0433 |  |  |  | COST OF CAPITAL |  |  | 7.16% | [5 empty] | ‚
[13 empty] | 1 | BAD DEBTS |  | 0.007197 | ‚
|  | 1st YR MOS. | 12 |  |  |  | 0.09% | Insurance Rate |  |  |  |  | 2 | ANNUAL FILING FEE |  | 0.002 | ‚
|  | BOOK VALUE | 100000 |  |  |  | 49 | Substation Book Life |  |  |  |  | 3 | STATE UTILITY TAX - NET OF BAD DEBTS ( 3.8734% - ( LINE 1 * 3.8734%) ) | 3.873% | 0.038455 | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items = 1-Conv Factor |  |  |  |  | 5 | SUM OF TAXES OTHER |  | 0.047652 | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate |  |  |  |  | 7 | CONVERSION FACTOR EXCLUDING FEDERAL INCOME TAX ( 1 - LINE 5) |  | 0.95235
[13 empty] | 8 | FEDERAL INCOME TAX | 21% | 0.19999
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years | 9 | CONVERSION FACTOR INCL FEDERAL INCOME TAX ( LINE 5 + LINE 8 ) |  | 0.75235
1 | 100000 | 0.038 | 100000 | 3800 | 369.4286 | 2550 | 4610 | 2040.8163 | 90 | 1089.5995 | 10749.8444 | 67658.8044
2 | 97959.1837 | 0.072 | 97589.7551 | 7200 | 1083.4286 | 2488.5388 | 4498.8877 | 2040.8163 | 88.1633 | 168.298 | 10368.1327 | 65920.1333
3 | 95918.3673 | 0.067 | 94465.5102 | 6700 | 978.4286 | 2408.8705 | 4354.86 | 2040.8163 | 86.3265 | 250.3034 | 10119.6054 | 64326.3311
4 | 93877.551 | 0.062 | 91446.2653 | 6200 | 873.4286 | 2331.8798 | 4215.6728 | 2040.8163 | 84.4898 | 333.9021 | 9880.1894 | 62754.5861
5 | 91836.7347 | 0.057 | 88532.0204 | 5700 | 768.4286 | 2257.5665 | 4081.3261 | 2040.8163 | 82.6531 | 419.0942 | 9649.8848 | 61197.3662
6 | 89795.9184 | 0.053 | 85722.7755 | 5300 | 684.4286 | 2185.9308 | 3951.82 | 2040.8163 | 80.8163 | 479.8758 | 9423.6878 | 59646.6001
7 | 87755.102 | 0.049 | 82997.5306 | 4900 | 600.4286 | 2116.437 | 3826.1862 | 2040.8163 | 78.9796 | 541.9322 | 9204.7798 | 58098.6423
8 | 85714.2857 | 0.045 | 80356.2857 | 4500 | 516.4286 | 2049.0853 | 3704.4248 | 2040.8163 | 77.1429 | 605.2631 | 8993.1609 | 56546.4047
9 | 83673.4694 | 0.045 | 77799.0408 | 4500 | 516.4286 | 1983.8755 | 3586.5358 | 2040.8163 | 75.3061 | 565.8542 | 8768.8166 | 54982.2919
10 | 81632.6531 | 0.045 | 75241.7959 | 4500 | 516.4286 | 1918.6658 | 3468.6468 | 2040.8163 | 73.4694 | 526.4453 | 8544.4722 | 53418.1792
11 | 79591.8367 | 0.045 | 72684.551 | 4500 | 516.4286 | 1853.4561 | 3350.7578 | 2040.8163 | 71.6327 | 487.0364 | 8320.1278 | 51854.0665
12 | 77551.0204 | 0.045 | 70127.3061 | 4500 | 516.4286 | 1788.2463 | 3232.8688 | 2040.8163 | 69.7959 | 447.6275 | 8095.7835 | 50360.1179
13 | 75510.2041 | 0.045 | 67570.0612 | 4500 | 516.4286 | 1723.0366 | 3114.9798 | 2040.8163 | 67.9592 | 408.2187 | 7871.4391 | 48939.3457
14 | 73469.3878 | 0.045 | 65012.8163 | 4500 | 516.4286 | 1657.8268 | 2997.0908 | 2040.8163 | 66.1224 | 368.8098 | 7647.0948 | 47569.904
15 | 71428.5714 | 0.045 | 62455.5714 | 4500 | 516.4286 | 1592.6171 | 2879.2018 | 2040.8163 | 64.2857 | 329.4009 | 7422.7504 | 46255.468
16 | 69387.7551 | 0.045 | 59898.3265 | 4500 | 516.4286 | 1527.4073 | 2761.3129 | 2040.8163 | 62.449 | 289.992 | 7198.406 | 44999.9761
17 | 67346.9388 | 0.045 | 57341.0816 | 4500 | 516.4286 | 1462.1976 | 2643.4239 | 2040.8163 | 60.6122 | 250.5831 | 6974.0617 | 43807.6487
18 | 65306.1224 | 0.045 | 54783.8367 | 4500 | 516.4286 | 1396.9878 | 2525.5349 | 2040.8163 | 58.7755 | 211.1742 | 6749.7173 | 42683.0084
19 | 63265.3061 | 0.045 | 52226.5918 | 4500 | 516.4286 | 1331.7781 | 2407.6459 | 2040.8163 | 56.9388 | 171.7653 | 6525.3729 | 41630.9016
20 | 61224.4898 | 0.045 | 49669.3469 | 4500 | 516.4286 | 1266.5683 | 2289.7569 | 2040.8163 | 55.102 | 132.3564 | 6301.0286 | 40656.5216
21 | 59183.6735 | 0.017 | 47112.102 | 1700 | -71.5714 | 1201.3586 | 2171.8679 | 2040.8163 | 53.2653 | 821.0489 | 6216.7856 | 39765.4338
22 | 57142.8571 | 0 | 45142.8571 | 0 | -428.5714 | 1151.1429 | 2081.0857 | 2040.8163 | 51.4286 | 1232.6241 | 6128.5261 | 38823.5004
23 | 55102.0408 | 0 | 43530.6122 | 0 | -428.5714 | 1110.0306 | 2006.7612 | 2040.8163 | 49.5918 | 1207.5549 | 5986.1834 | 37831.0975
24 | 53061.2245 | 0 | 41918.3673 | 0 | -428.5714 | 1068.9184 | 1932.4367 | 2040.8163 | 47.7551 | 1182.4857 | 5843.8408 | 36838.6946
25 | 51020.4082 | 0 | 40306.1224 | 0 | -428.5714 | 1027.8061 | 1858.1122 | 2040.8163 | 45.9184 | 1157.4164 | 5701.4981 | 35846.2916
26 | 48979.5918 | 0 | 38693.8776 | 0 | -428.5714 | 986.6939 | 1783.7878 | 2040.8163 | 44.0816 | 1132.3472 | 5559.1554 | 34853.8887
27 | 46938.7755 | 0 | 37081.6327 | 0 | -428.5714 | 945.5816 | 1709.4633 | 2040.8163 | 42.2449 | 1107.278 | 5416.8127 | 33861.4858
28 | 44897.9592 | 0 | 35469.3878 | 0 | -428.5714 | 904.4694 | 1635.1388 | 2040.8163 | 40.4082 | 1082.2088 | 5274.47 | 32869.0829
29 | 42857.1429 | 0 | 33857.1429 | 0 | -428.5714 | 863.3571 | 1560.8143 | 2040.8163 | 38.5714 | 1057.1396 | 5132.1274 | 31876.6799
30 | 40816.3265 | 0 | 32244.898 | 0 | -428.5714 | 822.2449 | 1486.4898 | 2040.8163 | 36.7347 | 1032.0704 | 4989.7847 | 30884.277
31 | 38775.5102 | 0 | 30632.6531 | 0 | -428.5714 | 781.1327 | 1412.1653 | 2040.8163 | 34.898 | 1007.0012 | 4847.442 | 29891.8741
32 | 36734.6939 | 0 | 29020.4082 | 0 | -428.5714 | 740.0204 | 1337.8408 | 2040.8163 | 33.0612 | 981.932 | 4705.0993 | 28899.4712
33 | 34693.8776 | 0 | 27408.1633 | 0 | -428.5714 | 698.9082 | 1263.5163 | 2040.8163 | 31.2245 | 956.8628 | 4562.7566 | 27907.0682
34 | 32653.0612 | 0 | 25795.9184 | 0 | -428.5714 | 657.7959 | 1189.1918 | 2040.8163 | 29.3878 | 931.7935 | 4420.414 | 26914.6653
35 | 30612.2449 | 0 | 24183.6735 | 0 | -428.5714 | 616.6837 | 1114.8673 | 2040.8163 | 27.551 | 906.7243 | 4278.0713 | 25922.2624
36 | 28571.4286 | 0 | 22571.4286 | 0 | -428.5714 | 575.5714 | 1040.5429 | 2040.8163 | 25.7143 | 881.6551 | 4135.7286 | 24929.8594
37 | 26530.6122 | 0 | 20959.1837 | 0 | -428.5714 | 534.4592 | 966.2184 | 2040.8163 | 23.8776 | 856.5859 | 3993.3859 | 23937.4565
38 | 24489.7959 | 0 | 19346.9388 | 0 | -428.5714 | 493.3469 | 891.8939 | 2040.8163 | 22.0408 | 831.5167 | 3851.0432 | 22945.0536
39 | 22448.9796 | 0 | 17734.6939 | 0 | -428.5714 | 452.2347 | 817.5694 | 2040.8163 | 20.2041 | 806.4475 | 3708.7005 | 21952.6507
40 | 20408.1633 | 0 | 16122.449 | 0 | -428.5714 | 411.1224 | 743.2449 | 2040.8163 | 18.3673 | 781.3783 | 3566.3579 | 20960.2477
41 | 18367.3469 | 0 | 14510.2041 | 0 | -428.5714 | 370.0102 | 668.9204 | 2040.8163 | 16.5306 | 756.3091 | 3424.0152 | 18894.6436
42 | 16326.5306 | 0 | 12897.9592 | 0 | -428.5714 | 328.898 | 594.5959 | 2040.8163 | 14.6939 | 731.2399 | 3281.6725 | 16823.4849
43 | 14285.7143 | 0 | 11285.7143 | 0 | -428.5714 | 287.7857 | 520.2714 | 2040.8163 | 12.8571 | 706.1706 | 3139.3298 | 14746.3739
44 | 12244.898 | 0 | 9673.4694 | 0 | -428.5714 | 246.6735 | 445.9469 | 2040.8163 | 11.0204 | 681.1014 | 2996.9871 | 12662.8845
45 | 10204.0816 | 0 | 8061.2245 | 0 | -428.5714 | 205.5612 | 371.6224 | 2040.8163 | 9.1837 | 656.0322 | 2854.6445 | 10572.5599
46 | 8163.2653 | 0 | 6448.9796 | 0 | -428.5714 | 164.449 | 297.298 | 2040.8163 | 7.3469 | 630.963 | 2712.3018 | 8474.9107
47 | 6122.449 | 0 | 4836.7347 | 0 | -428.5714 | 123.3367 | 222.9735 | 2040.8163 | 5.5102 | 605.8938 | 2569.9591 | 6369.4125
48 | 4081.6327 | 0 | 3224.4898 | 0 | -428.5714 | 82.2245 | 148.649 | 2040.8163 | 3.6735 | 580.8246 | 2427.6164 | 4255.5033
49 | 2040.8163 | 0 | 1612.2449 | 0 | -428.5714 | 41.1122 | 74.3245 | 2040.8163 | 1.8367 | 555.7554 | 2285.2737 | 2132.5809
50 | 5.2296e-11 | 0 | 8.5265e-11 | 0 | 0 | 2.1743e-12 | 3.9307e-12 | 0 | 4.7066e-14 | 1.3093e-12 | 7.4614e-12 | 6.9628e-12
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.0118e-11 | 55783.902 | 100848.5444 | 100000 | 2250 | 33935.8933 | 292818.3397
|  | PRESENT WORTH |  | 53882.8892 | 5531.845 | 23835.8702 | 43091.5144 | 27540.7704 | 910.8004 | 7633.8869 | 108544.6873

## Lvl FCR Feeder
Special Contrct Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE |  |  |  |  | ‚
[8 empty] | L.T. Debt | 51% | 5% | 2.55%
[8 empty] | S.T. Debt | 0% | 0% | 0%
[8 empty] | ALL DEBT | 51% |  | 2.55% |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% |  | ‚
|  | NPV Revenue Req. |  | 109462.7401 |  |  |  | COMMON | 49% | 9.4% | 4.61% |  | ‚
|  | Annual Equivalent |  | 8602.1846 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.6022 |  |  |  | COST OF CAPITAL |  |  | 7.16% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.09% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 35 | Feeder Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 198 | 2550 | 4610 | 2857.1429 | 90 | 1301.8739 | 11607.0168 | 72073.2918
2 | 97142.8571 | 0.072 | 96944.8571 | 7200 | 912 | 2472.0939 | 4469.1579 | 2857.1429 | 87.4286 | 370.5448 | 11168.368 | 69937.6595
3 | 94285.7143 | 0.067 | 93175.7143 | 6700 | 807 | 2375.9807 | 4295.4004 | 2857.1429 | 84.8571 | 442.5225 | 10862.9037 | 67946.8962
4 | 91428.5714 | 0.062 | 89511.5714 | 6200 | 702 | 2282.5451 | 4126.4834 | 2857.1429 | 82.2857 | 516.0936 | 10566.5506 | 65978.19
5 | 88571.4286 | 0.057 | 85952.4286 | 5700 | 597 | 2191.7869 | 3962.407 | 2857.1429 | 79.7143 | 591.2579 | 10279.3089 | 64024.0089
6 | 85714.2857 | 0.053 | 82498.2857 | 5300 | 513 | 2103.7063 | 3803.171 | 2857.1429 | 77.1429 | 642.0119 | 9996.1748 | 62076.2816
7 | 82857.1429 | 0.049 | 79128.1429 | 4900 | 429 | 2017.7676 | 3647.8074 | 2857.1429 | 74.5714 | 694.0405 | 9720.3298 | 60131.3626
8 | 80000 | 0.045 | 75842 | 4500 | 345 | 1933.971 | 3496.3162 | 2857.1429 | 72 | 747.3438 | 9451.7738 | 58182.1639
9 | 77142.8571 | 0.045 | 72639.8571 | 4500 | 345 | 1852.3164 | 3348.6974 | 2857.1429 | 69.4286 | 697.9072 | 9170.4924 | 56221.09
10 | 74285.7143 | 0.045 | 69437.7143 | 4500 | 345 | 1770.6617 | 3201.0786 | 2857.1429 | 66.8571 | 648.4706 | 8889.211 | 54260.0161
11 | 71428.5714 | 0.045 | 66235.5714 | 4500 | 345 | 1689.0071 | 3053.4598 | 2857.1429 | 64.2857 | 599.0341 | 8607.9295 | 52298.9421
12 | 68571.4286 | 0.045 | 63033.4286 | 4500 | 345 | 1607.3524 | 2905.8411 | 2857.1429 | 61.7143 | 549.5975 | 8326.6481 | 50408.0324
13 | 65714.2857 | 0.045 | 59831.2857 | 4500 | 345 | 1525.6978 | 2758.2223 | 2857.1429 | 59.1429 | 500.1609 | 8045.3667 | 48590.2991
14 | 62857.1429 | 0.045 | 56629.1429 | 4500 | 345 | 1444.0431 | 2610.6035 | 2857.1429 | 56.5714 | 450.7243 | 7764.0852 | 46823.8962
15 | 60000 | 0.045 | 53427 | 4500 | 345 | 1362.3885 | 2462.9847 | 2857.1429 | 54 | 401.2877 | 7482.8038 | 45112.499
16 | 57142.8571 | 0.045 | 50224.8571 | 4500 | 345 | 1280.7339 | 2315.3659 | 2857.1429 | 51.4286 | 351.8512 | 7201.5224 | 43460.0459
17 | 54285.7143 | 0.045 | 47022.7143 | 4500 | 345 | 1199.0792 | 2167.7471 | 2857.1429 | 48.8571 | 302.4146 | 6920.2409 | 41870.7573
18 | 51428.5714 | 0.045 | 43820.5714 | 4500 | 345 | 1117.4246 | 2020.1283 | 2857.1429 | 46.2857 | 252.978 | 6638.9595 | 40349.1559
19 | 48571.4286 | 0.045 | 40618.4286 | 4500 | 345 | 1035.7699 | 1872.5096 | 2857.1429 | 43.7143 | 203.5414 | 6357.6781 | 38900.0879
20 | 45714.2857 | 0.045 | 37416.2857 | 4500 | 345 | 954.1153 | 1724.8908 | 2857.1429 | 41.1429 | 154.1049 | 6076.3966 | 37528.7468
21 | 42857.1429 | 0.017 | 34214.1429 | 1700 | -243 | 872.4606 | 1577.272 | 2857.1429 | 38.5714 | 832.7697 | 5935.2166 | 36240.6978
22 | 40000 | 0 | 31600 | 0 | -600 | 805.8 | 1456.76 | 2857.1429 | 36 | 1234.3172 | 5790.02 | 34901.8032
23 | 37142.8571 | 0 | 29342.8571 | 0 | -600 | 748.2429 | 1352.7057 | 2857.1429 | 33.4286 | 1199.2203 | 5590.7403 | 33512.4391
24 | 34285.7143 | 0 | 27085.7143 | 0 | -600 | 690.6857 | 1248.6514 | 2857.1429 | 30.8571 | 1164.1234 | 5391.4605 | 32123.075
25 | 31428.5714 | 0 | 24828.5714 | 0 | -600 | 633.1286 | 1144.5971 | 2857.1429 | 28.2857 | 1129.0265 | 5192.1808 | 30733.7109
26 | 28571.4286 | 0 | 22571.4286 | 0 | -600 | 575.5714 | 1040.5429 | 2857.1429 | 25.7143 | 1093.9296 | 4992.901 | 29344.3468
27 | 25714.2857 | 0 | 20314.2857 | 0 | -600 | 518.0143 | 936.4886 | 2857.1429 | 23.1429 | 1058.8327 | 4793.6213 | 26452.5011
28 | 22857.1429 | 0 | 18057.1429 | 0 | -600 | 460.4571 | 832.4343 | 2857.1429 | 20.5714 | 1023.7358 | 4594.3415 | 23552.8789
29 | 20000 | 0 | 15800 | 0 | -600 | 402.9 | 728.38 | 2857.1429 | 18 | 988.6389 | 4395.0618 | 20644.9235
30 | 17142.8571 | 0 | 13542.8571 | 0 | -600 | 345.3429 | 624.3257 | 2857.1429 | 15.4286 | 953.542 | 4195.782 | 17728.0383
31 | 14285.7143 | 0 | 11285.7143 | 0 | -600 | 287.7857 | 520.2714 | 2857.1429 | 12.8571 | 918.4451 | 3996.5022 | 14801.5838
32 | 11428.5714 | 0 | 9028.5714 | 0 | -600 | 230.2286 | 416.2171 | 2857.1429 | 10.2857 | 883.3482 | 3797.2225 | 11864.8749
33 | 8571.4286 | 0 | 6771.4286 | 0 | -600 | 172.6714 | 312.1629 | 2857.1429 | 7.7143 | 848.2513 | 3597.9427 | 8917.1775
34 | 5714.2857 | 0 | 4514.2857 | 0 | -600 | 115.1143 | 208.1086 | 2857.1429 | 5.1429 | 813.1544 | 3398.663 | 5957.7047
35 | 2857.1429 | 0 | 2257.1429 | 0 | -600 | 57.5571 | 104.0543 | 2857.1429 | 2.5714 | 778.0575 | 3199.3832 | 2985.6133
36 | 3.9108e-11 | 0 | 3.0013e-11 | 0 | -600 | 7.6534e-13 | 1.3836e-12 | 2857.1429 | 3.5197e-14 | 742.9606 | 3000.1035 | 2799.6486
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -600 | 41682.402 | 75355.2444 | 102857.1429 | 1620 | 26080.1145 | 246994.9038
|  | PRESENT WORTH |  | 53882.8892 | 3630.6402 | 21355.3475 | 38607.1185 | 36594.1265 | 799.9803 | 8475.5271 | 109462.7401

## LvlFCR Land
Special Contract Analysis | [7 empty] | CAPITAL STRUCTURE |  |  |  | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | DEBT (LT) | 51% | 5% | 2.55% | ‚
[8 empty] | DEBT (ST) | 0% | 0% | 0% | ‚
[8 empty] | ALL DEBT | 51% |  | 2.55% | ‚
|  | NPV Revenue Req. |  | 117375.0488 |  |  |  | PREFERRED | 0% | 0% | 0% | ‚
|  | Annual Equivalent |  | 8697.6839 |  |  |  | COMMON | 49% | 9.4% | 4.61% | ‚
|  | FCR |  | 8.6977 |  | 0.086977 |  |  |  |  | ----------- | ‚
[8 empty] | COST OF CAPITAL |  |  | 7.16% | ‚
|  | 1st YR MOS. |  | 12 | [7 empty] | ‚
|  | BOOK VALUE |  | 100000 |  |  |  | 49 | Book Life |  |  | ‚
|  | TAX BASIS |  | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items |  |  | ‚
|  | DEPREC BASE |  | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Income Taxes | Revenue Requirement
1 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
2 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
3 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
4 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
5 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
6 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
7 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
8 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
9 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
10 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
11 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
12 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
13 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
14 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
15 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
16 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
17 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
18 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
19 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
20 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
21 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
22 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
23 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
24 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
25 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
26 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
27 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
28 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
29 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
30 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
31 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
32 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
33 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
34 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
35 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
36 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
37 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
38 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
39 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
40 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
41 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
42 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
43 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
44 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
45 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
46 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
47 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
48 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
49 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
50 | 100000 | 0 | 100000 | 0 | 0 | 2550 | 4610 | 0 | 1517.4265 | 8677.4265
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 0% |  | 0 | 0 | 127500 | 230500 | 0 | 75871.3274 | 433871.3274
|  | PRESENT WORTH |  | 0 | 0 | 34492.5276 | 62357.0793 | 0 | 20525.442 | 117375.0488

## Sub & Feeder Depr Life
PUGET SOUND ENERGY
DEPRECIATION RESTATEMENT - ELECTRIC
2019 GENERAL RATE CASE
TABLE 1. SUMMARY OF ESTIMATED SURVIVOR CURVES, NET SALVAGE PERCENT, ORIGINAL COST, BOOK DEPRECIATION RESERVE
AND CALCULATED ANNUAL DEPRECIATION RATES BY COMPONENT
FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018 | [9 empty] | CAPITAL
CAPITAL RECOVERY/
|  | PROBABLE |  | NET | ORIGINAL COST | BOOK |  | CALCULATED ANNUAL |  | GROSS | COST OF
|  | RETIREMENT | SURVIVOR | SALVAGE | AS OF | DEPRECIATION | FUTURE | ACCRUAL | ACCRUAL | SALVAGE | REMOVAL |  |  | Asset
| ACCOUNT | DATE | CURVE | PERCENT | SEPTEMBER 30, 2016 | RESERVE | ACCRUALS | AMOUNT | RATE | RATE | RATE |  | Rate | Life
| -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | (9)=(8)/(5) | -10 | -11 | 362 Sub Life = | 2.04% | 49 | Years
ELECTRIC PLANT
[12 empty] | 364 OH Pole Life | 3.14% | 32 | Years
| DISTRIBUTION PLANT | [10 empty] | 365 OH Conductor Life | 3.74% | 27 | Years
360.1 | EASEMENTS |  | 65-R4 | 0 | 6192997.78 | 3154464.1 | 3038534 | 69962 | 1.13 | 1.13 | 0 | 366 UG Conduit Life | 1.77% | 56 | Years
361 | STRUCTURES AND IMPROVEMENTS |  | 60-R2 | -10 | 7980826.73 | 2327040.68 | 6451869 | 140499 | 1.76 | 1.6 | 0.16 | 367 UG Conductor Life | 3.93% | 25 | Years
362 | STATION EQUIPMENT |  | 52-S0 | -15 | 434912648.52 | 125213289.48 | 374936256 | 8871422 | 2.04 | 1.6813 | 0.35478 | Average Life of Feeders |  | 35 | Years
363 | BATTERY STORAGE EQUIPMENT |  | 20-S3 | 0 | 1194182.86 | 23908.84 | 1170274 | 59617 | 4.99 | 4.99 | 0
364 | POLES, TOWERS AND FIXTURES |  | 46-R1.5 | -50 | 340904415.12 | 146427146.66 | 364929476 | 10713901 | 3.14 | 2.05 | 1.09
365 | OVERHEAD CONDUCTORS AND DEVICES |  | 38-R2.5 | -25 | 409216186.51 | 120401104.94 | 391119128 | 15306553 | 3.74 | 2.9 | 0.84
366 | UNDERGROUND CONDUIT |  | 55-R3 | -10 | 672272622.88 | 261027349.01 | 478472536 | 11912719 | 1.77 | 1.61 | 0.16
367 | UNDERGROUND CONDUCTORS AND DEVICES |  | 38-R2.5 | -40 | 844856752.29 | 341308279.6 | 841491174 | 33220993 | 3.93 | 2.75 | 1.18
368 | LINE TRANSFORMERS |  | 44-R2 | -50 | 462673680.6 | 181111959.48 | 512898561 | 18805777 | 4.06 | 2.6559 | 1.4075
369 | SERVICES |  | 55-R3 | -60 | 182057677.19 | 116569686.07 | 174722597 | 5727599 | 3.15 | 1.97 | 1.18
370 | METERS |  | 20-L1 | -10 | 140665913.55 | 34679835.3 | 120052670 | 11730432 | 8.34 | 7.58 | 0.76
373 | STREET LIGHTING AND SIGNAL SYSTEMS |  | 31-S0.5 | -15 | 53727968.48 | 18793323.43 | 42993840 | 2552518 | 4.75 | 4.09 | 0.66
| TOTAL DISTRIBUTION PLANT |  |  |  | 3556655872.51 | 1351037387.59 | 3312276915 | 119111992 | 3.35