## Page 1-2
PEAK CREDIT METHOD FOR 2003 COST OF SERVICE STUDY
Peak Credit uses the UE-920499 Methodology
Combined Cycle Plant (Nominal $)
| Capital Cost | Fixed O&M | Ins / Prop Tax | Variable O&M | Gas | Gas | Total |  |  | Annual
Year | $/MWH Yr | $/MWH | $/MWH | $/MWH | $/MMBTU | $/MWH | $/MWH |  |  | Inflation
2004 | 8.91 | 5.7 | 1.2 | 2 | 3.86 | 26.634 | 44.444 |  |  | 0%
2005 | 8.91 | 5.84 | 1.23 | 2.05 | 4.464 | 26.634 | 44.664 |  |  | 2.5%
2006 | 8.91 | 5.99 | 1.26 | 2.1 | 4.6283 | 30.8014 | 49.0614 |  |  | 2.5%
2007 | 8.91 | 6.14 | 1.29 | 2.15 | 4.5475 | 31.9355 | 50.4255 |  |  | 2.5%
2008 | 8.91 | 6.29 | 1.32 | 2.2 | 4.5442 | 31.3777 | 50.0977 |  |  | 2.5%
2009 | 8.91 | 6.45 | 1.35 | 2.26 | 3.5775 | 31.3547 | 50.3248 |  |  | 2.5%
2010 | 8.91 | 6.61 | 1.38 | 2.32 | 3.5067 | 24.6848 | 43.9047 |  |  | 2.5%
2011 | 8.91 | 6.78 | 1.41 | 2.38 | 4.5525 | 24.196 | 43.676 |  |  | 2.5%
2012 | 8.91 | 6.95 | 1.45 | 2.44 | 5.1825 | 31.4123 | 51.1623 |  |  | 2.5%
2013 | 8.91 | 7.12 | 1.49 | 2.5 | 5.4867 | 35.7593 | 55.7792 |  |  | 2.5%
2014 | 8.91 | 7.3 | 1.53 | 2.56 | 5.9442 | 37.858 | 58.158 |  |  | 2.5%
2015 | 8.91 | 7.48 | 1.57 | 2.62 | 5.7433 | 41.0147 | 61.5947 |  |  | 2.5%
2016 | 8.91 | 7.67 | 1.61 | 2.69 | 5.315 | 39.629 | 60.509 |  |  | 2.5%
2017 | 8.91 | 7.86 | 1.65 | 2.76 | 5.9217 | 36.6735 | 57.8535 |  |  | 2.5%
2018 | 8.91 | 8.06 | 1.69 | 2.83 | 5.9542 | 40.8595 | 62.3495 |  |  | 2.5%
2019 | 8.91 | 8.26 | 1.73 | 2.9 | 6.2133 | 41.0838 | 62.8837 |  |  | 2.5%
2020 | 8.91 | 8.47 | 1.77 | 2.97 | 6.2575 | 42.872 | 64.992 |  |  | 2.5%
2021 | 8.91 | 8.68 | 1.81 | 3.04 | 6.4673 | 43.1767 | 65.6167 |  |  | 2.5%
2022 | 8.91 | 8.9 | 1.86 | 3.12 | 6.629 | 44.6245 | 67.4145 |  |  | 2.5%
2023 | 8.91 | 9.12 | 1.91 | 3.2 | 6.7947 | 45.7401 | 68.8801 |  |  | 2.5%
2024 | 8.91 | 9.35 | 1.96 | 3.28 | 6.9646 | 46.8836 | 70.3836 |  |  | 2.5%
2025 | 8.91 | 9.58 | 2.01 | 3.36 | 7.1387 | 48.0557 | 71.9157 |  |  | 2.5%
2026 | 8.91 | 9.82 | 2.06 | 3.44 | 7.3172 | 49.2571 | 73.4871 |  |  | 2.5%
2027 | 8.91 | 10.07 | 2.11 | 3.53 | 7.5001 | 50.4885 | 75.1085 |  |  | 2.5%
2028 | 8.91 | 10.32 | 2.16 | 3.62 | 7.6876 | 51.7508 | 76.7608 |  |  | 2.5%
2029 | 8.91 | 10.58 | 2.21 | 3.71 | 7.8414 | 53.0445 | 78.4545 |  |  | 2.5%
2030 | 8.91 | 10.84 | 2.27 | 3.8 | 7.9982 | 54.1054 | 79.9254 |  |  | 2.5%
2031 | 8.91 | 11.11 | 2.33 | 3.9 | 8.1582 | 55.1875 | 81.4375 |  |  | 2.5%
2032 | 8.91 | 11.39 | 2.39 | 4 | 8.3213 | 56.2913 | 82.9813 |  |  | 2.5%
2033 | 8.91 | 11.67 | 2.45 | 4.1 | 8.4877 | 57.4171 | 84.5471 |  |  | 2.5%
2.5%
Combustion Turbine
Peak
| Capital Cost | Fixed O&M | Ins / Prop Tax | Variable O&M | Fuel Oil | Fuel Oil | Gas | Total | Credit
Year | $/kW Yr | $/kW Yr | $/kW Yr | $/kW Yr | $/MMBTU | $/kW Yr | $/kW Yr | $/kW Yr | $/kW Yr | Inflation
2004 | 44.45 | 19.21 | 5.56 | 0.4 | 6.8954 | 4.0338 | 6.7743 | 80.4281 | 47.8126 | 0%
2005 | 44.45 | 19.69 | 5.7 | 0.41 | 6.5041 | 3.8049 | 7.8343 | 81.8892 | 48.9297 | 2.5%
2006 | 44.45 | 20.18 | 5.7 | 0.42 | 4.8546 | 2.8399 | 8.1227 | 81.7127 | 48.5449 | 2.5%
2007 | 44.45 | 20.68 | 5.7 | 0.43 | 4.8619 | 2.8442 | 7.9809 | 82.0851 | 48.7048 | 2.5%
2008 | 44.45 | 21.2 | 5.7 | 0.44 | 4.8673 | 2.8474 | 7.975 | 82.6124 | 49.0111 | 2.5%
2009 | 44.45 | 21.73 | 5.7 | 0.45 | 4.8699 | 2.8489 | 6.2785 | 81.4574 | 47.6309 | 2.5%
2010 | 44.45 | 22.27 | 5.7 | 0.46 | 4.8663 | 2.8468 | 6.1542 | 81.881 | 47.825 | 2.5%
2011 | 44.45 | 22.83 | 5.7 | 0.47 | 4.9087 | 2.8716 | 7.9896 | 84.3112 | 50.0172 | 2.5%
2012 | 44.45 | 23.4 | 5.7 | 0.48 | 4.9468 | 2.8939 | 9.0953 | 86.0192 | 51.4829 | 2.5%
2013 | 44.45 | 23.99 | 5.7 | 0.49 | 4.9859 | 2.9168 | 9.6291 | 87.1759 | 52.3889 | 2.5%
2014 | 44.45 | 24.59 | 5.7 | 0.5 | 5.0179 | 2.9355 | 10.432 | 88.6075 | 53.5655 | 2.5%
2015 | 44.45 | 25.2 | 5.7 | 0.51 | 5.0449 | 2.9513 | 10.0795 | 88.8908 | 53.5896 | 2.5%
2016 | 44.45 | 25.83 | 5.7 | 0.52 | 5.0921 | 2.9789 | 9.3278 | 88.8067 | 53.2377 | 2.5%
2017 | 44.45 | 26.48 | 5.7 | 0.53 | 5.1336 | 3.0032 | 10.3925 | 90.5557 | 54.7104 | 2.5%
2018 | 44.45 | 27.14 | 5.7 | 0.54 | 5.1692 | 3.024 | 10.4496 | 91.3035 | 55.1778 | 2.5%
2019 | 44.45 | 27.82 | 5.7 | 0.55 | 5.2008 | 3.0425 | 10.9044 | 92.4669 | 56.0521 | 2.5%
2020 | 44.45 | 28.52 | 5.7 | 0.56 | 5.2275 | 3.0581 | 10.9819 | 93.27 | 56.5578 | 2.5%
2021 | 44.45 | 29.23 | 5.7 | 0.57 | 5.3321 | 3.1193 | 11.3501 | 94.4194 | 57.4054 | 2.5%
2022 | 44.45 | 29.96 | 5.7 | 0.58 | 5.4387 | 3.1817 | 11.6339 | 95.5056 | 58.1813 | 2.5%
2023 | 44.45 | 30.71 | 5.7 | 0.59 | 5.5475 | 3.2453 | 11.9247 | 96.62 | 58.977 | 2.5%
2024 | 44.45 | 31.48 | 5.7 | 0.6 | 5.6585 | 3.3102 | 12.2229 | 97.7631 | 59.7928 | 2.5%
2025 | 44.45 | 32.27 | 5.7 | 0.62 | 5.7716 | 3.3764 | 12.5284 | 98.9448 | 60.6388 | 2.5%
2026 | 44.45 | 33.08 | 5.7 | 0.64 | 5.8871 | 3.4439 | 12.8416 | 100.1556 | 61.5053 | 2.5%
2027 | 44.45 | 33.91 | 5.7 | 0.66 | 6.0048 | 3.5128 | 13.1627 | 101.3955 | 62.3925 | 2.5%
2028 | 44.45 | 34.76 | 5.7 | 0.68 | 6.1249 | 3.5831 | 13.4918 | 102.6648 | 63.3006 | 2.5%
2029 | 44.45 | 35.63 | 5.7 | 0.7 | 6.2474 | 3.6547 | 13.7616 | 103.8963 | 64.1623 | 2.5%
2030 | 44.45 | 36.52 | 5.7 | 0.72 | 6.3723 | 3.7278 | 14.0368 | 105.1546 | 65.0424 | 2.5%
2031 | 44.45 | 37.43 | 5.7 | 0.74 | 6.4998 | 3.8024 | 14.3176 | 106.4399 | 65.9409 | 2.5%
2032 | 44.45 | 38.37 | 5.7 | 0.76 | 6.6298 | 3.8784 | 14.6039 | 107.7623 | 66.8638 | 2.5%
2033 | 44.45 | 39.33 | 5.7 | 0.78 | 6.7624 | 3.956 | 14.896 | 109.112 | 67.8055 | 2.5%
|  |  | Combustion | Peak | CC | Peak
|  |  | Turbine | CT | CT | Credit
| Levelized Cost $/mWh |  |  |  | 59.7998
| Levelized Cost $/kW Yr |  | 94.9786 | 56.9463 | 445.2696 | 12.79%
Assumptions
1 | Fixed Charge Rate CC: |  | 9.116%
2 | Fixed Charge Rate CT: |  | 9.834%
2 | Hours/Year CT Peak Operation |  | 200 |  | Oil (hours): | 50
3 | CCCT Capacity Factor: |  | 85%
4 | Weighted Cost of Capital CC: |  | 9.116%
4 | Weighted Cost of Capital CT: |  | 9.116%
5 | 1/2 of Capital & Fixed O&M For CT Used For Peak Credit Cost
6 | Fixed & variable O&M, gas, and fuel escalation rate beyond 2015: |  |  |  |  | 2.8%
[5 empty] | Capital | Fixed O&M | Ins / Prop Tax | Var O&M | Heat Rate
[5 empty] | $/kW | $/kW/yr | $/kW/yr | $ / MWH | BTU/kWh
7 | Combined Cycle Combustion Turbine Plant |  |  |  | 727.75 | 42.4657 | 8.9513 | 2 | 6900
8 | Simple Cycle Combustion Turbine Plant |  |  |  | 452.025 | 19.2085 | 5.5599 | 2 | 11700
9 | Reserve margin |  | 15%
10 | Debt |  | 54.96% | 6.96% | 3.825%
11 | Preferred |  | 0.04% | 8.51% | 0.003404%
12 | Common Equity |  | 45% | 11.75% | 5.287%
13 | TOTAL |  | 100% |  | 9.116%
Note on E7: $1.0/kW variable O&M per jay jacobsen 11/19/97 NWPPC data
Note on F95: PSE Least Cost Plan Appendix J
Note on F96: PSE Least Cost Plan Appendix J
Note on G91: used WEFA 2015 data rounded from 2.79% to 2.80% for years 2016 through 2025
Note on K6: BOLJH: PSE IRP Assumption