## Confidential
This file contains confidential information
Shaded information is designated as confidential per WAC 480-07-160

## p.1-3 Thermal inputs (R)
Puget Sound Energy
Rate Year Resources Inputs Summary
Thermal Resources
2022 GRC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | VO nominal $/MWh2 | VM nominal $/MWh2 | Total variable O&M 2020 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2 | Start-up cost ($/MW/start) $20203 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2020 $/MMBtu3 | Colstrip line loss %
Ferndale | XXXXXXX | 271 | 9.9631 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Goldendale | XXXXXXX | 300 | 6.6667 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Mint Farm | XXXXXXX | 314 | 10.828 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Sumas | XXXXXXX | 123 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Freddy1 | XXXXXXX | 134 | 7.0896 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Encogen | XXXXXXX | 166 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 1 | XXXXXXX | 104 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 2 | XXXXXXX | 104 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 3 | XXXXXXX | 55 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 4 | XXXXXXX | 55 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Frederickson 1 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Frederickson 2 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Whitehorn 2 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Whitehorn 3 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Colstrip 3 | XXXXXXX | 185 | n/a | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Colstrip 4 | XXXXXXX | 185 | n/a | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1.
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2023 dollars. All other nominal values are in 2021 dollars.
3. The AURORA economic base year is 2020. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
2020 PCORC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2,3 | Total variable O&M 2020 $/MWh4 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2,3 | Start-up cost ($/MW/start) $20203,4 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2020 $/MMBtu4 | Colstrip line loss %
Ferndale | XXXXXXX | 271 | 9.9631 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Goldendale | XXXXXXX | 300 | 6.6667 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Mint Farm | XXXXXXX | 314 | 10.828 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Sumas | XXXXXXX | 123 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Freddy1 | XXXXXXX | 133.598 | 7.0896 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Encogen | XXXXXXX | 166 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 1 | XXXXXXX | 104 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 2 | XXXXXXX | 104 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 3 | XXXXXXX | 55 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Fredonia 4 | XXXXXXX | 55 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Frederickson 1 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Frederickson 2 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Whitehorn 2 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Whitehorn 3 | XXXXXXX | 74 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | n/a
Colstrip 3 | XXXXXXX | 185 | n/a | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Colstrip 4 | XXXXXXX | 185 | n/a | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2021/2022 dollars. All other nominal values are in 2020 dollars.
3. Major Maintenance inputs for Fredonia 3&4 were expressed on a $/start basis in 2019 GRC. Change to $/MWh more closely aligns with how costs are actually incurred for these units.
4. The AURORA economic base year is 2020. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
Changes (positive values indicate an increase relative to the 2020 PCORC, negative values a decrease)
Resource | Heat rate (Btu/kWh) | Capacity (MW) | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh | Variable major maintenance nominal $/MWh | Total variable O&M 2020 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $ | Start-up cost ($/MW/start) $2020 | Average fuel price nominal $/MMBtu | Average variable transport nominal $/MMBtu | Average total fuel cost 2020 $/MMBtu | Colstrip line loss %
Ferndale | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Goldendale | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Mint Farm | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Sumas | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Freddy1 | XXXXXXX | 0.402 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Encogen | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Fredonia 1 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Fredonia 2 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Fredonia 3 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Fredonia 4 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Frederickson 1 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Frederickson 2 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Whitehorn 2 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Whitehorn 3 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | -
Colstrip 3 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Colstrip 4 | XXXXXXX | 0 | 0 | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX | XXXXXXX
Shaded information is designated as confidential per WAC 480-07-160

## p.4 Hydro & Wind inputs (R)
Puget Sound Energy
Rate Year Resource Inputs Summary
Hydro and Wind
REDACTED VERSION
2022 GRC
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly/Sub-hourly shape assumptions | Available capacity, average (MW)1
Upper Baker | Hydro | 105 | XXXXXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 90.3
Lower Baker | Hydro | 111.2 | XXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | Hydro | 46.9 | XXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | Hydro | 267.1 | 63.87% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 222.2
Mid C Rocky Reach | Hydro | 383.9 | 57.36% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 344.1
Mid C Rock Island | Hydro | 187.1 | 49.58% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 139.1
Mid C Priest Rapids Project | Hydro | 98.3 | 56.66% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 83.8
Lower Snake River | Wind | 342.7 | XXXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Hopkins Ridge | Wind | 156.6 | XXXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse | Wind | 228.6 | XXXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
Wild Horse Expansion | Wind | 44 | XXXXXX | 2016 Vaisala study | AURORA default hourly/interpolated sub-hourly | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
2020 PCORC
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)1
Upper Baker | Hydro | 105 | XXXXXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 75.9
Lower Baker | Hydro | 111.2 | XXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | Hydro | 46.9 | XXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | Hydro | 199.52 | 64.34% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 180.1
Mid C Rocky Reach | Hydro | 319.9125 | 57.15% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 277
Mid C Rock Island | Hydro | 155.9313 | 48.84% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 110.1
Mid C Priest Rapids Project | Hydro | 99.1 | 54.98% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 83.8
Lower Snake River | Wind | 342.7 | XXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Hopkins Ridge | Wind | 156.6 | XXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse | Wind | 228.6 | XXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse Expansion | Wind | 44 | XXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
Changes (positive values indicate an increase relative to the 2020 PCORC, negative values a decrease)
Resource | Resource Type | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)
Upper Baker | Hydro | 0 | XXXXXX | No change | No change | 14.4
Lower Baker | Hydro | 0 | XXXXXX | No change | No change | n/a
Snoqualmie Falls | Hydro | 0 | XXXXXX | No change | No change | n/a
Mid C Wells | Hydro | 67.58 | -0.4673% | No change | No change | 42.1
Mid C Rocky Reach | Hydro | 63.9875 | 0.2045% | No change | No change | 67.1
Mid C Rock Island | Hydro | 31.1687 | 0.7409% | No change | No change | 29
Mid C Priest Rapids Project | Hydro | -0.8 | 1.674% | No change | No change | 0
Lower Snake River | Wind | 0 | XXXXXX | No change | Updated to include sub-hourly interpolation | n/a
Hopkins Ridge | Wind | 0 | XXXXXX | No change | Updated to include sub-hourly interpolation | n/a
Wild Horse | Wind | 0 | XXXXXX | No change | Updated to include sub-hourly interpolation | n/a
Wild Horse Expansion | Wind | 0 | XXXXXX | No change | Updated to include sub-hourly interpolation | n/a
Shaded information is designated as confidential per WAC 480-07-160

## p.5 Contract inputs (R)
Puget Sound Energy
Rate Year Resource Inputs Summary
Power Purchase Agreements
2022 GRC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 380 | XXXXXXX | XXXXXXX | XXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 50 | XXXXXXX | Owner-provided forecast | 12 month X 24 hour average
Baker Replacement | system | 0 | 7 | 0.7991 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 53.4 | 3.4166 | 2.3575 | Historical average | Flat
QF Koma Kulshan | hydro | 85.3386 | 11.9 | 4.6991 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -39.1765 | -27.0522 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 74.2771 | 13.88 | 13.8916 | Owner/developer-provided estimates | Flat
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass1 | biomass | 44.65 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 27.7626 | 100 MW Oct-Mar | All on-peak
Golden Hills Wind PPA | wind | 42 | 150 | 78.0172 | Owner-provided forecast | Hourly owner-provided forecast
Clearwater wind PPA | wind | 27.9 | 360 | 157.8581 | Owner-provided forecast | 12 month X 24 hour average
Powerex summer peak PPA | hydro | 104.65 | 250 | 55.7078 | 250 MW Jun-Sep | 7x16
BPA Capacity Contract2 | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
1. Capacity reduced to 12 MW in May and June for outages.
2. No energy assumed in model for BPA capacity contract - priced at market price + premium. Only monthly capacity charge included in costs.
2020 PCORC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 380 | XXXXXXX | XXXXXXX | XXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 50 | XXXXXXX | Owner-provided forecast | 12 month X 24 hour average
Electron Hydro PPA | hydro | XXXXXXX | 23.8 | XXXXXXX | Owner-provided forecast | Flat
Baker Replacement | system | 0 | 7 | 0.79909 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 53.4 | 3.4166 | 2.3577 | Historical average | Flat
QF Koma Kulshan | hydro | 84.4694 | 11.9 | 4.6991 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 4.6 | 1.5114 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -27.2 | -22.4037 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 77.881 | 41.105 | 17.6341 | Owner/developer-provided estimates | Flat
Golden Hills Bridge | wind | 42.7 | 150 | 13.6986 | 150 MW Jan-Feb | All on-peak
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass1 | biomass | 42.9333 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 13.5866 | 100 MW Jan-Mar | All on-peak
BPA Capacity Contract2 | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
1. Capacity reduced to 12 MW in May and June for outages.
2. No energy assumed in model for BPA capacity contract - priced at market price + premium. Only monthly capacity charge included in costs.
Changes (positive values indicate an increase relative to the 2020 PCORC, negative values a decrease)
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 0 | XXXXXXX | XXXXXXX | XXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 0 | XXXXXXX | Updated to more recent estimate | Updated to more recent estimate
Electron Hydro PPA | hydro | XXXXXXX | -23.8 | XXXXXXX | PPA no longer active | PPA no longer active
Baker Replacement | system | 0 | 0 | 1.4925e-05 | No change | No change
PG&E Exchange | system | 0 | 0 | 0 | No change | No change
Point Roberts (BC Hydro) | system | 0 | 0 | -0.00024268 | No change | No change
QF Koma Kulshan | hydro | 0.86925 | 0 | 8.75e-06 | Contract price update | No change
QF Twin Falls | hydro | 0 | 0 | 4.4521e-07 | No change | No change
QF Weeks Falls | hydro | -75 | -4.6 | -1.5114 | PPA no longer active | No change
Canadian Entitlement | hydro/system | 0 | -11.9765 | -4.6485 | No change | No change
Schedule 91 contracts | various | -3.6039 | -27.225 | -3.7425 | Updated contract prices and volumes | No change
Golden Hills Bridge | wind | -42.7 | -150 | -13.6986 | PPA no longer active | PPA no longer active
Energy Keepers | hydro | 0 | 0 | 0 | No change | No change
SPI Biomass | biomass | 1.7167 | 0 | 0 | No change | No change
Morgan Stanley PPA | system | 0 | 0 | 14.1759 | No change | No change
Golden Hills wind PPA | wind | 42 | 150 | 78.0172 | New PPA | New PPA
Clearwater wind PPA | wind | 27.9 | 360 | 157.8581 | New PPA | New PPA
Powerex summer peak PPA | hydro | 104.65 | 250 | 55.7078 | New PPA | New PPA
BPA Capacity Contract | system | 0 | 0 | 0 | No change | No change
Shaded information is designated as confidential per WAC 480-07-160