EXHIBIT NO. ___(JMH-1T)
DOCKET NO. UE-082128
WITNESS:  JOEY M. HENDERSON

BEFORE THE

WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION

| In the Matter of the Petition of PUGET SOUND ENERGY, INC. For a Determination of Emissions Compliance and Proposed Accounting Treatment For the Mint Farm Energy Center; or, Alternatively For an Accounting Order |  | Docket No. UE-082128 |
| --- | --- | --- |

PREFILED DIRECT TESTIMONY (NONCONFIDENTIAL) OF
JOEY M. HENDERSON
ON BEHALF OF PUGET SOUND ENERGY, INC.

FEBRUARY 13, 2009

PUGET SOUND ENERGY, INC.

PRE-FILED DIRECT TESTIMONY (NONCONFIDENTIAL) OF
JOEY M. HENDERSON

Q.	Please state your name, business address, and position with Puget Sound Energy, Inc.

A.	My name is Joey Henderson.  My business address is 10885 NE Fourth Street, Bellevue, WA 98004.  I am the CT Compliance Program Manager for Puget Sound Energy, Inc. (“PSE” or “the Company”).

Q.	Have you prepared an exhibit describing your education, relevant employment experience, and other professional qualifications?

A.	Yes, I have.  It is Exhibit No. ___(JMH-2).

Q.	Please explain your duties as CT Compliance Program Manager for PSE.

A.	As CT Compliance Program Manager for PSE, my duties include obtaining and maintaining air quality permits for various energy resources owned and operated by PSE.  I participated in PSE’s acquisition of the Mint Farm Energy Center (“Mint Farm”) from Wayzata Opportunities Fund, LLC and Mint Farm Power LLC.  Specifically, my duties related to PSE’s acquisition of Mint Farm included assessing air permitting compliance matters as part of the due diligence evaluation.

Q.	What is the status of Mint Farm’s air quality permits?

A.	Mint Farm currently operates under authority of Air Discharge Permit No. 04-2571R2, issued by the Southwest Clean Air Agency (“SWCAA”).  Mint Farm Energy Center submitted a Title V Operating Permit Application (“AOP”) to SWCAA on September 19, 2008.  PSE is currently in the process of negotiating modifications to the application prior to SWCAA’s Draft Title V AOP.

Q.	Please describe your duties as they relate to RCW 80.80, the Greenhouse Gas Emissions Performance Standard.

A.	I participated in discussions with the Washington State Department of Ecology (“Ecology”) regarding Mint Farm’s compliance with the greenhouse gas emission performance standard in WAC 173-407, Part II.

Q.	Is Mint Farm subject to the emissions performance standard set forth in RCW 80.80?

A.	Yes.  Mint Farm was designed and intended to operate as a baseload power plant.  Therefore, PSE and Ecology have determined that the purchase of Mint Farm by PSE triggers the requirement of WAC 173-407, Part II, which requires demonstration of compliance with the emissions performance standard.  Although the previous owners of the plant operated the facility as a merchant power plant, it is PSE's intent to operate the plant as a baseload power plant similar to PSE's operation of the Goldendale Generating Station.

Q.	Please describe the measures PSE has taken to establish Mint Farm’s compliance with the emissions performance standard.

A.	PSE provided Ecology with certain technical data to assist Ecology in its determination regarding Mint Farm’s compliance with the emissions performance standard.  Such data included Mint Farm’s 1) fuel and fuel feed stocks, 2) electrical output, 3) useful thermal energy and useful energy used for nonelectrical generation uses, and 4) estimated greenhouse gases emissions.  PSE provided such information to the Commission as Appendix A to PSE’s Petition for an Emissions Performance Determination in this proceeding, and it is provided electronically as Exhibit No. ___(JMH-3).

As described in the information provided to Ecology, the calculated result of Mint Farm’s estimated emissions is 1,056 lb/MW-hr, which is below the emissions performance standard limit of 1,100 lb/MW-hr.  Further, PSE anticipates that the plant will be operated more efficiently in future years and that greenhouse gas emissions per MW-hr will be significantly less as PSE operates the plant.

Q.	What was the result of Ecology’s review of the Mint Farm emissions data?

A.	In a letter dated December 17, 2008, Ecology stated that it had determined that Mint Farm will comply with the emissions performance standard.  PSE filed with the Commission Ecology’s letter on January 21, 2009, and the letter is attached hereto as Exhibit No. ___(JMH-4).

Q.	Does that conclude your testimony?

A.	Yes, it does.