## Exhibit JRD-3
|  |  | Revised Calculation of Net Present Value Power Supply Cost Savings Resulting from Jefferon County's Departure from the PSE System | [7 empty] | Exhibit No. JRD-4
Page 1 of 1
Cumulative
|  |  | Incremental Power Costs (Including Existing Plant) |  |  | Lost JeffCo | Net | NPV of Net | JeffCo | Growth Rates
Row | Year |  | With JeffCo | Without JeffCo | Avoided | PCA Revenue | Benefit | Benefit | Loads | JeffCo Load | PCA Rates
|  |  | (a) | (b) | (c)=(a)-(b) | (d) = (g)x(h)x(i) | (e)=(c)-(d) | (f)=NPV(e) | (g) | (h) | (i)
|  | 2014-01-01 | 0 | 0 | 0 | 0 | 0
1 | 2014 | 2014-06-30 | 1442612.3222 | 1433014.2201 | 9598.102 | 21736.7975 | -12138.6954 | -11698.917 | 323181.3967 | 10.5%
2 | 2015 | 2015-06-30 | 1424658.6142 | 1414449.3788 | 10209.2354 | 21913.9683 | -11704.7329 | -22166.2797 | 327286.5217 | 1.27% | -0.4551%
3 | 2016 | 2016-06-30 | 1427185.6531 | 1416278.9429 | 10906.7102 | 22806.0742 | -11899.364 | -32038.449 | 333868.7738 | 2.011% | 2.06%
4 | 2017 | 2017-06-30 | 1450689.4248 | 1438119.1133 | 12570.3115 | 24080.467 | -11510.1555 | -40899.2331 | 338559.4042 | 1.405% | 4.183%
5 | 2018 | 2018-06-30 | 1557064.491 | 1500397.5598 | 56666.9313 | 25924.0819 | 30742.8494 | -18938.9873 | 343226.7093 | 1.379% | 6.277%
6 | 2019 | 2019-06-30 | 1599086.3637 | 1541477.5498 | 57608.8139 | 27127.5782 | 30481.2357 | 1264.5664 | 346736.0576 | 1.022% | 3.62%
7 | 2020 | 2020-06-30 | 1612688.7388 | 1555382.8859 | 57305.8529 | 27589.3544 | 29716.4986 | 19537.4007 | 350188.7741 | 0.9958% | 0.7065%
8 | 2021 | 2021-06-30 | 1632860.3454 | 1620070.5653 | 12789.7802 | 28133.6903 | -15343.9102 | 10782.5963 | 349678.2983 | -0.1458% | 2.119%
9 | 2022 | 2022-06-30 | 1801719.1919 | 1742451.9822 | 59267.2097 | 30606.1963 | 28661.0134 | 25956.7353 | 352148.848 | 0.7065% | 8.082%
10 | 2023 | 2023-06-30 | 1866311.5442 | 1806639.4335 | 59672.1107 | 31525.6491 | 28146.4616 | 39784.0687 | 354865.0178 | 0.7713% | 2.233%
11 | 2024 | 2024-06-30 | 1895397.3753 | 1884569.7483 | 10827.627 | 32068.2624 | -21240.6353 | 30103.6261 | 360598.4719 | 1.616% | 0.1055%
12 | 2025 | 2025-06-30 | 2026641.33 | 1964477.8098 | 62163.5202 | 33437.3399 | 28726.1802 | 42251.708 | 366574.7024 | 1.657% | 2.612%
13 | 2026 | 2026-06-30 | 2311276.1628 | 2299454.3013 | 11821.8616 | 35258.1481 | -23436.2865 | 33055.2467 | 374319.2377 | 2.113% | 3.333%
14 | 2027 | 2027-06-30 | 2438545.5576 | 2373296.3722 | 65249.1853 | 37218.7782 | 28030.4071 | 43261.4325 | 382112.4634 | 2.082% | 3.479%
15 | 2028 | 2028-06-30 | 2503416.4983 | 2490775.371 | 12641.1272 | 38199.561 | -25558.4338 | 34628.0421 | 391235.2833 | 2.387% | 0.2477%
16 | 2029 | 2029-06-30 | 2593931.7052 | 2524945.526 | 68986.1792 | 39413.4167 | 29572.7625 | 43897.2187 | 397299.8931 | 1.55% | 1.628%
17 | 2030 | 2030-06-30 | 2746111.4234 | 2676505.6416 | 69605.7819 | 41589.2153 | 28016.5666 | 52045.5052 | 405188.7862 | 1.986% | 3.535%
18 | 2031 | 2031-06-30 | 2831451.0725 | 2819185.2698 | 12265.8027 | 42779.0679 | -30513.2652 | 43810.9114 | 413841.3167 | 2.135% | 0.7255%
19 | 2032 | 2032-06-30 | 2928500.3399 | 2854706.0131 | 73794.3268 | 44265.5024 | 29528.8244 | 51203.7757 | 422679.028 | 2.136% | 1.339%
20 | 2033 | 2033-06-30 | 3059285.1261 | 2984220.0985 | 75065.0276 | 45928.0686 | 29136.959 | 57972.595 | 431705.8921 | 2.136% | 1.62%
21
22 | NPV |  | 19112504.3962 | 18748527.2299 | 363977.1664 | 306004.5713 | 57972.595 | PSE estimated Power Supply Cost NPV savings of $83,192. However, PSE failed to estimate the increasing PCA "fixed" rate over the study period. The Company's Exhibit No.__(JAP-7) spreadsheet support was edited herein to add the increase in the "fixed" PCA component as provided in PC DR 31. Since the current "fixed" PCA rate component was considered in the development of "Lost JeffCo PCA Revenues," the total fixed production costs underlying the current fixed PCA rate was also added to PSE's estimate of Incremental Power Costs "With JeffCo" and "Without JeffCo." The results of this one correction reduces the Company's claimed NPV power supply cost savings estimate from $83.192 million down to $57.973 milllion
23 | Levelized |  | 1913451.8747 | 1877012.234 | 36439.6406 | 30635.7036 | 5803.937
24
25
26 | JeffCo PCA Revenue (12M Ending 06/30/12) |  |  |  |  | 19773.3504
27 | JeffCo MWh (12M Ending 06/30/12) |  |  |  |  | 292472.5129
28 | Average Effective PCA Rate ($/MWh) |  |  |  |  | 67.6076
29 | 2013 PCORC % Rate Change (RY Beginning 11/1/13) |  |  |  |  | -0.5158%
30 | Adjusted Effective PCA Rate ($/MWh) |  |  |  |  | 67.2588
31
32 | Note: All revenue figures in $000's.

## Price Forecast
Cumulative
Annual Average Prices for the 2013 IRP | [18 empty] | Annual | Nominal $
[17 empty] | Increase/ |  | Increase/ | Increase/
| Rev17 | Annual |  | Rev17 | Annual |  | Baseline Rate | [9 empty] | (Decrease) |  | (Decrease) | (Decrease)
| Base | GrowthRate |  | Base | GrowthRate |  | Fixed | Mkt Based | Mkt Based | Total | Annual | [5 empty] | in Fixed |  | in PCA | in PCA
| MidC |  |  | Sumas |  |  | (Per PC | Gas | Power |  | GrowthRate | [5 empty] | Cost -PCA |  | Rev Req't | Rev Req't
[7 empty] | DR 31) |  |  |  |  | 2013 PCORC Settlement Baseline Rate |  |  |  |  | Factor |  | w/o JeffCo | w/o JeffCo
2014 | 31.87 |  | <13PCORC avg MidC Flat | 3.99 |  | <13PCORC avg Sumas | 48.1 | 4.8472 | 11.2327 | 64.1799 |  | beginning November 1, 2013 | Costs | % | Rate | 48.1 | 0 | 22925682 | 0
2015 | 30.31 | -4.895% |  | 4.0046 | 0.3655% | 5.26% | 48.34 | 4.8649 | 10.6829 | 63.8878 | -0.4551% | Total Fixed Costs | 517802799.6278 | 40.76% | 24.7568 | 48.34 | 0 | 23104628 | 0
2016 | 31.75 | 4.751% |  | 4.2008 | 4.901% | 0.1499% | 48.91 | 5.1033 | 11.1904 | 65.2037 | 2.06% | Total Power Costs - Fixed | 377449846.4839 | 29.71% | 18.0463 | 48.91 | 0 | 23363986 | 0
2017 | 36 | 13.39% |  | 4.752 | 13.12% | -0.2658% | 49.47 | 5.7728 | 12.6884 | 67.9312 | 4.183% | Total Power Costs - Mkt Based Power * | 234939263.2422 | 18.49% | 11.2327 | 49.47 | 0 | 23417822 | 0
2018 | 40.61 | 12.81% |  | 5.3031 | 11.6% | -1.207% | 51.44 | 6.4424 | 14.3132 | 72.1956 | 6.277% | Total Power Costs - Mkt Based Gas ** | 101381136.3116 | 7.981% | 4.8472 | 51.44 | 0 | 23481456 | 0
2019 | 45.24 | 11.4% |  | 5.8559 | 10.42% | -0.977% | 51.75 | 7.114 | 15.9451 | 74.809 | 3.62% | Total Other Variable Costs | 38745361.2253 | 3.05% | 1.8525 | 51.75 | 0 | 23513208 | 0
2020 | 45.7 | 1.017% |  | 6.1905 | 5.712% | 4.695% | 51.71 | 7.5203 | 16.1072 | 75.3375 | 0.7065% | Total before Rev. Sensitive Items | 1270318406.8909 | 100% | 60.7355 | 51.71 | 0 | 23595474 | 0
2021 | 48.96 | 7.133% |  | 6.4516 | 4.218% | -2.915% | 51.84 | 7.8375 | 17.2562 | 76.9337 | 2.119% | Test Year Normalized Load | 20915581 |  |  | 51.84 | 0 | 23501476 | 0
2022 | 49.37 | 0.8374% |  | 6.553 | 1.572% | 0.7345% | 57.79 | 7.9607 | 17.4007 | 83.1514 | 8.082% | Baseline Rate per MWh | 60.7355 |  |  | 57.79 | 0 | 23645232 | 0
2023 | 51.59 | 4.497% |  | 6.8692 | 4.826% | 0.3292% | 58.48 | 8.3449 | 18.1832 | 85.0081 | 2.233% | Fixed | 44.6556 |  | 933998007.337 | 58.48 | 0 | 23928782 | 0
2024 | 52.9 | 2.539% |  | 6.9499 | 1.174% | -1.365% | 58.01 | 8.4429 | 18.6449 | 85.0978 | 0.1055% | Mkt Based - Power | 11.2327 |  | Starting point Fixed PCA Annual Cost CF to Other Spreadsheet | 58.01 | 0 | 24337296 | 0
2025 | 54.79 | 3.573% |  | 7.2434 | 4.223% | 0.6506% | 59.21 | 8.7995 | 19.311 | 87.3205 | 2.612% | Market Based - Gas | 4.8472 |  |  | 59.21 | 0 | 24609918 | 0
2026 | 57.37 | 4.709% |  | 7.4993 | 3.533% | -1.176% | 60.9 | 9.1103 | 20.2203 | 90.2307 | 3.333% | Baseline Rate per MWh | 60.7355 | 0 |  | 60.9 | 0 | 24977480 | 0
2027 | 59.1 | 3.016% |  | 7.6386 | 1.857% | -1.158% | 63.26 | 9.2795 | 20.8301 | 93.3696 | 3.479% |  | 0 |  |  | 63.26 | 0 | 25342548 | 0
2028 | 61.06 | 3.316% |  | 7.8941 | 3.346% | 0.02941% | 62.49 | 9.59 | 21.5209 | 93.6009 | 0.2477% |  |  |  |  | 62.49 | 0 | 25848732 | 0
2029 | 62.59 | 2.506% |  | 8.2021 | 3.901% | 1.396% | 63.1 | 9.9642 | 22.0602 | 95.1243 | 1.628% | * Includes power costs dependent on energy market prices, including |  |  |  | 63.1 | 0 | 26187306 | 0
2030 | 64.31 | 2.748% |  | 8.4378 | 2.873% | 0.1248% | 65.57 | 10.2504 | 22.6664 | 98.4868 | 3.535% | power market purchases, gas for power generation, open position, |  |  |  | 65.57 | 0 | 26644562 | 0
2031 | 66.93 | 4.074% |  | 8.842 | 4.791% | 0.7172% | 64.87 | 10.7415 | 23.5898 | 99.2013 | 0.7255% | hedges and other such types of costs. |  |  |  | 64.87 | 0 | 27102758 | 0
2032 | 68.32 | 2.077% |  | 9.0631 | 2.5% | 0.4232% | 65.44 | 11.0101 | 24.0797 | 100.5298 | 1.339% |  |  |  |  | 65.44 | 0 | 27572440 | 0
2033 | 70.6 | 3.337% |  | 9.2897 | 2.5% | -0.8372% | 65.99 | 11.2853 | 24.8833 | 102.1586 | 1.62% |  |  |  |  | 65.99 | 0 | 28066212 | 0
LevPr(14_33) | 51.4685 |  |  | 6.7615
aarg(14_33) | 4.275% | 4.359% |  | 4.548% | 4.602%
[7 empty] | Forecasted |  | "Lost" PCA revenes to be recovered from Jefferson County were increased in this calculation to consider the fact that the "Fixed" component of the PCA to be recovered from Jeff County would increase overtime as new facilities were added. | [6 empty] | Forecasted
[7 empty] | Fixed | [8 empty] | Fixed
[7 empty] | Component | [8 empty] | Component
[7 empty] | of PCA | [8 empty] | of PCA
[7 empty] | without | [8 empty] | with
[7 empty] | JeffCo | [8 empty] | JeffCo
Loads

## Incr Power Cost Summary
Analysis uses F2012 Official Load Forecast along with 2013 IRP DSR
Annual Revenue Requirements(exc Fixed Costs of Exist Resources) |  | 2014-01-01 | 2014-06-30 | 2015-06-30 | 2016-06-30 | 2017-06-30 | 2018-06-30 | 2019-06-30 | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30
| NPV(000s) |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Base-EnvCase2 | 9036146.4796 | 0 | 499016.2128 | 480451.3715 | 482280.9356 | 504121.106 | 566399.5524 | 607479.5424 | 621384.8785 | 686072.5579 | 808453.9749 | 872641.4262 | 950571.7409 | 1030479.8025 | 1365456.2939 | 1439298.3649 | 1556777.3637 | 1590947.5186 | 1742507.6342 | 1885187.2624 | 1920708.0057 | 2050222.0911
Base_EnvCase2 with JeffersonCo. | 9399151.3023 | 0 | 508614.3148 | 490660.6069 | 493187.6458 | 516691.4175 | 623066.4837 | 665088.3563 | 678690.7315 | 698862.3381 | 867721.1846 | 932313.5369 | 961399.368 | 1092643.3227 | 1377278.1555 | 1504547.5502 | 1569418.4909 | 1659933.6978 | 1812113.4161 | 1897453.0651 | 1994502.3326 | 2125287.1187
Delta ( w/ Jefferson - no Jefferson) | 363004.8227 | 0 | 9598.102 | 10209.2354 | 10906.7102 | 12570.3115 | 56666.9313 | 57608.8139 | 57305.8529 | 12789.7802 | 59267.2097 | 59672.1107 | 10827.627 | 62163.5202 | 11821.8616 | 65249.1853 | 12641.1272 | 68986.1792 | 69605.7819 | 12265.8027 | 73794.3268 | 75065.0276
Delta Levelized-20Yrs | 36424.2813
Total System Energy Sales(Net of DSR) - MWHs
Base-EnvCase2 |  |  | 22925682 | 23104628 | 23363986 | 23417822 | 23481456 | 23513208 | 23595474 | 23501476 | 23645232 | 23928782 | 24337296 | 24609918 | 24977480 | 25342548 | 25848732 | 26187306 | 26644562 | 27102758 | 27572440 | 28066212
Base_EnvCase2 w/ JeffersonCo. |  |  | 23248863.3967 | 23431914.5217 | 23697854.7738 | 23756381.4042 | 23824682.7093 | 23859944.0576 | 23945662.7741 | 23851154.2983 | 23997380.848 | 24283647.0178 | 24697894.4719 | 24976492.7024 | 25351799.2377 | 25724660.4634 | 26239967.2833 | 26584605.8931 | 27049750.7862 | 27516599.3167 | 27995119.028 | 28497917.8921
Load Delta |  |  | 323181.3967 | 327286.5217 | 333868.7738 | 338559.4042 | 343226.7093 | 346736.0576 | 350188.7741 | 349678.2983 | 352148.848 | 354865.0178 | 360598.4719 | 366574.7024 | 374319.2377 | 382112.4634 | 391235.2833 | 397299.8931 | 405188.7862 | 413841.3167 | 422679.028 | 431705.8921
|  |  |  | 1.27% | 2.011% | 1.405% | 1.379% | 1.022% | 0.9958% | -0.1458% | 0.7065% | 0.7713% | 1.616% | 1.657% | 2.113% | 2.082% | 2.387% | 1.55% | 1.986% | 2.135% | 2.136% | 2.136%
Revenue Requirement/MWH ($/MWH)
Base-EnvCase2 |  | 0 | 21.7667 | 20.7946 | 20.6421 | 21.5272 | 24.1211 | 25.8357 | 26.3349 | 29.1927 | 34.191 | 36.4683 | 39.0582 | 41.8725 | 54.6675 | 56.7938 | 60.2264 | 60.7526 | 65.3982 | 69.557 | 69.6604 | 73.0495
Base_EnvCase2 w/ JeffersonCo. |  | 0 | 21.877 | 20.9398 | 20.8115 | 21.7496 | 26.1521 | 27.8747 | 28.343 | 29.301 | 36.159 | 38.3926 | 38.9264 | 43.7469 | 54.3266 | 58.4866 | 59.8102 | 62.4397 | 66.9919 | 68.9567 | 71.2446 | 74.5769
Diff (Incremental Cost / MWH) ( w/ Jefferson - no Jefferson) |  | 0 | 0.11026 | 0.14525 | 0.16942 | 0.22234 | 2.031 | 2.039 | 2.008 | 0.10824 | 1.968 | 1.9244 | -0.13186 | 1.8743 | -0.34085 | 1.6928 | -0.41622 | 1.687 | 1.5936 | -0.60036 | 1.5842 | 1.5274
20 Year Average (Incremental Cost/MWH) |  | 2014-06-30: 0.95981
Pct. Difference fr. Base Rate |  | 2014-06-30: 2.253%
| NPV($) | 2014-01-01: Levelized ($/MWh)
Base-EnvCase2 | 364.6965 | 2014-01-01: 36.594
Base_EnvCase2 w/ JeffersonCo. | 373.9641 | 2014-01-01: 37.5239
Diff Levelized RevReq/MWH | 9.2675 | 2014-01-01: 0.92991
| Aurora Update 9/24 | 2014-01-01: PSM III Calc; 2014-06-30: Delta; 2015-06-30: Delta%
20 yr NPV portfolio cost Delta ( w/ Jefferson - no Jefferson) | 363004.8227 | 2014-01-01: 364230; 2014-06-30: -1225.1773; 2015-06-30: -0.3364%
Delta Levelized-20Yrs | 36424.2813 | 2014-01-01: 36547; 2014-06-30: -122.7187; 2015-06-30: -0.3358%
|  |  | 63.9326 | 62.9955 | 62.8672 | 63.8053 | 68.2078 | 69.9304 | 70.3986 | 71.3567 | 78.2147 | 80.4483 | 80.982 | 85.8025 | 96.3823 | 100.5423 | 101.8659 | 104.4953 | 109.0475 | 111.0123 | 113.3003 | 116.6326
|  |  | 499016.2128 | 480451.3715 | 482280.9356 | 504121.106 | 566399.5524 | 607479.5424 | 621384.8785 | 686072.5579 | 808453.9749 | 872641.4262 | 950571.7409 | 1030479.8025 | 1365456.2939 | 1439298.3649 | 1556777.3637 | 1590947.5186 | 1742507.6342 | 1885187.2624 | 1920708.0057 | 2050222.0911
|  |  | 508614.3148 | 490660.6069 | 493187.6458 | 516691.4175 | 623066.4837 | 665088.3563 | 678690.7315 | 698862.3381 | 867721.1846 | 932313.5369 | 961399.368 | 1092643.3227 | 1377278.1555 | 1504547.5502 | 1569418.4909 | 1659933.6978 | 1812113.4161 | 1897453.0651 | 1994502.3326 | 2125287.1187
|  |  | 499016.2128 | 508614.3148
|  |  | 480451.3715 | 490660.6069
|  |  | 482280.9356 | 493187.6458
|  |  | 504121.106 | 516691.4175
|  |  | 566399.5524 | 623066.4837
|  |  | 607479.5424 | 665088.3563
|  |  | 621384.8785 | 678690.7315
|  |  | 686072.5579 | 698862.3381
|  |  | 808453.9749 | 867721.1846
|  |  | 872641.4262 | 932313.5369
|  |  | 950571.7409 | 961399.368
|  |  | 1030479.8025 | 1092643.3227
|  |  | 1365456.2939 | 1377278.1555
|  |  | 1439298.3649 | 1504547.5502
|  |  | 1556777.3637 | 1569418.4909
|  |  | 1590947.5186 | 1659933.6978
|  |  | 1742507.6342 | 1812113.4161
|  |  | 1885187.2624 | 1897453.0651
|  |  | 1920708.0057 | 1994502.3326
|  |  | 2050222.0911 | 2125287.1187
Note on A11: Sandeap Reddy: for data please see - R:\Acquisition\#Project files\2013 IRP Analysis\TXrenew_150 MW\Jefferson County Adj\Optimized\2014 optimized\Case 1 PSM III 18_2013 IRP_v15_Base_ Opt All w RFP_091313_IntTol Adj_2014.xlsx 'AuroraEnergyAll' tab 357
Note on A12: Sandeap Reddy: For source data please see - R:\Acquisition\#Project files\2013 IRP Analysis\TXrenew_150 MW\Jefferson County Adj\Optimized\2014 optimized\Case 1 PSM III 18_2013 IRP_v15_Base_ Opt All w RFP_092413_IntTol Adj_2014_Jefferson.xlsx 'AuroraEnergyAll' tab Row 357

## Base Data
(All Generics)_2013 IRP Base |  | Source File - | R:\Acquisition\#Project files\2013 IRP Analysis\TXrenew_150 MW\Jefferson County Adj\Optimized\2014 optimized\Case 1 PSM III 18_2013 IRP_v15_Base_ Opt All w RFP_091313_IntTol Adj_2014a.xlsx
PSM III Optimizer v 18 2013 IRP
Portfolio Cost ($000s) | NPV
Cost of Power Purchase | 1222136.1672
DSM | 0
Acquisition / PPA Rev. Requirement | 3345887.3665
Generic Revenue Requirement | 5550956.6495
Variable Cost of Existing Fleet | 1683817.0301
REC Revenue | -21299.1196
Total Expected Cost | 11781498.0936
Jefferson County No Longer Served
Annual Rev. Req. | without End Effect |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Cost of Power Purchase | 1222136.1672 |  | 206996.7962 | 181740.0992 | 158375.6053 | 112553.9838 | 107225.3159 | 100789.2874 | 129944.3682 | 77383.1527 | 58727.0754 | 33250.5203 | 6882.545 | 69517.3169 | 88504.8671 | 96886.0664 | 81410.9082 | 130406.9465 | 128304.8624 | 131395.7373 | 178335.372 | 176955.2895
DSM | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 3437539.1495 |  | 178227.5628 | 188973.3437 | 211114.7758 | 258438.7077 | 309328.002 | 330437.4426 | 338316.8428 | 353366.22 | 362411.0009 | 371499.1381 | 390086.6348 | 406100.4464 | 420054.9316 | 437197.132 | 453485.7361 | 461420.2667 | 475444.007 | 516761.5121 | 529052.1585 | 542498.5948
Acquisition | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | 2713953.2524 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77912.0954 | 216417.654 | 289584.6472 | 367915.4387 | 365627.317 | 648074.6258 | 698934.9794 | 802631.0038 | 791100.9589 | 939331.7687 | 1043418.5887 | 1021738.0294 | 1132008.2359
REC Revenue | -21299.1196 |  | -5161.9873 | -1304.5701 | -5017.2775 | -3173.8565 | 0 | 0 | 0 | -1883.846 | -1745.4766 | -1759.6573 | -1624.2424 | -1139.3672 | -654.8374 | -1835.5275 | -1472.7379 | -810.7354 | -3449.57 | -2960.7532 | -2481.8204 | -1733.9283
Variable Cost of Existing Fleet | 1683817.0301 |  | 118953.8412 | 111042.4987 | 117807.832 | 136302.271 | 149846.2346 | 176252.8124 | 153123.6675 | 179294.9359 | 172643.7211 | 180066.7778 | 187311.3649 | 190374.0894 | 209476.7068 | 208115.7146 | 220722.4535 | 208830.0819 | 202876.5661 | 196572.1775 | 194064.2664 | 200493.8992
Expected Cost | 9036146.4796 |  | 499016.2128 | 480451.3715 | 482280.9356 | 504121.106 | 566399.5524 | 607479.5424 | 621384.8785 | 686072.5579 | 808453.9749 | 872641.4262 | 950571.7409 | 1030479.8025 | 1365456.2939 | 1439298.3649 | 1556777.3637 | 1590947.5186 | 1742507.6342 | 1885187.2624 | 1920708.0057 | 2050222.0911
With Jefferson County Being Served
Annual Rev. Req. | without End Effect |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Cost of Power Purchase | 1243005.8597 |  | 216581.3587 | 191865.5367 | 169195.0115 | 124972.6088 | 97078.1303 | 88017.5726 | 120239.4679 | 95731.9339 | 44722.0188 | 19739.4344 | 27979.4317 | 55116.2309 | 114452.3085 | 78150.707 | 108717.541 | 115199.6692 | 114003.1163 | 162859.0537 | 164423.0321 | 164527.1293
DSM | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 3437539.1495 |  | 178227.5628 | 188973.3437 | 211114.7758 | 258438.7077 | 309328.002 | 330437.4426 | 338316.8428 | 353366.22 | 362411.0009 | 371499.1381 | 390086.6348 | 406100.4464 | 420054.9316 | 437197.132 | 453485.7361 | 461420.2667 | 475444.007 | 516761.5121 | 529052.1585 | 542498.5948
Acquisition | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | 3053146.6208 |  | 0 | 0 | 0 | 0 | 66814.1168 | 70380.5287 | 67010.7533 | 71377.9101 | 289285.0295 | 362351.6803 | 357216.4629 | 441746.1974 | 633484.6982 | 782434.5874 | 787458.0004 | 874762.6031 | 1022683.4892 | 1023641.2866 | 1108838.1762 | 1218866.4665
REC Revenue | -18357.3577 |  | -5148.4478 | -1220.7722 | -4929.9736 | -3022.17 | 0 | 0 | 0 | -908.6618 | -1340.5856 | -1343.4937 | -1194.5263 | -693.6414 | -190.4896 | -1350.5908 | -965.24 | -278.923 | -2893.7625 | -2380.9648 | -1875.3006 | -1098.9711
Variable Cost of Existing Fleet | 1683817.0301 |  | 118953.8412 | 111042.4987 | 117807.832 | 136302.271 | 149846.2346 | 176252.8124 | 153123.6675 | 179294.9359 | 172643.7211 | 180066.7778 | 187311.3649 | 190374.0894 | 209476.7068 | 208115.7146 | 220722.4535 | 208830.0819 | 202876.5661 | 196572.1775 | 194064.2664 | 200493.8992
Expected Cost | 9399151.3023 |  | 508614.3148 | 490660.6069 | 493187.6458 | 516691.4175 | 623066.4837 | 665088.3563 | 678690.7315 | 698862.3381 | 867721.1846 | 932313.5369 | 961399.368 | 1092643.3227 | 1377278.1555 | 1504547.5502 | 1569418.4909 | 1659933.6978 | 1812113.4161 | 1897453.0651 | 1994502.3326 | 2125287.1187
Delta - Savings Without Jefferson County
Annual Rev. Req. | without End Effect |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Cost of Power Purchase | -20869.6924 |  | -9584.5625 | -10125.4375 | -10819.4062 | -12418.625 | 10147.1855 | 12771.7148 | 9704.9004 | -18348.7812 | 14005.0566 | 13511.0859 | -21096.8867 | 14401.0859 | -25947.4414 | 18735.3594 | -27306.6328 | 15207.2773 | 14301.7461 | -31463.3164 | 13912.3398 | 12428.1602
DSM | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Acquisition | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | -339193.3683 |  | 0 | 0 | 0 | 0 | -66814.1168 | -70380.5287 | -67010.7533 | 6534.1853 | -72867.3754 | -72767.0331 | 10698.9758 | -76118.8803 | 14589.9276 | -83499.608 | 15173.0034 | -83661.6442 | -83351.7205 | 19777.3021 | -87100.1469 | -86858.2306
REC Revenue | -2941.762 |  | -13.5395 | -83.7979 | -87.3039 | -151.6865 | 0 | 0 | 0 | -975.1842 | -404.891 | -416.1636 | -429.7161 | -445.7258 | -464.3478 | -484.9367 | -507.4978 | -531.8124 | -555.8074 | -579.7884 | -606.5198 | -634.9572
Variable Cost of Existing Fleet | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expected Cost | -363004.8227 |  | -9598.102 | -10209.2354 | -10906.7102 | -12570.3115 | -56666.9313 | -57608.8139 | -57305.8529 | -12789.7802 | -59267.2097 | -59672.1107 | -10827.627 | -62163.5202 | -11821.8616 | -65249.1853 | -12641.1272 | -68986.1792 | -69605.7819 | -12265.8027 | -73794.3268 | -75065.0276
End effects components
End Effects from Generic Resources | 1369107.9395 | End effects for generics added in first 20 years
End Effects from New Acquisitions | 0
End Effects from PPAs | -91651.783
Generic Replacement Costs | 1467895.4575 | End effects for the replacement of generics to create equivalent lives
Total Revenue Requirement | 11781498.0936
Builds
(All Generics)_2013 IRP Base
PSM III Optimizer v 18 2013 IRP
OBJ-PVRevReq
11781498.0936
Generic Choice Variables | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Total
CCGT - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5
New Renewable 1 | 0 | 0 | 2032: 0
New Renewable 2 | 0 | 0 | 2032: 0
New Renewable 3 | 0 | 0 | 2032: 0
Transmission Addition | 0 | 0 | 2032: 0
CCGT - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 10
Self Build Peaker | 0 | 0 | 2032: 0
Acquisition Choice Variables |  |  | 2016: Acquisition Choice Variables; 2024: DSM Choice Variables; 2030: DR Choice Variables
Acq Thermal 1: Grays Harbor |  | 0 | 2016: Tolling PPA 1: Klamath Peaker Extension; 2021: 1; 2024: DSM Bundle A - IRP13; 2028: 1; 2029: A; 2030: DR1; 2031: 0
Acq Thermal 2: |  | 0 | 2016: Tolling PPA 2: 35 MW renewal 2019; 2021: 0; 2024: DSM Bundle B - IRP13; 2029: A1; 2030: DR2; 2031: 0
Acq Thermal 3: |  | 0 | 2016: Tolling PPA 3: 35 MW renewal 2020; 2021: 0; 2024: DSM Bundle C - IRP13; 2029: B; 2030: DR3; 2031: 0
Acq Thermal 4: |  | 0 | 2016: Tolling PPA 4: 35 MW renewal 2021; 2021: 0; 2024: DSM Bundle D - IRP13; 2029: B1; 2030: DR4; 2031: 0
Acq Thermal 5: |  | 0 | 2016: Tolling PPA 5:; 2021: 0; 2024: DSM Bundle E - IRP13; 2029: C; 2030: DR5; 2031: 0
Renewable Acq 1: |  | 0 | 2016: Tolling PPA 6:; 2021: 0; 2024: DSM Bundle F - IRP13; 2028: 0; 2029: D
Renewable Acq 2: |  | 0 | 2016: Tolling PPA 7:; 2021: 0; 2024: DSM Bundle G - IRP13; 2028: 0; 2029: E
Renewable Acq 3: |  | 0 | 2016: Tolling PPA 8:; 2021: 0; 2024: DSM Bundle H - IRP13; 2028: 0; 2029: F
Renewable Acq 4: |  | 0 | 2016: Tolling PPA 9:; 2021: 0; 2024: DSM Bundle I - IRP13; 2028: 0; 2029: G
Renewable Acq 5: |  | 0 | 2016: Tolling PPA 10:; 2021: 0; 2024: DSM Bundle J - IRP13; 2028: 0; 2029: H
Fixed Price PPA 1: Colstrip 1&2 Env1 |  | 1 | 2016: Renewable PPA 1: 2016 Short PPA; 2024: DSR Total; 2028: 1
Fixed Price PPA 2: Colstrip 3&4 Env1 |  | 1 | 2016: Renewable PPA 2: 2017 Short PPA
Fixed Price PPA 3: 115 MW TX Renewal 2014 |  | 1 | 2016: Renewable PPA 3: 2018 Short PPA; 2024: Acquisition Constraints
Fixed Price PPA 4: 115 MW TX Renewal 2018 |  | 0 | 2016: Renewable PPA 4: 2019 Short PPA; 2024: 115 MW TX selection; 2028: 1
Fixed Price PPA 5: 115 MW TX Renewal 2019 |  | 0 | 2016: Renewable PPA 5: 2020 Short PPA; 2024: 35 MW TX selection; 2028: 0
Fixed Price PPA 6: 115 MW TX Renewal 2020 |  | 0 | 2024: Short PPA 1; 2028: 0
Fixed Price PPA 7: 115 MW TX Renewal 2021 |  | 0 | 2024: Short PPA 2; 2028: 0
Fixed Price PPA 8: 35 MW TX Renewal 2014 |  |  | 2016: DR Choice Variables; 2024: Constraint #5; 2028: 0
Fixed Price PPA 9: 35 MW TX Renewal 2018 |  |  | 2016: Demand Response; 2021: 0; 2024: Constraint #6; 2028: 0
Fixed Price PPA 10: Tx Contract Renewal |  | 1 | 2016: DE; 2021: 0; 2024: Constraint #6; 2028: 0
Note on A69: Puget Sound Energy: Financial tab not connected

## Base with Jefferson County
(All Generics)_2013 IRP Base |  | Source File - | R:\Acquisition\#Project files\2013 IRP Analysis\TXrenew_150 MW\Jefferson County Adj\Optimized\2014 optimized\Case 1 PSM III 18_2013 IRP_v15_Base_ Opt All w RFP_092413_IntTol Adj_2014_Jeffersona.xlsx
PSM III Optimizer v 18 2013 IRP
Portfolio Cost ($000s) | NPV
Cost of Power Purchase | 1243005.8597
DSM | 0
Acquisition / PPA Rev. Requirement | 3345887.3665
Generic Revenue Requirement | 6019142.022
Variable Cost of Existing Fleet | 1683817.0301
REC Revenue | -18357.3577
Total Expected Cost | 12273494.9205
Annual Rev. Req. | without End Effect |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Cost of Power Purchase | 1243005.8597 | 0 | 216581.3587 | 191865.5367 | 169195.0115 | 124972.6088 | 97078.1303 | 88017.5726 | 120239.4679 | 95731.9339 | 44722.0188 | 19739.4344 | 27979.4317 | 55116.2309 | 114452.3085 | 78150.707 | 108717.541 | 115199.6692 | 114003.1163 | 162859.0537 | 164423.0321 | 164527.1293
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 3437539.1495 | 0 | 178227.5628 | 188973.3437 | 211114.7758 | 258438.7077 | 309328.002 | 330437.4426 | 338316.8428 | 353366.22 | 362411.0009 | 371499.1381 | 390086.6348 | 406100.4464 | 420054.9316 | 437197.132 | 453485.7361 | 461420.2667 | 475444.007 | 516761.5121 | 529052.1585 | 542498.5948
Acquisition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | 3053146.6208 | 0 | 0 | 0 | 0 | 0 | 66814.1168 | 70380.5287 | 67010.7533 | 71377.9101 | 289285.0295 | 362351.6803 | 357216.4629 | 441746.1974 | 633484.6982 | 782434.5874 | 787458.0004 | 874762.6031 | 1022683.4892 | 1023641.2866 | 1108838.1762 | 1218866.4665
REC Revenue | -18357.3577 | 0 | -5148.4478 | -1220.7722 | -4929.9736 | -3022.17 | 0 | 0 | 0 | -908.6618 | -1340.5856 | -1343.4937 | -1194.5263 | -693.6414 | -190.4896 | -1350.5908 | -965.24 | -278.923 | -2893.7625 | -2380.9648 | -1875.3006 | -1098.9711
Variable Cost of Existing Fleet | 1683817.0301 | 0 | 118953.8412 | 111042.4987 | 117807.832 | 136302.271 | 149846.2346 | 176252.8124 | 153123.6675 | 179294.9359 | 172643.7211 | 180066.7778 | 187311.3649 | 190374.0894 | 209476.7068 | 208115.7146 | 220722.4535 | 208830.0819 | 202876.5661 | 196572.1775 | 194064.2664 | 200493.8992
Expected Cost | 9399151.3023 | 0 | 508614.3148 | 490660.6069 | 493187.6458 | 516691.4175 | 623066.4837 | 665088.3563 | 678690.7315 | 698862.3381 | 867721.1846 | 932313.5369 | 961399.368 | 1092643.3227 | 1377278.1555 | 1504547.5502 | 1569418.4909 | 1659933.6978 | 1812113.4161 | 1897453.0651 | 1994502.3326 | 2125287.1187
End effects components
End Effects from Generic Resources | 1474828.117 | End effects for generics added in first 20 years
End Effects from New Acquisitions | 0
End Effects from PPAs | -91651.783
Generic Replacement Costs | 1491167.2843 | End effects for the replacement of generics to create equivalent lives
Total Revenue Requirement | 12273494.9205
Builds
(All Generics)_2013 IRP Base
PSM III Optimizer v 18 2013 IRP
OBJ-PVRevReq
12273494.9205
Generic Choice Variables | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Total
CCGT - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5
New Renewable 1 | 0 | 0 | 2032: 0
New Renewable 2 | 0 | 0 | 2032: 0
New Renewable 3 | 0 | 0 | 2032: 0
Transmission Addition | 0 | 0 | 2032: 0
CCGT - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - East | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 11
Self Build Peaker | 0 | 0 | 2032: 0
Acquisition Choice Variables |  |  | 2016: Acquisition Choice Variables; 2024: DSM Choice Variables; 2030: DR Choice Variables
Acq Thermal 1: |  | 0 | 2016: Tolling PPA 1: Klamath Peaker Extension; 2021: 1; 2024: DSM Bundle A - IRP13; 2028: 1; 2029: A; 2030: DR1
Acq Thermal 2: |  | 0 | 2016: Tolling PPA 2:; 2021: 0; 2024: DSM Bundle B - IRP13; 2029: A1; 2030: DR2
Acq Thermal 3: |  | 0 | 2016: Tolling PPA 3:; 2021: 0; 2024: DSM Bundle C - IRP13; 2029: B; 2030: DR3
Acq Thermal 4: |  | 0 | 2016: Tolling PPA 4:; 2021: 0; 2024: DSM Bundle D - IRP13; 2029: B1; 2030: DR4
Acq Thermal 5: |  | 0 | 2016: Tolling PPA 5:; 2021: 0; 2024: DSM Bundle E - IRP13; 2029: C; 2030: DR5
Renewable Acq 1: |  | 0 | 2016: Tolling PPA 6:; 2021: 0; 2024: DSM Bundle F - IRP13; 2028: 0; 2029: D
Renewable Acq 2: |  | 0 | 2016: Tolling PPA 7:; 2021: 0; 2024: DSM Bundle G - IRP13; 2028: 0; 2029: E
Renewable Acq 3: |  | 0 | 2016: Tolling PPA 8:; 2021: 0; 2024: DSM Bundle H - IRP13; 2028: 0; 2029: F
Renewable Acq 4: |  | 0 | 2016: Tolling PPA 9:; 2021: 0; 2024: DSM Bundle I - IRP13; 2028: 0; 2029: G
Renewable Acq 5: |  | 0 | 2016: Tolling PPA 10:; 2021: 0; 2024: DSM Bundle J - IRP13; 2028: 0; 2029: H
Fixed Price PPA 1: Colstrip 1&2 Env1 |  | 1 | 2016: Renewable PPA 1:; 2021: 0; 2024: DSR Total; 2028: 1
Fixed Price PPA 2: Colstrip 3&4 Env1 |  | 1 | 2016: Renewable PPA 2:; 2021: 0
Fixed Price PPA 3: 115 MW TX Renewal 2014 |  | 1 | 2016: Renewable PPA 3:; 2021: 0; 2024: Acquisition Constraints
Fixed Price PPA 4: 115 MW TX Renewal 2018 |  | 0 | 2016: Renewable PPA 4:; 2021: 0; 2024: 115 MW TX selection; 2028: 1
Fixed Price PPA 5: 115 MW TX Renewal 2019 |  | 0 | 2016: Renewable PPA 5:; 2021: 0; 2024: Constraint #2
Fixed Price PPA 6: 115 MW TX Renewal 2020 |  | 0 | 2024: Constraint #3; 2028: 0
Fixed Price PPA 7: 115 MW TX Renewal 2021 |  | 0 | 2024: Constraint #4; 2028: 0
Fixed Price PPA 8: 35 MW TX Renewal 2014 |  |  | 2016: DR Choice Variables; 2024: Constraint #5; 2028: 0
Fixed Price PPA 9: 35 MW TX Renewal 2018 |  |  | 2016: Demand Response; 2021: 0; 2024: Constraint #6; 2028: 0
Fixed Price PPA 10: Tx Contract Renewal |  | 1 | bar: 2016; 2021
Note on A47: Puget Sound Energy: Financial tab not connected

## Portfolio Cost Comparison
| NPV | NPV
Portfolio Cost ($000s) | Base | Base+JeffCo | Diff
Cost of Power Purchase | 1222136.1672 | 1243005.8597 | 20869.6924
DSM | 0 | 0 | 0
Acquisition / PPA Rev. Requirement | 3345887.3665 | 3345887.3665 | 0
Generic Revenue Requirement | 5550956.6495 | 6019142.022 | 468185.3725
Variable Cost of Existing Fleet | 1683817.0301 | 1683817.0301 | 0
REC Revenue | -21299.1196 | -18357.3577 | 2941.762
Total Expected Cost | 11781498.0936 | 12273494.9205 | 491996.8269

## Build Comparison
| Base | Base w/ Jefferson County
Annual Rev. Req. | without End Effect | without End Effect
Cost of Power Purchase | 1222136.1672 | 1066541.0349
DSM | 0 | 0
PPA Rev. Requirement | 3437539.1495 | 3437539.1495
Acquisition | 0 | 0
Generic Revenue Requirement | 2713953.2524 | 3053146.6208
REC Revenue | -21299.1196 | -18357.3779
Variable Cost of Existing Fleet | 1683817.0301 | 1683817.0301
Expected Cost | 9036146.4796 | 9222686.4573
Builds
(All Generics)_2013 IRP Base
PSM III Optimizer v 18 2013 IRP
Base
OBJ-PVRevReq
11781498.0936
Generic Choice Variables | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Total
CCGT - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5
New Renewable 1 | 0 | 0 | [18 empty] | 0
New Renewable 2 | 0 | 0 | [18 empty] | 0
New Renewable 3 | 0 | 0 | [18 empty] | 0
Transmission Addition | 0 | 0 | [18 empty] | 0
CCGT - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 3 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 10
Self Build Peaker | 0 | 0 | [18 empty] | 0
w/ Jefferson County
OBJ-PVRevReq
12097030.0755
Generic Choice Variables | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Total
CCGT - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 5
New Renewable 1 | 0 | 0 | [18 empty] | 0
New Renewable 2 | 0 | 0 | [18 empty] | 0
New Renewable 3 | 0 | 0 | [18 empty] | 0
Transmission Addition | 0 | 0 | [18 empty] | 0
CCGT - East | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peaker - East | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 2 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 11
Self Build Peaker | 0 | 0 | [18 empty] | 0
Acquisition Choice Variables |  |  |  |  | Acquisition Choice Variables | [7 empty] | DSM Choice Variables | [5 empty] | DR Choice Variables
Acq Thermal 1: |  | 0 |  |  | Tolling PPA 1: Klamath Peaker Extension |  |  |  |  | 1 |  |  | DSM Bundle A - IRP13 |  |  |  | 1 | A | DR1
Acq Thermal 2: |  | 0 |  |  | Tolling PPA 2: |  |  |  |  | 0 |  |  | DSM Bundle B - IRP13 |  |  |  |  | A1 | DR2
Acq Thermal 3: |  | 0 |  |  | Tolling PPA 3: |  |  |  |  | 0 |  |  | DSM Bundle C - IRP13 |  |  |  |  | B | DR3
Acq Thermal 4: |  | 0 |  |  | Tolling PPA 4: |  |  |  |  | 0 |  |  | DSM Bundle D - IRP13 |  |  |  |  | B1 | DR4
Acq Thermal 5: |  | 0 |  |  | Tolling PPA 5: |  |  |  |  | 0 |  |  | DSM Bundle E - IRP13 |  |  |  |  | C | DR5
Renewable Acq 1: |  | 0 |  |  | Tolling PPA 6: |  |  |  |  | 0 |  |  | DSM Bundle F - IRP13 |  |  |  | 0 | D
Renewable Acq 2: |  | 0 |  |  | Tolling PPA 7: |  |  |  |  | 0 |  |  | DSM Bundle G - IRP13 |  |  |  | 0 | E
Renewable Acq 3: |  | 0 |  |  | Tolling PPA 8: |  |  |  |  | 0 |  |  | DSM Bundle H - IRP13 |  |  |  | 0 | F
Renewable Acq 4: |  | 0 |  |  | Tolling PPA 9: |  |  |  |  | 0 |  |  | DSM Bundle I - IRP13 |  |  |  | 0 | G
Renewable Acq 5: |  | 0 |  |  | Tolling PPA 10: |  |  |  |  | 0 |  |  | DSM Bundle J - IRP13 |  |  |  | 0 | H
Fixed Price PPA 1: Colstrip 1&2 Env1 |  | 1 |  |  | Renewable PPA 1: |  |  |  |  | 0 |  |  | DSR Total |  |  |  | 1
Fixed Price PPA 2: Colstrip 3&4 Env1 |  | 1 |  |  | Renewable PPA 2: |  |  |  |  | 0
Fixed Price PPA 3: 115 MW TX Renewal 2014 |  | 1 |  |  | Renewable PPA 3: |  |  |  |  | 0 |  |  | Acquisition Constraints
Fixed Price PPA 4: 115 MW TX Renewal 2018 |  | 0 |  |  | Renewable PPA 4: |  |  |  |  | 0 |  |  | 115 MW TX selection |  |  |  | 1
Fixed Price PPA 5: 115 MW TX Renewal 2019 |  | 0 |  |  | Renewable PPA 5: |  |  |  |  | 0 |  |  | Constraint #2
Fixed Price PPA 6: 115 MW TX Renewal 2020 |  | 0 | [10 empty] | Constraint #3 |  |  |  | 0
Fixed Price PPA 7: 115 MW TX Renewal 2021 |  | 0 | [10 empty] | Constraint #4 |  |  |  | 0
Fixed Price PPA 8: 35 MW TX Renewal 2014 |  |  |  |  | DR Choice Variables | [7 empty] | Constraint #5 |  |  |  | 0
Fixed Price PPA 9: 35 MW TX Renewal 2018 |  |  |  |  | Demand Response |  |  |  |  | 0 |  |  | Constraint #6 |  |  |  | 0
Fixed Price PPA 10: Tx Contract Renewal |  | 1 |  |  | DE
Note on E30: Puget Sound Energy: Financial tab not connected
Note on E46: Puget Sound Energy: Financial tab not connected

## Revenue Req 1st 5yrs
| 2014 | 2015 | 2016 | 2017 | 2018
Annual Rev. Req.
Cost of Power Purchase | 206996.7962 | 181740.0992 | 158375.6053 | 112553.9838 | 107225.3159
DSM | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 178227.5628 | 188973.3437 | 211114.7758 | 258438.7077 | 309328.002
Acquisition | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | 0 | 0 | 0 | 0 | 0
REC Revenue | -5161.9873 | -1304.5701 | -5017.2775 | -3173.8565 | 0
Variable Cost of Existing Fleet | 118953.8412 | 111042.4987 | 117807.832 | 136302.271 | 149846.2346
Expected Cost | 499016.2128 | 480451.3715 | 482280.9356 | 504121.106 | 566399.5524
| 2014 | 2015 | 2016 | 2017 | 2018
Annual Rev. Req.
Cost of Power Purchase | 216581.3587 | 191865.5367 | 169195.0115 | 124972.6088 | 97078.1303
DSM | 0 | 0 | 0 | 0 | 0
PPA Rev. Requirement | 178227.5628 | 188973.3437 | 211114.7758 | 258438.7077 | 309328.002
Acquisition | 0 | 0 | 0 | 0 | 0
Generic Revenue Requirement | 0 | 0 | 0 | 0 | 66814.1168
REC Revenue | -5148.4478 | -1220.7722 | -4929.9736 | -3022.17 | 0
Variable Cost of Existing Fleet | 118953.8412 | 111042.4987 | 117807.832 | 136302.271 | 149846.2346
Expected Cost | 508614.3148 | 490660.6069 | 493187.6458 | 516691.4175 | 623066.4837